## 1999-1-13
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-1-13 | Drugs | II | d-057-9 | Udl Brand Sucralfate Suspension 1 G 10 Ml 10 Ml Unit Dose Cups | Udl Laboratories | Hoechst Marion Roussel Hmr Kansas City Missouri Responsible Firm | December 9 1998 | Bottle Defects And Or Glass Fragments In The Bulk Drug | 9 684 Cases Were Distributed | Nationwide
1999-1-13 | Drugs | II | d-060-9 | Liquid Oxygen Usp In Cryogenic Vessels Used For Respiratory Therapy | Homecare Concepts | Airweld Inc | December 8 1998 | Failure To Perform Finished Product Assays | 69 Vessels Were Distributed | New York
1999-1-13 | Drugs | II | d-061-9 | Diethylpropion Hydrochloride Controlled Release Tablets 75 Mg In Bulk | 3 M Pharmaceuticals | 3 M Pharmaceuticals Inc | December 3 1998 | Product Contains Higher Than Normal Levels Of Residual Benzene | Lot 980151 1 039 Million Tablets Lot 980237 1 043 Million Tablets Were Distributed | Nationwide
1999-1-13 | Drugs | II | d-067-9 | Triple Antibiotic Plus Ointment Bacitracin Zinc 500 Units Neomycin Sulfate 3 | Manufacturer | G W Laboratories Inc | May 4 1998 | Subpotent 18 Month Stability Bacitracin Zinc 58 Declared Neomycin Sulfate 87 Declared Polymyxin B Sulfate 84 Declared | 42 840 1 Ounce Tubes Were Distributed Firm Estimated That Less Than 5 Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-1-13 | Drugs | III | d-021-9 | Nitroglycerin Extended Release Er Capsules 2 | Manufacturer | Time Cap Labs Inc | October 1 1998 | Product Fails Content Uniformity Testing | 15 918 100 Count Bottles And 353 940 Bulk Capsules Were Distributed | Alabama Arkansas Florida Illinois Kentucky Louisiana Michigan New Jersey New York Pennsylvania
1999-1-13 | Drugs | III | d-043-9 | Fluorescein Sodium Injection 250 Mg Ml In 2 Ml Sterile Single Dose Vials Sold Under The Label Angiofluor 25 Injection Ndc 59449 010 02 And Ak Fluor 25 Injection Label Ndc 17478 250 20 Rx Indicated For Ophthalmic Angiography And Angioscopy In Diagnostic Examination Of The Fundus In Evaluation Of The Iris Vasculature To Differentiate Between Diagnosis Of Malignant And Non Malignant Tumors And In Determination Of Circulation Time And Adequacy Of The Circulation | Manufacturer | Luitpold Pharmaceuticals Inc | November 24 1998 | Crystal Formation | Angiofluor Lot 5914 Al 16 248 Units Were Distributed Lot 6202 Al 55 308 Units Were Distributed Lot 6590 Al 50 112 Units Were Distributed Lot 7020 Al 10 868 Units Were Distributed Lot 7869 Al 104 016 Units Were Distributed Lot 8625 Al 99 372 Units Were Distributed Ak Fluor Lot 5836 Ak 54 168 Units Were Distributed Lot 6299 Ak 52 260 Units Were Distributed Lot 6356 Ak 54 348 Units Were Distributed Lot 6590 Ak 49 116 Units Were Distributed | Tennessee And Illinois
1999-1-13 | Drugs | III | d-044-9 | Doxepin Hydrochloride Capsules Usp 10 Mg In Unit Doses Packages Of 100 Oral Rx Psychotherapeutic Agent | Udl Laboratories | Mylan Inc | December 14 1998 | Product Failed Moisture Limits Testing 6 Month Stability | 1 503 Unit Cartons Were Distributed Firm Estimated That 25 Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-1-13 | Drugs | III | d-045-9 | Colgate Cool Mint Phos Flur Anti Cavity Fluoride Rinse In 500 Ml 16 | Manufacturer | Colgate Oral Pharmaceuticals Dallas Texas | November 11 1998 | Product Cross Contamination With Alcohol And Sodium Cyclamate Containing Product | 30 414 Bottles Were Distributed | Nationwide
1999-1-13 | Drugs | III | d-046/056-9 | Various Rx Drugs A Metoprolol Tartrate Injection 5 Mg 5 Ml In 5 Ml Single Dose Vials Ndc 0364 3036 25 Schein B Hydrocortisone Acetate Injectable Suspension Usp 25 Mg Ml In 10 Ml Multiple Dose Vials Ndc 0402 0051 10 Steris Ndc 0364 6624 54 Schein C Dexamethasone Acetate Injectable Suspension Usp 8 Mg Ml In 5 Ml Multiple Dose Vials Ndc 0402 0092 05 Steris Ndc 0364 6699 53 Schein Ndc 0588 5344 75 Keene Ndc 0456 1075 05 Forest Ndc 0182 0928 62 Goldline Ndc 52384 068 05 Teregen Labs Ndc 63252 7644 3 Radford Therapeutics D Pentamidine Isethionate For Injection Lyophilized 300 Mg In Single Dose Vials Ndc 0209 8560 20 Marsam E Methylprednisolone Acetate Injectable Suspension Usp 40 Mg Ml In 10 Ml Multiple Dose Vials Ndc 0402 1069 10 Steris Ndc 0364 3064 54 Schein Ndc 57699 069 10 A G Pharmaceutical 63252 1111 1 Radford Therapeutics F Methylprednisolone Acetate Injectable Suspension Usp 80 Mg Ml In 5 Ml Multiple Dose Vials Ndc 0402 1070 05 Steris Ndc 0364 3065 53 Schein Ndc 55553 070 05 Clint Pharmaceuticals Ndc 63252 1112 5 Radford Therapeutics Ndc 0677 1539 20 United Research Laboratories G Estrone Injectable Suspension Usp 5 Mg Ml In 10 Ml Multiple Dose Vials Ndc 0402 0041 10 Steris Ndc 0364 6601 54 Schein Ndc 57699 041 10 A G Pharmaceutical Ndc 0677 0274 21 United Research Laboratories H Testosterone Injectable Suspension Usp 100 Mg Ml In 30 Ml Multiple Dose Vials Ndc 0402 0084 30 Steris Din 00616931 Univet Pharmaceuticals I Triamcinolone Diacetate Injectable Suspension Usp 40 Mg Ml In 5 Ml Multiple Dose Vials Ndc 0402 1071 05 Steris Ndc 0364 3081 53 Schein Ndc 0677 0981 20 United Research Laboratories Ndc 0182 3064 62 Goldline Ndc 0456 1060 05 Forest Ndc 11001 071 05 San Jose Surgical Supply J Vercuronium Bromide For Injection Lyophilized Powder 10 Mg In 10 Ml Vials Ndc 0209 9140 22 Marsam Ndc 0209 9140 92 Marsam Ndc 0209 9141 26 Marsam K Vecuronium Bromide For Injection Lyophilized Powder 20 Mg In 20 Ml Vials Ndc 0209 9143 22 Marsam Ndc 0209 9143 92 Marsam | Manufacturer | Steris Laboratories Inc | October 30 1998 | Possible Cross Contamination With Triamcinolone Acetate | A 231 465 Vials B 9 044 Vials C 168 557 Vials D 6 088 Vials E 35 934 Vials F 173 188 Vials G 3 484 Vials H 1 925 Vials I 138 733 Vials J 674 440 Vials K 67 730 Vials Were Distributed | Nationwide Puerto Rico Kenya Africa Nova Scotia Canada
1999-1-13 | Drugs | III | d-058-9 | Cardizem Tablets Diltiazem Hcl 90 Mg In 100 Tablet Bottles Rx For Use In The Management Of Chronic Stable Angina And Angina Due To Coronary Artery Spasm | Manufacturer | Hoechst Marion Roussel Inc | October 19 1998 | Some Of The Tablets Are Missing Identification Name Strength | 5 969 Bottles Were Distributed | Nationwide
1999-1-13 | Drugs | III | d-059-9 | Copaxone Injection Glatiramer Acetate 20 Mg In 2 Ml Vials Rx For Subcutaneous Use | Hoechst Marion Roussel | Teva Pharmaceutical Industries Ltd | November 4 1998 | Incorrect Lot Number And Expiration Date On A Portion Of Outer Shipping Cases | 2 343 32 Vial Patient Packs Were Distributed | Nationwide
1999-1-13 | Drugs | III | d-063-9 | Phazyme Maximum Strength Anti Gas Soft Gelatin Capsules Simethicone 166 Mg In Bottles Of 60 Otc For The Relief Of Bloating Pressure And Discomfort Of Gas | Block Drug Company | Intergel Irvington New Jersey | June 11 1998 | Batch Mix Up Some Capsules Are Imprinted As Sample From A Validation Lot Which Was Mixed With The Distributed Production Lot | 38 448 Bottles Were Distributed | Nationwide
1999-1-13 | Drugs | III | d-065-9 | Sudafed R Non Drowsy 12 Hour Extended Release Capsule Shaped Tablets Pseudoephedrine 120 Mg In Bottles Of 10 And 20 Otc For Temporary Relief Of Nasal Congestion Due To The Common Hold Hay Fever Or Other Upper Respiratory Allergies And Nasal Congestion Associated With Sinusitis | Warner Lambert Company | Catalytica Pharmaceuticals Inc | February 16 1998 | Dissolution Failure | Firm Estimated That Little If Any Product Remain On The Market | Nationwide
1999-1-13 | Drugs | III | d-066-9 | Sidmak Brand Cyproheptadine Hcl Tablets Usp 4 Mg In 100 And 1 000 Unit Bottles Rx Seasonal Allergic Rhinitis Colds Mild Allergic Skin Manifestations | Manufacturer | Sidmak Laboratories Inc | July 13 1998 | Superpotent 112 | 19 658 Bottles Of 100 And 1 Bottle Of 1000 Tablets Were Distributed | Nationwide
1999-1-13 | Drugs | III | d-068/070-9 | Various Rx Drugs A Sus Phrine Injectable Suspension Epinephrine 1 | Manufacturer | Steris Laboratories Inc | November 6 1998 | Current Good Manufacturing Practice Deviations Lack Of Or Incomplete Process Validation | A 87 610 Ampuls B 2 648 Ampuls C 16 750 Ampuls Were Distributed | A Missouri B Arizona California Colorado Connecticut Florida Iowa Massachusetts Michigan Minnesota New Jersey New York Ohio Texas Virginia Wisconsin West Virginia C Nationwide
1999-1-13 | Biologics | II | b-377/378-9 | Source Plasma B Cryoprecipitate | Alpha Therapeutic Corporation Atc | Alpha Therapeutic Corporation Atc Long Beach California | May 14 1998 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For The Antibody | A 5 Units B 1 Unit Was Distributed | Virginia And Spain
1999-1-13 | Biologics | II | b-386-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Cleveland Ohio | November 12 1998 | Blood Product Was Collected From A Donor Who Reported Living In An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Ohio
1999-1-13 | Biologics | III | b-350/351-9 | A Fresh Frozen Plasma B Frozen Plasma | Manufacturer | American Red Cross Blood Services Roanoke Virginia | September 1 1998 | Blood Products Were Prepared From Whole Blood Units That Had Discrepant Start And End Times Documented | A 1 Unit B 5 Units Were Distributed | Virginia West Virginia Georgia
1999-1-13 | Devices | II | z-187-9 | Information Management System For Mammography Practices | Manufacturer | Lumisys Inc | April 16 1998 | The Software Was Manufactured With Methods That Resulted In Defective Information Being Provided To The Physician And Therefore The Patients With Positive Mammograms May Not Follow Up With A Biopsy Exam | Approximately 483 Units Were Distributed | Nationwide
1999-1-13 | Devices | II | z-188-9 | Mcgaw Stratus Ambulatory Infusion System Model 550 And Alphamed Ez Pump Model 550 With Software Version 2 | Manufacturer | Alphamed Inc | June 19 1997 | The Pump Could Under Infuse Or Blood Could Back Up Into Iv Lines When The Pumps Are Running At A Slow Flow Rate With A Large Infusion Set | 28 Pumps With Software Version 2 32 00 2 42 01 Were Distributed | Texas
1999-1-13 | Devices | II | z-341/348-9 | Depuy Steri Cuff Disposable Tourniquet Cuffs A Steri Cuff 12 In | Depuy Orthopaedics | Depuy Albuquerque Inc | October 26 1998 | The Velcro Strap Is Failing At The Seam To The Cuff Causing The Cuff To Loosen During Use | 10 931 Units Were Distributed | Nationwide And Canada
1999-1-13 | Devices | II | z-349/354-9 | Zimmer Statak Soft Tissue Attachment Devices A Catalog No | Zimmer | Linvatec Largo Florida | November 18 1998 | Open Seals Were Found On The Outer Or Inner Pouches Thereby Compromising The Sterility Of The Devices | 35 138 Packets Of 5 Were Distributed | Nationwide And International
1999-1-13 | Devices | II | z-359-9 | Ciba Corning Acs 180 Plus Analyzers Used For Numerous Assays | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | June 9 1998 | A Software Error For Troponin I Analysis Caused Erroneous Results | 38 Acs 180 Plus Analyzers Were Distributed | Nationwide
1999-1-13 | Devices | II | z-360-9 | Centaur Sample Pipette Tips Used With Acs Centaur Automated Chemiluminescence System To Aspirate Patient Samples And To Place The Samples Into Reaction Cuvettes | Chiron Diagnostics Corporation | Chiron Diagnostics Corporation Oberlin Ohio | May 24 1998 | A Defect Was Found In The Flange Of The Disposable Sample Pipette Tips Part 572491 Which Are Used On The Acs Centaur Analyzer | 7 Centaur Units Which Use The Affected Sample Pipette Tips | International
1999-1-13 | Devices | II | z-363-9 | Acs Centaur Automated Chemiluminescence System Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | March 25 1998 | Software Errors For V 1 | 6 Units Were Distributed | Germany And Italy
1999-1-13 | Devices | II | z-364-365-9 | Multi Calibrator Used With The Express Analyzer To Establish A Master Calibration Curve For Determination Of Specific Assay Concentrations In Unknown Patient Samples A Catalog 132342 B Catalog 112507 | Chiron Diagnostics Corporation | Chiron Diagnostics Corporation Irvine California Calibrator | February 5 1998 | The Value Assignments For Co 2 And Ca Are Incorrect | 2 000 Vials And 29 459 Kits Were Distributed | Nationwide And International
1999-1-13 | Devices | II | z-368-9 | Ciba Corning Acs 180 And Acs 180 Plus Analyzers Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corp | June 14 1996 | Due To A Software Error The Acs Folate And Acs T Uptake Assays May Run Without The Required Conditioning Solution | 1 015 Units Were Distributed | Nationwide And International
1999-1-13 | Devices | II | z-369-9 | Ciba Corning Acs 180 Se Analyzer Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | November 25 1997 | Software Error Causes 16 Different Assays To Not Calculate Si Units Correctly | 15 Units Were Distributed | Texas Virginia Massachusetts Kentucky New York New Jersey Maryland Astralia Belgium France Uk Spain
1999-1-13 | Devices | II | z-375/376-9 | Vision Fx Series Digital Nuclear Imaging System Models Fx 40 And Fx 80 Series Used In Hospitals And Diagnostic Centers To Produce Tomographic Images Of The Body Which Can Aid In The Diagnosis Of Aliments Such As Cancer And Heart Disease | Manufacturer | Smv America Twinsburg Ohio | September 21 1998 | The Published Specification For The Maximum Imaging Count Rate Is 250 Kcps However The Units Can Only Achieve 215 Kcps | 78 Units Were Distributed | Nationwide And Guatemala
1999-1-13 | Devices | II | z-251/252-9 | Tdx Tdxflx Flecainide Reagent Pack List No | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois | November 11 1998 | The Flecainide Fluorescein Tracer Has Caused Problems With Assay Calibration And Controls Out Of Range | 1 173 Kits Were Distributed Firm Estimated That 60 Percent Of The Product Remained On Market At Time Of Recall Initiation | Nationwide
1999-1-13 | Devices | III | z-330-9 | 90 Degree Child Osteotomy Plate 9 | Synthes Usa | Synthes Usa West Chester Pennsylvania | November 19 1998 | Product Was Labeled As 9 | 113 Units | Pennsylvania Texas Missouri Tennessee
1999-1-13 | Devices | III | z-355/357-9 | Bayer Immuno 1 System Pinch Valve Wash Tubing Sold Separately And As A Component Of Kits Note Tubing In Bags That Do Not Contain A Piece Of Paper With The Part 156 2217 01 Printed On It Are Subject To Recall A Bayer Immuno 1 System Pinch Valve Wash Tubing Part No | Manufacturer | Bayer Corporation Elkhart Indiana | September 17 1998 | The Devices May Fail Prematurely | Approximately 25 000 Bags Were Distributed | Nationwide And International
1999-1-13 | Devices | III | z-358-9 | Rotalink Exchange Catheter Catalog No | Manufacturer | Heart Technology Manufacturing Inc | October 20 1998 | Some Of The Burr Blanks Had An Out Of Specification Inside Dimension That Will Not Allow Passage Of A Guide Wire Through The Lumen Of The Burr And Driveshaft Coil Preventing Use Of The Device | 124 Units Were Distributed | Nationwide
1999-1-13 | Devices | III | z-361/362-9 | Apo A 1 Apo B Calibrator Sets Used To Calibrate Express Reagents For Accessing Cardiac Risk By Measuring Apolipoprotein | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | June 3 1996 | Apo A 1 And Apo B Value Assignments Contain A Transcription Error | 34 Apo A 1 Kits And 35 Apo B Kits Were Distributed | New Jersey Michigan California Massachusetts And France
1999-1-13 | Devices | III | z-366-9 | Ciba Corning Acs 180 Analyzer Catalog 1458 X 3 Xx Used To Conduct Various Laboratory Diagnostic Test | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | April 18 1996 | The Probe May Miss The Sample Tube If The 12 X 75 Size Patient Tubes Are Used | 3 673 Units Were Distributed | Nationwide And International
1999-1-13 | Devices | III | z-367-9 | Express Cuvettes For Models 550 And 560 Express Analyzer Used To Conduct Various Laboratory Diagnostic Tests | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | January 29 1997 | Some Of The Reaction Cuvettes Cavity 84 May Have Small Holes In The Bottom Allowing Sample Fluid To Leak Out Which May Possibly Lead To False Test Results | 40 Boxes 100 Cuvette Magazines Per Box Were Distributed | Nationwide And Brazil
1999-1-13 | Devices | III | z-370-9 | Multi Calibrators 1 2 Used With The Express System To Calibrate Numerous Chemical Assays | Chiron Diagnostics Corporation | Chiron Diagnostics Corporation Oberlin Ohio | June 30 1997 | The Urea Urease Si Units Were Printed Incorrectly On The Assay Values Sheet For The Multi Calibrator Kits | 1 422 Kits Were Distributed | Nationwide And International
1999-1-13 | Devices | III | z-371-9 | Ammonia Reagent Kit Used With Express Analyzer For Determination Of Ammonia In Blood Serum | Manufacturer | Chiron Diagnostics Corporation Oberlin Ohio | March 17 1997 | The Gldh Enzyme Was Contaminated With Urease Which Caused The Serum Ammonia Assay Values To Be Out Of Linear Range | 35 Kits Were Distributed | International
1999-1-13 | Devices | III | z-372-9 | Immunoglobulin Ig Calibrator Which Is Used With The Express Analyzer To Calibrate Immunogloblin Assays On The Express Analyzer | Chiron Diagnostics Corporation | Chiron Diagnostics Corporation Oberlin Ohio | December 6 1996 | The Ig Calibrator Level 1 Lot A 8422 C And Ig Calibrator Level 3 Lot A 8422 E Labeled October 09 1996 Were Mis Labeled | 1 Kit Was Distributed | Hong Kong