## 1999-11-10
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-11-10 | Biologics | II | b-038-0 | Red Blood Cells Autologous | Manufacturer | Blood Assurance Inc | August 31 1999 | Blood Product Tested Initially Reactive For Anti Hcv And Negative By A Single Repeat Test | 1 Unit Was Distributed | Georgia
1999-11-10 | Biologics | II | b-065/071-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Platelets For Use In Manufacturing Non Injectable Products F Recovered Plasma Liquid For Manufacturing Non Injectable Products G Recovered Plasma | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | June 15 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Indeterminate | A 15 Units B 8 Units C 2 Units D 1 Unit E 2 Units F 7 Units G 15 Units Were Distributed | Minnesota North Carolina Ohio Virginia California Florida Texas Pennsylvania Switzerland
1999-11-10 | Biologics | II | b-076/081-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma Liquid For Non Injectable Products F Recovered Plasma Pooled | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | June 15 1999 | Blood Products Either Tested Initially Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 Or Which Tested Negative For The Antibody To The Human Immunodeficiency Virus But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Either Anti Hiv 1 Or Anti Hiv 1 2 | A 6 Units B 5 Units C 4 Units D 1 Unit E 1 Unit F 1 Unit Distributed | Minnesota California Florida
1999-11-10 | Biologics | II | b-084-0 | Blood Collection Systems | Manufacturer | Medsep Corporation A Subsidiary Of Pall Corporation Covina California | August 2 1999 | Blood Collection Bags Contained Low Volumes Of Anticoagulant | 390 076 Units Were Distributed | Nationwide And England
1999-11-10 | Biologics | II | b-086/087-0 | Red Blood Cells Leukocytes Reduced Irradiated B Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | July 23 1999 | Blood Products Were Collected From A Donor Taking The Drug Proscar | 1 Unit Of Each Component Was Distributed | Illinois And California
1999-11-10 | Biologics | II | b-089-0 | Salvage Plasma | Manufacturer | Department Of The Air Force Keesler Afb Mississippi | September 12 1997 | Blood Product Was Not Tested For The Antibodies To The Human Immunodeficiency Virus Type 1 2 And Hepatitis B Surface Antigen Hbsag Hepatitis C Virus Encoded Antigen Anti Hcv Hepatitis B Core Antigen Anti Hbc And Syphilis | 1 Unit Was Distributed | Florida
1999-11-10 | Biologics | II | b-100/104-0 | A Red Blood Cells B Platelets C Platelets Pheresis D Fresh Frozen Plasma E Recovered Plasma | Blood Systems | Blood Systems Inc | November 21 1997 | Blood Products Were Collected From Donors Whose Suitability Was Not Adequately Determined | A 111 Units B 10 Units C 14 Units D 19 Units E 82 Units Were Distributed | Alabama California Illinois Louisiana Mississippi New Jersey New York Tennessee
1999-11-10 | Biologics | II | b-105/106-0 | A Red Blood Cells B Recovered Plasma | Blood Systems | United Blood Services Reno Nevada | February 6 1998 | Blood Products Were Collected From A Donor Who Received Weekly Injections Of Gold Salt | 1 Unit Of Each Component Was Distributed | Texas And Switzerland
1999-11-10 | Biologics | II | b-120/121-0 | A Red Blood Cells B Platelets | Manufacturer | American National Red Cross Philadelphia Pennsylvania | October 13 1998 | Blood Products Were Collected From Donors Who Reported Having Lived Or Traveled In Area Designated As Endemic For Malaria | 2 Unit Of Each Component Were Distributed | Pennsylvania And New Jersey
1999-11-10 | Biologics | II | b-123/124-0 | A Red Blood Cells Leukoreduced B Recovered Plasma | Manufacturer | American Red Cross Blood Services Atlanta Georgia | October 28 1998 | Blood Products Were Collected From A Unsuitable Donor | 1 Unit Of Each Component Was Distributed | Georgia And California
1999-11-10 | Biologics | II | b-125-0 | Platelets Pheresis Leukocytes Reduced Irradiated | Manufacturer | Inland Northwest Blood Center Spokane Washington | July 22 1999 | Blood Product Had Incomplete Documentation Of Irradiation | 1 Unit Was Distributed | Washington State
1999-11-10 | Biologics | III | b-082/083-0 | Reverse Group 4 Tm Pooled Cells For Serum Confirmation Of Abo Group B Screening Cell Pooltm For Use In Detection Of Unexpected Antibodies | Manufacturer | Gamma Biologicals Inc | July 6 1999 | In Vitro Diagnostic Products Were Contaminated With Serratia Marcesans | A 198 Vials B 226 Vials Were Distributed | Nationwide Japan Netherlands Saudi Arabia
1999-11-10 | Biologics | III | b-085-0 | Red Blood Cells Irradiated Leukocytes Reduced | Manufacturer | Aurora Area Blood Bank Aurora Illinois | August 19 1999 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Illinois
1999-11-10 | Biologics | III | b-088-0 | Sandoglobulin Iv Immune Globulin Intravenous Human In 12 Gram Vials Indicated For The Maintenance Treatment Of Patients With Primary Immunodeficiencies | Novartis | Zlb Central Laboratory Bern Switzerland | August 27 1999 | Eleven Lots Of Immune Globulin Intravenous Human Exceeded The Residual Moisture Specification | 24 585 Vials Were Distributed | Nationwide
1999-11-10 | Biologics | III | b-131-0 | Recovered Plasma | Manufacturer | Department Of Army Armed Services Blood Bank Center Tacoma Washington | February 10 1999 | Blood Product Was Collected From A Donor Who Reported Taking The Drug Mesalamine | 1 Unit Was Distributed | Pennsylvania
1999-11-10 | Devices | II | z-085-0 | Rubella Igg Elisa Test Kit Diagnostic Test Kit Used For Detection Of Igg Antibody To Rubella Virus In Human Serum | Meridian Diagnostics | Gull Laboratories Salt Lake City Utah | August 24 1999 | Optical Density O | 178 Units | California Florida Massachusetts Michigan Minnesota Missouri New York Oklahoma Pennsylvania Texas
1999-11-10 | Devices | II | z-086-0 | Lifepak 500 Automated External Defibrillator Designed To Be Used By First Responders To Cardiac Emergencies | Manufacturer | Medtronic Physio Control Corporation Redmond Washington | September 24 1999 | Excessive Electrical Noise Interfering With Ecg Analysis That When Present May Cause The Shock Advisory Algorithm To Render An Incorrect Decision | 10 746 Units Were Distributed | Nationwide And International
1999-11-10 | Devices | II | z-093/094-0 | Blood Pressure Cuff For The Bp 410 And 412 Monitor A Part 17402 001 Blood Pressure Cuff Child Part 17403 001 Blood Pressure Cuff Adult Part 17403 003 Blood Pressure Cuff Large Adult B Part 00304 001 412 Blood Pressure Monitor Includes 71403 001 Part 00304 002 412 Blood Pressure Monitor 50 Hz Includes 17403 001 Part 00304 B 001 412 Blood Pressure Monitor 50 Hz Includes 17403 001 | Quinton Instrument Company | Colin Medical Instruments Corporation San Antonio Texas | October 15 1999 | The Bladder And Air Hose Of The Blood Pressure Cuff Contain Undeclared Rubber Latex | 630 Units Were Distributed | Nationwide And International
1999-11-10 | Devices | II | z-095/111-0 | Portable Liquid Oxygen Units Models Aa 1000 Ea Aa 1005 Aa Aa 1010 Aa Ab 1001 Ea Ab 1002 Ec Ab 1005 Aa Ab 1005 Ae Ab 1005 Ag Ab 1005 Ea Ab 1015 Ea Ac 1005 Aa Ad 1003 Ea Ad 1005 Aa Ad 1012 Aa Ad 1017 Ea And Ad 1014 Eb | Manufacturer | Penox Technologies Inc | August 12 1999 | Portable Liquid Oxygen Unit Was Distributed With Unrestricted Flow Regulator | 1 144 Units Were Distributed | Nationwide And International
1999-11-10 | Devices | II | z- 112/117-0 | Schuhli Implant System Designed To Lock A Screw To A Plate Independent Of Bony Contact With The Plate Part Numbers 219 | Synthes Usa | Synthes Usa Monument Colorado | October 30 1997 | In Some Instances The Device May Not Lock Securely Into The Plate | 3 827 Units | Nationwide Canada Switzerland
1999-11-10 | Devices | II | z-118/122-0 | Quickie Power Wheelchairs P 200 Series A Powered Wheelchair Battery Operated Medical Device With Wheels That Is Intended For Medical Purpose To Provide Mobility To Persons Restricted To A Sitting Position A Model P 120 B Model P 200 C Model P 210 D Model P 300 E Model P 320 | Manufacturer | Sunrise Medical Quickie Designs Inc | October 26 1999 | The Failure Of The Front Two Bolts Caster Plate Can Result In The Caster Assembly Separating From The Chair Frame | 11 030 Units | Nationwide And International
1999-11-10 | Devices | II | z-123/129-0 | Sterngold Black Era Rv Reduced Vertical Males Intended For The Retention Of Partial Dentures Product Numbers A 811105 Era Rv Starter Kit B 811115 Era Rv Attachment C 811125 Era Rv Black Males D 811166 Assorted Era Rv Males E 811168 Era Rv Housing F 811203 Era Offset Rv 4 | Sterngold | Spectrum Plastics Assonia Connecticut | September 28 1999 | Incorrect Height Dimensions To The Denture Attachment | 8 037 Units | Nationwide And International
1999-11-10 | Devices | II | z-131-0 | Lsl Sterile Tracheotomy Care And Clean Set Sterile Single Patient Use Tray | Lsl Industries | Lsl Industries Inc | September 23 1999 | The Kits May Contain A Contaminated Gauze Component | 1 160 Trays | Maine Illinois Missouri New Jersey Puerto Rico
1999-11-10 | Devices | II | z-132-0 | Freehand Implantable Epimysial Electrodes For The Neurocontrol Freehand System Part 1320 A And Model 200 19 All Sizes Lengths | Neurocontrol Corporation | Neurocontrol Corporation Valley View Ohio Kits Bio Control Technology Inc | November 13 1998 | Lack Of Assurance That The Electrodes Were Sterilized | 87 Electrodes Included In A Total Of 6 Kits | New York Pennsylvania Indiana Australia United Kingdom France
1999-11-10 | Devices | II | z-135/139-0 | A Percutaneous Transluminal Angioplasty Pta Catheter Catalog Numbers Pta Os 253 303 And 403 B Z Med Dilation Catheter Catalog Numbers Pdz S C Z Med Ii Dilatation Catheter Catalog Numbers Pds 630 643 And 655 D Pta Os Balloon Catheter Catalog Numbers Vsb 030 And 040 E Ghost Ii Dilation Catheter Catalog Numbers Gii 109 113 121 129 130 137 138 141 | Manufacturer | Numed Inc | January 29 1999 | Non Sterility | 302 Catheters Were Distributed | Massachusetts United Kingdom South Africa Argentina
1999-11-10 | Devices | II | z-141-0 | Surface Smoothness Sensor Model 4206 | Manufacturer Fda Approved The Firm's Corrective Action Plan On May 11 | Honeywell Measurex Corporation Cupertino California | May 11 1999 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard 21 Cfr 10 1040 | 14 Units | Nationwide
1999-11-10 | Devices | II | z-144/145-0 | Permitted Human Access To Laser Radiation In Excess Of The Product Class And 1040 | Abbott Laboratories | Abbott Laboratories Inc | October 22 1999 | False Positive Results With Some Negative Samples | 5 003 Kits Were Distributed | Nationwide And International
1999-11-10 | Devices | II | z-148/150-0 | Abbott Gonozyme Diagnostic Kit An Eia For Detection Of Neisseria Gonorrhoeae Antigens In Urethral And Endocervical Swab Specimens From Humans 100 Test Kit List 6502 24 Kit With Female Swabs List 6502 25 Kit With Male Swabs List 6502 62 Reagent Kit With No Swabs | Manufacturer | Abbott Laboratories Inc | October 19 1999 | Stability Failure | 136 Kits Were Distributed | Texas Germany Italy Japan Singapore Taiwan
1999-11-10 | Devices | II | z-151-0 | Ameda Disposable Vacuum Assist Cup A Sterile Single Use Device For Use With Electric Or Hand Held Vacuum Pumps To Facilitate Vaginal Delivery Of Term Or Near Term Infants Exhibiting Fetal Distress | Hollister | Hollister Inc | October 22 1999 | Some Of The Tubing Adapters Do Not Have The Black O Rings In Place | 1 780 Units Were Distributed | Nationwide
1999-11-10 | Devices | II | z-152/153-0 | Alpha Iq Mammographic X Ray Units A Model Iq B Model Rt | Instrumentarium Imaging | Instrumentarium Corporation Imaging Division Tuusula Finland | October 28 1999 | There Can Be Unintended Motion Of The C Arms Of The X Ray Units Due To Insufficient Switch Insulation | 62 Units Were Distributed | Nationwide
1999-11-10 | Devices | III | z-133-0 | Immunocard Toxin A A Diagnostic Test Kit | Manufacturer | Meridian Diagnostics Inc | August 8 1999 | Kits Contain An Improper Sample Transfer Pipet 50 Ul Instead Of 25 Ul | 291 Kits Were Distributed | Nationwide
1999-11-10 | Devices | III | z-134-0 | Premier Giardia A Diagnostic Test Kit | Manufacturer | Meridian Diagnostics Inc | October 13 1999 | Weak Positive Test Samples May Be Reported As False Negative | 601 Kits Were Distributed | Nationwide
1999-11-10 | Devices | III | z- 140-0 | Abbott Testpack Chlamydia 20 T Ce Kit In Vitro Diagnostic Enzyme Immunoassay For The Detection Of Chlamydia Trachomatis Antigen From Endocervical Swab Specimens 20 Tests Per Kit | Abbott Laboratories | Abbott Laboratories Inc | October 19 1999 | Swab Component Expires Prior To The Kit Expiration Date | 48 Kits Were Distributed | Nationwide And International
1999-11-10 | Devices | III | z-142/143-0 | Architect Estradiol Reagent Kit List 6 C 22 20 And List 6 C 22 25 In Vitro Diagnostic Chemiluminescent Microparticle Immunoassay Cmia For The Quantitative Determination Of Estradiol In Human Serum And Plasma | Manufacturer | Abbott Laboratories Inc | October 20 1999 | Under Recovery Of Estradiol With Undiluted Patient Specimens | 825 400 Test Kits 463 100 Test Kits Were Distributed | Nationwide And International
1999-11-10 | Devices | III | z-146- 0 | Abbott Test Pack Plus Hcg Combo With On Board Controls Obc Reaction Disc A Self Performing Immunoassay Designed For The Qualitative Detection Of Human Chorionic Gonadotropin Hcg In Serum And Urine For Early Detection Of Pregnancy | Abbott Laboratories | Abbott Laboratories Inc | October 22 1999 | Lots May Produce False Positive Results | 32 036 Kits Were Distributed | Nationwide And International
1999-11-10 | Devices | III | z-147-0 | Abbott Vision Chem Controls Multianalyte Controls Used For Verifying The Performance Of Specific Chemistry Tests On The Abbott Vision System | Abbott Laboratories | Abbott Laboratories Inc | October 19 1999 | Chem Control Ii Running Below Specification Range When Used With Sgpt Assay | 2 589 Kits Were Distributed | Nationwide And International