## 1999-11-3
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-11-3 | Biologics | III | b-010-0 | Source Plasma | Manufacturer | Seramed Inc | December 21 1998 | Blood Products Tested Negative For All Required Viral Marker Tests Were Distributed Prior To Testing | 12 Units Were Distributed | California
1999-11-3 | Biologics | III | b-011-0 | Corneas | Lions Eye Bank Of Delaware Valley | Lions Eye Bank Of Delaware Valley C O Willis Eye Hospital Philadelphia Pennsylvania | June 15 1999 | Corneas Were Collected From A Donor Who Tested Repeatedly Reactive For The Hiv P 24 Antigen And Non Comfirmable By Pcr | 2 Units Were Distributed | Florida And Texas
1999-11-3 | Biologics | III | b-012-0 | Corneas | Manufacturer | Georgia Eye Bank Inc | July 13 1999 | Corneas Were Collected From A Donor Who Tested Repeatedly Reactive For The Hiv P 24 Antigen And Non Confirmable By Pcr | 2 Units Were Distributed | Georgia And Japan
1999-11-3 | Biologics | III | b-017-0 | Source Plasma | Manufacturer | American National Red Cross Ashley Pennsylvania | April 17 1998 | Unlicensed Blood Products Were Distributed In Interstate Commerce | 7 Units Were Distributed | California
1999-11-3 | Biologics | III | b-024/025-0 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | The Blood Center Of Southeastern Wisconsin Milwaukee Wisconsin | December 16 1998 | Blood Products Were Collected From A Donor Taking The Drug Sulfasalazine | 1 Unit Of Each Component Was Distributed | Wisconsin
1999-11-3 | Biologics | III | b-028/031-0 | A Red Blood Cells B Recovered Plasma C Red Blood Cells For Manufacturing Use D Platelets For Use In Manufacturing Non Injectable Products | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | February 19 1999 | Blood Products Tested Non Reactive For Anti Hiv 2 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 2 Were Distributed | A 1 Unit B 2 Units C 1 Unit D 3 Units Were Distributed | Florida Minnesota Switzerland
1999-11-3 | Biologics | III | b-039-0 | Panglobulin Immune Globulin Intravenous Human In 12 Gram Vials | American Red Cross | Zlb Central Laboratory Bern Switzerland | August 20 1999 | Two Lots Of Immune Globulin Intravenous Human That Exceeded The Residual Moisture Specification | 7 963 Vials Distributed | Nationwide
1999-11-3 | Biologics | III | b-040-0 | Platelets Pheresis | Manufacturer | The Blood Center Of Southeastern Wisconsin Milwaukee Wisconsin | July 7 1999 | Blood Product Was Collected From A Donor Who Had Not Been Questioned About The Use Of The Drug Soriatane Acitretin Product A Whole Blood B Red Blood Cells Leukocytes Reduced C Platelets D Platelets Pooled | 1 Unit Was Distributed | Illinois
1999-11-3 | Biologics | III | b-045/046-0 | S Were Collected From Donors Who Had Not Been Questioned About The Use Of The Drug Soriatane Acitretin | Manufacturer | American Red Cross Blood Services Nashville Tennessee | May 13 1999 | Blood Products Had Been Stored At Unacceptable Temperatures | A 5 Units B 1 Unit Was Distributed | Tennessee
1999-11-3 | Biologics | III | b-063-0 | Platelets | Manufacturer | American Red Cross Blood Services Baltimore Maryland | November 13 1998 | Blood Products Were Shipped At An Unacceptable Temperature | 7 Units Were Distributed | Maryland
1999-11-3 | Devices | II | z-064/065-0 | Dialyzer Control A Centrysystem 3 Catalog Nos | Manufacturer | Gambro Renal Care Products Lakewood Colorado | August 24 1999 | The Dialyzer Alarm Does Not Sound When The Maximum Arterial Pressure Alarm Limit Is Challenged | 1 442 Of The Affected Machines Are In Us Distribution And 307 Were Shipped To International Distributors Also 204 Transducer Spare Kits 133 Cartridge Holder Spare Kits And 3 Transducer Connector Spare Kits Were Distributed Domestically International Distribution Of These Kits Was 108 8 And 0 Respectively | Nationwide And International
1999-11-3 | Devices | II | z-066/067-0 | Soflex Uv Absorbing Silicone Pc Intraocular Lenses Model Li 51 U Li 61 U | Manufacturer | Bausch And Lomb Surgical Clearwater Florida | September 14 1999 | Intraocular Lenses May Exhibit A Cloudy Appearance | 252 Lenses Were Distributed Firm Estimated That 124 Units Remained On Market At Time Of Recall Initiation | Nationwide
1999-11-3 | Devices | II | z-073-0 | Lifestyle Mv 2 Multifocal Hydrophilic Sterile Contact Lenses In Blister Packs Rx Product | The Lifestyle Company | St. Shine Optical Company | August 30 1999 | The Contact Lenses Contain Sorbic Acid That Is Not Declared On The Labeling And May Cause A Burning Sensation In The Patient's Eye | Approximately 147 840 Units Were Distributed | Nationwide And International
1999-11-3 | Devices | II | z-075/076-0 | Locking Blot Measuring Device Used To Determine The Required Length Of The Locking Bolt A Part Number 357 | Synthes Usa | Synthes Usa West Chester Pennsylvania | November 7 1997 | The Ball That Attaches To The Measuring Slider Of The Device May Detach | 22 Units Were Distributed | Arkansas Florida Minnesota North Carolina New Jersey Pennsylvania Germany
1999-11-3 | Devices | II | z-078/083-0 | Synthes Anatomical Locking Plate System Used To Treat Fractures Of Long Bones Such As The Femur A Part Number 422 | Synthes Usa | Mathys Medical Ltd | December 19 1997 | The Fatigue Strength Of The Plates Did Not Meet The Original Specification | 288 Units Were Distributed | Alabama Colorado Florida Mississippi North Carolina New York
1999-11-3 | Devices | II | z-084-0 | Proximal Femoral Nail Pfn System Used To Ream A Hole For The Insertion Of A Femoral Neck Screw | Synthes Usa | Stratec Medical Eimattstrasse Switzerland | September 2 1997 | The Tip Of The Device May Break When It Comes In Contact With A Bent Guidewire | 14 Units Were Distributed | California Connecticut Illinois Pennsylvania Canada
1999-11-3 | Devices | III | z-023-0 | Navarre 6 French J Curve Universal Drainage Catheter Product Reference Number Nud 6 J Used Only In Non Vascular Drainage Procedures And Are Intended To Be Used For Abscess Cyst And Other General Purpose Drainage Applications | Manufacturer | Navarre Biomedical Ltd | September 17 1999 | The Catheter Size Was Incorrectly Identified At The Tops Of The Pouch Labels Of The Catheters As 8 French Inside Diameter Rather Than As The Actual Size 6 French | 105 Catheters Were Distributed | Georgia Indiana Pennsylvania Australia Canada
1999-11-3 | Devices | III | z- 070-0 | Pelvic Implant Set Graphic Case For Self Tapping Screws Used To Organize And Store Implants Including Tapping Screws | Synthes Usa | Synthes Usa Monument Colorado | November 25 1997 | Mislabeling The Rack In The Graphic Case That Hold The Self Tapping Screws Is Labeled With The Part Numbers For The Standard Screws Instead Of The Self Tapping Screws | 4 Units Were Distributed | California Georgia Iowa South Carolina
1999-11-3 | Devices | III | z-074-0 | Synthes Mandibular Modular Fixation System | Synthes Usa | Synthes Usa Monument Colorado | October 18 1997 | One Of The Outer Labels Of The Device Was Purple Instead Of Blue | 43 Units Were Distributed | Alabama California Colorado Florida Hawaii Michigan Missouri North Carolina New York Ohio Pennsylvania South Carolina Texas Washington Wisconsin
1999-11-3 | Devices | III | z-077-0 | Pelvic Implant Set Graphic Case For Self Tapping Screws | Synthes Usa | Synthes Usa Monument Colorado | November 25 1997 | Mislabeling The Rack In The Graphic Case That Hold The Self Tapping Screws Is Labeled With The Part Numbers For The Standard Screws Instead Of The Self Tapping Screws | 4 Units Were Distributed | California Georgia Iowa South Carolina
1999-11-3 | Devices | III | z-087-0 | Synthes Ti 6 Ai 7 Nb Unreamed Femoral Nail Used For Intramedullary Stabilization For Femoral Shaft And Subtrochanteric Fractures Ipsilateral Femoral Neck And Shaft Fractures And Impending Pathologic Fractures Of The Femur | Synthes Usa | Synthes Usa Monument Colorado | April 8 1998 | Mislabeling The Package Was Labeled As 9 X 340 Mm Titanium Unreamed Femoral Nail But Contained An 11 X 340 Mm Titanium Unreamed Femoral Nail | 6 Units Were Distributed | Arizona California Colorado Florida Massachusetts Missouri North Carolina Nebraska New Jersey New York Ohio Pennsylvania
1999-11-3 | Devices | III | z-088-0 | Synthes Unreamed Humeral Nail Urhn | Synthes Usa | Synthes Usa Monument Colorado | September 19 1997 | The Locking Bolts Were Packaged As 40 Mm In Length But Were Actually 42 Mm In Length | 95 Units Were Distributed | Nationwide And Canada
1999-11-3 | Devices | III | z-089/090-0 | Bone Staple S A Part 282 | Synthes Usa | Synthes Usa Monument Colorado | October 10 1997 | Mislabeling The Package Label States Intended For Femoral Fractures And Osteotomies Which Is Not Applicable For This Device | 250 Units Were Distributed | California Kansas Missouri North Carolina New York Ohio Oklahoma Pennsylvania Texas
1999-11-3 | Devices | III | z-091/092-0 | Saw Guide Assembly Right And Left Hto System Used As A Guide For A Bone Saw A Part P 94025 | Synthes Usa | Synthes Usa Monument Colorado | September 22 1997 | The Stud That Is Used To Secure The Saw Guide To The Guidewire May Loosen From The Base | 6 Units Were Distributed | Missouri Mississippi Germany