## 1999-12-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-12-29 | Drugs | II | d-146/152-0 | Forest Levothroid Tablets Levothyroxine Sodium Tablets Usp Rx Indicated As Replacement Or Substitution Therapy For Diminished Or Absent Thyroid Function A Levothroidæ Tablets Levothyroxine Sodium 75 Mcg 100 Count | Forest Pharmaceuticals | Forest Pharmaceuticals Inc | November 3 1999 | Subpotent | 251 347 100 Count Bottles Were Distributed | Nationwide
1999-12-29 | Drugs | II | d-153-0 | Ethex Disopyramide Phosphate Extended Release Capsules Usp 150 Mg In 100 Capsule Bottles Rx For The Treatment Of Documented Ventricular Arrhythmias | Ethex Corporation | Kv Pharmaceutical Company Maryland Heights Missouri | November 9 1999 | Dissolution Failure 6 Month Stability 12 Th Hour | 6 338 100 Capsule Bottles Were Distributed | Nationwide
1999-12-29 | Drugs | III | d-140-0 | Fluocinolone Acetonide Topical Solution Usp 0 | Manufacturer | Bausch And Lomb Pharmaceuticals Inc | November 5 1999 | Subpotency | 219 079 Units Were Distributed Firm Estimated That 37 000 Units Remained On Market At Time Of Recall Initiation | Nationwide
1999-12-29 | Drugs | III | d-143-0 | Depocyt Tm Cytarabine Liposome Injection 50 Mg Ml 10 Mg Ml In 5 Ml Sterile Single Use Vial Rx Cytotoxic Anticancer Drug | Chiron Corporation | Skyepharm Inc | October 5 1999 | Product Failed Free Cytarabine Specification 6 Month Stability | 569 Vials Were Distributed | Nationwide
1999-12-29 | Drugs | III | d-145-0 | Hemoridæ Hemorrhoidal Suppositories Zinc Oxide 11 Phenylephrine Hydrochloride 0 | Consumer Health Care Group | G W Laboratories Inc | October 29 1998 | Subpotency Of Phenylephrine Stability Testing | 1 227 948 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And Puerto Rico
1999-12-29 | Drugs | III | d-154-0 | Trilisate Tablets Choline Magnesium Trisalicylate 750 Mg 500 Count Bottles Rx Non Sterodial Anti Inflammatory Analgesic And Anti Pyretic Preparation | The Purdue Frederick Company | The P. F. Laboratories | April 30 1999 | Subpotent Choline Content | 792 Bottles Were Distributed Firm Estimated That 359 Bottles Remained On Market At Time Of Recall Initiation | Nationwide
1999-12-29 | Drugs | III | d-155-0 | Levsinæ Injection Hyoscyamine Sulfate 0 | Schwarz Pharma Mfg | Taylor Pharmaceuticals Decatur Illinois | October 28 1999 | Subpotent 18 Month Stability Testing | 9 296 Cartons 5 Ampules Per Box Were Distributed | Nationwide And Republica Dominicana
1999-12-29 | Drugs | III | d-156-0 | Medi First Extra Strength Non Aspirin Acetaminophen 500 Mg Otc Pain Reliever Packaged In 2 Tablet Unit Dose Packets | Textilease Medique | Future Pak Ltd | November 18 1999 | Mislabeling Exterior Holding Dispensing Cartons Labeled As Non Aspirin Ibuprofen 200 Mg | 448 Cartons Were Distributed Firm Estimated That 25 Percent Of Product Remained On Market At Time Of Recall Initiation | Colorado California Texas Missouri Arkansas Wisconsin Alabama Michigan Indiana Tennessee Florida Georgia South Carolina Illinois
1999-12-29 | Drugs | III | d-157- 0 | E Ludesô Capsules Kava Kava Guarana Grape Seed Uva Ursi Corn Silk Cascara Segrada Otc In 12 Count Packages | Distributor | Spectrum Distribution Marketing Inc | November 15 1999 | Product Was Marketed Without An Approved New Drug Application | Approximately 288 Units Were Distributed | Marketing Inc
1999-12-29 | Drugs | III | d-158-0 | Tinactin Antifungal Powder Tolnaftate 1 In 45 90 And 108 Gram Shaker Bottles Otc Topically Applied Antifungal Powder | Schering Plough Healthcare | Ash Corporation Gulfport Mississippi | November 11 1999 | Subpotent Stability | 428 000 Units Of The Three Sizes Were Produced | Nationwide
1999-12-29 | Devices | II | z-264-0 | Elastic Head Strap Sold As A Standard Accessory In The Laerdal Pocket Mask With Oxygen Inlet And Headstrap Used To Facilitate Exhaled Air Ventilation In Emergencies Whereby The Rescuer Exhales Air Through The Mask And Into The Lungs Of The Patient | Laerdal Medical Corporation | Laerdal Medical As Stavanger Norway | December 1 1999 | The Headstrap Of The Device Contains Latex Which Is Not Declared On The Label | 3 775 Units | Nationwide And 1 International Facility
1999-12-29 | Devices | II | z-265/266-0 | Ancure Endograft System An Endovascular Catheter Designed To Deliver The Endograft And Is Completely Removed From The Patient Once Endograft Is Implanted | Manufacturer | Origin Medsystems Inc | November 17 1999 | The Monofilament Tie Used In The Manufacturing Process Is Not Removed From The Endograft Prior To Completion Of The Manufacturing Process The Attachment System Cannot Deploy Leaving The Implant In A Partial Deployed State | 278 Units Were Distributed | Nationwide And International
1999-12-29 | Devices | II | z-267-0 | Abbott Alcyon Analyzers With Alcyon System Software Version 1 | Manufacturer | Abbott Laboratories Inc | May 18 1999 | The Device May Give Incorrect Tests Results Or Reference Ranges When Printing The Complete Report Header Incomplete Report Draft And The Control Results Printout | 55 Units Were Distributed | Nationwide And Japan
1999-12-29 | Devices | II | z-276/278-0 | Nellcor Puritan Bennett Ventilator All Model 7200 Series Types Prescription Microprocessor Mechanical Ventilator Which Combines Microprocessor Technology With A Pneumatic System To Achieve Gas Delivery And Patient Monitoring A 7200 A Series 4 026700 00 7200 A Domestic English 4 026701 00 7200 A International English 4 026702 00 7200 A International English 4 026703 00 7200 A International French 4 026704 00 7200 A International French 4 026705 00 7200 A International German 4 026706 00 7200 A International Spanish 4 026707 00 7200 A International Spanish 4 026708 00 7200 A International Japanese 4 026709 00 7200 A International Japanese 4 026710 00 7200 A International Saudi Arabia 4 026712 00 7200 A International Italian B 7200 Sp Spi 4 026720 00 7200 Sp Domestic English 4 026721 00 7200 Sp 220 V 50 Hz English 4 026722 00 7200 Sp 240 V 50 Hz English 4 026724 00 7200 Sp 220 V 50 Hz French 4 026725 00 720 Spi 220 V 50 Hz German 4 026726 00 720 Spi 115 V 60 Hz Spanish 4 026727 00 720 Spi 220 V 50 Hz Spanish 4 026728 00 720 Spi 100 V 50 Hz Japanese 4 026729 00 720 Spi 100 V 60 Hz Japanese 4 026730 00 720 Spi 220 V 50 Hz Saudi Arabia 4 026731 00 720 Spi 115 V 60 Hz French 4 026732 00 720 Spi 220 V 50 Hz Italian C 7200 Ae Series 4 Pb 7200 Dl 7200 Ae Demo Loaner 4 Pb 7200 Ds 7200 Ae Demo Sale 4 026734 Dp 7200 Ae W Display 4 026734 00 7200 Ae W O Display 4 026735 Dp 7200 Spe W Display 4 026735 00 7200 Spe W O Display 4 026741 00 7200 E | Manufacturer | Nellcor Puritan Bennett Inc | June 4 1999 | The Ventilators May Deliver An Unexpected High Inspiratory Pressure And Flow When The Following Set Of Parameters Are Selected At One Time Mode Simv Rate 15 Tidal Volume 0 | 46 468 Units Were Distributed | Nationwide And International
1999-12-29 | Devices | II | z-284/285-0 | Various Types Of Human Tissue And Bone Allografts Contained In Either Plastic Bags Or Bottles With Screw On Caps With A Computer Generated Label A Dura Mater B Dura Strips | Manufacturer | Lifelink Tissue Bank Tampa Florida | November 5 1999 | The Firm Did Not Adequately Evaluate The Combination Of Blood And Colloids Used In Viral Market Testing And Based The Hemodilution Determination On The Donor's Serum Total Protein | 4 Allografts From One Donor Are Involved | Florida And Alabama
1999-12-29 | Devices | II | z-281/283-0 | Bio Laser Systems Used For Biostimulation A Model 1000 B Model 2000 C Model Tuco | Manufacturer Fda Approved The Firm's Corrective Action Plan On December 14 | Bio Laser Response Corporaton Dr | December 14 1999 | The Devices Failed To Comply With 21 Cfr 1040 | A 9 Units B 1 Unit C Undetermened Number Units Were Distributed | Nationwide
1999-12-29 | Devices | III | z-268/271-0 | Patient Cables Used In Models Hp M 1770 A M 1771 A M 1772 A Pagewriter Electrocardiographs And Model 2488 A Stresswriter Testing System | Agilent Technologies Formerly Hewlett Packard Co | China Hewlett Packard Company Ltd | November 12 1999 | Damaged Cables May Lead To Distorted Ecg Waveforms | 28 700 Units Were Distributed | Nationwide And International
1999-12-29 | Devices | III | z-272-0 | Psa Reagent Pack For The In Vitro Quantitative Measurement Of Psa Prostate Specific Antigen In Serum And Plasma | Ortho Clinical Diagnostics | Fujirebio Diagnostics Inc | June 10 1999 | Microbial Contamination Of Reagent | Lot 30 371 Units Lot 40 26 Units | Virginia And International
1999-12-29 | Devices | III | z-273/274-0 | Architect Free T 3 Reagent Kit A Chemiluminescent Microparticle Immunoassay Cmia For The Quantitative Determination Of Free Triiodothyronine Free T 3 In Human Serum And Plasma A List 6 C 48 25 1 X 100 Tests B List 6 C 48 30 4 X 500 Tests | Manufacturer | Abbott Laboratories Inc | December 1 1999 | Single Analyte High Control Goes Out Of Specification Low Falling Below The Concentration Range Listed In The Package Insert | 1 830 Kits Were Distributed | Nationwide Canada And International
1999-12-29 | Devices | III | z-275-0 | Greer Dia Kit A Diagnostic Aid For Hypersensitivity Pneumonitis | Manufacturer | Greer Laboratories Inc | October 11 1999 | When Freeze Dried Product Was Reconstituted The Bulk Manufacturing Date Was Not Added To The Manufacturing Record | 42 Vials | California Florida Idaho Illinois Massachusetts North Carolina Utah Virginia
1999-12-29 | Devices | III | z-279-0 | Was Given An Incorrect Expiration Date | Manufacturer | Vasamedics L | November 16 1999 | The Devices Contain A Chip At Main Circuit Board Position U 47 That Does Not Meet Performance Specifications Due To A Chip Substitution Error Made By A Vendor | 10 Units | California Colorado Indiana Missouri Tennessee Canada Japan Turkey
1999-12-29 | Devices | III | z- 280-0 | Erythropoietin Quantikine Ivd Human Epo Immunoassay Elisa Kit Catalog Number Dep 00 Used For The In Vitro Diagnostic Determination Of Erythropoietin Concentration In Human Serum As An Aid In The Diagnosis Of Anemia And Polycythemia | Manufacturer | R D Systems Inc | December 9 1999 | Deterioration Of Kit Components Leads To Incorrect Erythropoietin Assays | 546 Units Were Distributed | Nationwide And International