## 1999-2-3
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1999-2-3 | Drugs | III | d-096-9 | Oxygen Usp Compressed In The Following Sizes Of Cylinders Oxusp 200 Equivalent To H Oxusp 150 Equivalent To S Oxusp 125 Equivalent To M Oxuspe 00 Oxuspd 00 And Oxuspb 00 | Airgas North Central | Airgas North Central Inc | December 28 1998 | Mislabeling Product Given Incorrect Expiration Date | 687 Cylinders Were Distributed | Iowa South Dakota Minnesota
1999-2-3 | Biologics | II | b-115-9 | Platelets Pheresis | Manufacturer | Gulf Coast Regional Blood Center Houston Texas | July 13 1998 | Blood Product Had An Unacceptable Platelet Count | 1 Unit Was Distributed | Texas
1999-2-3 | Biologics | II | b-180-9 | Source Leukocytes | Manufacturer | American Red Cross Blood Services Baltimore Maryland | February 3 1998 | Blood Product Tested Negative For Hbsag But Was Collected From A Donor Who Previously Tested Reactive For Hepatitis B | 1 Unit Was Distributed | New Jersey And Switzerland
1999-2-3 | Biologics | II | b-392/393-9 | A Red Blood Cells B Platelets | Blood Systems | United Blood Services Albuquerque New Mexico | December 2 1998 | Blood Products Were Collected From A Donor Taking The Drug Methotrexate | 1 Unit Of Each Component Was Distributed | New Mexico And Colorado
1999-2-3 | Biologics | II | b-394/395-9 | A Plasma B Red Blood Cells For Further Manufacture | Manufacturer | American Red Cross Blood Services Baltimore Maryland | June 23 1998 | Blood Products Were Collected From A Donor Who Gave A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | Illinois And Maryland
1999-2-3 | Biologics | II | b-398/399-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Gulf Coast Regional Blood Center Houston Texas | July 15 1998 | Blood Products Were Collected From A Donor Whose Suitability Was Not Adequately Determined | 1 Unit Of Each Component Was Distributed | Texas And New Jersey
1999-2-3 | Biologics | II | b-406/407-9 | A Red Blood Cells B Platelets | Manufacturer | Lifeshare Inc | November 18 1998 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Ohio
1999-2-3 | Biologics | II | b-408/409-9 | A Red Blood Cells B Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | November 16 1998 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | Maryland And District Of Columbia
1999-2-3 | Biologics | II | b-410-9 | Red Blood Cells | Manufacturer | W E Lela I Stewart Regional Blood Center | August 27 1998 | Blood Products Were Collected In A Manner That Compromised The Sterility Of The Units | 3 Units Were Distributed | Texas
1999-2-3 | Biologics | II | b-411/415-9 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma | Bloodcare | Bloodcare Dallas Texas | August 14 1998 | Blood Products Tested Negative For The Antibody To The Human T Lymphotropic Virus Type I Anti Htlv I But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Htlv 1 | A 7 Units B 2 Units C 3 Units D 1 Unit E 3 Units Were Distributed | Louisiana Texas California Switzerland
1999-2-3 | Biologics | II | b-418/421-9 | A Red Blood Cells B Platelets C Plasma D Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | May 27 1998 | Blood Products Were Collected From A Donor Who Had Previously Been Deferred For Having Engaged In High Risk Behavior | A 2 Units B D 1 Unit Of Each Component Was Distributed | Maryland
1999-2-3 | Biologics | II | b-422-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Cleveland Ohio | December 1 1998 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 2 Units Were Distributed | Ohio
1999-2-3 | Biologics | II | b-424/425-9 | A Platelets B Fresh Frozen Plasma | Manufacturer | Gulf Coast Regional Blood Center Houston Texas | August 13 1998 | Blood Products Were Collected From A Donor Taking The Drug Proscar | 1 Unit Of Each Component Was Distributed | Texas
1999-2-3 | Biologics | II | b-426-9 | Platelets Pheresis | Manufacturer | W E Lela I Stewart Regional Blood Center | October 7 1998 | Blood Product Was Collected In A Manner That Compromised The Sterility Of The Unit | 1 Unit Was Distributed | Texas
1999-2-3 | Biologics | II | b-427-9 | Platelets Pheresis Leukocytes Reduced | Blood Systems | United Blood Services Mcallen Texas | October 2 1998 | Blood Products Had Unacceptable Platelet Counts | 3 Units Were Distributed | Texas
1999-2-3 | Biologics | II | b-428-9 | Platelets | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | June 22 1998 | Blood Product Was Mislabeled As Cmv Antibody Negative | 1 Unit Was Distributed | Illinois
1999-2-3 | Biologics | III | b-396/397-9 | A Red Blood Cells B Recovered Plasma | Manufacturer | Virginia Blood Services Richmond Virginia | December 8 1998 | Blood Products Were Colleted From A Donor Whose Donor History Screening Was Incomplete | 1 Unit Of Each Component Was Distributed | Virginia And Switzerland
1999-2-3 | Biologics | III | b-400-9 | Fresh Frozen Plasma | Blood Systems | United Blood Services Hot Springs Arkansas | November 16 1998 | Blood Product Was Prepared From A Whole Blood Unit That Had Discrepant Start And End Times Documented | 1 Unit Was Distributed | Arkansas
1999-2-3 | Biologics | III | b-401-9 | Red Blood Cells Leukocytes Reduced | Blood Systems | United Blood Services El Paso Texas | November 20 1998 | Blood Product Was Stored At Unacceptable Temperatures | 1 Unit Was Distributed | New Mexico
1999-2-3 | Biologics | III | b-402-9 | Allergenic Extract Gs Rhizopus Mix | Manufacturer | Greer Laboratories Inc | December 11 1998 | Allergenic Extract Was Labeled With An Incorrect Lot Number | 2 Vials | Florida And Wisconsin
1999-2-3 | Biologics | III | b-416-9 | Red Blood Cells Washed | Manufacturer | American Red Cross Tucson Arizona | November 9 1998 | Red Blood Cells Failed Red Cell Recovery Ratio | 1 Unit Was Distributed | Arizona
1999-2-3 | Biologics | III | b-417-9 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | December 4 1998 | Blood Product Was Collected From A Donor Who Exceeded The Donation Acceptance Criteria For Body Temperature | 1 Unit Was Distributed | Oklahoma
1999-2-3 | Biologics | III | b-423-9 | Platelets | Manufacturer | American Red Cross Huntington West Virginia | October 7 1998 | Blood Product Was Collected From A Unit Of Whole Blood With A Discrepant Collection Time | 1 Unit Was Distributed | West Virginia
1999-2-3 | Biologics | III | b-430-9 | Red Blood Cells Irradiated | Manufacturer | American Red Cross Dedham Massachusetts | January 14 1997 | Blood Product Was Stored At Unacceptable Temperatures | 1 Unit Was Distributed | Massachusetts
1999-2-3 | Devices | II | z-373-9 | Intraocular Lens Model Ma 60 Bm | Manufacturer | Alcon Laboratories Huntington West Virginia | November 15 1998 | Mislabeling The Dioptric Power On The Primary Label 17 | 7 Lenses Were Distributed | Japan
1999-2-3 | Devices | II | z-374-9 | Simulix Hp Radiation Therapy Simulation System | Nucletron Corporation | Nucletron Bv The Netherlands | August 11 1998 | Oil Leaking From Afd Motor And Dripping Onto The Brake Assembly Of The Opposing Fad Motor Causing The Brake To Slip Potentially Permitting Involuntary And Unwanted Movement Of The Gantry | 7 Units Were Distributed | Ohio Indiana Missouri Canada
1999-2-3 | Devices | II | z-516/517-9 | a) 2 Fr. Nutriline Neonatal Catheter b) 2 Fr. Nutriline Neonatal Catheter and Tray | Vygon Corporation | Vygon Gmbh Company Kg Aacheln Germany | June 24 1998 | Devices Exhibited Cracking At The Catheter Hub During Use Due To A Change In The Product Hub Dimensions And A Change In Material | A 75 Trays B 758 Trays Were Distributed | Massachusetts Connecticut New York Pennsylvania Maryland Georgia Florida Ohio Minnesota Illinois Missouri Louisiana Oklahoma Texas Colorado Arizona California Hawaii Washington State Puerto Rico Canada
1999-2-3 | Devices | II | z-521/523-9 | Wound Closure Instrument Trays And Incision And Drainage Trays A Baxter Wound Closure Instrument Trays Catalogue Nos | Manufacturer | Ni Med Inc | October 20 1998 | The Sterility Of Some Packages May Be Breached | A B Approximately 1 086 Cases Were Distributed C 2 Cases Were Distributed | Nationwide
1999-2-3 | Devices | II | z-524-9 | I-125 Seeds Model 6711 | Nycomed Amersham Imaging | Medi Physics Inc | January 6 1999 | Out Of Radioactive Range Seed Present In Shipment | 111 Seeds Were Distributed | Alabama
1999-2-3 | Devices | II | z-525-9 | Dfs Dimension Distal Radius Fixator | Manufacturer | Ebi Medical Systems Inc | 1998-11-05 | The Binding That Locks The Distal Rail In Place Could Prevent The Ball From Locking Properly At The Time Of Operation | 126 Units Were Distributed | New York Maryland Texas California Illinois Virginia Pennsylvania South Dakota Iowa
1999-2-3 | Devices | II | z-526/527-9 | Biogran Bioactive Glass Syringe Bone Graft Material 750 Mg 300 355 Mm 50 45 Mesh A Part No | Orthovita | Ethox Corporation Buffalo New York | October 19 1998 | The Biogran Material Cannot Be Dispensed From The Syringes Without Greater Than Normal Force Resulting In Potential Breakage Of Syringes And Possible Injury To Users And Patient | 24 757 Syringes Were Distributed | Texas Georgia Kentucky Michigan International
1999-2-3 | Devices | II | z-529/552-9 | Unipolar Endoscopic Coagulator Cutter Electrodes Tip Style Electrode Size Endovnt Cat Vital Cat Dexide Cat Smith Nephew A Spatula W O Suction 5 Mm X 33 Cm Custom N A N A N A W O Suction 4 Mm X 32 Cm Custom N A N A N A W O Suction 5 Mm X 32 Cm 15 1123 N A N A N A W Suction 5 Mm X 33 Cm 15 1124 56300 200 43 7205708 W Suction 5 Mm X 45 Cm N A N A 200 53 N A B J Hook W O Suction 3 Mm X 30 Cm 23 5017 N A N A N A W O Suction 4 Mm X 33 Cm Custom N A N A N A W O Suction 5 Mm X 32 Cm 15 1112 N A N A N A W O Suction 5 Mm X 33 Cm Custom N A N A N A W Suction 5 Mm X 33 Cm Custom 56301 200 45 7205709 W Suction 5 Mm X 45 Cm N A N A 200 55 N A C L Hook W O Suction 4 Mm X 33 Cm Custom N A N A N A W O Suction 5 Mm X 33 Cm 15 1110 N A N A N A W Suction 5 Mm X 33 Cm Custom 56302 200 44 7205710 W Suction 5 Mm X 45 Cm N A N A 200 54 N A D Needle W O Suction 4 Mm X 33 Cm Custom N A N A N A W O Suction 5 Mm X 45 Cm Custom N A 200 56 7205711 W O Suction 5 Mm X 33 Cm N A N A 200 46 N A W Suction 5 Mm X 33 Cm Custom N A N A N A W Suction 5 Mm X 45 Cm Custom N A N A N A E Knife W O Suction 5 Mm X 33 Cm N A N A 200 47 N A W O Suction 5 Mm X 45 Cm N A N A 200 57 N A F Button W O Suction 5 Mm X 33 Cm N A N A 200 48 N A W O Suction 5 Mm X 45 Cm N A N A 200 58 N A Recall Z 529 552 9 | Manufacturer | U S Endo | December 11 1998 | The Electrodes Were Marketed Without An Approved 510 K And Failed Insulation Testing | 1 095 Electrodes Were Distributed | Illinois Michigan California Missouri Washington State Ohio Texas Massachusetts