## 2000-03-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-03-08 | Drugs | I | d-221-0 | Techni Care R Surgical Scrub Prep Broad Spectrum Topical Antiseptic Microbicide For Professional Degerming In 4 Fluid Ounce Bottles Otc For Wound Care General Skin Cleansing And Preoperative Skin Preparation | Manufacturer | Care Tech Labs Inc | January 17 2000 | Microbial Contamination Pseudomonas Aeruginosa | 24 322 Bottles Were Distributed Between 6 30 99 12 23 99 | Nationwide
2000-03-08 | Drugs | II | d-222-0 | Levothyroxine Sodium Usp 25 Mcg 0 | Manufacturer | Vintage Pharmaceuticals Inc | August 3 1999 | Subpotency Prior To Labeled Expiration Date | 6 013 1000 Tablet Bottles And 6 455 100 Tablet Bottles Were Distributed | Alabama
2000-03-08 | Drugs | III | d-223/224-0 | A Acyclovir Sodium Injection Rx Antiviral Used To Treat Herpes Viruses A 500 Mg 20 Ml 25 Mg Ml 20 Ml Single Dose Vial B 1 G 40 Ml 25 Mg Ml 40 Ml Single Dose Vial | Faulding Pharmaceutical Company | F H Faulding Company | December 22 1999 | Product Fails Visible Particulate Matter Specification Calcium Sterate Particles Prior To Expiration Date | Amount Shipped A 49 498 10 Units Carton 494 980 Units Total B 7 857 10 Units Carton 78 570 Units Total | Nationwide
2000-03-08 | Drugs | III | d-225-0 | Seroquel Quetiapine Fumarate 25 Mg Tablets In 100 Tablet Bottles 12 Bottles Per Case Rx Oral Medication For The Management Of The Manifestations Of Psychotic Disorders Including Schizophrenia | Astrazeneca Pharmaceutcials | Astrazeneca Newark Delaware | February 11 2000 | Some Tablets May Have Become Wet During Packaging | 26 316 Bottles Were Distributed | Nationwide
2000-03-08 | Drugs | III | d-226/227-0 | Sodium Iodide Capsules Rx For Diagnosing Thyroid Irregularities Packaged In 5 Capsule Packs A I 123 7 | Manufacturer | Syncor Pharmaceuticals Inc | December 28 1999 | Incorrect Date Of Calibration Printed On Labeling | A 60 5 Packs B 127 5 Packs Were Distributed | Nationwide
2000-03-08 | Biologics | II | b-383-0 | Red Blood Cells | Manufacturer | American Red Cross Roanoke Virginia | May 5 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Puerto Rico
2000-03-08 | Biologics | II | b-385/386-0 | A Fresh Frozen Plasma B Cryoprecipitated Ahf | Manufacturer | Hcsc Blood Center Doing Business As Miller Memorial Blood Center Bethlehem Pennsylvania | April 23 1997 | Blood Products Were Not Tested For The Hiv 1 Antigen | A 10 Units B 4 Units Were Distributed | New Jersey And Pennsylvania
2000-03-08 | Biologics | II | b-387/390-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Red Blood Cells For Further Manufacture | Manufacturer | American National Red Cross Philadelphia Pennsylvania | January 23 1998 | Blood Products Tested Negative For Anti Hcv But Was Collected From A Donor Who Previously Tested Reactive For Anti Hcv | A 3 Units B 4 Units C 4 Units D 1 Unit | Michigan New Jersey Pennsylvania
2000-03-08 | Biologics | II | b-394-0 | Platelets | Manufacturer | Inland Northwest Blood Center Spokane Washington | October 18 1999 | Blood Products Had Unacceptable Platelet Counts Were Distributed | 7 Units Were Distributed | Washington State
2000-03-08 | Biologics | II | b-406-0 | Platelets | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | January 29 1999 | Platelets Were Prepared From A Unit Collected From A Donor Who Had Taken Aspirin Within Three Days Of Donation | 1 Unit Was Distributed | Iowa
2000-03-08 | Biologics | II | b-407/409-0 | A Red Blood Cells B Cryoprecipitated Ahf C Recovered Plasma | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | October 26 1998 | Blood Products Were Collected From A Donor With A History Of Multiple Sclerosis | A 1 Unit B 1 Unit C 2 Units Were Distributed | Iowa And Switzerland
2000-03-08 | Biologics | II | b-411-0 | Stein 4 Molds Allergenic Extract Containing A | Manufacturer | Allergy Laboratories Of Ohio Inc | October 15 1999 | Allergenic Extract Was Labeled With A Concentration Of 2 500 Pnu Ml For Each Of The Four Molds Present Actually Contains 308 Pnu Ml Of A | 1 Vial Distributed | New York
2000-03-08 | Biologics | II | b-424/426-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | October 6 1999 | Blood Products Were Collected From A Donor Who Had Been Deferred For High Risk Behavior | A 2 Units B 1 Unit C 2 Units Were Distributed | Maryland And California
2000-03-08 | Biologics | II | b-428/429-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Roanoke Virginia | September 14 1999 | Blood Products Were Collected From A Donor With A History Of Hepatitis | 1 Unit Of Each Component Was Distributed | Puerto Rico And New York
2000-03-08 | Biologics | II | b-430/432-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Virginia Blood Services Richmond Virginia | February 18 1999 | Blood Products Were Collected From Donors Who Had Identified The Donations For Confidential Self Exclusion | A 3 Units B 1 Unit C 1 Unit | Virginia And Switzerland
2000-03-08 | Biologics | II | b-433/434-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | September 20 1999 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | Iowa And Switzerland
2000-03-08 | Biologics | II | b-435/436-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Norfolk Virginia | August 2 1999 | Blood Products Were Collected From A Donor Who Reported Having Lived In Area Designated As Endemic For Malaria | A 3 Units B 2 Units Were Distributed | North Carolina Virginia Puerto Rico
2000-03-08 | Biologics | II | b-437/439-0 | A Red Blood Cells B Platelets Pooled C Platelets Pheresis | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | February 1 1999 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | A 2 Units B 2 Units C 1 Unit | Iowa And Pennsylvania
2000-03-08 | Biologics | II | b-440-0 | Platelets Pheresis | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | July 19 1999 | Blood Product Had An Unacceptable Platelet Count | 1 Unit Was Distributed | Iowa
2000-03-08 | Biologics | II | b-441/443-0 | A Red Blood Cells B Platelets C Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | July 14 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hcv | 1 Unit Of Each Component Was Distributed | Maryland
2000-03-08 | Biologics | II | b-444/445-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | September 20 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis C | 1 Unit Of Each Component Was Distributed | Maryland And California
2000-03-08 | Biologics | II | b-446/447-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Baltimore Maryland | July 19 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | Maryland
2000-03-08 | Biologics | II | b-448/449-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | May 21 1999 | Blood Products Were Collected From A Donor With A History Of Polycyhthemia | 2 Units Of Each Component Were Distributed | Iowa And Switzerland
2000-03-08 | Biologics | II | b-450/451-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Norfolk Virginia | August 27 1999 | Blood Products Were Collected From An Unsuitable Donor | 1 Unit Of Each Component Was Distributed | North Carolina And California
2000-03-08 | Biologics | II | b-452/453-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | July 13 1999 | Blood Products Were Collected From An Unsuitable Donor | A 3 Units B 1 Unit | Iowa New York Switzerland
2000-03-08 | Biologics | II | b-456/459-0 | A Red Blood Cells B Platelets Pooled C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | The Blood Center Of Central Iowa Des Moines Iowa | March 16 1999 | Blood Products Were Not Properly Tested For Hiv P 24 Antigen | A 10 Units B 4 Units C 3 Units D 6 Units Were Distributed | Iowa Texas New York Switzerland
2000-03-08 | Biologics | II | b-460-0 | Red Blood Cells | Blood Systems | United Blood Services Ventura California | March 3 1999 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 2 Units Were Distributed | California
2000-03-08 | Biologics | II | b-461-0 | Red Blood Cells | Manufacturer | Central Kentucky Blood Center Ckbc Lexington Kentucky | December 8 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Kentucky
2000-03-08 | Biologics | II | b-462-0 | Platelets | Manufacturer | American Red Cross Blood Services Syracuse New York | July 15 1999 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | New York
2000-03-08 | Biologics | II | b-463/464-0 | A Red Blood Cells B Platelets | Manufacturer | Central Kentucky Blood Center Ckbc Lexington Kentucky | December 8 1999 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Kentucky
2000-03-08 | Biologics | II | b-465-0 | Red Blood Cells | Manufacturer | American Red Cross Roanoke Virginia | November 9 1999 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | West Virginia
2000-03-08 | Biologics | II | b-467-0 | Platelets | Manufacturer | Central Kentucky Blood Center Ckbc Lexington Kentucky | November 24 1999 | Platelets Were Prepared From A Unit Collected From A Donor Who Had Taken Aspirin On The Day Of Donation | 1 Unit Was Distributed | Kentucky
2000-03-08 | Biologics | II | b-468-0 | Platelets | Manufacturer | Virginia Blood Services Richmond Virginia | October 6 1999 | Blood Product Was Not Quarantined After Receiving Information Concerning A Post Donation Illness | 1 Was Distributed | Virginia
2000-03-08 | Biologics | II | b-469/470-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Columbus Ohio | November 10 1999 | Blood Products Were Collected From A Donor With A History Of Jaundice And Mononucleosis | 1 Unit Was Distributed | Ohio And California
2000-03-08 | Devices | II | z-361-0 | Image X 70 Dental X Ray System Used In Dental Radiography | Afp Imaging Corporation | De Gotzen S | February 14 2000 | The Diagnostic X Ray Devices Were Found Defective Under 21 Cfr 1003 | Approximately 2 400 Units | Nationwide
2000-03-08 | Devices | II | z-372-0 | Nc 4 Microscope Stand | Carl Zeiss | Carl Zeiss Inc | July 20 1999 | The Vertical Carrier Arm Has The Potential To Break Causing The Device To Become Inoperative | 189 Units Were Distributed | Nationwide And International Quantity 189 Units Were Distributed
2000-03-08 | Devices | II | z-382-0 | Konica Md 100 Mammography Screens Indicated For Use As An Accessory To A Cassette To Convert X Ray Energy Into Light Energy | Manufacturer | Konica Medical Imaging Inc | September 24 1999 | The Screens Cause Negative Densities On The X Ray Film Which Could Result In A Misreading | 38 Units Size 18 Cm X 24 Cm And 13 Units Size 24 Cm X 30 Cm Were Distributed | California Connecticut Florida Missouri New York Oregon Texas
2000-03-08 | Devices | II | z-383/394-0 | Vitalcom St Segment Arrhythmis Detection Software Option An Optional Ecg Software Feature Used In Conjunction With The Critikon Observer Central Station On Which Is Installed | Critikon Company Llc | Vital Com Tustin California Software | October 27 1999 | The Software Validation Of Version 4 | There Are 15 Obsever Central Stations With The Vitalcom St Segment Arrhythmia Detection Software Option Installed In Commerce | Tennessee Texas Missouri Georgia Wisconsin Illinois South Carolina Ohio Alabama Egypt
2000-03-08 | Devices | II | z-395/396-0 | Tina System 1000 And Altra Touch 1000 Single Patient Hemodialysis Delivery Systems | Manufacturer | Althin Medical Inc | December 6 1999 | Linear Clamp May Not Achieve Proper Occlusion | 4 972 Units Were Distributed Nationally And 695 Units Were Distributed Internationally | Nationwide And International
2000-03-08 | Devices | II | z-397/398-0 | A Single Channel B Triple Channel Volumetric Infusion Pumps For Continuous Or Intermittent Fluid Delivery Through Clinically Acceptable Routes Of Administration | Baxter Healthcare Corporation | Baxter Healthcare Pte | February 7 2000 | Motors Burn Out At 15 18 Months Of Age | 78 000 Pumps Were Distributed
2000-03-08 | Devices | II | z-399/401-0 | Infinity Modular Bedside Monitors Models Sc 7000 Sc 8000 Sc 9000 Sc 9000 Xl Intended For Adult Pediatric And Neonatal Monitoring Of Clinical Environment | Manufacturer | Siemens Medical Systems Inc | February 15 2000 | Failure To Correctly Re Calculate Drug Dosage Using Saved Drug Dosage Data | 140 units | Arkansas Arizona California Florida Kentucky Georgia Illinois Michigan New Mexico New York Ohio South Dakota Tennessee Texas
2000-03-08 | Devices | II | z-402/404-0 | Chrome Plated Brass Circumcision Clamps Gomco Like Made In Pakistan Individually Packaged Clamps In Boxes Labeled Only With The Catalog Number Description Size And Quantity | Medco Instruments | Gogi Enterprises Sialkot Punjab Pakistan | February 16 2000 | Lack Of 510 K Approval Inadequate Instructions For Use And Failure To File Mdrs | 2 000 Clamps Were Distributed | Nationwide
2000-03-08 | Devices | II | z-405/406-0 | A 2 Way Mainframe Interface Software Version 22 | Manufacturer | Dade Microscan Inc | February 4 2000 | Potential For Incorrect Pediatric Reports A Software Problem | 90 Copies Were Distributed | Nationwide And International
2000-03-08 | Devices | II | z-409/410-0 | EBI Xfix Dynafix Dfs Hybrid Fixator Designed For The Stabilization Of Intra And Peri Articular Fractures Where The Fracture Pattern And Available Bone Stock Precludes The Introduction Of Larger Diameter Bone Screws A Variable Wire Carriage Part No | Manufacturer | EBI | June 23 1999 | The Carriage Locking Bolt Component For Both Devices Can Break Potentially Resulting In The Loss Of Fracture Reduction Distraction Postoperatively | A 7 000 Units B 3 241 Units Were Distributed | Nationwide Spain Puerto Rico
2000-03-08 | Devices | II | z-412-0 | Chemical Shift Imaging Csi Spectroscopy Model 90 Lni | Manufacturer | Marconi Medical Systems Inc | February 3 2000 | Due To A Software Anomaly The Device Acquires Data From A Slice Thicker Than Intended And May Not Be At Isocenter | 19 Units Were Distributed | Florida Maryland Massachusetts Utah Arizona Australia Italy Germany Japan China And England
2000-03-08 | Devices | II | z- 413/414-0 | Smit Sleeves An Accessory To Various Applicators Used With The Nucletron Mhdr Afterloader A Plastic Tube With Drainage Holes Inserted Into Endometrium And May Be Sutured Into Place To Allow Cervix To Remain Dilated For Easier Reinsertion Of Intrauterine Tube For Subsequent Treatment | Nucletron, Columbia | NUCLETRON BV, Netherlands | December 13 1999 | Brachytherapy Applicator Sleeve May Become Disconnected During Treatment | 1 061 Units Were Distributed | Nationwide
2000-03-08 | Devices | II | z-415-0 | Deltec Port A Cath Ii Polysulfone Titanium Venous System Product 21 4065 01 | Manufacturer | Sims Deltec Inc | February 10 2000 | Separation Of The Catheter From The Drug Portal Can Result In Leaks | 187 Access Systems Were Distributed | Nationwide
2000-03-08 | Devices | III | z-309-0 | Tecan Genesis Disposable Tip | Tecan U S Inc | Eppendorf Hamburg Germany | October 4 1999 | Manufacturing Error Crack In 1000 Ul Tip | 2 720 Boxes Were Distributed | Arizona California Florida Illinois Wisconsin
2000-03-08 | Devices | III | z-411-0 | Premier Platinum Hpsa An Elsia Assay For The Detection Of Helicobacter Pylori Antigens In Stool Product 601348 | Manufacturer | Meridian Diagnostics Inc | February 16 2000 | The Kits May Contain Microwells Intended For Detection Of C | 457 Test Kits Were Distributed | Alabama Arizona California Georgia Iowa Kansas Michigan Montana New Jersey New York Ohio Oregon Texas Utah Wisconsin Florida Honduras Chile Japan German Italy