## 2000-04-12
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-04-12 | Drugs | II | d-261-0 | Nasacort R Aq Nasal Spray Triamcinolone Acetonide 16 | Aventis Formerly Rhone Poulenc Rorer | Rhone Poulenc Rorer Puerto Rico Inc | February 22 2000 | Super Potency Stability | 45 900 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And Thailand
2000-04-12 | Drugs | III | d-259/260-0 | Isoxsuprine Hcl Tablets 10 Mg And 20 Mg Usp In 100 And 1 000 Tablet Bottles Rx Indicated For The Relief Of Symptoms Associated With Cerebral Vascular Insufficiency | Manufacturer | Eon Labs Manufacturing Inc | November 19 1999 | Dissolution Failure 42 Month Stability | 10 Mg Bottles Of 100 S Eon Label 42 009 Units Major Label 3 180 Units 10 Mg Bottles Of 1000 S Eon Label 901 Units Major Label 0 Units 20 Mg Bottles Of 100 S Eon Label 27 911 Units Major Label 1 707 Units 20 Mg Bottles Of 1000 S Eon Label 6 291 Units Major Label 2 169 Units | Nationwide
2000-04-12 | Drugs | III | d-262-0 | Cis Sulfur Colloid Tm Kit Technetium Tc 99 M Sulfur Colloid Injection Used In Adults And Children As An Agent For Imaging Areas Of Functioning Reticuloendothelial Cells In The Liver Spleen And Bone Marrow | Manufacturer | Cis Us Inc | February 23 2000 | Misbranding Solution B Vial Has Reversed The Strength Mg Ml Of The Two Ingredients On Its Immediate Vial Label | 11 548 Kits | Nationwide New Zealand Panama Puerto Rico Guam
2000-04-12 | Drugs | III | d-263-0 | Combipatch Tm Transdermal System Estradiol 0 | Aventis Formerly Rhone Poulenc Rorer | Noven Pharmaceuticals Inc | February 18 2000 | Dissolution And Appearance Specification Failure Excess Crystals | 41 810 Boxes Of Lot 8 F 0308 E 1 And 23 350 Boxes Of Lot 9 D 2703 E 1 C 1 Were Distributed | Nationwide Bermuda Puerto Rico
2000-04-12 | Devices | II | z-442-0 | Lifepak 500 Automated External Defibrillator Aed Designed To Be Used By First Responders To Cardiac Emergencies | Manufacturer | Medtronic Physio Control Corporation Redmond Washington | June 3 1998 | Potential Damage Failure Of Resistor R 4 Could Result In Unusable Unit Next Use | 8 031 Units Were Distributed | Nationwide And International
2000-04-12 | Devices | II | z-490/491-0 | Irrigation Administration Sets Used To Provide Irrigating Solution To The Surgical Field As Well As Other Various Uses A Bss And Bss Plus Sterile Irrigation Solution Administration Set Catalog No | Manufacturer | Alcon Laboratories Inc | January 28 2000 | An Unauthorized Change In The Filter Paper Of The Filtered Drip Chamber That Caused The Device To Have A Decreased Flow Rate | 33 825 Units Were Distributed From 9 00 To 1 00 | Nationwide And International
2000-04-12 | Devices | II | z-492-0 | Model No | Manufacturer | Cyberonics Inc | August 12 1998 | The Software Contains A Flaw That Reports An Inaccurate Amount Of Remaining Battery Life For The Pulse Generator | 402 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide South Africa Belgium
2000-04-12 | Devices | III | z-493-0 | Cofield 2 Humeral Stem 12 Mm Diameter Stem 145 Mm Length Catalog 71259012 In Sterile Packages For Use By An Orthopedic Surgeon In The Treatment Of Proximal Humerus Fractures | Manufacturer | Smith And Nephew Inc | March 13 2000 | The Device Does Not Have Suture Holes In The Lateral Fin | 97 Units Were Distributed Firm Estimated That 75 Units Remained On Market At Time Of Recall Initiation | Nationwide France Australia And United Kingdom
2000-04-12 | Devices | III | z-501-0 | Alycon Sample Syringe 50 Ul Used On Alcyon Analyzers 300 And 300 I For In Vitro Diagnostic Tests | Manufacturer | Abbott Laboratories Diagnostics Division Irving Texas | December 22 1999 | Packages Labeled And Distributed As Containing Alycon Sample Syringe 50 Ul Contained Alycon Reagent Syringe 500 Ul Instead | 22 Units Were Distributed | Nationwide And Hong Kong
2000-04-12 | Devices | III | z-502-0 | Roche Reagent For Ast Aspartate Aminotransferace In Vitro Diagnostic Reagent System For Use On The Cobas Mira And Cobas Fara Chemistry Systems For The Quantitative Determination Of The Ast | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Mannheim Germany | March 16 2000 | Lots Do Not Meet The Stability Claim For The Working Reagent | Approximately 6 000 Kits Were Distributed | Nationwide Quantity Approximately 6 000 Kits Were Distributed
2000-04-12 | Devices | III | z-503-0 | Total Bilirubin Reagent Catalog 0737488 For Use On The Cobas Integra 400 And 700 Chemistry Systems For The Quantitative Determination Of The Total Bilirubin Concentration In Blood And Plasma | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Mannheim Germany | February 10 2000 | Inadequate Filling Of R 1 Reagent May Cause Reporting Of Falsely Lowered Total Bilirubin Results Without Warning Of Incorrect Values | 1 500 Kits | Nationwide
2000-04-12 | Devices | III | z-504-0 | Setpoint T Uptake Reference Set For Bayer Immuno 1 System Catalog T 03 3076 01 A T Uptake Calibrator | Bayer Corporation | Bayer Corporation Business Group Diagnostics Middletown Manufacturing Plant Middletown Virginia | March 10 2000 | Product Found To Be Unstable When Shipped Or Stored Per Label Instructions | 758 Kits Were Distributed | Nationwide Belgium Canada France Germany Sweden And Switzerland