## 2000-05-03
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-05-03 | Biologics | II | b-577/579-0 | A Red Blood Cells B Fresh Frozen Plasma C Recovered Plasma | Manufacturer | Aurora Area Blood Bank Heartland Blood Centers Aurora Illinois | January 21 2000 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | A 2 Units B 1 Unit C 1 Unit | Illinois And Switzerland
2000-05-03 | Biologics | II | b-580/581-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | Aurora Area Blood Bank Heartland Blood Centers Aurora Illinois | January 6 2000 | Blood Products Were Collected From An Unsuitable Donor | 1 Unit Of Each Component Was Distributed | Illinois And Switzerland
2000-05-03 | Biologics | II | b-582-0 | Platelets | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | January 11 2000 | Blood Product Was Collected From A Donor With An Elevated Alt | 1 Unit Was Distributed | Illinois
2000-05-03 | Biologics | II | b-584-0 | Platelets Pheresis Leukocytes Reduced | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | December 27 1999 | Blood Product Had A High White Cell Count | 1 Unit Was Distributed | Illinois
2000-05-03 | Biologics | II | b-585/586-0 | A Red Blood Cells Leukocytes Reduced B Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services Peoria Illinois | February 22 2000 | Blood Products Were Collected From A Donor Taking The Drug Famciclovir | 1 Unit Of Each Component Was Distributed | Illinois
2000-05-03 | Biologics | II | b-591-0 | Red Blood Cells Leukoreduced | Manufacturer | American Red Cross Blood Services Norfolk Virginia | January 31 2000 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | North Carolina
2000-05-03 | Biologics | II | b-593/594-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | Central Illinois Community Blood Bank Springfield Illinois | January 26 2000 | Blood Products Tested Negative For The Antibody To The Human T Lymphotropic Virus Type I And Ii Anti Htlv I Ii But Was Collected From A Donor Who Previously Tested Reactive For Anti Htlv I Ii | 1 Unit Of Each Component Was Distributed | Illinois And Switzerland
2000-05-03 | Biologics | II | b-595/597-0 | A Red Blood Cells B Platelets For Manufacturing C Recovered Plasma | Manufacturer | American Red Cross Blood Services Columbus Ohio | February 4 2000 | Blood Products Were Collected From An Unsuitable Donor | 1 Unit Of Each Component Was Distributed | Ohio Tennessee New York
2000-05-03 | Biologics | II | b-598-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Rochester New York | May 14 1999 | Blood Products Were Exposed To Unacceptable Shipping And Storage Temperatures | 5 Units Were Distributed | New York
2000-05-03 | Biologics | II | b-599/600-0 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | Hoxworth Blood Center University Of Cincinnati Medical Center Cincinnati Ohio | November 29 1999 | Blood Products Were Collected From A Donor Taking The Drug Proscar | 1 Unit Of Each Component Was Distributed | Ohio And Florida
2000-05-03 | Biologics | II | b-602-0 | Source Plasma | Manufacturer | Centeon Bio Services Inc | April 29 1999 | Blood Products Were Collected From A Donor Who Had Been Incarcerated | 3 Units Were Distributed | Illinois
2000-05-03 | Biologics | III | b-505/507-0 | A Red Blood Cells B Red Blood Cells Leukocyte Reduced C Fresh Frozen Plasma | Manufacturer | Hoxworth Blood Center University Of Cincinnati Medical Center Cincinnati Ohio | May 19 1999 | Blood Products Corresponded To A Unit Of Pooled Platelets Which Was Positive For Propionbacterium Species | A 8 Units B 1 Unit C 3 Units Were Distributed | Ohio
2000-05-03 | Biologics | III | b-572/573-0 | A Red Blood Cells B Platelets | Blood Systems | Blood Systems Inc | January 14 2000 | Blood Products Were Collected From A Donor Taking The Antibiotic Cipro | 1 Unit Of Each Component Was Distributed | Alabama And Mississippi
2000-05-03 | Biologics | III | b-574/576-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Memorial Blood Centers Of Minnesota Minneapolis Minnesota | July 2 1999 | Blood Products Tested Reactive For Syphilis | 1 Unit Of Each Component Was Distributed | Minnesota And Switzerland
2000-05-03 | Biologics | III | b-583-0 | Red Blood Cells Leukocytes Reduced | Manufacturer | Northern Illinois Blood Bank Rockford Illinois | December 17 1999 | Red Blood Cells Were Leukoreduced By Filtration Greater Than Five Days Past The Time Of Collection | 2 Units Were Distributed | Illinois
2000-05-03 | Devices | II | z-575-0 | Pro Med Kits Assembles First Aid Kits On Key Chains Each Containing A Clinipad Alcohol Prep Antiseptic | Manufacturer | Promed Kits Davis California | March 20 2000 | Kits Contain Clinipad Products Labeled As Sterile For Which Clinipad Is Unable To Assure The Sterility | 2 500 Kits | California
2000-05-03 | Devices | II | z-577-0 | Peg Kits T J Tube Kits Epidural Trays Spinal Procedure Universal Block Trays Paracentesis Trays Containing Recalled Clinipad Products Models 0150 14 0150 20 0150 24 0160 14 0160 20 0160 24 0260 16 0260 18 0260 22 182125 182131 182184 182224 182229 182230 18236 18259 18283 18289 18668 18178 18184 18202 60432 60433 | Manufacturer | Ballard Medical Products Draper Utah | April 7 2000 | Kits Contain Clinipad Products Labeled As Sterile For Which Clinipad Is Unable To Assure The Sterility | 41 231 Kits Trays | Nationwide And Puerto Rico
2000-05-03 | Devices | II | z-578-0 | Procedure Kits Containing Recalled Clinipad Products A Leep Redikit Product Number 6060 B Hysteroscopy Kit Product Number 6160 C Cervical Block Kit Product Number 6161 | Manufacturer | Coopersurgical Inc | April 14 2000 | Kits Contain Clinipad Products Labeled As Sterile For Which Clinipad Is Unable To Assure The Sterility | 32 145 Kits | Nationwide
2000-05-03 | Devices | II | z-579/582-0 | T E D Sequential Compression Sleeves A Model No 5329 Scd Blue Sleeves | The Kendall Co Lp | The Kendall Co. LP | February 24 2000 | The Compression Sleeves May Have Occluded Airway Tubes | 6 292 Cases Were Distributed | Nationwide And International
2000-05-03 | Devices | II | z-583/589-0 | Dual Stage Venous Return Cannula With Bullet Tip Intended For Use As A Single Tube Venous Drainage From The Right Atrium And Vena Cava During Extracorporeal Circulation For Open Heart Surgery A Model No | Chase Medical | Chase Medical Inc | February 29 2000 | The Cannula May Separate Between The Tip And Body During Use | 1 787 Units Were Distributed | Pennsylvania Texas Nebraska Wisconsin Virginia Louisiana Massachusetts Washington State Virginia New Jersey Connecticut And International
2000-05-03 | Devices | II | z-590/601-0 | 24 French Aortic Arch Cannula Indicated For Use For Perfusion Of The Ascending Aorta During Surgical Procedures Requiring Cardiopulmonary Bypass A Model No | Chase Medical | Chase Medical Inc | February 29 2000 | The Cannula May Leak Under Certain Flow And Device Manipulation Conditions | 3 860 Units Were Distributed | Texas California Florida Minnesota Alabama Massachusetts Mississippi Georgia Virginia New Jersey Connecticut And International
2000-05-03 | Devices | II | z-609-0 | Bayer Setpoint Unconjugated Estriol Reagent Ue 3 For Bayer Immuno 1 System An Assay To Measure Unconjugated Estriol In Human Serum | Bayer Corporatiaon | Bayer Corporation Business Group Diagnostics Middletown Manufacturing Plant Middletown Virginia | February 25 2000 | The Device Is Associated With A Failure To Calibrate The Assay On The System Rss Limits Erratic Quality Control Results And A Calibration Interval Of Less Than Seven Days | 330 Units Were Distributed | Nationwide And International
2000-05-03 | Devices | II | z-611-0 | Architect I System With Software Version 1 | Manufacturer | Abbott Laboratories Diagnostics Division Irving Texas | February 25 2000 | Software Errors Can Potentially Result In Printed Patient Report To Incorrectly Associate Tests Results With Patients Ids Under Certain Conditions | 22 Units Were Distributed | California Florida Illinois Massachusetts Michigan Missouri North Carolina New Hampshire New York Ohio Pennsylvania Texas Utah Virginia International
2000-05-03 | Devices | II | z-612-0 | Roche Hitachi 917 Disk System Chemistry Analyzer Catalog 917000 | Roche Diagnostics Corporation | Software Site Software Site Hitachi Instruments Division Ibari Ken 312 Japan | March 17 2000 | There Is A Potential For Mismatch Of Sample Identification Information And Results On All Versions Of Software | 500 Units Were Distributed | Nationwide
2000-05-03 | Devices | II | z-613-0 | Roche Hitachi 914 Chemistry Analyzer Used For Diagnostic Testing For Routine And Specialty Chemistry Analytes | Manufacturer | Software Site Roche Diagnostic Corporation Indianapolis Indiana | March 17 2000 | There Is A Potential For Mismatch Of Sample Identification Information And Results On This Version Of Software | 56 Units Were Distributed | Alabama Arizona California Colorado Florida Georgia Hawaii Indiana Kansas Michigan Missouri Nebraska New Jersey New York Ohio Oklahoma Pennsylvania Puerto Rico And Texas
2000-05-03 | Devices | II | z-616/621-0 | Lcs Total Knee System Ps Tibial Insert A Small Size Catalog Nos | Manufacturer | Depuy Orthopaedics Inc | December 20 1999 | The Devices Can Cause The Escape Of Fluid From Blood Vessels Into The Tissues Or A Cavity And Cause Knee Pain | 236 Units Are Subject To Recall | Nationwide
2000-05-03 | Devices | II | z-622/627-0 | Sarns Mp 6 Integrated Cardioiplegia Sets Used For Delivery Of Temperature Controlled Cardioplegia Solutions To The Heart During Cardiopulmonary Bypass Surgery A Mp 6 Integrated Cardioplegia Set Catalog No | Manufacturer | Terumo Cardiovascular Systems Corporation Ann Arbor Michigan | March 31 2000 | Holes In The Mylar Side Of The Passdown Line Pouch Are Inadequate Which Results In Compromising The Sterility Of The Device | 708 Units Were Distributed | Nationwide And Germany
2000-05-03 | Devices | III | z-532/533-0 | A Ankle Contracture Boot And Boot Sole Accessory Model Numbers 4300 4301 4302 4305 4306 And R 4307 B Boot Sole Accessory 4300 05 Wk | Manufacturer | Deroyal Industries Powell Tennessee | September 23 1999 | The Device Fails To Bear A Caution Label That It Is Not Intended For Weight Bearing Purposes And As A Result The Bolt On The Bottom Of The Boot Holding The Boot Sole In Place Cracks And Breaks Causing The Sole To Dislodge | 22 538 Units Were Distributed | Nationwide
2000-05-03 | Devices | III | z-570/571-0 | Model 250 Neurocybernetic Prostheses Ncp Programming Software Versions A 4 1 B 4 | Manufacturer | Cyberonics Inc | August 6 1999 | The Label Insert Sheets Were Printed With The Incorrect Lot Number | A 1 Unit Of Lot Number 23952 C B 10 Units Of Lot Number 26023 C 10 Units Of Lot 27137 C And 50 Units Of Lot 27735 C Were Distributed | A Canada B Belgium And Europe
2000-05-03 | Devices | III | z-576-0 | Immunocard H | Manufacturer | Meridian Diagnostics Inc | March 28 2000 | Variations Of The Positive Control And Test Ports May Lead To Invalid Results | 546 Kits Were Distributed | Nationwide Canada Japan Italy Germany
2000-05-03 | Devices | III | z-606/608-0 | Boehringer Mannheim Systems Creatinine Plus For The Quantitative Determination Of Creatinine In Serum Plasma And Urine A Catalog No | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Mannheim Germany | February 23 2000 | These Lots Exhibit Positive Interference From Lactate | Approximately 1 500 Kits Were Distributed | Nationwide
2000-05-03 | Devices | III | z-615-0 | Carolon Trinity Pneumatic Pump Model 480000 | Carolon Company | Mjs Healthcare Ltd | December 19 1999 | A Plug Portal Area With A Hairline Crack And Recession Of Receptor Prong Into Casing Could Result In A Potential Fire Hazard Within The Cord | 499 Pumps Were Distributed | Nationwide