## 2000-08-09
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-08-09 | Drugs | III | d-443-0 | Pannaz Tm Tablets Antihistamine Decongestant Phenylpropanolamine Hcl 75 Mg Chlorpheniramine Maleate 8 Mg Methscopolamine Nitrate 2 | Manufacturer | Anabolic Laboratories Inc | June 14 2000 | Lack Of Complete Manufacturing Process Validation | 9 493 Bottles Were Distributed | Undetermined
2000-08-09 | Drugs | III | d-444-0 | Estratab R Esterified Estrogens Tablets Usp 2 | Solvay Pharmaceuticals | Solvay Pharmaceuticals Inc | June 26 2000 | Tablets Did Not Meet Friability Specification | 2 282 Bottles Were Distributed | Nationwide
2000-08-09 | Biologics | II | b-868-0 | Anticoagulant Citrate Phosphate Double Dextrose Solution Cp 2 D 200 Ml For Collection Of Blood Components With Haemonetics Automated Apheresis Devices Only | Haemonetics Corporation | Pall Medical Covina California | May 25 2000 | Foil Pouch May Have Been Imprinted With An Extended Expiration Date That Varies From The Date On The Individual Solution Bags | 436 Foil Pouches Were Distributed | California Florida Indiana Kentucky Kansas Louisiana Massachusetts New Mexico Nevada New York Oklahoma Pennsylvania Tennessee Vermont Wisconsin Nevada Texas
2000-08-09 | Biologics | II | b-878-0 | Red Blood Cells | Manufacturer | American Red Cross Philadelphia Pennsylvania | May 25 2000 | Blood Product Was Collected From A Donor Taking The Drug Imuran | 1 Unit Was Distributed | Pennsylvania
2000-08-09 | Biologics | II | b-903/905-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Philadelphia Pennsylvania | December 9 1999 | Blood Products Were Collected From A Donor Who Had Previously Been Deferred Due To A History Of Hepatitis | 1 Unit Of Each Component Was Distributed | Pennsylvania And Switzerland
2000-08-09 | Biologics | II | b-906/907-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Philadelphia Pennsylvania | December 10 1999 | Blood Products Were Collected From Donors Who Reported Having Traveled To Or Having Lived In Areas Designated As Endemic For Malaria | A 5 Units B 3 Units Were Distributed | Pennsylvania And New Jersey
2000-08-09 | Biologics | II | b-910-0 | Red Blood Cells | Manufacturer | American Red Cross Dedham Massachusetts | January 25 2000 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 2 Units Were Distributed | Massachusetts
2000-08-09 | Biologics | II | b-912/914-0 | A Red Blood Cells B Fresh Frozen Plasma C Recovered Plasma | Blood Systems | United Blood Services | October 21 1998 | Blood Products Were Collected From A Donor With A History Of Hepatitis | A 2 Unit B 1 Unit C 1 Unit Was Distributed | Mississippi And Switzerland
2000-08-09 | Biologics | II | b-919-0 | Platelets Pheresis Leukoreduced | Manufacturer | Virginia Blood Services Richmond Virginia | April 12 2000 | Blood Product Was Collected From A Donor Taking The Drug Colchicine | 1 Unit Was Distributed | Virginia
2000-08-09 | Biologics | II | b-928-0 | Fenwal Blood Pack Units With Platelet Storage Containers Used In The Collection Of Blood And Blood Components A Product Code C 4 R 1464 Baxter Fenwal Anticoagulant Citrate Phosphate Dextrose Solution Usp Cpd Blood Pack Unit Transfer Pack Container With Adsol Red Cells Preservation Solution Quadruple For Collection And Processing Of 450 Ml Blood With Integral Donor Tube Contains Natural Rubber Latex For Export Only | Baxter Healthcare Corporation | Baxter Healthcare Of Puerto Rico Maricao Puerto Rico | June 6 2000 | Platelet Containers Labeled With A Platelet Storage Time Of Five Days Was Produced In Part With A Plastic That Can Not Support This Expiration Period | 74 916 Units Distributed | Massachusetts Wisconsin South Carolina Florida Ohio Texas South Dakota Oklahoma
2000-08-09 | Biologics | II | b-935/937-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American Red Cross Dedham Massachusetts | March 7 2000 | Blood Products Were Collected From A Donor Who Had Engaged In High Risk Activities | 1 Unit Of Each Component Was Distributed | Massachusetts And New Hampshire
2000-08-09 | Biologics | II | b-939-0 | Red Blood Cells Leukoreduced | American Red Cross Blood Services | American Red Cross Blood Services Charleston South Carolina Collection Site | May 26 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | South Carolina
2000-08-09 | Biologics | II | b-940-0 | Red Blood Cells | American Red Cross Blood Services | American Red Cross Blood Services Myrtle Beach South Carolina Collection Site | April 15 1999 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | South Carolina
2000-08-09 | Biologics | II | b-942-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Cleveland Ohio | April 28 2000 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Ohio
2000-08-09 | Biologics | II | b-943/948-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Plasma Cryoreduced E Cryoprecipitated Ahf F Recovered Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | September 16 1998 | Blood Products Which Tested Negative For Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Reported Previously Testing Positive For Hiv Were Distributed Prior To Receipt Of This Information | A 7 Units B 4 Units C 2 Units D 1 Unit E 1 Unit F 4 Units Were Distributed | North Carolina Puerto Rico South Carolina Tennessee California
2000-08-09 | Biologics | II | b-949-0 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Columbia South Carolina | July 26 1999 | Leukoreduced Blood Products Had Unacceptable White Blood Cell Counts | 1 Split Unit Was Distributed | South Carolina
2000-08-09 | Biologics | II | b-953-0 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Philadelphia Pennsylvania | August 5 1999 | Split Apheresis Products Were Prepared From A Unit With An Unacceptable Platelet Yield | 1 Split Unit Was Distributed | Pennsylvania
2000-08-09 | Biologics | II | b-954-0 | A Saphenous Vein Model No | Manufacturer | Cryolife Inc | January 28 2000 | Various Tissues For Transplant Which Were Collected From Donors Who Had Not Been Properly Evaluated | 12 Allografts Were Distributed | Arkansas California Colorado Florida Kentucky Massachusetts Tennessee
2000-08-09 | Biologics | II | b-955-0 | A Lateral Meniscus With Bone Right Model No | Manufacturer | Cryolife Inc | September 14 1999 | Various Tissues For Transplant Which Were Collected From A Donor Who Had Not Been Properly Evaluated | 11 Allografts | Arkansas California Georgia Illinois New Jersey North Carolina Pennsylvania Utah Virginia
2000-08-09 | Biologics | II | b-956-0 | Pulmonary Artery Model M 030 | Manufacturer | Cryolife Inc | November 9 1999 | Tissue For Transplant Was Collected From A Donor Who Had Not Been Properly Evaluated | 1 Unit Was Distributed | Washington State
2000-08-09 | Biologics | II | b-957/958-0 | A Red Blood Cells Leukoreduced B Fresh Frozen Plasma | American Red Cross Blood Services | American Red Cross Blood Services Durham North Carolina | July 21 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | North Carolina And South Carolina
2000-08-09 | Biologics | II | b-959/960-0 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | September 3 1999 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | Tennessee And North Carolina
2000-08-09 | Biologics | II | b-961/964-0 | A Red Blood Cells B Platelets C Cryoprecipitated Ahf D Plasma Cryoreduced | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | February 11 2000 | Blood Products Were Collected From A Donor With A History Of Having Tested Positive For Hepatitis | 1 Unit Of Each Component Was Distributed | Tennessee And North Carolina
2000-08-09 | Biologics | II | b-965/966-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | Scott White Memorial Hospital And Scott Sherwood And Brindley Foundation Temple Texas | August 24 1999 | Blood Products Tested Negative For Hbsag And Anti Hbc But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Hbsag And Confirmed Positive By Neutralization Or Repeatedly Reactive For Anti Hbc Followed By A Single Reactive Test Result 5 Months Later | A 4 Units B 2 Units Were Distributed | Texas And Florida
2000-08-09 | Biologics | II | b-969/970-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Columbus Ohio | May 8 2000 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Ohio And New Jersey
2000-08-09 | Biologics | II | b-971/972-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Cleveland Ohio | May 26 2000 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Ohio
2000-08-09 | Biologics | II | b-976/979-0 | A Red Blood Cells B Red Blood Cells Leukocytes Reduced C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | The American National Red Cross Charlotte North Carolina | September 29 1999 | Blood Products Tested Negative For The Antibody To Human Immunodeficiency Virus Anti Hiv But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv | A 11 Units B 5 Units C 2 Units D 14 Units Were Distributed | North Carolina New York California Puerto Rico And Switzerland
2000-08-09 | Biologics | II | b-1000-0 | Red Blood Cells Leukocytes Reduced Frozen | South Texas Blood And Tissue Center | South Texas Blood And Tissue Center Victoria Texas | February 10 1999 | Blood Product Was Collected From A Donor Who Had A Tattoo Within 12 Months Of Donation | 1 Unit Was Distributed | Texas
2000-08-09 | Biologics | II | b-1002-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | September 27 1999 | Blood Product Was Collected From A Donor Whose Hemoglobin Was Below The Acceptable Level | 1 Unit Was Distributed | Oklahoma
2000-08-09 | Biologics | II | b-1003/1004-0 | A Red Blood Cells Leukoreduced B Cryoprecipitated Ahf | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | April 10 2000 | Blood Products Tested Negative For Anti Hcv But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hcv And Riba Non Reactive | 1 Unit Was Distributed | Texas
2000-08-09 | Biologics | II | b-1005-0 | Red Blood Cells Leukocytes Reduced | Manufacturer | Coffee Memorial Blood Center Inc | May 4 2000 | Blood Product Was Collected From A Donor With A History Of Hepatitis | 1 Unit Was Distributed | Texas
2000-08-09 | Biologics | II | b-1006-0 | Red Blood Cells Leukocytes Reduced | Manufacturer | Coffee Memorial Blood Center Inc | April 14 2000 | Blood Product Was Not Quarantined After Receiving Information Concerning An Illness | 1 Unit Was Distributed | Texas
2000-08-09 | Biologics | II | b-1008/1009-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Nashville Tennessee | August 20 1999 | Blood Products Were Collected From A Donor Who Reported Previously Testing Positive For Hepatitis Were Distributed Prior To Receipt Of This Information | 2 Units Of Each Component | Tennessee And Switzerland
2000-08-09 | Biologics | III | b-846-0 | Platelets Pheresis | Manufacturer | American Red Cross Philadelphia Pennsylvania | April 6 2000 | Unlicensed Blood Product Was Distributed In Interstate Commerce | 1 Unit Was Distributed | New Jersey
2000-08-09 | Biologics | III | b-879-0 | Platelets | Manufacturer | The American National Red Cross Columbia South Carolina | March 3 1999 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | South Carolina
2000-08-09 | Biologics | III | b-902-0 | Red Blood Cells Irradiated | Manufacturer | American Red Cross Philadelphia Pennsylvania | April 18 2000 | Blood Products Were Stored At Unacceptable Temperatures | 3 Units Were Distributed | New Jersey And Pennsylvania
2000-08-09 | Biologics | III | b-908-0 | Red Blood Cells For Further Manufacture | Manufacturer | American Red Cross Philadelphia Pennsylvania | December 10 1999 | Blood Product Was Collected From A Donor Who Reported Having Traveled To Or Having Lived In Areas Designated As Endemic For Malaria | 1 Unit | Michigan
2000-08-09 | Biologics | III | b-920-0 | Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Nashville Tennessee | April 27 1999 | Blood Products Had Extended Expirations | 27 Units Were Distributed | Tennessee And Kentucky
2000-08-09 | Biologics | III | b-921-0 | Platelets | Manufacturer | American Red Cross Philadelphia Pennsylvania | September 17 1999 | Blood Product Was Prepared From A Whole Blood Unit That Had Discrepant Start And End Times Documented | 1 Unit Was Distributed | Pennsylvania
2000-08-09 | Biologics | III | b-951-0 | Fresh Frozen Plasma | Manufacturer | The American National Red Cross Columbia South Carolina | August 25 1999 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | South Carolina
2000-08-09 | Biologics | III | b-973/975-0 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | The American National Red Cross Dedham Massachusetts | January 28 2000 | Blood Products Were Collected From An Unsuitable Donor Due To Previous Elevated Test Results For Alanine Aminotransferase Alt | 1 Unit Of Each Component Was Distributed | Massachusetts
2000-08-09 | Biologics | III | b-998-0 | Platelets | American Red Cross Blood Services | American Red Cross Blood Services Waco Texas | October 11 1999 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | Texas
2000-08-09 | Biologics | III | b-1001-0 | Red Blood Cells | Manufacturer | American Red Cross Farmington Connecticut | March 13 2000 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Connecticut
2000-08-09 | Biologics | III | b-1007-0 | Red Blood Cells Leukoreduced | Manufacturer | American Red Cross Blood Services Columbia South Carolina | May 21 1999 | Blood Products Were Leukoreduced Greater Than 24 Hours After Collection | 16 Units Were Distributed | South Carolina
2000-08-09 | Devices | II | z-835-0 | Elecsys Hgc Stat Immunoassay A Pregnancy Test Kit For Use On Roche Elecsys Analyzers | Roche Diagnostics Corporation | Roche Diagnostics Gmbh Penzburg Germany | May 00 2000 | There Is An Incidence Of False Elevation In Pregnancy Test Results For The Above Method That Is Not Related To Hama Human Anti Mouse Antibody Interference | Undetermined | Nationwide
2000-08-09 | Devices | II | z-850/854-0 | Access Brand Immunoassay Reagent Packs In Vitro Diagnostic Medical Devices A Beckman Coulter Access Troponin I Brand Immunoassay System Reagent Pack B Beckman Coulter Access Cea Brand Immunoassay System Reagent Pack C Beckman Coulter Access Psa Brand Immunoassay System Reagent Pack D Beckman Coulter Access Rubella Igg Brand Immunoassay System Reagent Pack E Beckman Coulter Access Toxoplasma Igm Brand Immunoassay System Reagent Pack | Beckman Coulter | Sanofi Diagnostics Pasteur Coquette France | October 1 1999 | The Above Reagent Packs May Have Been Improperly Filled Or Contain An Incorrect Reagent Component | A 5 624 Of Lot 993831 And 5 686 Of Lot 993833 B 222 Of Lot 97617 C 1 210 Of Lot 904753 And 218 Of Lot 904762 D 5 102 Of Lot 990232 And 1 972 Of Lot 990233 E 1 636 Of Lot 990532 Were Distributed | Nationwide And International
2000-08-09 | Devices | II | z-880-0 | Chiron Vision Soflex Foldable Uv Absorbing Posterior Chamber Silicone Intraocular Lens Model L 151 U | Baush Lomb Surgical | Baush Lomb Surgical Claremont California | January 10 1999 | The Lenses Were Polished Using An Incorrectly Prepared Polishing Mixture That Resulted In The Lens Causing A Cloudy Visual Acuity For The Patient | 25 Lenses Were Released | Arkansas And Tennessee