## 2000-09-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-09-20 | Drugs | II | d-453/455-0 | A Digoxin Injection Usp 0 | Manufacturer | Wyeth Ayerst Laboratories Marietta Pennsylvania | July 17 2000 | Tubex R Cartridges May Be Cracked Or Chipped | A 40 470 Tubexes B 70 370 Tubexes C 40 900 Tubexes Were Distributed | Nationwide And Puerto Rico
2000-09-20 | Drugs | II | d-460-0 | Cephradine Capsules Usp 500 Mg In 100 Count Bottles Rx Indicated In The Treatment Of Respiratory Tract Infections Otitis Media Skin And Skin Structure Infections And Urinary Tract Infections | Teva Pharmaceuticals Usa | Teva Pharmaceuticals Usa Fairfield New Jersey | August 30 2000 | Subpotency Stability | 10 244 Units Of Lot 057450 And 1 755 Units Of Lot 057988 Were Distributed Firm Estimated That 5 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
2000-09-20 | Drugs | II | d-461-0 | Nitroglycerin Sublingual Tablets 0 | Manufacturer | Konec Limited Liability Company Tucson Arizona | February 13 2000 | Metal Particle Contamination | N 419 R 1 8 891 Bottles Of 25 Tablets Each N 419 W 1 16 726 Bottles Of 25 Tablets Each N 459 W 1 4 719 Bottles Of 100 Tablets Each | Pennsylvania
2000-09-20 | Drugs | II | d-462-0 | Target Non Aspirin Pain Reliever Tablets In 500 Count Bottles Otc Pain Reliever | Lenier Health Products | Leiner Health Products Inc | August 10 2000 | Product Mix Up Presence Of Buffered Aspirin 325 Mg In Some Bottles | 400 Cases 6 Bottles Per Case Were Distributed Firm Estimates None Remains On The Market | Minnesota Arizona California Colorado Georgia Wisconsin Oregon Indiana Virginia Texas
2000-09-20 | Drugs | II | d-465-0 | Augmentin R Oral Suspension Amoxicillin 400 Mg Clavulanate Potassium 57 Mg 400 Mg 5 Ml In 100 Ml Multi Dose Bottles | Smithkline Beecham Pharmaceuticals | Smithkline Beecham Pharmaceuticals Bristol Tennessee | August 22 2000 | Subpotency Of Clavulanic Acid 9 Month Stability Station | 59 940 Units Were Distributed | Nationwide
2000-09-20 | Drugs | II | d-467-0 | Leucovorin Calcium Injection Usp 500 Mg 50 Ml Single Dose Vial Rx Drug Product In An Amber Glass Vial | N/A | Gensia Sicor Pharmaceuticals Inc | August 18 2000 | Particulates Stability | 13 132 Vials Were Distributed | Alabama Florida Georgia Illinois Kentucky Massachusetts Maryland Maine Michigan Missouri Mississippi North Carolina New Hampshire New Jersey New York Ohio Pennsylvania South Carolina Tennessee Wisconsin West Virginia District Of Columbia
2000-09-20 | Drugs | III | d-456-0 | Vicodin R Tablets Hydrocodone Bitartrate 5 Mg And Acetaminophen 500 Mg In 500 Count Bottles Rx Indicated For The Relief Of Moderate To Moderately Severe Pain | Knoll Pharmaceutical Company | Knoll Pharmaceutical Company Whippany New Jersey | August 11 2000 | Dissolution Failure | 8 222 Bottles Were Distributed Firm Estimates None Remains On The Market | Nationwide
2000-09-20 | Drugs | III | d-458-0 | Tri Nasal Triamcinolone Acetonide Usp Nasal Spray 50 Mcg 15 Ml 120 Metered Sprays Rx Indicated For The Treatment Of Nasal Symptoms Of Seasonal And Perennial Allergic Rhinitis In Adults And Children Older Than 12 Years Of Age | Manufacturer | Muro Pharmaceutical Inc | August 29 2000 | Leaking Containers | 134 138 Units Were Distributed | Nationwide
2000-09-20 | Drugs | III | d-459-0 | Leukeran R Chlorambucil Tablets 2 Mg In 50 Count Bottles Rx | Manufacturer | Glaxo Wellcome Inc | August 21 2000 | Impurity Specification Failure Stability | 36 463 Units Were Distributed | Nationwide And Canada
2000-09-20 | Drugs | III | d-464-0 | Levsinex Tm Capsules Hyoscyamine Sulfate Usp 0 375 Mg Timecap Extended Release Rx For Use As Adjunctive Therapy In The Treatment Of Peptic Ulcer | Med Pro | Schwarz Pharma Seymour Indiana | August 11 2000 | Insert Incorrectly States Product Has A Clear Capsule Body And Contains Beadlets Product Actually Has A White Capsule Body And Contains A Tablet Product Methocarbamol Usp Bulk Active Ingredient Powder Rx Formulated To Produce A Muscle Relaxant | 299 Bottles Were Distributed | New York
2000-09-20 | Drugs | III | d-466-0 | Methocarbamol | Manufacturer | Boehringer Ingelheim Chemicals | August 18 2000 | Contamination With Polypropylene Fibers | 2124.7 kg | Canada
2000-09-20 | Drugs | III | d-463-0 | Desowen R Cream Desonide Cream 0 | Galderma Laboratories Lp | Dpt Laboratories Inc | August 9 2000 | Mislabeling Shipping Cases Were Incorrectly Labeled As Containing Ointment Not Cream Form Of Product | 4 920 Units In 410 Shipping Containers Were Distributed | Nationwide
2000-09-20 | Drugs | III | d-468-0 | Aluminum Hydroxide Gel Usp Antacid 320 Mg 5 Ml Mint Flavor In 12 And 16 Fluid Ounce Bottles | Manufacturer | Pharmaceutical Associates Inc | February 28 2000 | Resuspension Problems | 6 000 16 Ounce And 8 359 12 Ounce Bottles Were Distributed | Nationwide
2000-09-20 | Biologics | II | b-164/177-0 | A Whole Blood B Red Blood Cells C Red Blood Cells Leukocytes Reduced D E Platelets F Platelets Pheresis G Plasma H Plasma Pheresis I Cryoprecipitated Ahf J Platelets For Manufacturing Non Injectable Products K Red Blood Cells For Manufacturing Non Injectables L Source Leukocytes M Recovered Plasma For Manufacturing Non Injectables N Red Blood Cells For Manufacturing O Recovered Plasma | Manufacturer | American National Red Cross Philadelphia Pennsylvania | March 16 1999 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For The Antibody Western Blot Indeterminate | A 15 Units B 307 Units C 10 Units D 186 Units E 18 Units F 122 Units G 15 Units H 35 Units I 15 Units J 8 Units K 6 Units L 7 Units M 19 Units N 217 Units Were Distributed | Illinois Michigan New Jersey Ohio Pennsylvania California Switzerland
2000-09-20 | Biologics | II | b-1170/1171-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Dedham Massachusetts | January 19 2000 | Blood Products Were Collected From A Donor Who Had Traveled To A Malarial Endemic Area | 1 Unit Of Each Component Was Distributed | Massachusetts And Puerto Rico
2000-09-20 | Biologics | II | b-1174/1175-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Fort Wayne Indiana | September 1 1999 | Blood Products Were Collected From A Donor Who Had Viral Hepatitis After Age Eleven | 1 Unit Of Each Component Was Distributed | Indiana And New York
2000-09-20 | Biologics | II | b-1176-0 | Platelets | Manufacturer | American Red Cross Fort Wayne Indiana | October 1 1999 | Blood Product Was Collected From A Donor In Which Arm Preparation Was Not Performed Or Was Performed Inappropriately | 1 Unit Was Distributed | Indiana
2000-09-20 | Devices | II | z-912-0 | Cleaning Brush Bw 9 Y For The Olympus Sif Q 140 Video Enteroscope Used For Cleaning The Endoscope's Distal End When Inserted Through The Suction Channel S Cylinder | Olympus America | Olympus Opto Electronics Ltd | October 12 1999 | Manufacturing Defect Cleaning Brush Too Short | 5 Units Were Distributed | Florida Oregon Pennsylvania Louisiana New York
2000-09-20 | Devices | II | z-915/916-0 | A 6 French Disposable Angiographic Catheters B 6 French Special Catheters | Manufacturer | Millar Instruments Inc | April 28 2000 | Presence Of Small Fibers That May Shed During Use | Pc 464 D 1072 Units Spc 464 E 379 Units Spc 464 F 76 Units Ssd 694 3 Units Ssd 937 1 Unit Ssd 790 0 None | Nationwide France United Kingdom Switzerland Japan Norway Germany
2000-09-20 | Devices | II | z-918-0 | Punctur Gard Revolution Safety Needle Holder Used In Conjunction With The Punctur Guard Blood Collection Needle | Manufacturer | Bio Plexus Vernon Connecticut | May 24 2000 | Holder May Fail To Activate Needle Safety Mechanism | 14 750 Units Were Distributed | Memphis And Tennessee
2000-09-20 | Devices | II | z-919-0 | Medtronic 6 F Siteseer Agiographic Catheter Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substances Into The Heart And Vessel | Medtrtonics Interventional Vascular | Medtronic Ave Inc | May 16 2000 | Sterility Of The Device Is Compromised Due To An Improperly Sealed Pouch | 320 Units Were Distributed | Germany United Kingdom Italy China
2000-09-20 | Devices | II | z-920-0 | Testosterone Reagent Pack 100 Test Units Per Pack For In Vitro Diagnostic Use Only Intended For The In Vitro Quantitative Measurement Of Testosterone In Human Serum And Plasma | Ortho Clinical Diagnostics | Ortho Clinical Diagnostics Inc | May 26 1999 | Test Results May Be Identified As Ng Ml When Results Are For Ng Dl | 182 Packs Were Distributed | California Florida Indiana Kentucky Michigan New York Ohio Oklahoma Pennsylvania Tennessee Australia Canada Puerto Rico Panama Singapore England France Germany Italy Spain
2000-09-20 | Devices | II | z-942/943-0 | Maxxum Ptca Dilation Catheters Balloon Catheters Catalog H 74914497300 20 Mm And Catalog H 74914496300 13 Mm Percutaneous Transluminal Coronary Angioplasty Catheters Used To Dilate Coronary Artery Stenoses Or Previously Placed Stents | Manufacturer | Boston Scientific Scimed Inc | June 22 2000 | Balloon Ptca Catheters Were Mislabeled As To Length | 8 Catheters Were Distributed | Florida Indiana Oklahoma
2000-09-20 | Devices | II | z-945-0 | Be 148 4 Cuff Pressure Monitor | Manufacturer | Instrumentation Industries Inc | June 20 2000 | There Is A Tight Fit Between Small Port And Mating Part Pilot Line Check Valve Which Precludes A Connection | 103 Units Were Distributed | California Florida Louisiana Maryland Minnesota North Carolina North Dakota Ohio Pennsylvania Tennessee Texas West Virginia Canada
2000-09-20 | Devices | II | z-946/947-0 | Incubator 8000 Nc Sc Ic Neotatal Incubator And Radiant Heater Rh 600 Infant Radiant Heater | North American Drager | Drager Medizintechnik Gmbh Dmt Lubeck Germany | July 2 2000 | The Skin Temperature Sensor For The Incubator 8000 Is Not Working Properly | 487 Units Were Distributed | Nationwide And Canada
2000-09-20 | Devices | II | z-948-0 | Radiolucent Threaded Cannula 5 Mm X 10 Mm An Endoscopic Device That Provides Access To The Patient's Peritoneal Cavity And Allows Insertion Of Endoscopic Instruments And The Removal Of Specimens | Aesculap | Applied Medical Resources Laguna Hills California | May 16 2000 | The Device Has The Potential To Crack In The Shaft Of The Cannula Over Time | 68 Units Were Distributed | Nationwide And Canada
2000-09-20 | Devices | III | z-917-0 | Tsh Reagent Pack Catalog 191 2997 Intended For The In Vitro Quantitative Measurement Of Thyroid Stimulating Hormone In Human Serum And Plasma To Aid In The Differential Diagnosis Of Thyroid Disease | Ortho Clinical Diagnostics | Ortho Clinical Diagnostics Inc | February 23 2000 | Reagent Instability Caused Negative Bias With Control And Or Patient Samples | 1 186 Packs Were Distributed | Alaska Alabama Florida Indiana Kentucky North Dakota Nebraska Texas Washington State
2000-09-20 | Devices | III | z-938-0 | Tigertail Flexible Tip Ureteral Catheter Labeled To Contain 6 Fr | C R Bard | C R Bard | February 9 2000 | Package Labeled As 6 Fr | 89 Units Were Distributed | Arizona Colorado Illinois Missouri New York Utah North Carolina New Jersey
2000-09-20 | Devices | III | z-944-0 | Utah Medical Products Deltran Iv Plus Pressure Monitoring Kit Catalog No | Manufacturer | Utah Medical Products Inc | July 6 2000 | Kits Were Mislabeled As An Obstetric Vacuum Kit | 185 Units Were Distributed | California Michigan Montana West Virginia
2000-09-20 | Devices | III | z-950-0 | Abbott Axsym Estradiol Reagent Pack List 7 A 63 20 10 Test Kit An In Vitro Diagnostic Microparticle Enzyme Immunoassay Meia For The Quantitative Determination Of Estradiol In Human Serum On The Axsym System | Abbott Laboratories | Abbott Health Products Inc | July 9 2000 | Depressed Estradiol Results When Using The Undiluted Protocol | 13 675 Kits Were Distributed | Nationwide New Zealand England Australia Dominican Republic Mexico Japan Guatemala Argentina Singapore Bermuda Peru Brazil Korea Hong Kong Colombia Taiwan Canada Thailand Costa Rica Chile Pakistan El Salvador Curaco Paraguay India
2000-09-20 | Devices | III | z-951-0 | Imx Estradiol Reagent Pack List 2215 22 100 Test Kit An In Vitro Diagnostic Microparticle Immunoassay Meia For The Quantitative Determination Of Estradiol In Human Serum Or Plasma On The Imx Analyzer | Manufacturer | Abbott Laboratories Inc | July 9 2000 | Depressed Estradiol Results When Using The Undiluted Protocol | 3 345 Kits Were Distributed | Nationwide British West Indies England Australia Dominican Republic Mexico Japan Guatemala Argentina Singapore Bermuda Peru Brazil Korea Hong Kong Colombia Taiwan Canada Thailand Chile Pakistan Jamaica Venezuela Panama Uruguay Paraguay West Indies Antigua Ecuador Nicaragua Turk And Caicos Islands Bahamas Honduras Surinam Germany Italy India
2000-09-20 | Devices | III | z-952-0 | Vitros Immunodiagnostic Tsh Reagent Pack 100 Tests Per Pack For The In Vitro Quantitative Measurement Of Thyroid Stimulating Hormone In Human Serum And Plasma | Ortho Clinical Diagnostics | Ortho Clinical Diagnostics Inc | June 28 2000 | Some Tsh Reagent Packs May Contain Incorrectly Labeled Reagent Bottles | Domestic 208 Packs Includes 10 To Ocd International 373 Packs Were Distributed | Nationwide Canada Australia India Japan Singapore England France Germany Italy Spain
2000-09-20 | Devices | III | z-979/980-0 | Medtronic Sigma Sdr 303 And Ss 303 Implantable Pulse Generators Used For The Restoration Of Heart Rhythm | Medtronic | S Medtronic Med Rel Inc | June 12 2000 | Final Device Programming Does Not Match The Label Identification | 3 Units Were Distributed | Puerto Rico United Kingdom And Germany
2000-09-20 | Devices | III | z-986-0 | Acumatch C Series Cemented Femoral Component Size 6 Originally Named The Exactech Aura Hip System Femoral Component But Has Been Renamed Acumatch C Series Hip Implant Femoral Component These Stems Are Intended To Be Used With Bone Cement For The Treatment Of Skeletally Mature Individuals Undergoing Primary Surgery For Total Hip Replacement | Manufacturer | Exactech Inc | May 25 2000 | Products Were Mislabeled With The Incorrect Stem Length | 43 Units Were Distributed | Florida South Carolina Alabama New York Louisiana Pennsylvania Minnesota Ohio New Jersey Nebraska Washington State California Connecticut Michigan
2000-09-20 | Devices | III | z-1012-0 | Datascope 9 | Manufacturer | Datascope Corporation Fairfield New Jersey | July 28 2000 | The Outside User Label On The Product Describes The Insertion Kit As Containing A 10 Fr | 169 Units Were Distributed | Illinois Michigan Connecticut California Maryland Arizona
2000-09-20 | Devices | III | z-1013-0 | Zimmer Zmr Hip System Implant Assembly Guide Catalog 00 9975 043 00 Used To Record The Orientation Of The Proximal Body And Distal Stem Implant Provisionals For Later Assembly Of The Final Implant Components | Manufacturer | Zimmer Inc | August 15 2000 | The Product Was Found Adulterated And Misbranded In That The Alignment Arrow Was Oriented Incorrectly On The Component | 177 Units Were Distributed Between March And June 2000 | Nationwide Australia Canada Germany Italy Singapore And United Kingdom