## 2000-09-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-09-27 | Drugs | II | d-191-0 | Glucose Tolerance Test Beverage Carbonate Cola Lemon Sour And Orange Flavors 100 Gms D Glucose In 10 Fluid Ounce Bottles Under The Brand Qualadex Otc Used As A Diagnostic Test Solution For Diabetes Testing | Breen Labs | Irenda Corporation Los Angeles California Contract Manufacturer Recalled By Breen Labs Los Angeles California Responsible Firm Distributor By Letter On July 6 2000 | July 6 2000 | Sub Potency | 44 231 Bottles Were Distributed | California
2000-09-27 | Drugs | II | d-470-0 | Carbamazepine Tablets 200 Mg Rx | Repacker | Repacker Pharmaceutical Corporation of America | November 24 1999 | Label Mix Up - A Portion Of The Lot Was Labeled As Tetracycline 500 Mg | 4 532 Bottles Were Distributed Firm Estimates None Remains On The Market | Virginia
2000-09-27 | Drugs | II | d-471-0 | 649 Various Rx And Otc Products | Repacker | Repacker Pharmaceutical Corporation of America | March 13 2000 | Current Good Manufacturing Deviations Including But Not Limited To Lack Of Control To Prevent Beta Lactam Antibiotic Cross Contamination | 3 846 600 Bottles Were Distributed | Nationwide
2000-09-27 | Drugs | III | d-469-0 | Homatropine Hydrobromide Ophthalmic Solution Usp 5 Dropperettes 1 Ml Rx For Treatment Of Itritis An Diridocyclitis For Relief Of Cillary Spasm And Also As An Aid In Refraction | Ciba Vision Ophthalmic Cvo | OMJ Pharmaceutical | September 1 2000 | Potency Not Within Usp Specifications Stability | 8 229 Units Were Distributed | Puerto Rico
2000-09-27 | Biologics | II | b-1145-0 | Platelets | Manufacturer | American Red Cross Blood Services Detroit Michigan | October 8 1999 | Blood Products Were Not Tested For Cmv Antibodies But Were Labeled Cmv Negative | 3 Units Were Distributed | Michigan
2000-09-27 | Biologics | II | b-1148-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Fort Wayne Indiana | June 3 1998 | Blood Products Were Not Phenotyped For The Jka Antigen Were Distributed For A Patient With An Anti Jka | 2 Units Were Distributed | Indiana
2000-09-27 | Biologics | II | b-1153/1154-0 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Detroit Michigan | November 4 1999 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 2 Units Were Distributed | Michigan
2000-09-27 | Biologics | II | b-1172/1173-0 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Dedham Massachusetts | April 21 2000 | Blood Products Were Collected From A Donor In Which Arm Preparation Was Not Performed Or Was Performed Inappropriately | 1 Unit Of Each Component Was Distributed | California And Massachusetts
2000-09-27 | Biologics | II | b-1179-0 | Red Blood Cells Leukocytes Reduced | Manufacturer | Florida Blood Services St | January 22 1998 | Red Blood Cells Were Leukoreduced By Filtration Greater Than Five Days Past The Time Of Collection | 2 Units Were Distributed | Florida
2000-09-27 | Biologics | II | b-1180-0 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Detroit Michigan | October 27 1999 | Blood Product Was Distributed After Receiving Post Donation Information Reporting A Bacterial Throat Infection | 1 Unit Was Distributed | Michigan
2000-09-27 | Biologics | II | b-1183-0 | Platelet Pheresis Leukocytes Reduced | Florida Blood Services | Florida Blood Services Tampa Florida | January 28 1999 | Blood Product Had A High White Blood Cell Count | 1 Unit Was Distributed | Florida
2000-09-27 | Biologics | II | b-1185-0 | Platelets Pheresis | Florida Blood Services | Florida Blood Services Tampa Florida | February 25 1998 | Blood Product Had An Unacceptable Platelet Count | 1 Unit Was Distributed | Florida
2000-09-27 | Biologics | II | b-1201-0 | Source Plasma | Manufacturer | Alpha Therapeutic Corporation Los Angeles California | February 4 1999 | Blood Products Tested Negative For Anti Hiv 1 2 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 2 | 28 Units Were Distributed | Tennessee New Jersey Germany Italy
2000-09-27 | Biologics | II | b-1204-0 | Red Blood Cells | Manufacturer Telephone On March 15 | American Red Cross Blood Services Charlotte North Carolina | March 15 1999 | Blood Product Which Tested Repeatedly Reactive For Hbsag Was Subjected To Additional Duplicate Retesting And Distributed | 1 Unit Was Distributed | North Carolina
2000-09-27 | Biologics | II | b-1205-0 | Platelets | Manufacturer | South Florida Blood Banks West Palm Beach Florida | July 22 1999 | Blood Product Tested Negative For Anti Hiv 1 But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv | 1 Unit Was Distributed | Florida
2000-09-27 | Biologics | II | b-1206/1208-0 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Carter Bloodcare Bedford Texas | December 8 1999 | Blood Products Tested Negative For Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 | 2 Units Were Distributed | Texas And California
2000-09-27 | Biologics | III | b-1181-0 | Platelets | Manufacturer | American Red Cross Blood Services Detroit Michigan | February 25 2000 | Blood Product Was Prepared From A Unit Of Whole Blood With A Discrepant Collection Time | 1 Unit Was Distributed | Michigan
2000-09-27 | Biologics | III | b-1202-0 | Red Blood Cells | Manufacturer | South Florida Blood Banks Inc | March 11 1999 | Blood Product Was Collected From A Donor Who Received A Tissue Transplant Surgery Within A Year Of Donation | 1 Unit Was Distributed | Florida
2000-09-27 | Biologics | III | b-1209-0 | Platelets Pheresis | Manufacturer | South Florida Blood Banks West Palm Beach Florida | June 23 1999 | Blood Products Were Stored At Unacceptable Temperatures | 2 Units Were Distributed | Florida
2000-09-27 | Devices | II | z-910-0 | Endopouch Pro Specimen Retrieval Bag Model Pro 46 | Manufacturer | Ethicon Inc | January 19 1999 | Breakage Of The Metal Rim Bags Not Sealing And Bag Breakage | 33 030 Units Were Distributed | Nationwide
2000-09-27 | Devices | II | z-949-0 | Immunocard Rotavirus An Elisa Diagnostic Test Kit For The Detection Of Rotavirus Antigens In Human Stool | Manufacturer | Meridian Diagnostics Inc | June 28 2000 | The Conjugate Concentration Is Too High Resulting In False Positive Test Results | 516 Kits Were Distributed | Nationwide
2000-09-27 | Devices | II | z-954/958-0 | Becton Dickinson Exacta Percutaneous Sheath Introducer Kits For The Introduction Or Insertion Of Pulmonary Arterial Catheters Into The Vascular System A Kit 012 00 B Kit 009 01 C Kit 010 00 D Kit 012 00 E Kit 009 00 | Becton Dickinson Infusion Therapy Systems | Becton Dickinson Critical Care Systems Pte Ltd | July 11 2000 | Introducer Kits Contain Clinipad Components Labeled As Sterile | 349 Kits Were Distributed | Alabama California Colorado Illinois Indiana Louisiana Minnesota New Jersey Ohio Tennessee Utah
2000-09-27 | Devices | II | z-959/961-0 | Compat Specialty Feeding Tubes 22 French Caluso Peg Deluxe Tube Kits Product Number 097022 Compat Specialty Feeding Tubes 22 French Nuport Peg Deluxe Tube Kits Product Number 097522 Compat Specialty Feeding Tubes 15 French Pedi Peg Deluxe Tube Kits Product Number 084015 For Distribution In Europe The Products Are Compat Peg 22 French Reference Number 052001 The Equivalent To The 22 French Caluso Peg In The Kit Distributed In The U | Novartis Nutrition Corporation | Enthox Corporation Buffalo New York | July 19 2000 | Gastrostomy Tube Can Separate From Dilator Tube During Placement | 14 000 Kits Were Distributed | In Europe The Products Are Compat Peg 22 French Reference Number 052001 The Equivalent To The 22 French Caluso Peg In The Kit Distributed In The U
2000-09-27 | Devices | II | z-962-0 | Non Rechargeable Lithium Battery For Use With The Lifepak 500 Automate External Defibrillator | Manufacturer | Medtronic Physio Control Corporation Redmond Washington | July 13 2000 | Battery Failure Due To Battery Cell Rupture Causing Battery Pack Case To Split | United States 8587 International 1115 Physio Control Field Units 106 | Nationwide And International
2000-09-27 | Devices | II | z-964-0 | Premier Rubeola Igg Elisa An In Vitro Diagnostic Test Kit For The Qualitative Detection Of Igg Antibody To Rubeola Virus In Human Serum | Manufacturer | Meridian Diagnostics Inc | July 21 2000 | Reference Control Does Not Meet Specs And May Lead To False Negative Results | 163 Kits Were Distributed | California Connecticut Florida Kentucky Maine Massachusetts Minnesota Missouri New York Ohio Pennsylvania Utah Washington Texas
2000-09-27 | Devices | II | z-965/977-0 | Angiography Drape Pack Advantec Mld Angiography Procedure System A Product 500501 B Product 500502 C Product 500503 D Product 500504 E Product 500505 F Product 500506 G Product 500507 H Product 500508 I Product 500509 J Product 500502 A K Product 500502 B L Product 500504 A M Product 500504 B | Manufacturer | Maxxim Medical Inc | June 6 2000 | Particulate Mater May Be Present | 1 107 Were Distributed | Nationwide
2000-09-27 | Devices | II | z-981/982-0 | A Bbl Crystal Tm Gram Positive Id System Catalog 245140 For Export Only And 245240 A Miniaturized Identification Method For Id Of Aerobic Gram Positive Bacteria B Bbl Crystal Tm Neisseria Haemophilus Id Systems Catalog 245130 A Miniaturized Identification Method For Id Of Neisseria Haemophilus And Other Fastidious Bacteria | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | July 12 2000 | Microbiological Ivd Tests Misidentified Bacteria In Samples | A 1 252 Kits B 449 Kits Were Distributed | Nationwide And International
2000-09-27 | Devices | II | z-983-0 | Diaphragm Assembly Consisting Of A Silicone Rubber Balloon A Polypropylene Stem And Polypropylene Ring | Manufacturer | Instrumentation Industries Inc | July 24 2000 | The Rings Used In The Diaphragm Assembly Were Inadvertently Molded With The Wrong Core Pin | 1 623 Units Were Distributed | Connecticut Colorado Minnesota Missouri Virginia
2000-09-27 | Devices | II | z-984-0 | Seradyn Color Slide Rubella 100 Test Kit Product Number 0371005 100 Test A Rapid Latex Particle Agglutination Test For The Qualitative And Semi Quantitative Determination Of Igg And Igm Antibodies To Rubella Virus In Serum | Manufacturer | Alexon Trend Inc | July 12 2000 | Positive Controls Do Not Meet Specifications In 3 Month Stability Testing | 263 Kits Were Distributed | Nationwide And The United Kingdom
2000-09-27 | Devices | II | z-985-0 | Pulsatron Ii Disposable Nerve Locator Catalog 82 62105 This Is A Battery Operated Disposable Nerve Stimulator Locator Intended To Stimulate Moto Nerves Exposed During Surgery For The Purpose Of Identification Or Location | Manufacturer | Xomed Inc | June 19 2000 | Failure To Function Or Intermittent Function During Use | 3 042 Boxes Of 10 Units Each Or 30 420 Devices Were Distributed | Nationwide And International
2000-09-27 | Devices | II | z-987/988-0 | A Electroscope Es 0001 1 2 Scissors Insert | Manufacturer | Encision Inc | June 28 2000 | Scissors Inserts For Electrosurgical Instrument Could Come Apart During Use | 49 Units Were Distributed | California Colorado Georgia Illinois Louisiana Maryland Minnesota Missouri Mississippi Oklahoma Oregon Texas Washington State
2000-09-27 | Devices | II | z-989-0 | Innerdyne Inc | Manufacturer | Innerdyne Inc | July 6 2000 | Compromised Sterile Barrier On The Lid Stock Of Sealed Product Trays | 174 Units Were Distributed | Arizona California Florida Illinois Massachusetts New York Virginia Wyoming
2000-09-27 | Devices | II | z-990-0 | Otto Bock Modular Knee Joints Model 3 R 36 Used For Lower Limb Amputees Up To 220 Pounds Body Weight And With Moderate Activity Levels | Otto Bock Orthopedic Industry | Otto Bock Orthopedische Industrie Duderstadt Germany | July 26 2000 | The Prosthetic Knee Joint Could Fail Due To Setscrews Which Can Come Loose | 51 Units Were Distributed | Nationwide And Germany
2000-09-27 | Devices | II | z-992/994-0 | Norian Pneumatic Mixer Used In Conjunction With Norian Reactant Pack By Automatically Preparing Reactant Pack Constituent Components For Transfer Of Mixed Cement Paste Into Sterile Field | Manufacturer | Norian Corporation Cupertino California | August 2 2000 | The Sterility Of The Product May Be Compromised As Evidenced By A Loss Of Package Integrity | 553 Units Were Distributed | Nationwide
2000-09-27 | Devices | II | z-995/996-0 | Allograft Heart Valve A Model No | Manufacturer | Cryolife Inc | July 7 2000 | Discordant Serology Results For Hepatitis B Core Antibody | 2 Valves Were Distributed | New York And Michigan
2000-09-27 | Devices | II | z-997/998-0 | Cryovalve Allograft Human Heart Valve Replacement Implant A Model No | Manufacturer | Cryolife Inc | July 11 2000 | Serodilution Of Plasma | 2 Valves Were Distributed | Texas
2000-09-27 | Devices | II | z-999-0 | Customized Flextend Tm Tracheostomy Tubes With Standard Curve Wire Reinforced Distal Shafts | Manufacturer | Bivona Medical Technologies Gary Indiana | August 3 2000 | The Curved Wire Reinforced Distal Shaft Fails To Remain Curved | 132 Units Were Distributed | Nationwide
2000-09-27 | Devices | II | z-1000/1002-0 | Dialysis Reverse Osmosis Water System A Single Stand Alone Water Treatment System Used In Hemodialysis Applications Designed To Pre Treat And Purify Potable Water For Use In Making Dialysate For Hemodialysis Model Numbers Mros Mro 1 And Mro 2 | Manufacturer | Ameriwater Dayton Ohio | August 14 2000 | The Ro System Experiences A Low Draw Rate Of Peroxide Peroxyacetic Acid Paa During Sanitization Of System | 58 Devices Were Distributed | Ohio Montana Illinois Colorado Tennessee Kentucky Nebraska Kansas Virginia Massachusetts Oklahoma New Jersey Texas Pennsylvania
2000-09-27 | Devices | II | z-1003-0 | Dr. Sweat's Atlas Orthogonal Chiropractic Adjustment Table | Sweat Chiropractic Clinic | Wuestec Medical Inc | August 19 1999 | Manufacturing Defect Could Cause Patient To Be Pinned By Stylus To Adjustment Table | 32 Units Were Distributed | Nationwide Japan Quebec And Hong Kong
2000-09-27 | Devices | II | z-1004-0 | Cryovalve Allograft Heart Valve | Manufacturer | Cryolife Inc | July 14 2000 | Donor Possessed Adenocarcinoma Of The Prostate | 1 Valve Was Distributed | Ohio
2000-09-27 | Devices | II | z-1005-0 | 33 Mm Cardioseal Septal Occluder Implant Sterile Designed To Close Intra Aortic Defects Percutaneously With The Assistance Of A Delivery System | Manufacturer | Nitinol Medical Technologies Inc | July 28 2000 | Mislabeled As 33 Mm Vs 17 Mm Septal Occluder Implant | 4 Units Were Distributed | Illinois And Virginia
2000-09-27 | Devices | II | z-1008-0 | Angio Seal Vascular Closure Device 6 French Model 610091 For Use In Closing The Femoral Arterial Puncture Site In Patients Who Have Undergone Diagnostic Angiography Procedures Using A Retrograde Approach And A French Or Smaller Procedural Sheath | St Jude Medical | Kensey Nash Corporation Exton Pennsylvania | August 9 2000 | Device Crimp Stop Can Slip | 1 100 Units Were Distributed | Nationwide
2000-09-27 | Devices | II | z-1009-0 | Immunocard H | Manufacturer | Meridian Diagnostics Inc | August 23 2000 | The Test Ports Of The Cards May Exhibit False Negative Results | 1 262 Kits Were Distributed | Nationwide Canada Venezuela New Zealand Costa Rica Philippines Puerto Rico Japan Germany And Italy
2000-09-27 | Devices | II | z-1010/1011-0 | Stryker Rugged Mx Pro Ambulance Cots A Wheeled Stretcher Intended For Ems Use A Model No | Manufacturer | Stryker Medical Kalamazoo Michigan | December 10 1999 | The Safety Bar Return Springs Located At The Head End Of The Cots Have Failed | 2 154 Cots Were Distributed | United States Bahrain Canada Chile Mexico Netherlands Peru South Africa Switzerland United Arab Emirates And United Kingdom
2000-09-27 | Devices | II | z-1020-0 | Model Elite Corium Laser System Various Uses Including Dermatology Dentistry Ophthalmology Ent Etc | Manufacturer Fda Approved The Firm's Corrective Action Plan On September 14 | Fisma Inc | September 14 2000 | Noncompliant Calibration Procedures In The Operator's Manuals | 239 Units Were Distributed | Nationwide And International