## 2000-12-13
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2000-12-13 | Drugs | II | d-053/054-1 | A Synthroid R Tablets Levothyroxine Sodium Tablets Usp 112 Mcg 0 | Knoll Pharmaceutical Company | Knoll Pharmaceuticals Jayuya Puerto Rico | November 16 2000 | Mis Packaging 100 Mcg Product Was Packaged Into 200 Mcg Card | A 17 476 Boxes Of 4 Cards B 12 998 Boxes Of 4 Cards Were Distributed | Undetermined
2000-12-13 | Drugs | III | d-052-1 | Skin Guardian In 2 Ounce Aerosol Cans Otc Topical Skin Protectant | Manufacturer | Unique Laboratories Inc | October 17 2000 | Product Is An Unapproved New Drug | 110 Cases 24 Units Per Case Were Distributed | Oklahoma
2000-12-13 | Drugs | III | d- 055-1 | Ibuprofen Tablets Usp 400 Mg In Blister Packs 10 X 10 Tablets Rx Oral Non Steroidal Anti Inflammatory Agent | Watson Pharmaceutical | Basf Corporation Shreveport Louisiana | November 2 2000 | Dissolution Failure 3 Month Stability | 5 809 Cartons Were Distributed Firm Estimated That Less Than 5 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
2000-12-13 | Drugs | III | d-056-1 | Triaminic R Vapor Patch Tm Menthol Scent Cough Suppressant Camphor 4 | Novartis Consumer Health | Lectec Corporation Minnetonka Minnesota | December 4 2000 | Pouch Seal Failures Opening Along Top Sides And Or Bottom | Approximately 56 544 Cartons Of Lot Le 505342 50 040 Cartons Of Lot Le 505483 53 928 Cartons Of Lot Le 505503 42 720 Cartons Of Lot Le 505536 5 856 Cartons Of Lot Le 505588 14 328 Cartons Of Lot Le 505680 Were Distributed | Nationwide
2000-12-13 | Biologics | II | b-317-1 | Platelets Pheresis | Manfacturer | American Red Cross Blood Services Columbus Ohio | July 27 2000 | Blood Products Were Processed In A Manner That May Have Compromised The Sterility Of The Units | 9 Units Were Distributed | Ohio And Arizona
2000-12-13 | Biologics | II | b-330/332-1 | A Red Blood Cells B Platelets C Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | May 19 2000 | Blood Products Were Collected From Donors Whose Arms Had Not Been Adequately Prepared Prior To Venipuncture | A 221 Units B 22 Units C 72 Units Were Distributed | Maryland Virginia Pennsylvania District Of Columbia
2000-12-13 | Biologics | II | b-350-1 | Corneas | Heartland Lions Eye Banks | N/A | November 3 2000 | Corneas Were Collected From A Donor Who Tested Repeatedly Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc | 2 Units Were Distributed The Corneas Were Returned And Destroyed | Kansas And Ohio
2000-12-13 | Biologics | II | b-351-1 | Corneas | Heartland Lions Eye Banks | N/A | October 25 2000 | Cornea Was Collected From A Donor Who Tested Repeatedly Reactive For The Antibody To The Hepatitis C Virus And The Hepatitis B Core Antigen | 1 Unit Was Distributed | Illinois
2000-12-13 | Devices | II | z-096-1 | Sterichek Total Chlorine Reagent Strips 100 Test Strips Product 811904 Designed To Measure Low Levels Of Total Chlorine In Feed Water Used To Prepare Solutions For Kidney Dialysis | Manufacturer | Environmental Test Systems Elkhart Indiana | June 30 2000 | The Test Strips Which Are Intended To Measure Very Low Chlorine Levels In Water Used For Dialysis Are Ineffective When Used To Measure High Levels Of Chlorine | Approximately 1 025 Bottles | Nationwide And Japan
2000-12-13 | Devices | II | z-104-1 | Model Smoothlase Alexandrite Laser System Used In Dermatology | Manufacturer Fda Approved The Firm's Corrective Action Plan On December 1 | Leisegang Medical Inc | December 1 2000 | Device Failed To Comply With 21 Cfr 1010 | 9 Units Were Distributed | Nationwide
2000-12-13 | Devices | II | z-106/107-1 | Lacked Certain Required Labels And Operator's Manual Lacked Calibration Procedures And Labels | Manufacturer | Howmedica Osteonics Corporation Allendale New Jersey | October 3 2000 | Device Was Incorrectly Labeled As Sterile When It Was Not Properly Sterilized | 22 Units Were Distributed | California Florida Germany Korea United Kingdom Canada Peru
2000-12-13 | Devices | II | z-110/111-1 | Vip Gold Ventilator B Vip Sterling Ventilator | Manufacturer | Bird Products Corporation Palm Springs California | October 6 2000 | There Is A Failure To Cycle And To Alarm During Deliberate Disconnect | 298 Units Were Distributed | Nationwide And International
2000-12-13 | Devices | III | z-081/082-1 | Electronic Video Colonoscope A Gastrointestinal Video System A Model Ec 200 Lr For The Lower Gastrointestinal Tracts B Model No | Fujinon | Fuji Photooptical Company Ltd | August 30 2000 | The Video Colnonoscope Bending Sections Cannot Be Properly Manipulated | 36 Units | Nationwide And Canada
2000-12-13 | Devices | III | z-094-1 | Vitros C Reactive Protein Crp Slides Gen 18 Quantitatively Measure C Reactive Protein Concentration In Serum And Plasma | Manufacturer | Ortho Clinical Diagnostics Inc | March 15 1999 | Slides Contained Cartridges From Two Different Generations That Were Mixed | 291 Packs Were Distributed | Germany And Sweden
2000-12-13 | Devices | III | z-095-1 | Immulite Brand Of Cmv Igg Test Kit Model L 2 Kcv 2 An In Vitro Diagnostic Device | Manufacturer | Diagnostic Products Corporation Los Angeles California | September 12 2000 | The Barcode Used To Label The Adjustor Kit Component Had An Error That Caused The System To Reject It | 7 Kits Were Distributed | Kansas New Jersey India The Netherlands
2000-12-13 | Devices | III | z-105-1 | Acn Biopsy Needle Part Model Acn 1410 Mf Used For Obtaining Multiple Core Samples From Soft Tissue Such As The Liver Kidney Prostate Breast And Various Other Soft Tissue Lesions | Manufacturer | Medical Device Technologies Inc | October 23 2000 | Needle Did Not Operate Smoothly In Gun Potentially Affecting Quantity Of Sample | 2 374 Units Were Distributed | Nationwide And International
2000-12-13 | Devices | III | z-108/109-1 | A Osteonics C Taper Head 26 Mm 0 Catalog No | Manufacturer | Howmedica Osteonics Corporation Allendale New Jersey | September 22 2000 | Packages Labeled Catalog No | 32 Units Were Distributed | Nationwide And Australia
2000-12-13 | Devices | III | z-112-1 | Immulite 2000 Pap Ivd Test Kit For The Chemiluminescent Enzyme Immunometric Assay For The Quantitative Measurement Of Prostatic Acid Phosphatase | Manufacturer | Diagnostic Products Corporation Los Angeles California | November 3 2000 | The Second Full Reagent Wedge Of The Same Lot On The System Will Erroneously Be Recognized As Being Empty No Further Processing Will Take Place And Test Results Will Not Be Possible To Obtain | 17 Kits Were Distributed | Arizona California Missouri New Jersey Texas Utah Australia Brazil Germany Italy Spain Sweden Switzerland Turkey United Kingdom
2000-12-13 | Devices | III | z-113-1 | Roche c.f.a.s. Calibrator for automated systems | Roche Diagnostics Corp | Roche Diagnostics Gmbh Mannheim Germany | October 31 2000 | The Setpoints Of The Master Lot And Customer Lot Produce Small Bias That May Produce Calcium Results Too High | Approximately 10 000 Kits Were Distributed | Nationwide And Puerto Rico
2000-12-13 | Devices | III | z-114-1 | Abbott Multiconstituent Calibrator For Use With The Alcyon Analyzer And Aeroset System For The Calibration Of Albumin Calcium Cholesterol Creatinine Glucose Phosphorus Total Protein Triglycerides Urea Nitrogen And Uric Acid | Abbott Laboratories | Medical Analysis Systems Inc | June 14 2000 | The Stability Failure Of The Multiconstituent Calibrator Mcc | 1 733 Kits Were Distributed | Nationwide Mexico Venezuela Colombia Dominican Republic Canada Germany Hong Kong Singapore Australia New Zealand Curaco