## 1995-04-26
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-04-26 | Drugs | III | d-117-5 | Isoniazid Tablets Usp 100 Mg Unit Dose Packaged 100 Tablets Per Box Rx Oral Drug For The Treatment Of Tuberculosis | Udl Laboratories | Barr Laboratories Inc | April 12 1995 | Product Does Not Meet Dissolution Specifications At The 48 And 60 Month Test Interval | 3 931 Cartons Of 100 Unit Dose Tablets Were Distributed Firm Estimated That 35 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-04-26 | Drugs | III | d-123/124-5 | Isoniazid Tablets Usp A 100 Mg In Bottles Of 100 And 1 000 B 300 Mg In Bottles Of 30 100 And 1 000 Rx Oral Drug For The Treatment Of Tuberculosis Under The Following Labels Barr Aligen Goldline Udl | Manufacturer | Barr Laboratories Inc | April 6 1995 | Product Does Not Meet Dissolution Specifications At The 48 And 60 Month Test Interval | 745 264 30 Tablet Bottles 300 Mg Only 352 414 100 Tablet Bottles 100 And 300 Mg 52 514 1000 Tablet Bottles 100 And 300 Mg Were Distributed Firm Estimates Little Product Remains On The Market | Nationwide Puerto Rico Virgin Islands Guam
1995-04-26 | Drugs | III | d-125-5 | Ultra Strength Muscle Rub In 3 Ounce Metal Tubes Otc Topical Rub Used To Relieve Pain From Sore Muscles Under The Following Labels Pathmark Brite Life Good Neighbor Treasury Thrifty | Manufacturer | Clay Park Laboratories Inc | April 17 1995 | Premature Product Separatio | Approximately 175 678 Tubes Were Distributed | New York New Jersey Rhode Island Pennsylvania Michigan Illinois California Alabama Florida Arkansas
1995-04-26 | Drugs | III | d-126-5 | Hydrocortisone Lotion Usp 0 | Manufacturer | Clay Park Laboratories Inc | April 7 1995 | Subpotenc | 167 405 2 Ounce And 18 386 4 Ounce Bottles Were Distributed | Nationwide And Puerto Rico
1995-04-26 | Biologics | II | b-240-5 | Platelets Pheresis | Manufacturer | Central California Blood Center Fresno California | June 20 1994 | Blood Product Which Tested Initially Reactive To The Hepatitis C Virus Encoded Antigen Anti Hcv But Tested Negative For Anti Hcv On A Single Repeat Test Was Distributed | 2 Units | California
1995-04-26 | Biologics | II | b-234/235-5 | A Red Blood Cells B Platelets | Manufacturer | American National Red Cross Detroit Michigan | June 14 1993 | Blood Products Which Tested Initially Reactive For Syphilis And Were Not Retested In Accordance With The Manufacturer's Test Kit Instructions Were Distributed | 1 Unit Of Each Component | Michigan
1995-04-26 | Biologics | II | b-236/239-5 | A Whole Blood Cpda 1 B Red Blood Cells C Platelets D Fresh Frozen Plasma | Manufacturer | American National Red Cross Detroit Michigan | June 14 1993 | Blood Products Which Were Improperly Tested For Syphilis Were Distributed | A 1 Unit B 3 Units C 3 Units D 3 Units | Michigan
1995-04-26 | Biologics | III | b-241/244-5 | A Whole Blood Cpda 1 B Red Blood Cells C Platelets Pheresis D Recovered Plasma | Manufacturer | Central California Blood Center Fresno California | June 20 1994 | Blood Products Were Improperly Tested For Anti Hcv Were Distributed | A 1 Unit B 6 Units C 11 Units D 6 Units | California
1995-04-26 | Devices | II | z-642-5 | Mini 22 Channel Cochlear Implant System Model C 122 M | Cochlear Corporation | Cochlear Pty Ltd Cpl Sydney Australia | December 19 1994 | The Power Supply Capacitors Were Installed Incorrectly Causing Premature Failure Of The Devic | 24 Units Were Distributed | Alabama Arkansas California Florida Georgia Pennsylvania Tennessee Texas France Spain Australia
1995-04-26 | Devices | II | z-680/681-5 | Imed Volumetric Infusion Pumps With Software Versions 4 | Manufacturer | Imed Corporation San Diego California | November 8 1994 | A Software Defect May Allow The Device To Lock Up And Over Infuse Fluids Or Air Without Triggering An Alar | 3 000 Units Were Distributed | Nationwide And International
1995-04-26 | Devices | II | z-682/683-5 | Digital Spotfilm System Dss Used In Fluoroscopy A 3 | Picker International | Infimed Liverpool New York | June 33 1994 | A Software Bug In Version | 98 Units Were Distributed | Nationwide Canada France Germany
1995-04-26 | Devices | II | z-689-5 | Model 8400 Sti Volume Ventilators With Pressure Control And Volume Assured Pressure Support Features | Manufacturer | Bird Products Corporation Palm Springs California | January 13 1995 | A Software Defect Results In A False Error Code Indicating That A Breath Was Not Properly Delivered When In Fact The Breath Was Delivere | 529 Units Were Distributed | Nationwide And International
1995-04-26 | Devices | II | z-693-5 | Custom Surgical Kits | Manufacturer | Baxter Custom Sterile Charlotte North Carolina | January 30 1995 | Devices Were Packaged In The Wrong Type Of Pouches For Gas Sterilization And That Due To This Packaging Error The Firm Is Unable To Assure That The Devices Were Sterilized Properl | 20 Kits Were Distributed Firm Estimates None Remains On The Market | Alabama
1995-04-26 | Devices | II | z-695/696-5 | Endopath Endoscopic Reloadable Linear Cutter With Safety Lock Out A Product Code Ez 35 B B Product Code Ez 35 W | Manufacturer | Ethicon Endosurgery Cincinnati Ohio | September 23 1994 | A Component Within The Handle Of The Instrument That Was Incorrectly Molded May Cause The Instrument To Malfunctio | 5 000 Units Were Distributed | Nationwide
1995-04-26 | Devices | III | z-684/685-5 | In Vitro Diagnostic Test Kits Indicated For The Detection Of Infectious Mononucleosis Igm Heterophile Antibodies In Serum Plasma Or Whole Blood A Cards O | Manufacturer | Pacific Biotech Inc | January 17 1995 | Due To A Defective Raw Material False Negative Test Results Are Obtaine | 23 754 Kits Were Distributed On January 26 1995 Firm Estimated That 2 600 Kits Remained On The Market | Nationwide And International