## 1995-05-17
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-05-17 | Drugs | II | d-162-5 | Colistin Sulfate Usp For Prescription Compounding | Relabeler | Paddock Laboratories Inc | April 19 1995 | Potency Is Mislabele | 17 Bottles Were Distributed | California Illinois Ohio Missouri New York North Carolina
1995-05-17 | Drugs | II | d-168-5 | Dilantin Kapseals Extended Phenytoin Sodium Capsules 30 Mg In Bottles Of 100 Rx Antiepileptic Drug | Manufacturer | Warner Lambert Company Lititz Pennsylvania | April 20 1995 | Product Does Not Meet Dissolution Specification | 30 964 Bottles Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-160/161-5 | Isoniazid A 100 Mg In Bottles Of 100 B 300 Mg In Bottles Of 30 Used In The Treatment Of Tuberculosis | Paddock Laboratories | Barr Laboratories Inc | April 25 1995 | Products Do Not Meet Dissolution Specifications At The 48 And 60 Month Test Interval | 13 248 Bottles Of 100 Mg Tablets And 42 037 Bottles Of 300 Mg Tablets Were Distributed Firm Estimated That 200 Bottles Of The 100 Mg Tablets And No Bottles Of The 300 Mg Tablets Remained On Market At Time Of Recall Initiation | Nationwide
1995-05-17 | Drugs | III | d-163-5 | Unipen Injection Nafcillin Sodium Sterile Powder Packaged In 10 Gram Vials | Manufacturer | Wyeth Ayerst Laboratories West Chester Pennsylvania | April 17 1995 | Presence Of Glass Particle | 272 Packages Of 10 Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-164-5 | Hydrocortisone Powder Usp Micronized Non Sterile In 25 Gram Bottles Used For Prescription Compounding | Repacker | Paddock Laboratories Inc | April 27 1995 | Some Bottles Of 25 Grams Powder Are Mislabeled As 10 Gram | 1 927 Bottles Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-165/166-5 | Nitrostat Sublingual Tablets Nitroglycerin Tablets Usp A Vasodilating Agent Indicated For The Prophylaxis Treatment And Management Of Patients With Angina A 0 | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | March 13 1995 | Products May Not Meet Content Uniformity Specification | 120 618 Units Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-167-5 | Sulfacet R Lotion Sodium Sulfacetamide 10 Sulfur 5 8 Ml Samples Packaged In Cartons Of 12 Bottles Under The Dermik Laboratories Label | Manufacturer | Dermik Laboratories Inc | February 16 1995 | Non Uniformity Of The Sulfur Ingredien | 5 427 Of Lot 98423 5 598 Of Lot 98631 5 436 Of Lot 98888 Bottles Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-169/170-5 | X Prep Bowel Evacuant Kits A X Prep Bowel Evacuant Kit 1 Labeled In Part Contents X Prep Liquid 2 Senokot S Tablets 1 Rectolax Suppository Distributed By Gray Pharmaceuticals Co | Gray Pharmaceutical | Clay Park Labs Inc | May 3 1995 | Subpotency Of The Bisacodyl Suppository Componen | A 37 577 Kits Of Lot 5 Bv And 26 174 Kits Of Lot 6 Et B 29 495 Kits Of Lot 4 Yl And 20 164 Kits Of Lot 6 Gs Were Distributed | Nationwide
1995-05-17 | Drugs | III | d-171-5 | Acetaminophen 325 Mg Tablets Packaged In Various Size Blister Packs Under The Vangard And Glasgow Labels | Vangard Labs | Ohm Laboratories Inc | May 1 1995 | Product Did Not Meet Dissolution Specifications Through The Expiration Dat | 926 Cases Containing 557 000 Tablets Were Distributed | Nationwide
1995-05-17 | Devices | II | z-339/341-5 | Mevatron Linear Accelerators Used In The Production Of Therapeutic Doses Of Radiation For The Treatment Of Cancer A Conventional Mevatron Linear Accelerators Models 20 K Kd Md And Mxe B Digital Mx 2 Mevatron Linear Accelerators And C Digital Mevatron Linear Accelerators Other Than Mx 2 Models Kd 2 Kds 2 Kx 2 Md 2 Mdx 2 And Mxe 2 | Manufacturer | Siemens Medical Systems Inc | May 13 1994 | A During Patient Positioning There Is A Possibility That The Field Defining Light Mirror May Not Move Into Its Proper Positio | A 606 Units B 18 Units C 204 Units Were Distributed | A Nationwide And International B Florida Ohio Mississippi North Dakota Ohio And International C Nationwide And International
1995-05-17 | Devices | II | z-710-5 | Hanks Balanced Salt Solution Hbss For In Vitro Diagnostic Use | Manufacturer | Life Technologies Inc | November 18 1994 | Possible Bacterial Contaminatio | 1 981 100 Ml Units And 1 798 500 Ml Units Were Distributed | Nationwide And International
1995-05-17 | Devices | II | z-720-5 | Endo Spor Hospital Type Disinfectant In 1 Gallon Plastic Jugs | Manufacturer | Globe Medical Largo Florida | June 14 1994 | Incorrect Grade Of Hydrogen Peroxide Was Used In Manufacturing Produc | Firm Estimated That As Of June 13 1994 About 3 000 Gallons Remained On Market | Nationwide
1995-05-17 | Devices | II | z-727/728-5 | Cadd Tpn Administration Set With Air Eliminating Filters A Model 21 7014 0 | Manufacturer | Sims Deltec Inc | March 17 1995 | Air Eliminating Filters Were Found To Be Torn And Or Ruptured And Failed To Function As Labele | A 112 455 Sets B 246 315 Sets | Nationwide Canada New Zealand Switzerland South Africa Singapore
1995-05-17 | Devices | II | z-730-5 | Acuity Central Workstation Patient Monitoring System Software Version 3 | Manufacturer | Protocol Systems Inc | February 21 1995 | If A User Attempts To Retrieve Patient Data Between 24 And 2 | 17 Systems In Commerce And 3 Clinical Systems At The Manufacturing Facility | Nationwide And International
1995-05-17 | Devices | II | z-731-5 | Drake Willock System 1000 Delivery System For Single Patient Hemodialysis | Manufacturer | Althin Medical Inc | March 19 1995 | The Pump Head Is Cutting Or Abrading The Blood Tubing Causing Blood Leak | Over 4 000 Units Were Distributed | Nationwide And International
1995-05-17 | Devices | II | z-732-5 | Drake Willock System 1000 Single Patient Delivery System With Heparin Option For Single Patient Hemodialysis | Manufacturer | Althin Medical Inc | March 6 1995 | The Heparin Pump Does Not Deliver A Bolus Under Certain Condition | Undetermined | Nationwide And International
1995-05-17 | Devices | II | z-733-5 | T 9 Scoop Transtracheal Procedure Tray | Manufacturer | Transtracheal Systems Inc | January 9 1995 | The Marking Pen On The Sterile Procedure Tray Had Been Evaluated On An Earlier Ethylene Oxide Comparative Resistance Study And Was Found Unable To Sterilize | 4 519 Trays Were Distributed Firm Estimated That 200 Trays Remained On Market At Time Of Recall Initiation | Nationwide England The Netherlands Canada Belgium Norway Germany
1995-05-17 | Devices | II | z-741-5 | Edentec Model 4185 Safety Locking Patient Cables Part 241 3238 An Accessory To The Model 2000 Infant Apnea Monitor | Edentec Corporation | Cea Technologies Colorado Springs Colorado | March 21 1995 | A High Impedance Electrical Short In The Apnea Monitor Patient Cable Could Cause The Monitor To Fail To Alarm During An Apnea Even | 201 Cables | Nationwide
1995-05-17 | Devices | II | z-742-5 | Ophthalmic Laser System For Use In Ophthalmic Surgery Posterior Capsulotomies | Manufacturer Fda Approved The Firm's Corrective Action Plan April 25 | Alcon Surgical Inc | April 25 1995 | Devices That Have 200 210 Software Version Were Found To Have A Defective Software Design In That A Higher Than Expected Output Energy May Result If A Wire Becomes Disconnecte | 291 Units Were Distributed | Nationwide And International
1995-05-17 | Devices | III | z-701/709-5 | Cell Culture Media For In Vitro Diagnostic Use A Dulbecco's Modified Eagle Medium Catalog No | Manufacturer | Life Technologies Inc | February 22 1995 | Possible Bacterial Contaminatio | A 370 Units B 1 434 Units C 36 Units 100 Ml 254 Units 500 Ml D 954 Units E 884 Units F 219 Units G 3 767 Units H 366 Units I 501 Units Were Distributed | Nationwide And International
1995-05-17 | Devices | III | z-737-5 | Bactec 12 B Media A Middlebrook 7 H 12 Medium Used For The Growth Detection Identification And Susceptibility Testing Of Mycobacteria Spp | Manufacturer | Becton Dickinson Sparks Maryland | March 9 1995 | The Bacted 12 B Media Had A Delay In The Time To Detect Various Species Of Mycobacteria From Both Patient Samples And Quality Control Organism | 33 934 Cases Were Distributed Firm Estimated That 17 000 Cases Remained On Market At Time Of Recall Initiation | Nationwide Puerto Rico Canada
1995-05-17 | Devices | III |  | Ventak Prx Aicd Automatic Implantable Cardioverter Defibrillators Models 1700 And 1705 |  | Guidant Corporation Cardiac Pacemakers St | N A | Safety Alert Letter Reminds Physicians That They Should Use The Model 2850 Programmer To Interrogate The Implanted Devices As The First And Last Step Of Every Patient Follow Up Procedure To Verify Desired Device Therapy Status And To Reinforce With Patients The Need To Avoid Exposure To Strong Magnets And Magnetic Field | Approximately 6 000 Units | Nationwide And International
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | Devices | III |  | The Stimulator And Associated Labeling |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | 404 Not Found | III |  |  |  |  | N A |  |  | N/A
1995-05-17 | Devices | III |  | Frozen Lobster Tails 95 711 238 |  |  | N A |  |  | N/A