## 1995-06-21
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-06-21 | Biologics | II | b-283/286-5 | A Red Blood Cells B Platelets C Platelets Expired D Recovered Plasma | Manufacturer | Southeast Iowa Blood Center Ottumwa Iowa | December 8 1993 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From Donors Who Had Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 20 Units B 10 Units C 4 Units D 20 Units | Iowa Illinois New York California Tennessee Pennsylvania Missouri
1995-06-21 | Biologics | II | b-287/288-5 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Atlanta Georgia | May 27 1994 | Blood Products Collected From A Donor Currently Taking The Drug Proscar Were Distributed | 2 Units Of Each Component | Georgia
1995-06-21 | Biologics | II | b-290/294-5 | A Red Blood Cells B Platelets C Platelets Pheresis D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | Central California Blood Center Fresno California | November 23 1994 | Blood Products Which Were Untested For Syphilis Were Distributed | A 7 Units B 3 Units C 1 Unit D 1 Unit E 6 Units | California
1995-06-21 | Biologics | II | b-295/297-5 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American National Red Cross Springfield Missouri | January 7 1994 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 3 Units B 2 Units C 3 Units | Missouri California
1995-06-21 | Biologics | II | b-298/304-5 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Red Blood Cells F Platelets For Further Manufacture G Recovered Plasma | Manufacturer | American National Red Cross Arc Rochester New York | August 1 1994 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 26 Units B 13 Units C 3 Units D 2 Units E 1 Unit F 8 Units G 23 Units | New York Florida California Switzerland
1995-06-21 | Biologics | II | b-316/318-5 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American National Red Cross Arc Atlanta Georgia | September 12 1994 | Blood Products Which Were Collected From A Donor With A Medical History Of Hepatitis Were Distributed | 1 Unit Of Each Component | Georgia
1995-06-21 | Biologics | II | b-319/323-5 | A Red Blood Cells B Platelets C Cryoprecipitated Ahf D Recovered Plasma E Red Blood Cells Deglycerolized | Manufacturer | American Red Cross Blood Services Buffalo New York | August 1 1994 | Blood Products Which Tested Negative For Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hcv Or Were Deglycerolized Using Outdated 12 Sodium Chloride Were Distributed | A D 1 Unit Of Each Component E 2 Units | New York Oklahoma Switzerland
1995-06-21 | Biologics | II | b-324-5 | Red Blood Cells | Manufacturer | Department Of The Air Force Shaw Air Force Base South Carolina | August 6 1993 | Blood Products Collected From Ineligible Donors Due To Histories Of Blood Transfusion Or Ear Piercing Were Distributed | 2 Units | International
1995-06-21 | Biologics | II | b-329/331-5 | A Red Blood Cells B Fresh Frozen Plasma C Recovered Plasma | Manufacturer | Bloodcare Dallas Texas | August 19 1994 | Blood Products Corresponding To Platelets Contaminated With Streptococcus Constellatus Milleri Were Distributed | A 6 Units B 1 Unit C 1 Unit | Texas California
1995-06-21 | Biologics | II | b-332/333-5 | A Red Blood Cells B Cryoprecipitated Ahf | Manufacturer | Regional Health Resources Center Urbana Illinois | September 23 1994 | Blood Products Which Tested Repeatedly Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc Were Distributed | 1 Unit Of Each Component | Illinois
1995-06-21 | Biologics | II | b-335-5 | Source Plasma | Manufacturer | Bio Blood Components Inc | November 18 1993 | Blood Product Which Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 Was Distributed | 1 Unit | California
1995-06-21 | Biologics | II | b-361/362-5 | A Red Blood Cells B Platelets | Manufacturer | American National Red Cross Ashley Pennsylvania | October 1 1993 | Blood Products Which Were Collected From A Donor With A Medical History Of Hepatitis Were Distributed | 1 Unit Of Each Component | Pennsylvania
1995-06-21 | Biologics | II | b-384-5 | Antibody For The Human T Lymphotropic Virus Type 1 Elisa Test Kits | Cambridge Biotech Corporation | Cambridge Biotech Corporation Rockville Maryland | March 23 1995 | Antibody To The Human T Lymphotropic Virus Type 1 Anti Htlv 1 Test Kits Which Contained Incorrect Supplemental Product Inserts Were Distributed | 25 Kits | New Jersey
1995-06-21 | Biologics | II | b-386-5 | Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | October 2 1992 | Blood Product Which Tested Repeatedly Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc Was Distributed | 1 Unit | Indiana
1995-06-21 | Biologics | II | b-387/388-5 | A Red Blood Cells B Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | August 23 1993 | Blood Products Which Tested Initially Reactive For Syphilis Were Distributedd For Transfusio | 1 Unit Of Each Component | New Jersey And Indiana
1995-06-21 | Biologics | II | b-401-5 | Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | February 8 1994 | Blood Products Which Were Manufactured From Whole Blood That Was Shipped At Unacceptable Temperatures Were Distributed | 3 Units | Indiana
1995-06-21 | Biologics | II | b-402/404-5 | A Whole Blood B Red Blood Cells C Recovered Plasma | Manufacturer | Community Blood Center Of Greater Kansas City Kansas City Missouri | May 12 1994 | Blood Products Which Tested Negative For Antibody To Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Western Blot Indeterminate Were Distributed | A 2 Units B 3 Units C 3 Units | Missouri Kansas Tennessee Massachusetts
1995-06-21 | Biologics | III | b-305-5 | Recovered Plasma | Manufacturer | American National Red Cross Arc Omaha Nebraska | October 1 1992 | Blood Product Corresponding To Platelets Contaminated With Escherichia Coli Was Distributed | 1 Unit | Switzerland
1995-06-21 | Biologics | III | b-306-5 | Blood Products Distributed From Units Collected Between May 3 1993 And May 16 1994 And Corresponding To The Following Inclusive Whole Blood Numbers 18 E 39562 18 E 54461 18 M 89957 18 M 95344 18 N 31902 18 N 37348 18 P 17937 18 P 19902 18 Q 30019 18 Q 47473 18 R 29164 18 R 43210 18 S 24950 18 S 25268 18 W 48169 18 W 65734 18 X 44769 18 X 60442 18 Y 45419 18 Y 61317 18 Z 46225 18 Z 62617 18 Fe 00001 18 Fe 06273 18 Fc 28880 18 Fc 45676 18 Ff 00001 18 Ff 00086 18 Fg 00001 18 Fg 00028 | Manufacturer | American National Red Cross Arc Lansing Michigan | November 2 1994 | Blood Products Which May Have Tested Weakly Reactive In The Macro Vue Rapid Plasma Reagin Rpr Test And Interpreted As Non Reactive Contrary To The Manufacturer's Directions Were Distributed | 94 171 Units Were Distributed | Nationwide And Puerto Rico
1995-06-21 | Biologics | III | b-325/328-5 | A Whole Blood Cpda 1 B Red Blood Cells C Platelets D Platelets Pheresis | Louisiana Blood Center | Louisiana Blood Center Monroe Louisiana | June 14 1993 | Blood Products Which Were Improperly Tested For The Antibody To The Human Immunodeficiency Virus Type 1 2 Anti Hiv 1 2 Were Distributed | A 2 Units B 3 Units C 4 Units D 1 Unit | Louisiana
1995-06-21 | Biologics | III | b-334-5 | Fresh Frozen Plasma | Manufacturer | American National Red Cross Fort Wayne Indiana | August 14 1992 | Blood Products Which Were Labeled With An Incorrect Expiration Date Were Distributed | 6 Units | Indiana
1995-06-21 | Biologics | III | b-363/364-5 | A Red Blood Cells B Platelets Pheresis | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | August 25 1994 | Blood Products Which Were Improperly Tested For The Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Were Distributed | A 1 Unit B 2 Units | New York Pennsylvania
1995-06-21 | Biologics | III | b-377/380-5 | A Red Blood Cells B Platelets N C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | American Red Cross Blood Services Detroit Michigan | February 4 1994 | Blood Products Were Distributedd For Which Syphilis Test Results Were Incorrectly Interpreted As Negative When One Of The Positive Controls In The Test Run Was Invali | 373 Units | Michigan Massachusetts
1995-06-21 | Biologics | III | b-389-5 | Recovered Plasma | Manufacturer | Central Indiana Regional Blood Center Inc | August 20 1993 | Blood Product Which Tested Initially Reactive For Syphilis Was Distributedd For Further Manufactur | 1 Unit | New Jersey
1995-06-21 | Devices | II | z-751-5 | Servo Ventilator 300 Product Number 6079391 E 3380 E | Siemens Medical Systems Sms | Siemens Elema Ab Life Support Systems Division Solna Sweden | March 30 1994 | In The Event Of Both A Capacitor Failure And A Failure Of The 24 Volt Supply Then The Possibility Exists That The Ventilator May Become Inoperable Without Activation Of Its Alarm | Approximately 300 Units Were Distributed | Nationwide
1995-06-21 | Devices | II | z-752-5 | Invacare Pediatric Flowmeter Accessory Model Ircpf 16 Used To Reduce The Amount Of Oxygen To The Patient To Levels Substantially Less Than The Normal Output Of A Concentrator | Manufacturer | Mobilite Corporation Sanford Florida | December 2 1994 | The Wrong Tubing Connecting The Flowmeter To The Humidifier Bottle Adapter Was Assembled At The Time Of Manufacture Which Has Resulted In A Loss Of Oxygen Flow To A Patien | 274 Units Were Distributed | Nationwide
1995-06-21 | Devices | II | z-818/820-5 | Rahd Oncology Products Treatment Planning System Radiation Therapy Computer Software Version 1 | Manufacturer | Electronic Services Mart Inc | April 4 1995 | Under Certain Circumstances The Computer Will Not Adjust The Final Beam Distribution To Account For Contributions Of Other Beams To The Total Dosage Delivered To The Patien | 44 Systems Containing Version 1 95 Software Were Distributed | Nationwide
1995-06-21 | Devices | II | z-823/825-5 | Transducer Protectors Used As An In Line Protective Device For Pressure Monitors In Hemodialysis Systems A Dualex Transducer Protector Catalog No | Millipore Corporation | Millipore Cidra Inc | February 21 1995 | The Device May Exhibit Air Leakage When Connected To The Hemodialysis Machine Under Operating Condition | 8 215 700 Were Distributed Domestically And 5 Million Units Were Distributed Internationally | Nationwide England Canada Australia
1995-06-21 | Devices | II | z-826/827-5 | Mallinckrodt Medical Radiology Catheters Sold Individually And In Kits A 4 French Radiology Catheters In Individual Packages B Angiography Kits Containing 4 French Radiology Catheters With Different Accessory Components | Manufacturer | Mallinckrodt Medical Inc | December 22 1994 | Possible Tip Separatio | 30 690 Catheters Were Distributed | Nationwide And International
1995-06-21 | Devices | II | z-842-5 | Percupump 1 A Ct Injection System A Low Pressure Contrast Media Injector Intended Only For The Administration Of Nonionic And Ionic Compounds In Conjunction With Computed Tomography Ct Scanning Of The Body | Manufacturer | E Z Em Inc | March 9 1995 | The Injector's Pigtail Cable Did Not Meet The Necessary Requirements For The Life Expectancy Of The Device The Ribbon Cable In The Pigtail Which Proved To Not Be Flexible Enough To Withstand The Bending Force On The Cable Would Fail Under Excessive Bending Causing The Unit To Stop Functioning Or Increase Its Injection Rate To The Maximum Rate Of 5 Cc Per Secon | 47 Units Were Distributed | Nationwide The Netherlands United Kingdom Ireland Hong Kong Argentina Singapore
1995-06-21 | Devices | II | z-843-5 | Bionex Latex Examination Gloves Powder Free Non Sterile Ambidextrous 100 Gloves Per Box Manufactured For Boston Medical Corporation In The Following Sizes A Reorder 6210 Petite B Reorder 6211 Small C Reorder 6212 Medium D Reorder 6213 Large E Reorder 6216 Unisize | Baxter Healthcare Corporation | Chung Ye Industries Ltd | May 1 1995 | The Gloves Have Deteriorated Are Brittle Discolored And Are Subject To Spontaneous Ignitio | 5 558 Cases Were Distributed Firm Estimated That 20 Percent Of The Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-06-21 | Devices | II | z-844-5 | Centrysystem 3 Blood Tubing Sets | Manufacturer | Cobe Renal Care Inc | May 2 1995 | Device May Exhibit Air Leakage When Connected To The Hemodialysis Machine During Primin | 105 Cases 1 575 Units Were Distributed | New Jersey Minnesota California Virginia Rhode Island Tennessee
1995-06-21 | Devices | II | z-845-5 | Centrysystem 2 Blood Tubing Sets | Manufacturer | Cobe Renal Care Inc | May 1 1995 | The Device May Exhibit Air Leakage When Connected To The Hemodialysis Machine During Primin | 809 Cases 15 Units Per Case Of Catalog 018440 500 And 939 Cases 15 Units Per Case Of Catalog 018455 500 Were Distributed | Nationwide Belgium Australia Puerto Rico Hong Kong
1995-06-21 | Devices | II | z-846-5 | Baxter Immunoscan Aso Latex Kit An In Vitro Diagnostic Rapid Slide Test For The Qualitative And Semi Qualitative Measurement Of Antistreptolysin O Aso In Human Serum Or Plasma | Baxter Healthcare Corporation | Wampole Labs Cranbury New Jersey Kit J S Medical Associates Inc | April 20 1995 | There Is A Potential For False Negative Result | 1 038 Test Kits Were Distributed Firm Estimated That 25 Percent Of The Product Remained On Market At Time Of Recall Initiation | Nationwide Canada
1995-06-21 | Devices | III | z-854/855-5 | Plaque Control 3000 Plaque Removal Instrument A Model Pc 3000 W B Model Pc 3000 W P | Manufacturer | Teledyne Water Pik Fort Collins | May 18 1995 | The Device's Battery Charger Base Emits A Loud Popping Noise Carbon Soot Odor And Or Smoke Which May Result In A Fire Hazar | 77 561 Units Were Distributed | Nationwide Canada