## 1995-09-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-09-27 | Drugs | II | d-246-5 | Choledyl 100 Mg Tablets Oxytriphylline Delayed Release Tablets Usp Enteric Coated Rx Bronchodilator | Manufacturer | Warner Lambert Company Morris Plains New Jersey | March 21 1995 | Product Does Not Meet Disintegration Specifications Through Expiration Dat | 18 727 Bottles Of 100 Tablets Were Distributed | Nationwide
1995-09-27 | Drugs | II | d-247-5 | Biocraft Brand Metoclopramide Tablets Usp 5 Mg In Bottles Of 100 And 500 Rx Antiemetic | Biocraft Laboratories | Biocraft Laboratories Inc | May 3 1995 | Product Does Not Meet Potency And Content Uniformity Specification | 8 731 Bottles Of 100 Tablets Were Distributed | Nationwide
1995-09-27 | Drugs | II | d-248-5 | Sulfamethoxazole And Trimethoprim For Injection Concentrate Usp Rx In 30 Ml Amber Vials Used For Urinary Tract Infections | Manufacturer | Gensia Laboratories Ltd | July 21 1995 | Defect In Glass Vial May Result In Lack Of Assurance Of Sterilit | Firm Estimated That 2 000 Vials Remained On Market At Time Of Recall Initiation | Nationwide
1995-09-27 | Biologics | II | b-608/609-5 | A Red Blood Cells B Platelets | United Blood Services Blood Systems | United Blood Services Blood Systems Inc | August 1 1994 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type I Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 281 Units B 132 Units | Arkansas Illinois Oklahoma Massachusetts Texas Switzerland
1995-09-27 | Biologics | II | b-614-5 | Olympus Pk 7100 Cell Probes | Olympus America | Sanei Seikai Company Nitza City Saitama Prefecture Japan | June 1 1995 | Olympus Pk 7100 Cell Probes Which Contained A Design Defect That Could Cause Erratic Cell Sample Dispensing Were Distributed | 1 371 Units | Nationwide England Australia Canada
1995-09-27 | Biologics | II | b-620-5 | Platelets | Manufacturer | Central Indiana Regional Blood Center Inc | April 27 1994 | Platelets Which Were Labeled With The Incorrect Expiration Date Were Distributed | 2 375 Units | Indiana
1995-09-27 | Biologics | II | b-625-5 | Platelets | Manufacturer | Permian Basin Regional Blood Center Midland Texas | October 27 1993 | Blood Product Which Tested Repeatedly Reactive For Antibody To The Human T Lymphotropic Virus Type I Anti Htlv I Was Distributed | 1 Unit | Texas
1995-09-27 | Biologics | II | b-627/628-5 | A Red Blood Cells B Platelets | Manufacturer | American National Red Cross Madison Wisconsin | August 23 1994 | Blood Products Which Were Not Tested For Syphilis Were Distributed | 1 Unit Of Each Component | Wisconsin Iowa
1995-09-27 | Biologics | II | b-630/631-5 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | Mississippi Valley Regional Blood Center Davenport Iowa | March 17 1995 | Blood Products Which Were Incorrectly Tested For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 Were Distributed | 16 Units B 1 Unit | Illinois Iowa New York Virginia
1995-09-27 | Biologics | III | b-610/612-5 | A Red Blood Cells For Further Manufacture B Platelets For Further Manufacture C Recovered Plasma | United Blood Services Blood Systems | United Blood Services Blood Systems Inc | August 1 1994 | Blood Products Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag The Antibody To The Hepatitis B Core Antigen Anti Hbc The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv The Antibody To The Human T Lymphotropic Virus Type I Anti Htlv 1 And Syphilis But Were Collected From Donors In Which Donor Suitability Was Not Adequately Determined Were Distributed | A 1 Unit B 67 Units C 274 Units | Arkansas Illinois Oklahoma Massachusetts Texas Switzerland
1995-09-27 | Biologics | III | b-621-5 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Farmington Connecticut | March 28 1995 | Red Blood Cells Which Were Stored At An Unacceptable Temperature Were Distributed | 4 Units 9 | Connecticut
1995-09-27 | Biologics | III | b-622-5 | Red Blood Cells | Manufacturer | Central Texas Regional Blood Tissue Center Ctrbtc Austin Texas | March 23 1995 | Blood Product Which Was Untested For The Antibody To The Human Immunodeficiency Virus Type 1 2 Anti Hiv 1 2 Was Distributed | 1 Unit | Texas
1995-09-27 | Biologics | III | b-626-5 | Red Blood Cells | American Red Cross Blood Services | American Red Cross Blood Services North Platte Nebraska | August 11 1993 | Blood Product Which Was Untested For The Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Was Distributed | 1 Unit | Nebraska
1995-09-27 | Biologics | III | b-629-5 | Recovered Plasma | Manufacturer | American National Red Cross Madison Wisconsin | August 23 1994 | Blood Product Which Was Not Tested For Syphilis Was Distributed | 1 Unit | California
1995-09-27 | Biologics | III | b-632-5 | Red Blood Cells | Manufacturer | American National Red Cross Cleveland Ohio | May 31 1994 | Blood Product Which Contained Anti E Alloantibodies But Was Incorrectly Labeled As Containing Anti Kell Was Distributed | 1 Unit | Ohio
1995-09-27 | Devices | II | z-882/885-5 | Infusion Sets Used For Subcutaneous Injections Of Maintenance Therapies A Subcutaneous Infusion Set 24 27 Ga | Manufacturer | Baxter Healthcare Corporation Cleveland Mississippi | May 8 1995 | Infusion Sets May Leak At The Solvent Bond Where The Tubing Is Joined To The Interio | 544 206 Units Were Distributed | Nationwide And International
1995-09-27 | Devices | II | z-1169-5 | Model Blf 75 A Beam Limiting Device | Manufacturer Fda Approved The Firm's Corrective Action Plan September 15 | Toshiba America Medical Systems Inc | September 15 1995 | Noncompliance With The Performance Standards For X Ray Product | 21 Units | Nationwide
1995-09-27 | Devices | II | z-1171/1172-5 | Pacing Leads A Encor Atrial J Wire Passive Fixation Pacing Leads Models 330 854 330 755 033 757 033 856 B Enguard Pfx Endocardial Defibrillation Leads Models 040 069 069 C 040 022 022 C | Telectronics Pacing Systems | Telectronics Pacing Systems Miami Lakes Florida | September 11 1995 | The J Retention Wires Can Fracture Protrude Through The Polyurethane Insulation Through The Right Atrial Appendage And Perforate The Aort | 38 925 Units Were Distributed | Nationwide And International
1995-09-27 | Devices | II | z-1205-5 | Kinair Transportair Battery Pack Used To Provide Temporary Emergency Power For Air Inflated Critical Care Beds During Periods Of Electrical Power Outages And When The Beds Are Moved From One Location To Another | Manufacturer | Kinetic Concepts Inc | November 9 1994 | Device Can Emit Smoke And Fumes If The Batteries Become Overcharged Due To Either A Broken Trace On The Circuit Board Or To Re Setting The Voltage Of The Charge | 7 628 Units Were Distributed | Nationwide And International
1995-09-27 | Devices | II | z-1208-5 | Stryker Cbc Ii Constavac Blood Conservation System Part 225 28 Used For Post Operative Auto Transfusion | Manufacturer | Stryker Instruments Kalamazoo Michigan | March 30 1994 | The Blood Conservation System Did Not Receive The Full Irradiation Dose Thereby Compromising The Sterility Of The Syste | 24 Units Were Distributed | Arizona Illinois Louisiana Mississippi
1995-09-27 | Devices | II | z-1213/1215-5 | Custom Packs Hospital Towel And Drape Products Packaged In Sterile Plastic Pouches Dust Covers And Heat Sealed A Open Heart Drape Pack Pack 1856 B 4 Towel Pack Pack 2104 C Lap Basin Pack Pack 5266 | Manufacturer | Sterile Recoveries Westland Michigan | October 28 1994 | The Sterility Of The Devices Have Been Compromised Due To Failure To Follow Good Manufacturing Practices With Regard To Record Keepin | A 4 Units B 100 Units C 34 Units Were Distributed | Illinois And Michigan
1995-09-27 | Devices | II | z-1220/1229-5 | Various Sterile Electrosurgical Es Products Which Are Packaged Using Shrink Wrap Surrounding 5 Unit Trays Valleylab Handswitching Es Pencils A Catalog No | Manufacturer | Valleylab Inc | August 31 1995 | Devices Sterility May Be Compromised Due To Breaks Or Holes In The Plastic Tra | 39 932 Cases Were Distributed | Nationwide And International
1995-09-27 | Devices | III | z-1157/1167-5 | Imp Pin Steinman Pin Kirschner Wire Threaded Steinman Pin And K Wire Distributed Under The Onxy Medial And Komet Medical Labels 13 A Imp Pin 7 64 X 9 Style 4 Ss Stnmn Catalog No | Manufacturer Firm Initiated Recall Complete Distribution California | Onyx Medical Corp | N A | The Devices Were Found To Be Mislabele | Firm Estimates None Remains On The Market | California Georgia New Jersey Tennessee
1995-09-27 | Devices | III | z-1204-5 | Abbott Tdxflx Vancomycin Wedge Reagent Pack Used With The Abbott Tdxflx System For The Quantitative Measurement Of Vancomycin An Antibiotic Drug In Serum Or Plasma | Abbott Laboratories | Abbott Health Products Inc | August 22 1995 | There Is A Potential For A Net I Too Small Or P O Too Small Error Message To Be Generated Resulting In The Inability To Generate A Numeric Concentration Resul | 1 132 Kits Were Distributed | Nationwide And International
1995-09-27 | Devices | III |  | Ppv Anesthesia Vaporizer Used In Conjunction With An Anaesthesia Gas Machine To Provide Controlled Amounts Of Anaesthesia Drug To A Patient In An Operating Arena 14 A Catalog 53401 Halothane Pin Safety Cagemount B Catalog 53403 Halothane Pin Safety Back Entry C Catalog 53419 Enflurane Pin Safety Cagemount D Catalog 53421 Enflurane Pin Safety Back Entry E Catalog 53413 Isoflurane Pin Safety Cagemount F Catalog 53415 Isoflurane Pin Safety Back Entry |  | Penlon Limited Abington England | N A | There Is A Potential For Overfilling Vaporize | 58 Units Were Distributed | Ohio New York Arizona California Iowa Washington State New Hampshire Missouri New Jersey Puerto Rico Mississippi Illinois Kansas
1995-09-27 | Devices | III |  | Electrode Lead Wires Unprotected Lead Wires Used With The Portable Battery Powered Tens Device |  | Uni Patch Medical Supplies Wabash Minnesota | N A | Device Labeling Fails To Provide Adequate Directions For Use And The Devices Pose An Warranted Risk Of Injury To Patients Because The Products Are Not Labeled To Warn Against The Hazards Of Unprotected Electrode Lead Wires Being Connected To Electrical Power Source | Undetermined | Nationwide