## 1995-10-18
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-10-18 | Drugs | II | d-004-6 | Nutralab Oral Chelate Tablets In 300 Tablet Bottles And Promotional Booklets | Nutralab Company | Nature's Products Inc | September 29 1995 | Product Marketed With Unapproved Therapeutic Claim | 150 Bottles With Booklets Were Distributed | Nationwide
1995-10-18 | Drugs | III | d-005-6 | Dilantin Brand Phenytoin Sodium Injection 100 Mg In 2 Ml Vials | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Park Davis Sterile Products Division Rochester Michigan | August 11 1995 | Product Discoloration Resulting From Use Of Incorrect Stoppe | 15 416 Packages Were Distributed | Nationwide And Virgin Islands Trinidad Jamaica
1995-10-18 | Biologics | II | b-012-6 | Platelets | Manufacturer | American Red Cross Blood Services Peoria Illinois | May 1 1995 | Blood Product Which Tested Initially Reactive For The Antibody To The Immunodeficiency Virus Type 1 Anti Hiv 1 And Was Not Retested In Duplicate Was Distributed | 1 Unit | Illinois
1995-10-18 | Devices | II | z-1064/1068-5 | Femoral Stems A Mallory Head Interlok W Nts Femoral Stems Part No | Manufacturer | Biomet Inc | November 12 1992 | Complaints Of Hip Stem Fracture | 10 044 Stems Were Produced | Nationwide And International
1995-10-18 | Devices | II | z-1140-5 | Micro Lite Phototherapy Unit Model Ptl 68 Used For Treatment Or Prevention Of Hyperbilirubinemia In Neonates | Manufacturer | Air Shields Inc | September 4 1995 | Device Has The Potential To Cause Overheating Of The Infan | 597 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-1141/1144-5 | Inflation Handle Subassembly In K 05 Custom Kits A Catalog K 05 00633 B Catalog K 05 60251 C Catalog K 05 00503 A D Catalog K 05 00543 | Manufacturer | Merit Medical Systems Inc | February 8 1995 | The Inflation Handle Subassembly Had An Inadequate Amount Of Adhesive Which Could Result In Handle Separation During Clinical Us | 435 Units Were Distributed Firm Estimates None Remains On The Market | Arkansas Arizona Florida Georgia Kentucky Texas Virginia
1995-10-18 | Devices | II | z-1152/1154-5 | Liquid Bicarbonate Dialysate Concentrate In 1 Gallon Plastic Containers A Formula Bc 101 Dial Medical Supply B Formula Bc 102 Dial Medical Supply C Formula Bc 103 Dial Medical Supply | Manufacturer | Dial Medical Of Florida Division Of Cobe Renal Care Inc | July 21 1995 | Possible Bacterial Contaminatio | Firm Estimated That 3 000 Cases Remained In Commerce At Time Of Recall Initiation | Nationwide
1995-10-18 | Devices | II | z-1155/1156-5 | Johnson And Johnson Medical Observed Central Station Which Constantly Monitors A Patients Various Vital Signs At A Central Station At Another Location From The Patient's Room A Model 8775 B Model 8776 | Johnson And Johnson Medical | Pacific Communications Santa Ana California | April 5 1995 | Incorrect Message May Be Displayed At Central Statio | 36 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-005/006-6 | Medic 5 Defibrillators And Dc 200 Defibrillators A Medic 5 Defibrillators Serial Nos | Manufacturer | Burdick Inc | August 14 1995 | The Devices Contain A Diode Which Might Fail During The Charging Of Energy At The Higher Joule Selections Causing The Device Not To Charge The Selected Defibrillation Energ | A 35 Units B 12 Units Were Distributed | A Alaska Florida Georgia Indiana Michigan Missouri North Carolina New Jersey New York Ohio Tennessee Virginia Washington State Italy Korea India Pakistan Germany B California Florida Indiana Kentucky Louisiana North Carolina New York Pennsylvania Texas
1995-10-18 | Devices | II | z-007-6 | Cardioplegia Stainless Steel Cooling Coil Used For Cardiopulmonary Surgery To Reduce The Temperature Of The Heart | Bentley Division | Baxter Healthcare Corporation Of Puerto Rico Anasco Puerto Rico | April 20 1995 | Metal Particulate Matter Has Been Observed Within The Tubing Sets During Primin | 1 546 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-008-6 | Vivalink Defibrillator Electrode Model 9010 | Survivalink Corporation | Katecho Des Moines Iowa | August 31 1995 | The Electrode May Tear During Removal From Plastic Liner Packagin | 750 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-010-6 | 3 M Red Dot Neonatal Monitoring Electrode Catalog 2269 T A Disposable Silver Silver Chloride Electrode For Ecg Monitoring | 3 M Company | 3 M Company Valley Plant Valley Nebraska | September 3 1995 | There May Be Difficulty In Or Inability To Obtain Ecg Trace And Respiration Signa | 112 500 Electrodes Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-011-6 | 0 025 Stiff Shaft Guidewire | St Jude Medical | Lake Region Manufacturing Inc | July 25 1995 | The Guidewire May Break If Blockage Or Excessive Resistance Is Met Which May Require Surgical Interventio | Approximately 9 400 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-012/015-6 | Welch Allyn Microtymp Ii Printer Charger For Use With The Microtymp 2 Portable Tympanometric Handle Component For The Diagnoses Of Otitis Media A Model 71170 B Model 71171 C Model 71172 D Model 71174 | Manufacturer | Welch Allyn Inc | September 1 1995 | Product Contain A Potentially Defective Electrical Component Which Could Result In A Potentially Hazardous Malfunction In The Device's Operation And May Cause The Device To Catch On Fir | 1 603 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | II | z-017/018-6 | Mentor Leaf Valve Saline Breast Implants A Saline Filled Smooth Surface Shell Mammary Prosthesis With Mentor Leaf Valve B Siltex Saline Filled Textured Surface Shell Mammary Prosthesis With Mentor Leaf Valve | Manufacturer | Mentor H S Inc | September 1 1995 | The Valve Channels May Open And The Implant Deflate When Autoclaved Prior To Surgery As Previously Instructe | 9 997 Units Were Distributed Firm Estimated That 10 Percent Of Implants Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-10-18 | Devices | II | z-019-6 | Iolab Intraocular Lenses Model Li 41 Iu | Manufacturer | Iolab Corporation Claremont California | March 24 1995 | The 1 | 18 Lenses Were Distributed | Alabama Arizona Iowa Illinois Michigan Missouri North Carolina New York Oklahoma Pennsylvania Tennessee Texas
1995-10-18 | Devices | II | z-022/037-6 | Ipi Single Use Ventilator Circuits With Swivel Elbow Component A Product Code 1578 Vent Flex 4 Flex Tube 15 Mm I | Manufacturer | Ipi Medical Products Division Of Inhalation Plastics Inc | August 16 1995 | The Swivel Elbow Component Can Crack Under Stress Thereby Rendering The Device Unusabl | 59 430 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | III | z-009-6 | Model 2680 Rev 11 | Manufacturer | Cardiac Pacemakers Inc | August 24 1995 | The Stat Shock And Stat Pace Functions Were Inadvertently Reassigned To Other Locations On The Keyboard By The New Disk Revision 1 | 157 Units Were Distributed | Nationwide And International
1995-10-18 | Devices | III | z-016-6 | Dobbhoff Peg Kit Percutaneous Endoscopic Gastrostomy Pull Style | Sherwood Medical Company | Biosearch Medical Products Inc | September 14 1995 | Some Packages Contained A Guide Wire Instead Of A Looping Wir | 54 Kits Were Distributed | South Carolina Florida Australia
1995-10-18 | Devices | III | z-020-6 | Arrow Intra Aortic Balloons | Arrow International | Arrow International Inc | August 18 1995 | The Product's Outer Catheter Body May Be Oblique Or Flattened In Shape Possibly Causing Excess Bleeding Between The Catheter And The Hemostasis Sheath Introducer As Well As Between The Catheter And The Cuff Sea | 1 136 Units Were Distributed Firm Estimated That 568 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-10-18 | Devices | III | z-021-6 | Usci Super 7 7 Fr Ptca Guiding Catheter Multipurpose Curve Used To Provide A Pathway Through Which Coronary Dilatation Systems Are Introduced | Manufacturer | Usci Division C | August 15 1995 | The Label Identifies The Product As A Super 7 With Multipurpose Curve However The Product Enclosed In The Packages Is A Femoral Left Curv | 12 Units Were Distributed | Georgia Nebraska Alabama Pennsylvania