## 1995-11-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-11-08 | Drugs | III | d-011-6 | Dapa Brand Extra Strength Acetaminophen Capsules All Size Packages Otc | Manufacturer | Ferndale Laboratories Inc | February 14 1995 | Product Does Not Meet Dissolution Specification | 4 900 000 Capsules Were Distributed | Nationwide
1995-11-08 | Drugs | III | d-012-6 | Physician Samples Of Pramasone Pramoxine Hydrochloride And Hydrocortisone Acetate Lotion 1 2 | Manufacturer | Ferndale Laboratories Inc | May 22 1995 | Subpotency Of The Pramoxine Componen | 308 995 Bottles Were Distributed | Nationwide
1995-11-08 | Biologics | II | b-037/038-6 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Savannah Georgia | March 24 1995 | Blood Products Which Were Not Tested For Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Were Distributed | 1 Unit Of Each Component | Georgia And Switzerland
1995-11-08 | Biologics | II | b-041/042-6 | A Whole Blood Cpda 1 B Red Blood Cells | Manufacturer | Blood Bank Of Alaska Anchorage Alaska | January 24 1995 | Blood Products Which Were Collected From A Donor Who Had A Medical History Of Cancer Were Distributed | 1 Unit Of Each Component | Alaska
1995-11-08 | Biologics | II | b-046/048-6 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | Blood Bank Of Alaska Anchorage Alaska | August 2 1994 | Blood Products Which Were Collected From A Donor With A History Of Iv Drug Use Were Distributed | 1 Unit Of Each Component | Alaska And Florida
1995-11-08 | Biologics | II | b-054-6 | Platelets | Manufacturer | Blood Systems Inc | May 2 1995 | Blood Product Which Was Prepared From A Whole Blood Unit With An Extended Collection Time Was Distributed | 1 Unit | Texas
1995-11-08 | Biologics | III | b-040-6 | Platelets | Manufacturer | American National Red Cross Johnstown Pennsylvania | September 3 1993 | Blood Product Which Tested Positive For The Anti P 1 Antibody But Labeled As Negative For Unexpected Alloantibodies Was Distributed | 1 Unit | Pennsylvania
1995-11-08 | Biologics | III | b-043-6 | Recovered Plasma | Manufacturer | Blood Bank Of Alaska Anchorage Alaska | January 24 1995 | Blood Product Which Was Collected From A Donor Who Had A Medical History Of Cancer Was Distributed | 1 Unit | California
1995-11-08 | Devices | II | z-069-6 | Apex Brand Universal Irrigation System One Connection Arthroscopic Tubing Sets Model C 7120 Indicated For Joint Distention | Linvatec | Zimmer Patient Care Division Dover Ohio | September 8 1995 | There Is A Leak At The Isolator Valve At The Junction Of The Small Tubing Line And Isolator Ca | 19 144 Units Were Distributed | Nationwide And International
1995-11-08 | Devices | II | z-079/110-6 | Baxter Surgical Group Pouched Procedure Trays | Baxter Healthcare Corporation | Baxter Healthcare Corporation Mannford Oklahoma | September 22 1995 | The Sterility Of The Device Has Been Compromised Due To Loss Of Package Seal Integrit | 254 546 Tray Were Distributed Firm Estimated That 25 Percent Of The Product Remained On Market At Time Of Recall Initiation 5 | Nationwide And International
1995-11-08 | Devices | II | z-111/112-6 | Medlite And Medalex Laser Systems Used In Dermatology | Manufacturer Fda Approved The Firm's Corrective Action Plan October 12 | Continuum Biomedical Inc | October 12 1995 | Device Failed To Comply With 21 Cfr 104 | 361 Medlite Units And 3 Medalex Units Were Distributed | Nationwide
1995-11-08 | Devices | II | z-113-6 | Nd Ylf Ophthalmic Laser System Model 2001 Used In Ophthalmic Surgery | Manufacturer Fda Approved The Firm's Corrective Action Plant October 12 | Intelligent Surgical Lasers Inc | October 12 1995 | Device Failed To Comply With 21 Cfr 104 | 24 Units | Nationwide
1995-11-08 | Devices | II | z-116-6 | Lb 6 L Bicarb Concentrate In Gallon Containers | Manufacturer | Renal Systems Division Of Minntech Corporation Minneapolis Minnesota | October 4 1995 | The Ph Of | 1 223 Cases 4 1 Gallon Bottles Per Case Were Distributed | Maryland Missouri Mississippi North Carolina New Jersey New York
1995-11-08 | Devices | II | z-117/125-6 | 3 M Sarns D 4 Aortic Arch Cannula With Luer A Catalog No | Manufacturer | Sarns 3 M Health Care Ann Arbor Michigan | August 1 1994 | A Potential Packaging Defect Which May Compromise The Sterility Of The Produc | 70 740 Units Were Distributed | Nationwide And International
1995-11-08 | Devices | II | z-126-6 | Dvi Rotating Hemostatic Valve Model Ca 3100 Indicated For Maintaining A Fluid Tight Seal Around A Catheter During Percutaneous Atherectomy Or Angioplasty | Manufacturer | Devices For Vascular Intervention Temecula California | June 26 1995 | A Missing Weld Causes Valve To Separate During Us | 986 Units Were Distributed | Nationwide And France
1995-11-08 | Devices | III | z-067-6 | Kodak Rp Xomat Developer And Replenisher Acetic Acid Solution 2 | Manufacturer | Eastman Kodak Company Rochester New York | August 3 1995 | The Part C Solution Has The Potential To Cause A Drop In Speed And Contras | 19 458 Units Were Distributed | Nationwide And International
1995-11-08 | Devices | III | z-127-6 | Abiomed Bvs 36 Fr | Manufacturer | Abiomed Inc | August 23 1995 | The Instructions For Use For The Cannula Were Inadvertently Omitted From The Cannula Package | 39 Individual Packages Were Distributed | Nationwide And International
1995-11-08 | Devices | III | z-128-6 | Lifepak 11 Diagnostic Cardiac Monitor With 12 Lead Ecg Cable Designed For Pre Hospital Use To Detect Early Ecg Indicators Of Ami | Manufacturer | Physio Control Corporation Redmond Washington | September 19 1995 | There Is A Potential For The 12 Lead Ecg Cable To Brea | 849 Cables Were Distributed | Nationwide And International