## 1995-12-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-12-20 | Drugs | II | d-040-6 | Aligen Brand Trimethobenzamide Hcl 250 Mg Capsules In Bottles Of 100 Rx Antiemetic | Manufacturer | Crandall Associates Inc | May 12 1995 | A Number Of Bottles Of Chlorpheniramine Maleate Pseudoephedrine Hcl Sustained Release Capsules Were Mislabeled As Trimethobenzamide Hcl Capsule | 24 Bottles Were Affected | Georgia
1995-12-20 | Drugs | II | d-042-6 | Prednisone Tablets 5 Mg Rx Corticosteroid | Manufacturer | Mutual Pharmaceutical Company Inc | November 21 1995 | A Bottle Of Sulfa Trim | 4 663 Tablets Were Distributed | Nationwide
1995-12-20 | Drugs | III | d-038/039-6 | A 50 Mg Nitroglycerin In 5 Dextrose Injection 250 Ml B 100 Mg Nitroglycerin In 5 Dextrose Injection 250 Ml Used For Angina | Manufacturer | Baxter Healthcare Corporation Cleveland Mississippi | November 8 1995 | Marginally Subpoten | Firm Estimated That 1 500 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-12-20 | Drugs | III | d-041-6 | Acthar Lyophilized Corticotropin For Injection 40 Usp Units Per Vial Rx Injectable After Reconstitution For Diagnostic Testing Of Adrenocortical Function | Rhone Poulenc Rorer Pharmaceuticals | Armour Pharmaceutical Company Bradley Illinois | November 30 1995 | Variability Of Biological Potency Assa | 10 969 Vials Were Distributed Firm Estimated That 1 000 Vials Remained On Market At Time Of Recall Initiation | Nationwide And Canada
1995-12-20 | Devices | II | z-205-6 | Bioscrew Absorbable Interference Screw Used In Certain Bone Implantations Surgeries | Manufacturer | Linvatec Corporation Doing Business As Linvatec Hall Surgical Largo Florida | April 3 1995 | The Bone Screw Was Not The Labeled Siz | 87 Devices Were Distributed | Minnesota Texas Tennessee Pennsylvania North Carolina Illinois Washington State Mississippi Utah Missouri Canada
1995-12-20 | Devices | II | z-206-6 | Cannulated Interface Screw Sterile Single Use Titanium Used To Provide Bone Fixation In Various Orthopedic Procedures | Manufacturer | Linvatec Corporation Doing Business As Linvatec Hall Surgical Largo Florida | April 10 1995 | The Bone Screw Was Not The Labeled Siz | 100 Devices | Nationwide Australia The Netherlands
1995-12-20 | Devices | II | z-211-6 | Stryker Femoral Canal Sponge With Suction Adaptor Part 206 714 Intended For Use In Total Joint Or Joint Revision Arthroplasty To Aid In The Cleaning And Preparation Of Bone Prior To The Introduction Of Bone Cement And Or A Prosthesis | Stryker Instruments | Biomedical Devices Irvine California | August 10 1995 | Lack Of Assurance Of The Sterility Of The Devic | 185 Boxes 6 Units Per Box Were Distributed | Nationwide France Canada Netherlands United Kingdom Hong Kong
1995-12-20 | Devices | II | z-212/216-6 | Puritan Bennett Medical Gas Automatic Manifold Control With Electronic Changeover Designed For Use In Hospitals And Health Care Facility Applications To Meet The Flow Demands Of Multiple Gas Outlet Distribution A Oxygen Part Numbers 106240 106245 B Nitrous Oxide Part Numbers 106250 106255 C Nitrogen Part Numbers 106270 106275 D Carbon Dioxide Part Numbers 106290 106295 E Medical Air Part Numbers 106280 106285 | Puritan Bennett | Western Enterprises Westlake Ohio | July 20 1995 | Failure Of The Manifold System To Deliver Gas From The Secondary Supply Sourc | Approximately 339 Units Were Distributed | A Oxygen Part Numbers 106240 106245 B Nitrous Oxide Part Numbers 106250 106255 C Nitrogen Part Numbers 106270 106275 D Carbon Dioxide Part Numbers 106290 106295 E Medical Air Part Numbers 106280 106285
1995-12-20 | Devices | II | z-217-6 | Davol Bile Bag Regular Sterile Reorder 0015850 A Patient Worn Appliance Designed To Collect Bile From A T Tube By Gravity Drainage | Davol | Bard Urological Division Nogales Mexico | November 17 1995 | The Bag Has Been Incorrectly Assembled Resulting In The T Tube Connector End And The Drain Cap Connector End Being Reverse | 10 023 Units Were Distributed | Nationwide And International
1995-12-20 | Devices | II | z-220/239-6 | Stryker Sterile Disposable Burs And Blades Which Are Used With Stryker Heavy Duty And Microelectric Powered Instruments 1 | Manufacturer | Stryker Instruments Division Of Stryker Corporation Kalamazoo Michigan | July 21 1995 | The Sterility Of The Device Has Been Compromised Due To Loss Of Package Integrit | 1 396 Devices Were Distributed | Nationwide France Japan
1995-12-20 | Devices | II | z-241-6 | Puritan Bennett Model 0112 Oxygen Regulator Indicated For The Regulation Of Pressure From High Pressure Medical Oxygen Bottles | Manufacturer | Puritan Bennett Corporation Carlsbad California | September 27 1994 | A Retainer Ring Was Omitted During Manufactur | 71 Units Were Distributed | Pennsylvania Illinois New Jersey Thailand England
1995-12-20 | Devices | II | z-242-6 | O M S Titan Phaco Needle | Allergan | Fuller Precision Vinemont Alabama Needle | May 3 1995 | Metal Particles May Flake Off The Device Into The Ey | 967 Needles Were Distributed | Nationwide And International
1995-12-20 | Devices | II | z-244-6 | Baxter K Mod Ii Heat Therapy System A Microprocessor Based Heat Therapy Instrument That Circulates Warm Distilled Water Through A Pad To Provide Heat For Patient Therapy | Baxter Healthcare Corporation | Baxter Healthcare Corporation Largo Florida Gaymar Industries Orchard Park New York | December 6 1995 | The Plastic Housing Of The Hot Water Pump May Crack Which May Result In Excessive Current Leakag | 7 251 Units Were Distributed Firm Estimated That 80 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-12-20 | Devices | III | z-218-6 | Vacutainer Brand Blood Collection Needles Used For Venus Blood Sample Collection | Becton Dickinson Vacutainer Systems | Becton Dickinson Vacutainer Systems Inc | April 28 1995 | The Unit Shelf Cartons Were Mislabeled With The Incorrect Reorder Numbe | 1 893 000 Units Were Distributed Firm Estimates None Remains On The Market | Alabama Florida Georgia Illinois Indiana Michigan Minnesota Nebraska Texas
1995-12-20 | Devices | III | z-219-6 | Leptospira Enrichment Emjh Culture Media In 100 Ml Bottles Used As An Additive To Leptospira Medium Base For The Cultivation And Maintenance Of Leptospira | Difco Laboratories | Difco Laboratories Detroit Michigan | March 22 1995 | The Bottles Contained A Gram Positive Spore Forming Bacillu | 55 Cartons 6 Units Per Carton Were Distributed | Nationwide And International