## 1996-03-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-03-20 | Drugs | II | f-327/335-6 | Various Flavored Bouillon A Bouillon Chicken 12 5 2 Shells B Bouillon Chicken 6 24 10 Shells C Bouillon Beef 4 24 10 Shells D Bouillon Beef 10 24 6 Shells E Bouillon Chicken Tomato 4 24 6 Shells F Bouillon Ham 10 24 6 Shells G Bouillon Chicken 6 24 6 Shells H Bouillon Beef 6 24 6 Shells I Bouillon Fish 6 24 6 Shells | Cpc International | Best Foods Caribbean Inc | December 26 1996 | Products Contain Small Pieces Of Metal Wir | 2 681 Cases Were Distributed Firm Estimates None Remains On The Market | Nationwide And Puerto Rico
1996-03-20 | Drugs | II | f-338/339-6 | Raw Sunflower Seeds In 50 Pound Bags A Sunflower Seeds In Shell B Sunflower Kernals | Dahlgren Company | Dahlgren Company Inc | September 13 1995 | Products Contain Illegal Residues Of Chloropicri | A 10 Bags B 282 Bags Were Distributed | Minnesota North Dakota Ohio
1996-03-20 | Drugs | III | d-094-6 | Akne Mycin 2 Ointment 2 Erythromycin In 7 | Center Laboratories | Hermal Kurt Herrmann Federal Republic Of Germany | March 1 1996 | Superpotenc | 53 200 Units Were Distributed | Nationwide And Puerto Rico
1996-03-20 | Drugs | III | b-321-6 | Human Tissues For Transplant | Manufacturer | Lions Organ And Eye Bank Fort Worth Texas | August 23 1995 | Human Tissues Not Tested For Hiv 2 Was Distributed | 11 Donors | New Mexico Texas
1996-03-20 | Biologics | II | b-255-6 | Red Blood Cells | Manufacturer | Central Texas Regional Blood Center Austin Texas | October 25 1994 | Blood Product Which Was Collected From A Donor Who Had Unprotected Promiscuous Sex Was Distributed | 1 Unit | Tennessee
1996-03-20 | Biologics | II | b-256-6 | Red Blood Cells | Manufacturer | Topeka Blood Bank Inc | April 25 1995 | Blood Product Which Was Collected From A Donor Who Had A History Of Malaria Was Distributed | 1 Unit | Kansas
1996-03-20 | Biologics | II | b-269/273-6 | A Red Blood Cells B Platelets C Platelets Pooled D Fresh Frozen Plasma E Recovered Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | December 8 1995 | Blood Products Collected From Donors Who Were Exposed To Blood Through Skin Punctures Or Mucous Membranes Were Distributed | A 6 Units B 2 Units C 5 Units D 1 Unit E 6 Units | Texas California
1996-03-20 | Biologics | II | b-281/282-6 | A Platelets Pheresis B Fresh Frozen Plasma | Manufacturer | Lorain County Blood Bank Elyria Ohio | February 6 1995 | Blood Products Labeled With An Extended Expiration Date Were Distributed | 1 Unit | Ohio
1996-03-20 | Biologics | II | b-299/300-6 | A Red Blood Cells B Recovered Plasma | Manufacturer | Blood Systems Inc | December 8 1995 | Blood Products Which Were Collected From A Donor With A History Of Body Piercing Within Twelve Months Of Donation Was Distributed | 2 Units Of Each Component | Illinois And Switzerland
1996-03-20 | Biologics | II | b-301-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Huntington West Virginia | December 13 1994 | Blood Product Corresponding To A Unit Of Fresh Frozen Plasma Which Was Positive For Enterobacter Cloacae Was Distributed | 1 Unit | West Virginia
1996-03-20 | Biologics | II | b-302/303-6 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Norfolk Virginia | February 16 1994 | Blood Products Collected From A Donor With A History Of Cancer Were Distributed | 1 Unit Of Each Component | Virginia North Carolina
1996-03-20 | Biologics | II | b-311/314-6 | A Whole Blood B Red Blood Cells C Platelets D Single Donor Plasma | Manufacturer | American Red Cross Blood Services Norfolk Virginia | December 2 1994 | Blood Products Collected From Donors Whose Health History Screening Was Inadequately Performed Were Distributed | 920 Blood Products | Virginia North Carolina Missouri Illinois California Puerto Rico Switzerland
1996-03-20 | Biologics | II | b-317/320-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | The Blood Center For Southeast Louisiana New Orleans Louisiana | November 9 1994 | Blood Products Which Were Collected From A Donor Whose Spouse Tested Positive For Hcv Ab Were Distributed | A 2 Units B 2 Units C 1 Unit D 1 Unit | Louisiana Florida California
1996-03-20 | Biologics | II | b-322/326-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | Mississippi Blood Services Inc | October 2 1995 | Blood Products Collected From Donors Who Tested Positive For Syphilis Within 12 Months Of Donation Were Distributed | A 8 Units B 2 Units C 1 Unit D 1 Unit E 3 Units 7 | Mississippi California New York
1996-03-20 | Biologics | III | b-315/316-6 | A Red Blood Cells Expired B Recovered Plasma | Manufacturer | American Red Cross Blood Services Norfolk Virginia | December 2 1994 | Blood Products Collected From Donors Whose Health History Screening Was Inadequately Performed Were Distributed | 920 Blood Products | Virginia North Carolina Missouri Illinois California Puerto Rico Switzerland
1996-03-20 | Biologics | III | b-304/309-6 | A Red Blood Cells B Platelets C Platelets Pheresis D Fresh Frozen Plasma E Cryoprecipitated Ahf F Recovered Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | August 30 1994 | Blood Products Which Were Incorrectly Tested For Antibodies To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 Were Distributed | Approximately 4 500 Units | North Carolina South Carolina Georgia Tennessee Virginia Florida California
1996-03-20 | Biologics | III | b-310-6 | Cryoprecipitated Ahf | Manufacturer | Blood Systems Inc | September 11 1995 | Cryoprecipitated Ahf Prepared From Plasma Which Was Not Frozen Within Eight Hours Of Phlebotomy Was Distributed | 3 Units | Arizona
1996-03-20 | Devices | II | z-377/378-6 | Laser Targeting Systems A Model Am 5000 Advanced Miles Transmitter Used To Test Miles Transmitters And Target Vests B Model Miles Ats 101 Aerial Target System Used To Target Fighter Aircraft In Air To Ground And Ground To Ground Combat | Manufacturer Fda Approved The Firm's Corrective Action Plan A August 11 | Schwartz Electro Optics Inc | August 11 1995 | The Laser Products Failed To Comply With The Federal Laser Product Performance Standard Protective Housing Requirements 21 Cfr 104 | A 4 Units B 29 Units | Nationwide
1996-03-20 | Devices | II | z-331-6 | Niks Night Vision Monocular With Laser Illuminator Night Vision Scope With Laser Illuminator | Manufacturer Fda Approved The Firm's Corrective Action Plan January 5 | International Sourcing Inc | January 5 1996 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard 21 Cfr 101 | Nationwide | Nationwide
1996-03-20 | Devices | II | z-426/427-6 | Medi Trace 200 Medi Trace 200 30 Ecg Conductive Adhesive Electrodes | Graphic Controls Corporation | Graphic Controls Corporation Gananoque Ontario | February 6 1996 | The Product Lacks A 510 K | Firm Estimated That 1 121 000 Electrodes Remained On The Market At Time Of Recall Initiation | Nationwide And International
1996-03-20 | Devices | II | z-472-6 | Abtox Plazlyte Sterilization System A Low Temperature Gas Plasma Sterilization System Used To Sterilize Surgical Steel Devices | Manufacturer | Abtox Inc | August 17 1995 | Labeling For The Device Promoted Uses Unapproved In The United State | 23 Units Were Distributed | North Carolina Washington D
1996-03-20 | Devices | II | z-492-6 | Clinipad Sterile Cv Pack 29028 B | Clinipad Corporation | Johnson Johnson Medical Inc | February 7 1996 | The Clipping Tabs On Each Side Of The Sheet Used To Secure Instrument Lines Tear When Weight Is Placed On The | 80 Kits Were Distributed | New Jersey
1996-03-20 | Devices | II | z-502/504-6 | Usci Probe Iii Balloon On Wire Dilation Catheter System Sterile | Manufacturer | Usci Division C | February 16 1996 | Small Holes Were Found In The Sterile Barrier Of Probe Iii Test Sample | 8 897 Units Packaged From February 1994 Through February 1996 | Nationwide
1996-03-20 | Devices | III | z-192-6 | Alko 6 | Manufacturer | Alko Diagnostic Corporation Holliston Massachusetts | November 2 1994 | Bacterial Contamination Caused The Ph Value Of The Lot To Be Outside The Label Declared Value Which May Cause Measured Ph Values To Be Falsely Depresse | 159 Units Were Distributed | Nationwide And International
1996-03-20 | Devices | III | z-477-6 | Il Test Referril B Calibrator For The Monarch Chemistry And For The Calibration Of Tco 2 In The Ilab Chemistry Systems | Instrumentation Laboratory Company Ilc | Instrumentation Laboratory Company Orangeburg New York | August 7 1995 | The Monarch Chloride Values Were Reassigned Due To A 3 Mmol Bias Found When Using The Monarch Analyze | 3 285 Packages Were Distributed | Nationwide And International
1996-03-20 | Devices | III | z-495-6 | Stryker Sterile Disposable Excel Medium Cone Shield Designed For Use With The Excel Pulsed Irrigation Suction System | Stryker Instruments | Stryker Puerto Rico Arroyo Puerto Rico | January 10 1996 | The Device Package Actually Contains Stryker Part Number 200 8 Disc Splash Guard Instead Of Part Number 207 210 The Excel Medium Cone Shiel | 8 Boxes 12 Units Per Box Were Distributed | Virginia Illinois Pennsylvania Hong Kong
1996-03-20 | Devices | III |  | 3 M Fletcher Suit Delclos Fsd Applicators Brachytherapy Afterloading Applicators For Radioactive Cesium 137 Sources Used In Intracavity Treatment Of Cervical And Or Uterine Cancer And Tandems A Catalog No |  | Basic Industries New Brighton Minnesota | N A | Possible Failures Resulting From Long Term Exposure To Cleaning And Sterilizing Solution | 1 023 Units Were Distributed 12 | Nationwide