## 1996-03-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-03-27 | Drugs | II | d-095-6 | Dilantin Kapseals 100 Mg Extended Phenytoin Sodium Capsules In Bottles Of 100 And 1 000 | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Fajardo Puerto Rico | February 22 1996 | Product Does Not Meet Dissolution Specification | 39 393 Bottles Of Lot 06365 F And 3 952 Bottles Of Lot 02975 F | Nationwide
1996-03-27 | Drugs | II | d-097-6 | Metoclopramide Tablets Usp 5 Mg Under Either The Vangard Labs Label Packaged 10 Tablets Per Card 10 Cards Per Box Or The Glasgow Pharmaceutical Label Packaged 25 Tablets Per Card 30 Cards Per Box For Use With Patients With Symptomatic Documented Gastroesophageal Reflux | Vangard Labs | Biocraft Laboratories Inc | January 30 1996 | Product Does Not Meet Content Uniformity Specification | 288 Boxes 28 800 Tablets Vangard Label And 102 Boxes 76 500 Tablet Glasgow Label Were Distributed | Nationwide
1996-03-27 | Drugs | III | d-096-6 | Cyproheptadine Hcl 2 Mg 5 Ml Syrup Packaged In 16 Ounce And In 1 Gallon Plastic Containers Rx Antihistaminic Antiserotonergic Agent Under The Following Labels Halsey Qualitest Schein Aligen Goldline | Manufacturer | Halsey Drug Company Inc | March 12 1996 | Assay And Ph Stability Results Are Below Specificatio | 37 414 16 Ounce Containers And 4 624 Gallon Containers Were Distributed | Nationwide And Puerto Rico
1996-03-27 | Biologics | II | b-278-6 | Platelets Pheresis | Manufacturer | Virginia Blood Services Richmond Virginia | September 26 1995 | Blood Product Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria Was Distributed | 1 Unit Split Into Two Portions | Maryland
1996-03-27 | Biologics | II | b-293-6 | Platelets Pheresis | Manufacturer | Virginia Blood Services Richmond Virginia | August 14 1995 | Blood Products Which Were Collected From Donors Whose Health History Screening Was Inadequately Performed Were Distributed | 2 Units | Virginia
1996-03-27 | Biologics | II | b-331/332-6 | A Red Blood Cells B Platelets | Blood Systems | Blood Systems Inc | December 26 1995 | Blood Products Collected From A Donor Who Lived In An Area Designated As Endemic For Malaria Were Distributed | A 3 Units B 2 Units | Arizona
1996-03-27 | Biologics | II | b-333-6 | Red Blood Cells | Blood Systems | Blood Systems Inc | December 21 1995 | Blood Products Collected From A Donor Who Lived In An Area Designated As Endemic For Malaria Were Distributed | 2 Units | Arizona Texas
1996-03-27 | Biologics | III | b-294-6 | Recovered Plasma | Manufacturer | Virginia Blood Services Richmond Virginia | July 19 1995 | Blood Product Collected From A Donor Whose Health History Screening Was Inadequately Performed Was Distributed | 1 Unit | California
1996-03-27 | Biologics | III | b-334-6 | Fresh Frozen Plasma | Blood Systems | Blood Systems Inc | November 27 1995 | Blood Product Which Was Not Frozen Within Eight Hours Of Collection Was Distributed | 1 Unit | Arizona
1996-03-27 | Devices | II | z-499-6 | Servo 300 Ventilator Product 6079391 E 338 E | Siemens Medical Systems Sms | Siemens Elema Ab Solna Sweden | October 17 1995 | The Internal Batteries Of The Device Are Subject To Short Circuit | 240 Units Were Distributed 6 | Nationwide
1996-03-27 | Devices | II | z-500-6 | Medi Trace 530 Series Electrodes Also Known As Ecl 530 Medi Trace Foam Ecg Conductive Adhesive Monitoring Electrodes | Graphic Controls Corporation | Graphic Controls Corporation Gananoque Ontario Canada | February 6 1996 | The Product's Labeling Does Not Provide Adequate Directions For Use And Does Not Include All Necessary Precaution Statement | 10 264 680 Electrodes Were Distributed Firm Estimated That 1 362 000 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1996-03-27 | Devices | II | z-505-6 | Medi Trace 533 Amr Foam Ecg Conductive Adhesive Electrodes | Graphic Controls Corporation | Graphic Controls Corporation Gananoque Ontario Canada | February 9 1996 | The Product's Labeling Does Not Provide Adequate Directions For Use And Does Not Include All Necessary Precaution Statement | 221 760 Electrodes Were Distributed Firm Estimated That 65 520 Electrodes Remained On Market At Time Of Recall Initiation | California Illinois Kansas Missouri Louisiana Oregon South Carolina Washington State
1996-03-27 | Devices | II | z-506/508-6 | Medi Trace 530 Series Conductive Adhesive Electrodes Used In Telemetry Kits A Medi Trace Mpk Mod 2 Formerly Mpk Mem 5 Reorder Part No | Graphic Controls Corporation | Graphic Controls Corporation Gananoque Ontario Canada | February 9 1996 | The Product's Labeling Does Not Provide Adequate Directions For Use And Does Not Include All Necessary Precaution Statement | 9 244 Kits Were Distributed | Texas Arkansas Alabama
1996-03-27 | Devices | II | z-509/511-6 | Literature That States The Kits Contain Medi Trace 530 Series Electrodes | Manufacturer | Valleylab Inc | February 21 1996 | Software Logic Erro | 559 Generators | Nationwide And International
1996-03-27 | Devices | II | z-512/515-6 | Force 10 20 30 And 40 Electrosurgical Generators | Manufacturer | Valleylab Inc | January 19 1996 | A Rem Transformer Component Defec | 4 921 Generators | Nationwide And International
1996-03-27 | Devices | II | z-516/528-6 | Maxima Oxygenator Product Line Of Hollow Fiber Oxygenators Intended For Use In Procedures Requiring The Extracorporeal Oxygenation Of And Carbondioxide Removal From Blood During Cardiopulmonary Bypass A Model No | Medtronic Inc | United For Excellence Inc | October 24 1995 | The Venous Inlet Port Is Subject To Leakage Due To Defective Moldin | 56 125 Units Were Distributed 9 | Nationwide And International
1996-03-27 | Devices | II | z-529/531-6 | Programalith Iii Pulse Generators A Model 241 Unipolar With A Lead Connector Size Of 5 Mm B Model 242 Bipolar And Accepts A Bifurcated Lead C Model 249 Unipolar With A Lead Connector Size Of 6 Mm | Manufacturer | Pacesetter Inc | February 15 1996 | Devices May Fail Due To Output Los | 1 290 Units Were Distributed | Nationwide Canada Japan Latin America
1996-03-27 | Devices | II | z-548/550-6 | Force 10 30 And 40 Electrosurgical Generators | Manufacturer | Valleylab Inc | March 7 1996 | Some Of The Generators Contain A Defective Component That Has The Potential For Initiating Self Activation Which Could Result In Burns To The Patient Or Surgical Personne | 93 Generators 10 | Nationwide And International
1996-03-27 | Devices | III | z-428-6 | High Definition Imaging Ultrasound System Hdi 3000 Part 8500 0030 01 Projects Ultrasound Energy From A Transducer In Direct Contact With The Body For The Purpose Of Detecting Abnormalities In Soft Tissue Structures And Vessels | Manufacturer | Advanced Technology Laboratories Bothell Washington | August 14 1995 | A Software Coding Error Causes A Calculation Error That Affects The Accuracy Of The Color M Mode Time Measurement | 39 Units Were Distributed | Nationwide And International
1996-03-27 | Devices | III | z-501-6 | High Definition Imaging Ultrasound System Hdi 3000 Part No | Manufacturer | Advanced Technology Laboratories Atl Bothell Washington | January 22 1996 | An Error In The Software Which Caused The Doppler History Buffer To Become Discontinuous And Out Of Synch With Tim | 344 Units Subject To Field Correction | Nationwide And International