## 1996-04-10
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-04-10 | Drugs | II | d-110/113-6 | Sterile Eye Wash Solutions And Sterile Eye Drops Packaged In Plastic Bottles With Plastic Screw On Lids 3 A First Aid Pac Kit Eye Flush Solution In 1 Ounce Bottles B Medco Eye Wash Sterile Isotonic Buffered Solution In 4 Fluid Ounce And 32 Fluid Ounce Bottles Respond Eye Wash First Aid Treatment Ophthalmic Irrigating Solution In 4 Fluid Ounce Bottles Respond Eye Skin Flushing Solution Sterile And Isotonic In 8 Fluid Ounce Bottles C Masuentm Your First Aid Supply Source Eye Body Wash In 32 Fluid Ounce Bottles D Life Safety Eye Skin Neutralizer For Acid And Alkali Burns Sterile First Aid Treatment In 8 Fluid Ounce Bottles | Manufacturer | Medco Pharmaceuticals Inc | March 19 1996 | Some Units Have Loose Caps Resulting In Container Leakag | 26 877 Units Were Distributed | Nationwide
1996-04-10 | Drugs | III | d-107-6 | Dura Vent A Capsules Packaged In Bottles Of 100 Rx Used For The Temporary Relief Of Symptoms Associated With Allergic Rhinitis Sinusitis And The Common Cold | Manufacturer | Central Pharmaceuticals Inc | March 1 1996 | Product Does Not Meet Dissolution Specifications For Phenylpropanolamine Ingredien | 4 745 Bottles Were Distributed Firm Estimated That Little Or None Of This Lot Remained On Market At Time Of Recall Initiation | Nationwide
1996-04-10 | Drugs | III | d-108-6 | Coly Mycin S Otic With Neomycin And Hydrocortisone Rx Antibacterial In 10 Ml And 5 Ml Vials | The Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Parke Davis Sterile Products Division Rochester Michigan | March 25 1996 | Product Does Not Meet Potency Specifications For Hydrocortison | 32 178 Vials Of 03165 P And 65 311 Vials Of Lot 02185 P Were Distributed | Nationwide
1996-04-10 | Drugs | III | d-109-6 | Hydromorphone Hydrochloride Usp C Ii Packaged In A 1 Kg Drum And 1 Gm Bottles For Prescription Compounding Or Further Manufacturing Processing Or Repacking | Manufacturer | Mallinckrodt Chemical Inc | March 22 1996 | Inconsistent Assay Result | 1 1 Kg Drum And 126 1 Gm Bottles Were Distributed | Massachusetts Oregon Michigan Alaska Nevada
1996-04-10 | Drugs | III | d-114/115-6 | Loxitane Loxapine Succinate 5 Mg And 10 Mg Capsules In Bottles Of 100 And 1000 And Blister Packs Of 10 2 X 5 Capsules Rx Antipsychotic Drug | Whitehall Robins Inc | Wyeth Ayerst Lederle Laboratories Inc | March 29 1996 | Potency Not Assured Through Expiration Dat | 5 Mg Strength 93 585 Bottles Of 100 5 997 Blister Packs Of 10 2 X 5 Capsules 10 Mg Strength 6 059 Bottles Of 1 000 144 942 Bottles Of 100 9 383 Blister Packs Of 10 2 X 5 Capsules | Nationwide And Puerto Rico
1996-04-10 | Biologics | II | b-358-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services St | June 30 1995 | Blood Product Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria Was Distributed | 1 Unit | Missouri
1996-04-10 | Biologics | II | b-360-6 | Platelets | Manufacturer | American Red Cross Blood Services St | July 19 1995 | Blood Product Collected From A Donor Who Had A History Of High Risk Behavior Was Distributed | 1 Unit 6 | Missouri
1996-04-10 | Biologics | II | b-361-6 | Platelets | Blood Systems | Blood Systems Inc | January 30 1996 | Platelets Manufactured From Whole Blood Units With Excessive Bleed Time | 10 Units | Texas
1996-04-10 | Biologics | III | b-356-6 | As 1 Red Blood Cells | Manufacturer | American Red Cross St | September 22 1994 | Blood Product Mislabeled With The Incorrect Expiration Date Was Distributed | 1 Unit | Missouri
1996-04-10 | Biologics | III | b-359-6 | Red Blood Cells Irradiated | Manufacturer | American Red Cross Blood Services St | February 20 1995 | Blood Products Irradiated And Labeled With An Extended Expiration Date Were Distributed | 5 Units | Missouri
1996-04-10 | Biologics | III | b-362-6 | Red Blood Cells Leukocytes Removed By Filtration | Manufacturer | American Red Cross Blood Services St | April 15 1995 | Blood Product Which Was Leukodepleted Greater Than Five Days After Collection Was Distributed | 1 Unit | Missouri
1996-04-10 | Devices | II | z-564-6 | Olympus Brand Lubricated Condoms | Manufacturer | Custom Services International Inc | November 8 1995 | Product Failed The Fda Water Leak Tes | Undetermined | Undetermined
1996-04-10 | Devices | II | z-565-6 | Lifestyles Lubricated Condoms With Nonoxynol 9 In Boxes Of 1 000 | Ansell | Ansell Inc | February 2 1996 | Product Failed The Firm's Water Leak Test Apparently Due To Deterioration Of The Late | 43 Boxes Were Distributed | California Georgia Texas Wyoming
1996-04-10 | Devices | II | z-567-6 | Labeling | Datascope Corporation | Bimba Manufacturing Company Monee Illinois Cylinder | March 22 1994 | The Device's Volume Cylinder Was Found To Malfunction During The Autofill Process Mode At The Self Test Stag | 114 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And International
1996-04-10 | Devices | II | z-570-6 | Triad Xlt 20 Nuclear Imaging Systems Used By Technologists For Diagnostic And Research Purposes | Manufacturer | Trionix Research Laboratory Twinsburg Ohio | November 19 1994 | The Detector Head May Drop On A Patient Or Healthcare Provider Because Of Metal Fatigue At The Device's Ball Screw Assembl | 6 Units Were Distributed | Connecticut Tennessee New York Maryland Texas
1996-04-10 | Devices | II | z-571-6 | Bear Ventilator Model 1000 Indicated For Ventilation Of Adult And Pediatric Patients | Allied Healthcare Systems | Precision Dynamics Inc | October 30 1995 | Device Is Constructed With A Defective Solenoid Valve With May Cause Patient Breathing Difficultie | 1 868 Units Were Distributed | Nationwide And International
1996-04-10 | Devices | II | z-573-6 | New Star Model 600 Ho Yag Laser Used In Cardiovascular Surgery | Manufacturer Fda Approved The Firm's Corrective Action Plan March 27 | New Star Lasers Inc | March 27 1996 | The Device Failed To Comply With 21 Cfr 104 | 6 Units 9 | Nationwide
1996-04-10 | Devices | II |  | Sysmex Automated Coagulation Analyzers For In Vitro Diagnostic Use A Model Ca 1000 B Model Ca 5000 | Sysmex Corporation Of America | Toa Medical Electronics Company Ltd | November 20 1995 | The Analyzers May Report Incorrect Coagulation Times Due To Flat Coagulation Curves Without The Presence Of Appropriate Error Code Messages Or Flaggin | A 592 Units B 59 Units Were Distributed | Nationwide And International
1996-04-10 | Devices | II | z-577/578-6 | Novametric Handheld Pulse Oximeter Used To Measure And Display On An Ongoing Continuous Basis The Respiration Heart Beat And Saturation Oxygen Level In A Patient's Blood Of A Patient A Model 510 Domestic Part Numbers 5950 00 And 6350 00 B Model 511 International Part 6116 00 | Manufacturer | Novametrix Medical Systems Inc | January 16 1996 | There Is A Potential Of A System Lock Up Holding The Last Saturation And Pulse Display But Not Alarming When An Alarm Condition Occur | 2 193 Units Of Part 5950 00 572 Units Of Part 6350 00 2 387 Units Of Part 6116 00 Were Distributed | Nationwide And International
1996-04-10 | Devices | II | z-579/580-6 | Titanium Cp Obutment Antirotational Implant Non Coated With 2 Mm Collars A Catalog 3516 Te B Catalog 4012 Te | Manufacturer | The O Company Albuquerque New Mexico | February 1 1996 | The Product Has Not Undergone The Sterilization Proces | 5 Implants Were Distributed All Have Been Returned | New Mexico West Virginia
1996-04-10 | Devices | III | z-572-6 | 3 M Sarns Turbo Membrane Oxygenator Used In Blood Profusion Procedures | Manufacturer | Sarns 3 M Health Ann Arbor Michigan | October 4 1995 | The Oxygenators Contain Blocked Fibers That Resulted In Reduced Gas Transfer Between Fibers And The Bloo | 37 Units Were Distributed | Nationwide And International
1996-04-10 | Devices | III | z-576-6 | Disposable Mouthpiece 7 8 Outside Diameter A Single Use Device Used With Pulmonary Function Equipment | Manufacturer | A M Systems Inc | March 20 1995 | The Product Was Contaminated With A Red Substanc | 10 Cases Of 500 Mouthpieces Were Distributed | Georgia Michigan Wyoming California Minnesota Massachusetts