## 1996-05-15
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-05-15 | Drugs | II | d-136-6 | Medline Epi Clenz Instant Antiseptic Hand Cleanser An Otc Liquid For Handwashing To Decrease Bacteria On The Skin | Medline Industries | Polychem Corporation New Haven Connecticut | April 20 1996 | Some Bottles Were Mislabeled As Tlc Mouth Rins | 297 Cases Were Distributed Firm Estimated That 25 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1996-05-15 | Drugs | II | d-137-6 | Co 2 Compressed Gas | Manufacturer | Mg Industries Inc | April 23 1996 | Presence Of Trace Quantities Of Hcn Hydrogen Cyanide | Undetermined | Pennsylvania Maryland West Virginia Virginia Tennessee Kentucky Georgia North Carolina New Jersey Bermuda
1996-05-15 | Drugs | II | d-138-6 | Carbon Dioxide Usp 50 Pound And 7 Pound Cylinder Capacity | Repacker | Sunox Inc | May 2 1996 | Presence Of Trace Quantities Of Hcn Hydrogen Cyanide | Approximately 1 200 Cylinders 50 Pound Capacity And 159 Cylinders 7 Pound Capacity Were Produced | North Carolina Virginia
1996-05-15 | Drugs | III | d-133-6 | Cytarabine Injection 20 Mg Ml 1000 Mg 50 Ml Cytarabine Injection 20 Mg Ml 100 Mg 5 Ml Rx Drug For Iv Or Subcutaneous Use | Faulding Pharmaceutical Company Purepac | Faulding Pharmaceutical Company David Bull Laboratories Mulgrave Victoria 3170 Australia | March 8 1996 | Particulate Matter Formation Calcium And Silicate | 32 400 Bottles Were Distributed Firm Estimated That 50 60 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1996-05-15 | Drugs | III |  | Barre National A Bromanate Elixir In 4 Ounce Bottles Otc Decongestant Antihistamine Under The Albertsons And Janet Lee Labels 6 B Tussex Cough Syrup In 4 Ounce Bottles Otc Cough Syrup Cough Suppressant Nasal Decongestant Expectorant Under The Moore And Major Labels | Manufacturer | Barre National Inc | April 26 1996 | Product Labeling Not In Accord With Otc Monograph Missing Warning Statement | Firm Estimates None Remains On The Market | California Connecticut Florida Michigan Texas
1996-05-15 | Biologics | II | b-393-6 | Platelets | Manufacturer | United Blood Services Chicago Illinois | February 12 1996 | Blood Product Prepared From A Unit Of Whole Blood Designated As A Difficult Collection Was Distributed | 1 Unit | Illinois
1996-05-15 | Biologics | III | b-366-6 | Red Blood Cells | Manufacturer | United Blood Services Chicago Illinois | February 8 1996 | Red Blood Cells Stored At Room Temperature For An Unknown Amount Of Time Were Distributed | 2 Units 7 | Illinois
1996-05-15 | Biologics | III | b-395-6 | Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | October 30 1995 | Blood Product Corresponding To A Unit Of Red Blood Cells Implicated In A Febrile Transfusion Reaction Was Distributed | 1 Unit | California
1996-05-15 | Devices | II | z-640/646-6 | Sterile Intravenous Administration Iv Sets With 1 | Mcgaw | Mcgaw Of Puerto Rico Inc | January 19 1996 | An Inadequate Bond Design May Cause Tube Filter Separation Resulting In Leakag | 21 145 Cases 895 324 Units Were Distributed | Nationwide Puerto Rico Canada
1996-05-15 | Devices | II | z-724-6 | Tanfit 24 Suntanning Bed | Manufacturer | Puretan International Asterisk Inc | November 14 1995 | Eighteen 18 Gauge Wire Was Used In The Timers In Lieu Of 12 Gauge Which Caused The Timers To Shut The Lamps Off Prematurel | 38 Units | Nationwide
1996-05-15 | Devices | II | z-727-6 | Lumin Laparoscopic Uterine Manipulator Injector Catalog Mis 100 Used For Manipulation Of The Uterus During Diagnostic And Surgical Procedures | Manufacturer | Utah Medical Products Inc | March 25 1996 | The Sterility Of The Device May Be Compromised Due To Loss Of Package Integrit | 305 Units Were Distributed | Arizona California Indiana Kansas Maine Michigan Tennessee Texas Virginia And International
1996-05-15 | Devices | II | z-742/746-6 | Puritan Bennett 7200 Series Ventilators Indicated For Delivery Of Gas To Patients Dependent On Artificial Respiration A Model No | Manufacturer | Nellcor Puritan Bennett Npb Carlsbad California | October 2 1995 | Device Contains A Defective Pressure Transducer Causing It To Stop Ventilation At Set Parameter | 2 987 Units Were Distributed | Nationwide And International
1996-05-15 | Devices | II | z-748/749-6 | Biostar Strep A Oia Test Intended For In Vitro Diagnostic Use As An Aid In The Diagnosis Of Group A Streptococcal Pharyngitis A Catalog No | Manufacturer | Biostar Inc | April 18 1996 | The Test Kits May Produce False Positive Results When Performed At The Maximum Assay Times Stated In The Package Inser | Firm Estimates 125 000 Test Devices Or Approximately 1 250 100 Test Kits Were Distributed | Nationwide And International
1996-05-15 | Devices | II | z-750/751-6 | Action Cat Brand Power Scooter Three Wheeled Wheel Chair A Cat Traditional B Cat Aviation | Manufacturer | Invacare Corporation Elyria Ohio | January 19 1996 | The Brake Key Pin Which Connects The Motor Shaft To The Scooter Brake May Slide Out Of Position Causing The Brake To Become Non Functiona | 671 Scooters Were Distributed | Nationwide
1996-05-15 | Devices | II | z-752/753-6 | Uroview Diagnostic Imaging Systems | Manufacturer Fda Approved The Firm's Corrective Action Plan November 24 | Oec Medical Systems Salt Lake City Utah | November 24 1993 | The Devices Were Found To Be In Noncompliance With 21 Cfr 1032 A And 21 Cfr 102 | 61 Units | Nationwide And International
1996-05-15 | Devices | II | z-754-6 | Model 9400 Mobile Fluoroscopy Imaging System | Manufacturer Fda Approved The Firm's Corrective Action Plan November 17 | Oec Medical Systems Salt Lake City Utah | November 17 1993 | The Device Was Found To Be In Noncompliance With 21 Cfr 1032 C In That Wires In The X Ray Control May Cause An Accidental Radiation Occurrence Aro Resulting In The X Ray Uni | 767 Units | Nationwide And International
1996-05-15 | Devices | II | z-755-6 | Aruba Suntanning Bed | Manufacturer | Puretan International Asterisk Inc | May 16 1994 | The Shaft On Timer Was Too Short And This Caused The Knob Of The Timer To Jam When The Temperature Increased And Expanded The Plastic Canopy Of The Devic | 368 Units Were Distributed | Nationwide And Canada
1996-05-15 | Devices | II | z-756-6 | Ophthalas 532 Laser System Used In Ophthalmic Surgery | Manufacturer Fda Approved The Firm's Corrective Action Plan May 2 | Alcon Laboratories Inc | May 2 1996 | The Device Was Defective Within 21 Cfr 100 | 848 Units 11 | Nationwide And International
1996-05-15 | Devices | II | z-757-6 | Tri Rolls Brand Power Scooter A Three Wheeled Wheelchair | Manufacturer | Invacare Corporation Elyria Ohio | February 21 1994 | Under Severe Use Or Heavy Abuse Tiller Spring That Turns The Tiller Throttle Can Break And Or Slip Off Due To A Metal Burr Causing The Scooter To Remain In Drive Unless The Drive Control Is Manually Moved Into Neutral Positio | 5 631 Scooters Were Distributed | Nationwide
1996-05-15 | Devices | II | z-764/765-6 | Hydromat Hydrovalve And Tubing Set For Laparoscopic Suction And Irrigation A Hydromat Hydrovalve Tubing Set Catalog 263101 61 Series 1 Set B Hydromat Hydrovalve Tubing Set Catalog 263104 61 Series 4 Set | Karl Storz Endoscopy | Infinity Extrusion And Engineering Inc | January 30 1996 | Device Sterility May Be Compromised Due To A Defective Packaging Sea | 720 Sets Were Distributed | California Colorado Florida Georgia Kentucky Massachusetts Maryland New York Ohio Oklahoma Pennsylvania South Carolina Texas Virginia Washington State West Virginia
1996-05-15 | Devices | III | z-581-6 | Sentinel Seal Autotransfusion Chest Drainage System Cdu Catalog 8888 571489 A Sterile Single Use Prescription Device | Manufacturer | Sherwood Medical Company Commerce Texas | October 12 1994 | Device Is Subject To Air Leak Which May Occur Between The Patient Connection Site And The Chest Drainage System Collection Chambe | 2 680 Units Were Distributed | Belgium France Greece Italy Spain
1996-05-15 | Devices | III | z-726-6 | Baxter Myelogram Tray Containing An 18 Gauge X 3 1 2 Spinal Needle With Stylet And Nine Holed Aspiration Needle Used To Obtain Spinal Fluid Samples And Removal Of Oil Based Contrast Media During Myelograms | Baxter Healthcare Corporation | Baxter Healthcare Corporation Mannford Oklahoma | April 19 1996 | The Aspiration Cannula May Not Fit Inside The Spinal Needle As Intende | 470 Cases Were Distributed Firm Estimated That 50 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide
1996-05-15 | Devices | III |  | Schneider Wallstent Esophageal Prosthesis Used To Keep The Esophagus Of A Patient Open When There Are Strictures Or Fistulas Resulting From Cancer A Model E 38 2040 95 40 Mm Long B Model E 38 2060 95 60 Mm Long C Model E 38 2090 95 90 Mm Long |  | Schneider Usa Inc | N A | There Is A Possibility Of Increased Risk Of Perforation And Bleeding In Patients Who Have Received Or Will Receive Radiation Therapy Following Stent Placement And To Those Patients With Hiatal Hernia And Or Gastric Prolapse Into The Esophageal Area For Stents Implanted Near The Gastroesophageal Junctio | 4 577 Prostheses Were Distributed 13 | Nationwide Argentina Australia Canada Hong Kong