## 1996-06-12
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-06-12 | Drugs | II | d-153-6 | Genteal Lubricant Eye Drops Otc In 0 | Supreme Distributors Company | Ciba Vision Sterile Manufacturing Mississauga Ontario Canada | May 31 1996 | Unauthorized Distribution Of A Validation Lot Scheduled For Destructio | 205 Cases 24 Bottles Per Case Were Distributed | Florida California Michigan Maryland Tennessee Illinois
1996-06-12 | Drugs | III | d-149-6 | Nitrostat Sublingual Tablets Nitroglycerin Tablets Usp 0 | Parke Davis Division Of Warner Lambert Company | Warner Lambert Company Fajardo Puerto Rico | May 3 1996 | Potency Not Assured Through Expiration Dat | 24 257 Bottles Of 100 Tablets And 70 115 Bottles Of 25 Tablets Were Distributed | Nationwide
1996-06-12 | Drugs | III | d-151-6 | Acetaminophen And Codeine Phosphate Oral Solution Usp In 5 Ml Unit Dose Cups | Manufacturer | Pharmaceutical Associates Inc | February 7 1996 | Some Trays Were Mislabeled As To Unit Dose Volum | 255 5 Cases 10 Trays Per Case 10 5 Ml Cups Per Tray Were Distributed | Nationwide
1996-06-12 | Drugs | III | d-152-6 | Cheetah Barium Sulfate Suspension In 250 450 Ml And 1900 Ml Bottles Used For Gastro Intestinal Tomography | Manufacturer | Lafayette Pharmaceuticals Inc | May 7 1995 | Presence Of Mold In Some Unit | Approximately 166 000 Units Were Distributed | Nationwide Quantity Approximately 166 000 Units Were Distributed
1996-06-12 | Biologics | II | b-223-6 | Platelets Pheresis | Manufacturer | Central California Blood Center Fresno California | October 18 1995 | Blood Product Collected From A Donor Who Had Traveled To An Area Designated As Endemic For Malaria Was Distributed | 1 Unit | California
1996-06-12 | Biologics | II | b-224/226-6 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer Notified The Consignees On October 26 | Michigan Community Blood Center Grand Rapids Michigan | October 26 1994 | Blood Products Collected From A Donor With A History Of Nose Piercing Were Distributed | 1 Unit Of Each Component | Michigan California
1996-06-12 | Biologics | II | b-396/401-6 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma F Platelets For Further Manufacture | Manufacturer | American Red Cross Blood Services Rochester New York | October 24 1995 | Blood Products Which Tested Repeatedly Reactive For Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 Or Which Tested Negative For Anti Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Were Distributed | A 32 Units B 20 Units C 3 Units D 9 Units E 26 Units F 2 Units | New York Pennsylvania California Switzerland
1996-06-12 | Biologics | II | b-406/409-6 | A Red Blood Cells B Whole Blood C Fresh Frozen Plasma D Recovered Plasma | American Red Cross | American Red Cross Buffalo New York | October 25 1995 | Blood Products Collected From Donors Who Tested Repeat Reactive For Hbsag And Were Distributed | A 5 Units B 1 Unit C 1 Unit D 5 Units | New York Ohio California Switzerland
1996-06-12 | Biologics | II | b-430/432-6 | A Red Blood Cells B Fresh Frozen Plasma C Platelets | Manufacturer | American Red Cross Ft | October 20 1995 | Blood Products Collected From A Donor Who Traveled To Areas Designated As Endemic To Malaria Were Distributed | 1 Unit Of Each Component | Indiana
1996-06-12 | Biologics | II | b-441-6 | Red Blood Cells | Manufacturer | Bloodcare Also Known As J | August 23 1995 | Blood Product Collected From A Donor Exposed To Hepatitis Was Distributed | 1 Unit | Texas
1996-06-12 | Biologics | II | b-443-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Missoula Montana | May 25 1995 | Blood Products Which Were Collected From A Donor Who Had Traveled To An Area Considered Endemic For Malaria Within One Year Of Donation Were Distributed | 2 Units | Michigan Montana
1996-06-12 | Biologics | II | b-455-6 | Alphanate Brand Antihemophilic Factor Human Factor Viii | Manufacturer | Alpha Therapeutic Corporation Los Angeles California | May 1 1996 | Factor Viii Product May Contain Hepatitis A Virus Hav Was Distributed | 1 169 Units Were Distributed | California Illinois Pennsylvania New York Tennessee
1996-06-12 | Biologics | III | b-425-6 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Wichita Kansas | July 21 1995 | Blood Products Which Were Not Subjected To Continuous Agitation During Storage And For Which The Storage Temperature Was Not Monitored Were Distributed | 3 Units 7 | Kansas
1996-06-12 | Biologics | III | b-436/437-6 | Fresh Frozen Plasma Cryoprecipitated Ahf | Blood Systems | Blood Systems Inc | September 27 1995 | Blood Products Which Were Exposed To Unacceptable Temperatures Were Distributed | A 22 Units B 9 Units | Texas
1996-06-12 | Biologics | III | b-442-6 | Forma Scientific Temperature Controls On Laboratory And Platelet Incubators And Plasma Thawing Baths | Manufacturer | Forma Scientific Inc | February 13 1995 | Forma Scientific Determined That The 8200 Ohm Carbon Composition Resistor Used In Units Manufactured Between May 13 1989 And July 31 1993 May Degrade After Two Year | 14 799 Temperature Controls Were Distributed 8 | Nationwide And International
1996-06-12 | Devices | II | z-483-6 | Siemens 800 Series Gas Column Cleat Assemblies Used With Siemens Ceiling Stands 800 810 And 800 F For Mounting The Sirecust 1280 1281 And Sirecust 960 961 Patient Monitors In Positioning Monitors For Constant Observation In The Or | Manufacturer | Siemens Medical Systems Inc | December 8 1995 | Cleat Assemblies Were Found To Be Manufactured From Out Of Spec Materia | 157 Units Were Distributed | Nationwide
1996-06-12 | Devices | II | z-868-6 | Tv Monitor Suspension Model 46 240838 G 2 A Support For A Tv Monitor Used With Advantx Rfx R F X Ray Equipment | General Electric Company | Ge Medical Systems S | May 10 1995 | The Pivot Support Screw Of A Tv Monitor Suspension Can Become Loose Allowing The Tv Monitor To Fal | 33 Units Were Distributed All Units Have Been Corrected 9 | Nationwide
1996-06-12 | Devices | II | z-869-6 | 80 Tube Stand Model 46 162705 P 1 Used With Monitrol 15 Or 73 Horizontal X Ray Tables | General Electric Company | Ge Medical Systems S | January 3 1996 | The Main Cable Of The Tube Stand Can Rupture And The Safety Mechanism Fail To Actuate Allowing The Collimator To Fall Onto The Table To | 116 Units Were Distributed All Units Have Been Corrected | Nationwide
1996-06-12 | Devices | II | z-870-6 | Advantx Afm Angio System Model No | General Electric Company | Ge Medical Systems S | December 11 1995 | There Is A Risk Of Unintended Motions And Loss Of Collision Sensors That Can Result In Injury To The Patient Or Use | 7 Units Were Distributed All Units Have Been Corrected | Nationwide
1996-06-12 | Devices | II | z-873-6 | Disposable Umbilical Cord Cutter And Shield Catalog Ducs Crd 100 May Be Used After Delivery Of The Fetus While The Mother And Child Are Still Attached By The Umbilical Cord But Blood Flow Is Clamped Off | Utah Medical Products | Foremed Chonbuk Korea | August 3 1994 | Sterility May Be Compromised Due To A Defective Packaging Sea | 1 521 Units Were Distributed Firm Estimates None Remains On The Market | Nationwide And International
1996-06-12 | Devices | II | z-874-6 | Biad Whole Body Spect Nuclear Imaging Systems Biad 89 Dual Headed Camera Used Mainly For Whole Body Imaging Cardiac Renal Brain And Bone Scans | Manufacturer | Trionix Research Laboratory Inc | April 29 1996 | The Detector Head Has The Potential To Fall During A Scanning Procedure Which Can Result In Injury To The Patient Or Use | 81 Systems Were Distributed | Nationwide And International
1996-06-12 | Devices | III | z-852-6 | Cardiofocal Collimator System Designed For Use With Integrated And Analog Orbiter Diacam Multispect 2 And Multispect 3 Gamma Camera Systems To Conduct Cardiac Spect Studies Utilizing Technetium And Thallium Radionuclides | Manufacturer | Siemens Medical Systems Inc | March 28 1995 | The Gamma Camera Systems Did Not Have Adequate Instructions And Positioning Aids To Assure That The Patient's Heart Was Centered For Cardiofocal Scan | 66 Units Were Distributed | Nationwide
1996-06-12 | Devices | III | z-875/882-6 | Cardiofocal And Or Fan Beam Collimator Systems Used With Multispect 2 And Multispect 3 Gamma Cameras Shipped Prior To 7 14 95 A Kit 2995897 Cardiofocal Collimator Set For Multispect 3 B Kit 3567372 Multispect 3 Cardiofocal Collimator Set W Ultra High Sens W O Phantom C Kit 3567380 Multispect 3 Fan Beam Collimator Set W O Phantom D Kit 3567406 Multispect 2 Cardiofocal Set 1 Cardiofocal 1 Lehr Collimator W O Phantom E Kit 3567414 Multispect 2 Foil Fan Beam Set 2 Fan Beam Collimators W O Phantom F Kit 3567356 Set Cardiofocal Collimator For M 3 W O Phantom G Kit 3567364 Multispect 3 High Res Cardiofocal Collimator Set W O Phantom H Kit 3567398 Set Cardiofocal Collimator For M 2 W O Phantom | Manufacturer | Siemens Medical Systems Inc | July 00 0016 | The Kits Did Not Include All Of The Operator's Manuals And Or Installation Procedure | 38 Units Required Manuals And Were Corrected As Of May 11 1996 | Nationwide Germany Belgium Switzerland Colombia