## 1996-09-25
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-09-25 | Drugs | II | d-266-6 | Dilantin Kapseals Extended Phenytoin Sodium Usp 100 Mg Antiepileptic | Warner Lambert Company | Warner Lambert Company Fajardo Puerto | August 12 1996 | Stability Test Dissolution Failur | 40 403 Bottles Of Lot 05685 F 40 320 Bottles Of Lot 02595 F 3 900 Bottles Of Lot 02895 F 4 044 Bottles Of Lot 012 N 5 F 3 879 Bottles Of Lot 00626 F Were Distributed | Nationwide
1996-09-25 | Drugs | II | d-267-6 | Nitrostat Nitroglycerin Usp 0 | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | August 13 1996 | Stability Test Assay Failur | 22 817 Bottles Were Distributed | Nationwide
1996-09-25 | Drugs | III | d-268-6 | Congess Sr | Manufacturer | Fleming Company Fenton Missouri | September 6 1996 | Stability Test Release Rate Failur | 129 Bottles Were Distributed | Nationwide
1996-09-25 | Drugs | III | d-269-6 | Beta Hc 1 4 Topical Lotion Hydrocortisone Cream Usp Antipruritic Anti Itch Lotion In 4 Fluid Ounce Bottles | Manufacturer | Beta Dermaceuticals Inc | August 20 1996 | Fda Analysis Found Product To Be Subpoten | 1 189 Bottles Were Distributed Firm Estimated That 642 Bottles Remained On Market At Time Of Recall Initiation | Nationwide
1996-09-25 | Biologics | III | b-638-6 | Source Plasma | Manufacturer | Sera Tec Biologicals Inc | November 11 1992 | Blood Products Were Collected From A Donor Who Previously Tested Positive For Syphili | 3 Units | North Carolina
1996-09-25 | Devices | II | z-1132-6 | Model 5000 Head Spring A Component Used In Invacare's Mobilite Full And Semi Electric Bed Models 5410 5310 5210 5110 5307 5207 And 5107 | Manufacturer | Invacare Corporation Sanford Florida | March 11 1996 | A Rear Weld On The Center Mounting Latch Of The Head Spring Can Fracture During Us | 1 538 Units Were Distributed With The Defective Head Springs | Nationwide
1996-09-25 | Devices | II | z-1143-6 | Advantx Lca Angiography System Model S 5800 Yb Used For Medical Imaging During General Angiography And Interventional Procedures | Manufacturer | General Electric Company Medical Systems Division Waukesha Wisconsin | August 1 1996 | Failure Of A Gantry Motor Control Board May Cause The Gantry To Move At Unexpectedly High Speeds Which Can Result In A Collision Between The Gantry And The Patient Or Operato | 57 Units Were Distributed | Nationwide And Canada
1996-09-25 | Devices | II | z-1155/1156-6 | Cozy Headrest Retaining Strap Part 451220 And Posterior Headrest Pads Part 450100 And 450102 | Manufacturer | Quickie Designs Inc | July 19 1996 | The Strap Of The Headrest May Slip Down The Head Of The User Which Could Cause Neck Strain Choking Or Asphyxiatio | 184 Straps Were Distributed | Pennsylvania Illinois Connecticut Kansas Kentucky Massachusetts California Texas Florida
1996-09-25 | Devices | II | z-1157/1159-6 | Laser Systems Used For Cutting Of Process Material With Focused Laser Radiation A Model Lpl 103 B Model Lpl 104 C Model Lpls 001 | Manufacturer Fda Approved The Firm's Corrective Action Plan September 10 | Lpl Systems Inc | September 10 1996 | Noncompliance With Performance Standards For Laser Products In That The Systems Failed To Have The Correct Wording On Warning Labels The Interlock Switches Failed To Included An Indication Of Defeat User Information Failed To Include Required Information Concerning The Maximum Output Of Laser Radiation And To Include Reproductions Of Required Warning Label | 7 Units | New Jersey And Minnesota
1996-09-25 | Devices | II | z-1160/1162-6 | Fresenius A 2008 Hemodialysis Systems A Model C Dialysis Delivery System B Model D Dialysis Delivery System C Model E Dialysis Delivery System | Fresenius Usa | Fresenius Ag Formerly Called Mts W | April 15 1996 | An Increased Resistance Load On The Power Supply Coupled With A Capacitor Failure Leads To Excess Fluid Remova | A 796 Units B 4 537 Units C 992 Units Were Distributed | Nationwide And International
1996-09-25 | Devices | II | z-1164/1191-6 | Sterile Procedural Trays Labeled As Containing X Ray Detectable Gauze | Manufacturer | Deroyal Industries Inc | August 12 1996 | The Devices May Not Contain X Ray Detectable Gauze As Labele | 446 Cases Were Distributed | Connecticut Delaware Georgia Indiana Kansas New Hampshire Oklahoma Pennsylvania Utah Illinois Missouri Ohio New Jersey
1996-09-25 | Devices | II | z-1199/1201-6 | Terumo Hypodermic Needles A Terumo Hypodermic Needles Product Code 3 Nn 1938 R B Terumo Hypodermic Needles Product Code 3 Nn 2038 R C Terumo Hypodermic Needles Product Code 3 Nn 2338 R | Manufacturer | Terumo Medical Corporation Elkton Maryland | July 2 1996 | A Hole Was Found In The Bottom Web Where The Needle Protector Attaches To The Needle Hub Therefore Compromising The Sterility Of The Product Packagin | 98 000 Pieces Were Distributed | Nationwide
1996-09-25 | Devices | II | z-1203-6 | Software Version 4 | Manufacturer | Trionix Research Laboratory Twinsburg Ohio | August 16 1996 | The Computer Software Version | 202 Systems Were Distributed | Nationwide Belgium England Korea Australia Egypt
1996-09-25 | Devices | II | z-1204/1211-6 | Vacu Aide Suction Units Used As A Portable Medical Suction Device For Removal Of Fluids Distributed Under Devilbiss Health Care Inc | Manufacturer | Devilbiss Health Care Inc | August 6 1996 | The Piston Rods May Break During Normal Operation Rendering The Units Unusabl | 8 257 Units Were Distributed | Nationwide And International
1996-09-25 | Devices | II | z-1216/1219-6 | Invacare Oxygen Concentrators Mobilaire Iii V And Invacare Iii V Oxygen Concentrators A Mobilaire Iii Oxygen Concentrator Model No | Manufacturer | Invacare Corporation Sanford Florida | March 8 1996 | Kinked Oxygen Transfer Hoses In The Units Caused By Defective Exterior Foam Insulation May Affect The Flow Of Oxygen And Therefore Affect The Concentration Of Oxygen The Patient Receive | 122 Units Were Distributed | Nationwide
1996-09-25 | Devices | III | z-1146-6 | Render Plan 3 D Treatment Planning System Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics Inc | February 22 1996 | Software Errors May Cause Hard Copy Errors When Drawing The Beam Edges When An Aperture Is Presen | Approximately 100 Units Were Distributed | Nationwide And International
1996-09-25 | Devices | III | z-1147-6 | Render Plan 3 D Treatment Planning System Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics Inc | May 2 1996 | Software Errors In The Irregular Field Program May Cause Unexpected Result | Approximately 100 Units | Nationwide And International
1996-09-25 | Devices | III | z-1148-6 | Render Plan 3 D Treatment Planning System Computer Programs Intended For Planning Of Radiotherapy Procedures | Manufacturer | Precision Mathematics Inc | December 28 1995 | Unexpected Computational Results Due To Software Error | Approximately 100 Units | Nationwide And International
1996-09-25 | Devices | III | z-1192/1198-6 | Electron Microscopes Used For Visualization Of Microscopic Objects A Philips Sem 515 B Philips Sem 525 C Philips Sem 535 D Philips Sem 545 E Philips Xl 20 F Philips Xl 30 G Philips Xl 40 | Manufacturer Fda Approved The Firm's Corrective Action On August 21 | Philips Electronic Instruments Company Mahwah New Jersey | August 21 1996 | Under Unlikely Circumstances The Leakage Specification For X Radiation Is Exceede | 128 Units | Nationwide
1996-09-25 | Devices | III | z-1214-6 | Model 5348 Single Chamber Temporary Pacemakers Aai Vvi | Medtronic | Medtronic Milaca Inc | August 19 1996 | The Keypad Shorts Can Result In Device Failur | 1 381 Units Were Distributed | Nationwide And International
1996-09-25 | Devices | III | z-1215-6 | Lifepak 10 Defibrillator Monitor Pacemaker | Manufacturer | Physio Control Corporation Redmond Washington | August 19 1996 | There Is Potential For Pacing Function To Cease Operatio | 13 Units Were Distributed | Iowa Massachusetts North Carolina New York Ohio Pennsylvania Rhode Island Wisconsin