## 1996-10-02
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-10-02 | Drugs | I | d-270-6 | Apothe Cure Dmso Dimethylsulfoxide For Injection In 30 Ml Vials | Manufacturer | Apothe Cure Inc | August 5 1996 | Fda Analysis Found Samples Contaminated With Bacteria And Fda Inspection Uncovered Deficiencies Of Good Manufacturing Practice | Undetermined | Nationwide And International
1996-10-02 | Drugs | II | d-271-6 | Altaire Pharmaceutical Brand Clear Cough Cough Suppressant Expectorant Guaifenesin Dextromethorphan Oral Liquid In 4 Fluid Ounce Plastic Bottles | Manufacturer | Altaire Pharmaceutical Inc | August 22 1996 | Product Is Misbranded Because The Dosing Cup Does Not Bear Measurements That Are Consistent With The Labeled Dosing Instruction | 12 316 Units Were Distributed Firm Estimated That 200 Units Remained On Market At Time Of Recall Initiation | New York New Jersey Ohio North Carolina Texas Indiana Wisconsin Michigan Alabama California District Of Columbia
1996-10-02 | Drugs | II | d-273/274-6 | Altaire Pharmaceuticals Otc Pain Relievers In 4 Fluid Ounce Plastic Bottles A Apra Cherry Flavored Children's Acetaminophen Elixir B Altenol Grape Flavored Children's Acetaminophen Elixir | Manufacturer | Altaire Pharmaceutical Inc | August 22 1996 | Products Are Misbranded Because The Dosing Cup Does Not Bear Measurements That Are Consistent With The Labeled Dosing Instruction | A 67 945 Units B 23 012 Units Were Distributed Firm Estimated That 12 000 Units Combined Remained On Market At Time Of Recall Initiation | Alaska Arizona Arkansas California Florida Illinois Indiana Michigan Minnesota New York Texas Puerto Rico
1996-10-02 | Drugs | III | d-272-6 | Tussilan Liquid Rx In 1 Ounce 4 Ounce And 128 Ounce Containers Antitussive Expectorant Nasal Decongestant Antihistamine Used In The Treatment Of Colds | Manufacturer | Sein Mendez Laboratories Rio Piedras Puerto Rico | August 14 1996 | Product Does Not Meet Potency Specification | 12 731 1 Ounce Units 9 405 4 Units 172 Units Were Distributed | Puerto Rico
1996-10-02 | Devices | II | z-1202-6 | Lifestyles Condoms Lubricated With Nonoxynol 9 | Manufacturer | Ansell Inc | April 19 1996 | The Condoms Failed The Water Leak Test Apparently Due To Deterioration Of The Latex Because Of Improper Storage Condition | Approximately 78 000 Condoms Were Distributed Firm Estimates None Remains On The Market | California Florida Georgia Massachusetts New Jersey New York Ohio Oregon Texas Vermont Washington State
1996-10-02 | Devices | II | z-1228/1233-6 | Hand Held Controllers Used With Maxxus And Optima Nuclear Medicine Imaging Systems Used For Patient Imaging 3 A Model No | General Electric Company | Ige International General Electric Ltd | August 8 1994 | After The Motion Button Is Released The Imaging System's Table Or Detector Head May Fail To Sto | 139 Units Were Distributed | Nationwide And International
1996-10-02 | Devices | II | z-1234-6 | Software Version 4 | Manufacturer | Althin Medical Inc | August 5 1996 | The Formaldehyde And Actril Chemical Disinfect Modes May Not Function Properly Due To Software Problem | 437 Units And 52 Kits Were Distributed | Arizona California Connecticut Florida Georgia Indiana Iowa Maine Massachusetts Missouri New Jersey New York North Carolina Ohio Tennessee Texas Washington State And International
1996-10-02 | Devices | III | z-1110-6 | Sabratek Model 3030 Volumetric Infusion Pumps Used In Hospitals And Home Care For Delivery Of Intravenous Fluids For Inotropics Antibiotics Tpn Igg Cytogram Pentamidine And Hydration Therapies | Sabratek Corporation | Sabratek Corporation Niles Illinois | August 2 1995 | Two Capacitors C 2 And C 8 Were Misaligned During Assembly Of The Logic Printed Circuit Board Causing Reversed Polarity Which Over A Period Of Time Could Cause Capacitors To Initiate Breakdown Resulting In A Change In The Motor Signa | 45 Pumps Were Distributed | Ohio Massachusetts Illinois California Florida Texas Pennsylvania
1996-10-02 | Devices | III | z-1111-6 | Newvues Vifilcon A Soft Contact Lens Hydrophilic Contact Lens | Manufacturer | Ciba Vision Corporation Atlanta Georgia | August 16 1996 | Lenses May Contain A Sphere Power Other Than That Reflected In The Labelin | 1 648 Multipacks 9 888 Lenses Were Distributed | Nationwide And International
1996-10-02 | Devices | III | z-1215-6 | Lifepak 10 Defibrillator Monitor Pacemaker | Manufacturer | Physio Control Corporation Redmond Washington | August 7 1996 | There Was A Potential For Pacing Function To Cease Operatio | 13 Units Were Distributed | Iowa Massachusetts North Carolina New York Ohio Pennsylvania Rhode Island Wisconsin
1996-10-02 | Devices | III | z-1220-6 | Incstar Cmv Vue Test Kit Catalog 24300 For The Direct Qualitative Detection Of Early Structural Protein Of Cmv Cytomegalovirus | Manufacturer | Incstar Corporation Stillwater Minnesota | September 9 1996 | There Was A Decreased Staining Intensity In The Positive Contro | 67 Kits Were Distributed | Arkansas Illinois Maryland New Mexico New York North Carolina Tennessee Australia Germany Italy Korea Portugal Spain
1996-10-02 | Devices | III | z-1221/1227-6 | Vasoseal Vascular Hemostasis Device Vhd Kits Indicated For Use In Reducing Time To Hemostasis At The Femoral Arterial Puncture Side In Patients Who Have Undergone Diagnostic Angiography Or Percutaneous Transluminal Coronary Angioplasty Procedures Using An 8 French Or Smaller Procedural Sheath Catalog Numbers 75301 75302 75303 75304 75305 75306 75307 | Datascope Corporation | Bioplex Medical B | February 20 1996 | There May Be A Missing Component In The Ki | 5 970 Kits Were Distributed | Nationwide