## 1996-12-03
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1996-12-03 | Drugs | II | d-046-7 | Mpi Maa Kit For The Preparation Of Technetium Tc 99 M Albumin Aggregated Injection In Multidose Vials Containing 2 | Medi Physics | Merck Frosst Canada Inc | November 12 1996 | Lack Of Adequate Assurance Of Sterility Of The Human Albumin Component Manufactured By Centeon Kankakee Illinoi | 2 423 Kits Were Distributed Firm Estimated That Very Little If Any Product Remained On Market At Time Of Recall Initiation | Nationwide And Hong Kong
1996-12-03 | Drugs | III | d-047-7 | Congess Sr Packaged In Bottles Of 100 Rx Decongestant | Manufacturer | Fleming Company Fenton Missouri | November 18 1996 | Fda Analysis Found This Lot Failed The Release Rate Test The 4th Hour Release Interval For Pseudoephedrine Was Found To Be 90 The Specification Is Not More Than 88 | 800 Bottles Were Distributed | Nationwide
1996-12-03 | Biologics | II | b-549/550-6 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Peoria Illinois | October 3 1995 | Blood Products Tested Initially Reactive For Anti Hiv Units Then Tested Into Compliance With No Confirmatory Tes | 1 Unit Of Each Component Was Distributed | New York
1996-12-03 | Biologics | II | b-551/552-6 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Peoria Illinois | March 18 1996 | Blood Products Tested Initially Reactive For Anti Hiv Units Then Retested Only Once With No Confirmatory Testin | 1 Unit Of Each Component Was Distributed | Illinois And Iowa
1996-12-03 | Devices | II | z-131-7 | Electric Mat Tables Model Swm 1 5 E | Manufacturer | S W Enterprises Inc | February 1 1996 | When The Flexible Coupler Was Used To Move The Table Up And Down The Motor Continued To Run But The Table Height Did Not Chang | 9 Mat Tables Were Distributed | Nationwide
1996-12-03 | Devices | II | z-132-7 | Baxa Model 60001 Dual Rate Syringe Infusers Used For The Administration Of Iv Drugs | Manufacturer | Baxa Corporation Englewood Colorado | August 23 1996 | The Device Has The Potential To Run At Twice The Speed For Which It Is Se | 392 Units Were Distributed | Nationwide
1996-12-03 | Devices | II | z-133-7 | Ez Flow 480 Ambulatory Infusion Pumps Containing Software Versions 2 | Manufacturer | Gish Biomedical Inc | February 23 1996 | Due To A Software Error The Ez 480 Exhibits A Faulty Infusion Rate When Placed In The Pause Mode And Subsequently Restart | 577 Units Were Distributed | Nationwide And International
1996-12-03 | Devices | II | z-140/141-7 | Devon Point Of Use Cabinet A Model Reorder No | Graphic Controls Corporation | Graphic Controls Devon Industries Chatsworth California | August 26 1996 | The Solid Color Of The Door Of The Sharps Container Cabinet May Affect The Ability Of The User To Determine The Fill Level Of The Needles And Syringes Allowing For The Potential Of Needlestick Injurie | A 10 840 Cabinets B 2 580 Cabinets Were Distributed | Nationwide And International
1996-12-03 | Devices | II | z-142-7 | X Ray Generator Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan On November 20 | Gendex Del Medical Imaging Corporation Franklin Park Illinois | November 20 1996 | Noncompliance With Performance Standards For X Ray Products In That Selection Of One Of The 3 072 Possible Selectable Exposure Conditions Failed To Meet The Firm's Accuracy Claim For Mas Selectio | Undetermined | Nationwide
1996-12-03 | Devices | II | z-146-7 | Stainless Steel Greenfield Vena Cava Filter With 12 French Introducer System A Permanently Implanted Device Designed To Protect Against Pulmonary Embolism While Maintaining Patency Of The Vena Cava | Boston Scientific Corporation | Boston Scientific Corporation Watertown Massachusetts | April 29 1996 | The Guidewire Can Become Wedged In The Apex Of The Vena Cava Filter Using The Jugular Approac | 4 898 Devices Were Distributed | Nationwide And International
1996-12-03 | Devices | II | z-148/149-7 | Opus Rubella Test Modules And Opus Rubella M Test Modules A Opus Rubella Test Modules Catalog No | Manufacturer | Behring Diagnostics Inc | October 29 1996 | Negative Control Yielded Indeterminate Results And There Was A High Incidence Of False Positive Test Result | Quantity Estimated In Distribution Rbc 6 5 Boxes Rbc 9 11 Boxes Rbd 3 13 Boxes Rbd 4 26 Boxes Rbd 5 39 Boxes Rbd 6 72 Boxes Rmc 8 2 Boxes Rmc 9 54 Boxes | Catalog No
1996-12-03 | Devices | III | z-145-7 | Condylar Bone Screws Catalog Cs 027 08 10 | Tmj Implants | Komet Medical Savannah Georgia Supplier Of Screws | October 7 1996 | Some Condylar Bone Screws Were In Packages Labeled As Fossa Eminence Bone Screws And Some Fossa Eminence Bone Screws Were Incorrectly Labeled As Condylar Bone Screw | 8 Packages Of 7 Screws Each Were Distributed | Pennsylvania Tennessee Texas