## 1997-02-26
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1997-02-26 | Drugs | II | d-118-7 | Doxycycline Hyclate 100 Mg Capsules Usp In Bottles Of 50 And 500 Rx A Broad Spectrum Antibiotic | Manufacturer | Houba Inc | January 3 1997 | Stability Is Not Assured Through Expiration Date Capsules May Be Excessively Brittle | 12 Million Capsules Were Distributed | Nationwide
1997-02-26 | Drugs | III | d-119-7 | Nitrostat Sublingual Tablets 0 | Parke Davis | Warner Lambert Company Fajardo Puerto Rico | January 28 1997 | Product Lacks Stability Failed Content Assay At The 15 Month Stability Timepoint 8 | 23 750 Bottles Were Distributed | Nationwide
1997-02-26 | Biologics | II | b-392/395-7 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | July 23 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Subjected To Additional Retestin | A 2 Units B 1 Unit C 1 Unit D 1 Unit Was Distributed | Illinois And Iowa
1997-02-26 | Biologics | II |  | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | July 23 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Subjected To Additional Retestin | 1 Unit Of Each Component Was Distributed | New York California
1997-02-26 | Biologics | II | b-400-7 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Peoria Illinois | August 17 1996 | Blood Product Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 | 1 Unit Was Distributed | New York
1997-02-26 | Biologics | II | b-401-7 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Peoria Illinois | August 28 1996 | Blood Product Tested Initially Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 And Was Not Retested In Duplicat | 1 Unit Was Distributed | Illinois
1997-02-26 | Biologics | II | b-402/403-7 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | July 23 1996 | Blood Products Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Subjected To Additional Retestin | 1 Unit Was Distributed | Illinois
1997-02-26 | Biologics | II | b-410-7 | Red Blood Cells | Manufacturer | American National Red Cross Norman Oklahoma | October 22 1996 | Blood Products Were Collected From A Donor Who Lived In An Area Designated As Endemic For Malari | 4 Units Were Distributed 7 | Texas And Oklahoma
1997-02-26 | Biologics | III | b-381-7 | Platelets | Manufacturer | United Community Blood Center Middleburg Heights Ohio | June 2 1994 | Blood Product Tested Positive For Antibodies Screen And Was Labeled As Negative For Unexpected Antibodie | 1 Unit Was Distributed | Ohio
1997-02-26 | Biologics | III | b-398/399-7 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Peoria Illinois | August 17 1996 | Blood Products Tested Repeatedly Reactive For The Hepatitis B Surface Antigen Hbsag But Were Subjected To Additional Retestin | 1 Unit Of Each Component Was Distributed | New York California
1997-02-26 | Biologics | III | b-404-7 | Platelets Pheresis | Manufacturer | American Red Cross Blood Services Norfolk Virginia | January 31 1996 | Blood Product Was Collected From A Donor Who Had Been Immunized With Measles Mumps And Rubella Mmr Vaccin | 1 Unit Was Distributed | West Virginia
1997-02-26 | Biologics | III | b-405-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Portland Oregon | June 21 1996 | Unlicensed Blood Product Was Shipped Interstat | 1 Unit Was Distributed | Washington State
1997-02-26 | Biologics | III | b-406-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Portland Oregon | July 9 1996 | Blood Products Remained At Room Temperature For An Unacceptable Length Of Tim | 2 Units Were Distributed | Oregon
1997-02-26 | Biologics | III | b-408-7 | Red Blood Cells | Manufacturer | Blood Systems Inc | October 30 1996 | Blood Products Remained At Room Temperature For An Unacceptable Length Of Tim | 8 Units Were Distributed | Louisiana
1997-02-26 | Devices | II | z-253-7 | Leep Foot Pedal Accessory Part Number 6032 Used With The Leep System 1000 Generator | Cooper Surgical | Alsa Apparecchi Bologna Italy Foot Pedal | November 11 1996 | The Foot Pedal Air Bladder May Crack And Prevent Activation Of The Leep Devic | 132 Units Were Distributed | Nationwide
1997-02-26 | Devices | II | z-270/273-7 | Diagnostic X Ray System Superstand General Purpose Radiography A Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan On February 18 | Wuestec Medical Inc | February 18 1997 | The Diagnostic X Ray Devices Were Found Noncompliant With 21 Cfr 101 | All Units Produced | Nationwide
1997-02-26 | Devices | II | z-274/281-7 | Royal Flush Plug Angiographic Catheters With Beacon Enhanced Radiopaque Tips Sold As Part Of The Following Sets A Cook Brand Digital Subtraction Angiography Set 4 | Cook | Sabin Corporation Bloomington Indiana | January 16 1997 | There Has Been An Increase Frequency Of Catheter Tip Separatio | 68 345 Sets Were Distributed | Nationwide And International
1997-02-26 | Devices | II | z-282-7 | All Promotional Material For Electromedia Air Cleaners Model Numbers 50 C 100 C And 35 F A Medical Recirculating Air Cleaner Which Can Be Used In Industrial Settings But Is Also Used By Medical Facilities | Manufacturer | It's All About Clean Air Inc | January 27 1997 | The Firm's Advertisements Promotional Material Contain Medical Claims For Which The Firm Does Not Have An Approved 510 K | Approximately 1 500 To 2 000 Pieces Of Literature And Or Brochures Were Distributed | Nationwide
1997-02-26 | Devices | II | z-285-7 | 72 Adult Heated Wire Breathing Circuits Used To Provide Heat To The Humidified Air Passing To The Patient's Trachea Through A Breathing Tube Attached To A Ventilator | Manufacturer | Marquest Medical Products Inc | November 1 1996 | A Manufacturing Process Error In Which The Electrical Insulation Of The Wire Was Scored During Assembly Exposing The Metallic Conductor To The Environment Within The Breathing Circui | 1 001 Units Were Distributed | Nationwide
1997-02-26 | Devices | II | z-286-7 | Model I O 104 Rev A Laser Ablation System Used For Ablation Of Material From A Surface Laving A Graphic Image Or Letters On That Surface | Manufacturer Fda Approved The Firm's Corrective Action Plan On February 19 | Imaginative Optics Beverly Massachusetts | February 19 1997 | The Laser Product Failed To Comply With The Following Provisions Of The Federal Laser Product Performance Standard For Labeling Requirements Product Failed To Have The Correct Warning Logotype Affixed To It 12 Information Requirements Product User Manual Failed To Include A Reproduction Of The Required Warning Logotype And The Statement Cautions Use Of Controls | 35 Units Were Distributed | Nationwide
1997-02-26 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1997-02-26 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1997-02-26 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1997-02-26 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1997-02-26 | 404 Not Found | II |  |  |  |  | N A |  |  | N/A
1997-02-26 | Devices | II |  | S Failed To Have Affixed To It An Identification Label Containing The Date Of Manufacture Stated In The Proper For |  |  | N A |  |  | N/A
1997-02-26 | Devices | III | z-250-7 | Branemark System Sterile Mk Ii 5 X 13 Mm Wide Platform Fixture Catalog Sdca 668 A Self Tapping Endosseous Implant Fixture | Nobel Biocare Usa | Nobel Biocare Ab Gothenburg Sweden | December 20 1996 | The Vials Labeled As Containing A 5 X 13 Mm Wide Platform Fixture Actually Contain A | 22 Fixtures Were Distributed | California New York Florida Pennsylvania Texas New Mexico Illinois
1997-02-26 | Devices | III | z-254/269-7 | Branemark System Sterile Carbon Steel Drills Single Use Drills Countersinks And Pilot Drills Used To Prepare The Bone For Endosseous Implant Fixtures A Catalog Sdib 001 Drill Kit 7 10 Mm B Catalog Sdib 004 Drill Kit 7 15 Mm C Catalog Sdib 133 Drill Kit Long Shaft L 7 15 Mm D Catalog Sdib 091 Twist Drill D 2 | Nobel Biocare Usa | Nobel Biocare Ab Fka Nobelpharma Ab Gothenburg Sweden | May 17 1996 | The Carbon Steel Surface Of The Devices May Have Oxidize | 9 689 Units Were Distributed | Nationwide
1997-02-26 | Devices | III | z-283/284-7 | Autoclavable Retractor Systems Non Sterile A Model 3404 B Model 3407 | Manufacturer | Lone Star Medical Products Inc | August 23 1995 | The Inner Insert Label Was Labeled As Sterile While The Outer Label Was Correctly Labeled As Non Sterile | A 3 Units B 7 Units Were Distributed | Maine New York Michigan Connecticut