## 1997-04-02
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1997-04-02 | Drugs | II |  | Is Unit Dose Packaged In 10 Strips Of 10 Capsules Per Shelf Carto |  |  | N A |  |  | N/A
1997-04-02 | Biologics | II | b-291/294-7 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | Central Kentucky Blood Center Lexington Kentucky | May 24 1996 | Blood Products Were Collected From A Donor Who Initially Tested Hcv Reactive Was Not Deferred Nor Properly Reentered | A 3 Units B 3 Units C 2 Units D 1 Unit Was Distributed | Kentucky Ohio
1997-04-02 | Biologics | II | b-487-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Baltimore Maryland | October 7 1996 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Considered Endemic For Malaria | 3 Units Were Distributed | Maryland Pennsylvania District Of Columbia
1997-04-02 | Biologics | II | b-478-7 | Red Blood Cells | Manufacturer | Tri Counties Blood Bank Inc | January 20 1995 | Blood Products Were Collected From A Donor Who Traveled To An Area Considered Endemic For Malaria | 4 Units Were Distributed | California
1997-04-02 | Biologics | II | b-492-7 | Red Blood Cells | United Blood Services | Blood Systems Inc | July 19 1996 | Blood Product Was Collected From A Donor Who Reported A History Of Cancer | 1 Unit Was Distributed | Arkansas
1997-04-02 | Biologics | II | b-493-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 1 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | 18 Units Were Distributed | North Carolina
1997-04-02 | Biologics | II | b-496/498-7 | A Whole Blood B Red Blood Cells C Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 10 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 1 Unit B 8 Units C 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | II | b-499/500-7 | A Red Blood Cells B Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | January 22 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hcv | 1 Unit Of Each Component Was Distributed 9 | North Carolina
1997-04-02 | Biologics | II | b-501/503-7 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | January 22 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hcv | 1 Unit Of Each Component Was Distributed | North Carolina And California
1997-04-02 | Biologics | II | b-505-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | June 17 1996 | Blood Product Was Collected From A Donor Who Emigrated From An Area Considered Endemic For Malaria | 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | II | b-506-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | January 31 1996 | Blood Product Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly For Anti Hbc On Two Separate Occasions | 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | II | b-508-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 15 1996 | Blood Product Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Was Collected From A Donor Who Previously Tested Repeatedly For Anti Hbc On Two Separate Occasions | 1 Unit Was Distributed | South Carolina
1997-04-02 | Biologics | II | b-509/511-7 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 1 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 2 Units B C 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | II | b-512/513-7 | A Whole Blood B Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | April 18 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 1 Unit B 2 Units Were Distributed | North Carolina
1997-04-02 | Biologics | II | b-514/515-7 | A Red Blood Cells B Platelets Pheresis | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 29 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 1 Unit B 2 Units Were Distributed | North Carolina
1997-04-02 | Biologics | II | b-516/518-7 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | July 9 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 3 Units B C 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | II | b-519/521-7 | A Red Blood Cells B Platelets C Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | July 8 1996 | Blood Products Tested Negative For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hbc On Two Separate Occasions | A 3 Units B 1 Unit C 2 Units Were Distributed | North Carolina
1997-04-02 | Biologics | II | b-522-7 | Platelets Pheresis | Manufacturer | United Blood Services El Paso Texas | July 15 1996 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Texas
1997-04-02 | Biologics | II | b-524/525-7 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Baltimore Maryland | October 7 1996 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Considered Endemic For Malaria | 3 Units Of Each Component Were Distributed | Maryland And District Of Columbia
1997-04-02 | Biologics | II | b-526/527-7 | A Red Blood Cells B Platelets | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma | December 27 1996 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Considered Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Oklahoma
1997-04-02 | Biologics | III | b-494/495-7 | A Red Blood Cells B Recovered Plasma | Manufacturer | Virginia Blood Services Richmond Virginia | June 3 1996 | Blood Products Were Collected From A Donor Whose Donor History Screening Was Inadequately Performed | 1 Unit Of Each Component Was Distributed | Virginia California
1997-04-02 | Biologics | III | b-504-7 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Charlotte North Carolina | May 8 1996 | Blood Product Was Stored At Unacceptable Temperature | 1 Unit Was Distributed | North Carolina
1997-04-02 | Biologics | III | b-523-7 | Red Blood Cells | Blood Systems | United Blood Services Fort Smith Arkansas | October 16 1996 | Blood Product May Have Remained At Room Temperature For An Unacceptable Length Of Time | 1 Unit Was Distributed | Arkasas
1997-04-02 | Devices | II | z-349-7 | 7200 Series Ventilators System With Pulsed Alarm Option And Pulsed Alarm Kits | Manufacturer | Nellcor Puritan Bennett Carlsbad California | August 22 1996 | The Optional Pulsed Alarm Was Not Loud Enough For The User Facilities To Hear | 70 Units Were Distributed | Nationwide France New Zealand Canada
1997-04-02 | Devices | II | z-350/351-7 | Airway Modules With Optional Spirometry Functions Used With The As 3 Anesthesia Monitor A Model G Aov Measure C 02 N 20 02 Anesthetic Agent With Side Stream Spirometry B Model No | Datex Engstrom | Datex Engstrom Division Helsinki Finland | January 10 1997 | A Defective Tantalum Capacitor C 17 On The Pvx Board Pressure And Volume Measurement Partly Burned And Short Circuited Resulting In The Spread Of Fire To The Tubing And Some Plastic Parts Inside The Module | A 26 Units B 760 Units Were Distributed | Nationwide
1997-04-02 | Devices | II | z-353-7 | Fluoroscan I And Iii Promotional Videotape With A 1992 Copyright At The End Of The Tape | Manufacturer | Fluoroscan Imaging Systems Inc | March 14 1997 | The Device Has Indications That Extend The Use Of The Device Beyond Extremity Imaging | Undetermined | Undetermined
1997-04-02 | Devices | II | z-354-7 | Immunocard H | Manufacturer | Meridian Diagnostics Inc | February 25 1997 | The Enzyme Conjugate Reagent Causes False Positive Results With Patient Specimens And The Negative Control | 206 Kits Were Distributed | Nationwide And Italy
1997-04-02 | Devices | II | z-355/374-7 | Hewlett Packard Ultrasound Transducers Transducer Frequencies Are Available For A Variety Of Imaging Applications Including Abdominal And Cardiac Fetal Imaging And Neonatal Head | Manufacturer | Hewlett Packard Company Andover Massachusetts | January 27 1997 | There May Be Slight Image Degradation | 86 Transducers Were Distributed | California Colorado Florida Georgia Kentucky Minnesota Montana New York Ohio International
1997-04-02 | Devices | II | z-375-376-7 | Argyle Turkel Safety Toracentesis System And Procedure Tray A Argyle Turkel Safety Thoracentesis System Catalog No | Sherwood Davis Geck | Boston Scientific Company Miami Florida Single Device | February 14 1997 | The One Way Safety Ball Valve In The Devices May Malfunction Allowing Air Leakage Into The Pleural Space | A 13 789 Systems B 20 447 Trays Were Distributed Between 1 18 96 2 4 97 | Nationwide
1997-04-02 | Devices | II | z-377-7 | Solar 7000 8000 Patient Monitors Used With Solar Ecg 12 Sl Modules To Display Physiological Data From Modules Which Monitor The Patient For Ecg Blood Pressure Etc | Manufacturer | Marquette Electronics Inc | February 14 1997 | The Device Produces Output Which Is Incorrect | 48 Solar Ecg 12 Sl Modules Were Distributed Only The Solar 7000 8000 Patient Monitors Used With Solar Ecg 12 Sl Modules Are Affected And The Software In These Monitors Is To Be Replaced | Maryland Minnesota Texas Italy India
1997-04-02 | Devices | II | z-378-7 | Abbott Testpack Strep A In Vitro Diagnostic Enzyme Immunoassay For The Rapid Detection And Confirmation Of Group A Streptococci From Throat Specimens List 1301 22 40 Tests List 1301 82 80 Tests | Manufacturer | Abbott Laboratories Abbott Park Illinois | January 16 1997 | Devices Can Cause False Positive Results With Patient Specimens And The Negative Controls | 231 40 Test Kits And 123 80 Test Kits Were Distributed | Nationwide Italy Germany
1997-04-02 | Devices | III | z-352-7 | Paragon Screw Vent Implant Sva 16 A Dental Screw Type Implant Packaged In A Clear Vial | Core Vent Corporation | Core Bioengineering Calabasas California And Core Vent Corporation Las Vegas Nevada | January 31 1997 | Some Screw Vent Dental Implants Were Labeled With Incorrect Dimensions And Part Numbers That Did Not Reflect The Actual Measured Values Of The Product | 401 Units Were Distributed | Wisconsin Connecticut Pennsylvania New York Utah Massachusetts Colorado Ohio California Indiana Maryland Florida
1997-04-02 | Devices | III | z-348-7 | Clintec Model 2200 Enteral Feeding Pump Used In The Administration Of All Enteral Feeding Formulas | Manufacturer | Elan Pharma Inc | March 23 1995 | The Pumps May Have Been Manufactured With The Incorrect Instruction Labels | 299 Pumps Were Distributed | Nationwide