## 1997-05-14
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1997-05-14 | Drugs | II | d-171-7 | Regular Strength Enteric Coated Aspirin Tablets 325 Mg Packaged In Bottles Of 100 250 And 500 Under The Following Labels Wal Mart Leader K B Medic Eckerd Fdc | Manufacturer | Granutec Inc | February 11 1997 | Failing Dissolution Results In Stability Testing | Wal Mart Lot 6091964 25 536 Units Of 250 Count Bottles Lot 6103286 24 864 Units Of 250 Count Bottles Lot 6103504 18 000 Units Of 250 Count Bottles Lot 6114234 20 448 Units Of 250 Count Bottles Lot 6014914 33 696 Units Of 100 Count Bottles Lot Number 7016838 33 408 Units Of 100 Count Bottles Lot Number 7038767 35 376 Units Of 250 Count Bottles Lot Number 7038809 24 624 Units Of 100 Count Bottles Lot Number 7038767 35 376 Units Of 250 Count Bottles Leader Lot 6092229 2 880 Units Of 100 Count Bottles 2 K B Lot 6092137 2 880 Units Of 100 Count Bottles Medic Lot 6102919 1 440 Units Of 100 Count Bottles Eckerd Lot 6125554 4 752 Units Of 500 Count Bottles Fdc Lot 7016194 1 440 Units Of 250 Count Bottles These Lots Were Packaged In September And October 1996 Firm Estimates None Remains On The Market | Nationwide
1997-05-14 | Drugs | II | d-174-7 | Miochol E Acetylcholine Chloride Intraocular Solution 20 Mg 2 Ml Vial Rx Used In Eye Surgery | Ciba Vision Ophthalmics Cvo | Omj Pharmaceuticals San German Puerto Rico | March 17 1997 | Product Failed Ph Specifications | 56 448 Units Were Distributed | Nationwide And Germany
1997-05-14 | Drugs | III | d-170-7 | Cleocin Hcl 300 Mg Capsules Clindamycin Hydrochloride Usp Packaged For Unit Dose Administration In A Carton Of 100 Unit Doses | Manufacturer | Pharmacia Upjohn Company Kalamazoo Michigan | March 31 1997 | Product Labeled With The Wrong Expiration Date Indicating One Additional Year Of Shelf Life | 1 449 Cartons Containing 100 Unit Dose Blisters Were Distributed | Nationwide And Antigua
1997-05-14 | Drugs | III | d-172-7 | Solopak Hydralazine Hydrochloride Injection Usp 20 Mg Ml Rx Antihypertensive Svp For Intravenous Or Intramuscular Use | Manufacturer | Solopak Pharmaceuticals Inc | April 16 1997 | Product Contains Particulate Matter | 26 675 Vials Were Distributed Firm Estimated That 1 Percent Remained On Market At Time Of Recall Initiation | Nationwide
1997-05-14 | Drugs | III | d-173-7 | Baclofen Tablets Usp 20 Mg Rx Muscle Relaxant And Antispastic | Vangard Labs | Biocraft Laboratories Inc | April 2 1997 | Product Fails Dissolution Requirement | 71 Cartons Were Distributed | Maine New Jersey Kentucky North Carolina California
1997-05-14 | Biologics | II | b-560-7 | Samplink Access Device Used During The Blood Donation Process To Obtain A Sample Of The Donors Blood From The Bloodline | Migada | Migada Ltd | October 31 1996 | Upon Removal Of The Vacuum Tube From The Samplink Access Device The Needle Was Pulling Out Of The Housing Leaving It Exposed For Potential Needle Sticks | 3 186 240 Units Were Distributed | Nationwide
1997-05-14 | Biologics | II | b-621/623-7 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | January 17 1997 | Blood Products Were Collected From A Donor Whose Spouse Has Hepatitis B | 1 Unit Of Each Component Was Distributed | Ohio California
1997-05-14 | Devices | II | z-436-7 | Double Up Breast Pump Kits Powered | Manufacturer | The Natural Choice Company Inc | February 28 1997 | The Black Corks Used As Milk Contacting Components Are Not Food Grade And May Contain Carbon Black | 75 Kits Were Distributed | Virginia Ohio Alabama Texas Maryland Florida Illinois New Jersey Washington State Missouri Colorado
1997-05-14 | Devices | II | z-481-7 | Deltec Cadd Prizm Vip Model No | Manufacturer | Sims Deltec Inc | April 8 1997 | A Software Error Can Result In An Incorrect Delivery Rate At The Beginning Of The Taper Down Period And An Incorrect Volume Of Fluid Delivered During The Taper Down Period Of The Total Parenteral Nutrition Tpn Application Program | 1 924 Pumps Were Distributed 5 | Nationwide Canada United Kingdom
1997-05-14 | Devices | II | z-482-7 | Autonomic Electronic Stimulator Aes Of The Gastro Intestinal Tract And Mucous Membrane Patent 92009816 | Kobee Company | Aoot Zavod Komponent Moscow Russia | September 11 1996 | The Device Has Been Distributed Without An Approved 510 K Pma Or Ide | 900 Capsule Like Objects Were Distributed | California New Jersey Russia China Japan Brazil
1997-05-14 | Devices | II | z-483-7 | Nmc Brand Naturalyte 9013 Acid Concentrate For Bicarbonate Dialysis A Hemodialysis Solution Rx | National Medical Care | National Medical Care Medical Products Division Delran New Jersey | August 8 1996 | The Device Is Mislabeled As 9016 K Free Meaning They Are Potassium Free When In Fact It Contains 2 | 967 Cases 4 Jugs Per Case Were Distributed | Nationwide
1997-05-14 | Devices | II | z-484/493-7 | Sterile And Non Sterile Cotton And Rayon Tipped Applicators Sterile Applicators A 3 Cotton Tip Stock Nos | Manufacturer | Banta Healthcare Products Inc | March 19 1997 | The Cotton Or Rayon Tips Of The Applicators May Become Detached During Use | 252 939 500 Applicators Were Distributed Firm Estimated That 20 Percent Of Product Remained On Market At Time Of Recall Initiation | Nationwide And Canada
1997-05-14 | Devices | II | z- 494/501-7 | Miami J Collar Cervical Collar Product No | Manufacturer | The Jerome Group Jerome Medical Moorestown New Jersey | December 21 1997 | The Adhesive Used To Hold The Velcro Strips Onto The Front Of The Cervical Collar Fails To Adequately Adhere The Velcro To The Collar | 6 046 Collars Were Distributed | Nationwide And International
1997-05-14 | Devices | II | z-504/515-7 | Adult Breathing Circuits With 40 Corrugated Hoses Part R 5041 A Product No | Manufacturer | Vital Signs Inc | September 30 1996 | The Devices Have Pinholes In The 40 Corrugated Hose Which Cause It To Leak | 7 800 Hoses Were Distributed Firm Estimates None Remains On The Market | Nationwide
1997-05-14 | Devices | II | z-516-7 | Passport Monitor With Co 2 Capability Used To Monitor C 02 Respiration Temperature And Non Invasive Blood Pressure In A Patient | Manufacturer | Datascope Corporation Paramus New Jersey | August 2 1996 | The Co 2 Circuit Board Assembly Used In The Passport Monitor Has Been Found To Experience Intermittent Failure At Start Up | 1 064 Units Were Distributed | Nationwide And International
1997-05-14 | Devices | II | z-554/560-7 | Hemashield Microvel Double Velour Vascular Grafts Used In The Replacement Or Repair Of Arteries | Manufacturer | Meadox Medicals Inc | September 3 1996 | Devices May Exhibit High Porosity Due To Collagen Breakdown Which Could Result In Higher Than Expected Blood Loss | 5 900 Units Were Distributed | Nationwide And International
1997-05-14 | Devices | II | z-561-7 | Pall Heat And Moisture Exchanger Hme Filter With Co 2 Monitoring Port Supplied With Flex Tubing And Protective Cap Indicated For Use With Mechanically Ventilated Patients To Provide Heat And Humidity While Retaining Bacterial Viral Contaminants With Greater Than 99 | Pall Biomedical Products Company | Pall Biomedical Inc | April 24 1996 | The Flex Tube Had Disconnected From The Endotracheal Tube In Several Instances Some During Anesthesia | 44 Cases 50 Units Per Case Were Distributed | Pennsylvania Indiana Oklahoma Florida New York
1997-05-14 | Devices | II | z-562-7 | Sterile Burn Compress 24 X 36 Poly Backed | Manufacturer | Mcneil Healthcare Inc | November 4 1996 | The Package Seals Were Found To Display Voids Which Could Compromise The Sterility Of The Device | 24 Cases 16 Pouches Per Case Were Distributed | Canada
1997-05-14 | Devices | III | z-502-7 | Empi Dynex Iv Dual Channel Transcutaneous Electric Nerve Stimulator Tens Device Indicated For The Symptomatic Relief And Management Of Chronic Intractable Pain And As An Adjunctive Treatment In The Management Of Post Surgical And Post Traumatic Acute Pain Problems | Empi | Empi Inc | April 4 1997 | The Device To Be Adulterated In That The Pulse Rate And Pulse Duration Outputs Do Not Match The Mid Range Increments Shown On The Device Labeling | 877 Affected Units Were Distributed 13 | Nationwide Australia Canada Spain
1997-05-14 | Devices | III | z-503-7 | Exeter Standard Size Hip Stem Catalog 0572 1 001 | Howmedica Usa | Benoist Girard Et Cie Herouville Saint Clair France | September 24 1996 | The Packages Were Incorrectly Labeled On One Of The Two Outer Labels As Jumbo Instead Of Standard | 5 Units Were Distributed Firm Estimated That 3 Units Remained On Market At Time Of Recall Initiation | Nationwide
1997-05-14 | Devices | III | z-531-7 | Hall Brand Long Surgical Burs 5092 Series Used In Orthopedic Surgery | Manufacturer | Linvatec A Bristol Myers Squibb Company Largo Florida | March 13 1997 | A Lot Was Labeled As Long Bur When In Fact They Were Extra Long Bur | 24 5 Pack Boxes Were Distributed | Pennsylvania Iowa Missouri New York California South Carolina Minnesota Indiana Tennessee
1997-05-14 | Devices | III | z-532/538-7 | Bartels Flextrans Viral And Chlamydial Transport Media In Vitro Diagnostic A Catalog No | Bartels | Viratest San Antonio Texas | November 27 1996 | The Media Evaporated When Stored At Room Temperature Which May Lead To Reduced Recovery Of Viruses Or Chlamydiae | 109 209 Units Were Distributed | Nationwide And International
1997-05-14 | Devices | III | z-539-7 | Clostridium Difficile Enzyme Immunoassay In Vitro Diagnostic | Manufacturer | Bartels Inc | January 8 1996 | The Strips May Give High Optical Density Readings For Negative Controls | 51 Kits Of Lot 1380 25 Kits Of Lot 1382 29 Kits Of Lot 1383 4 Kits Of Lot 1384 And All Strips Of Lot 1264 | Nationwide
1997-05-14 | Devices | III | z-540-7 | Respiratory Syncytial Viral Enzyme Immunoassay In Vitro Diagnostic | Manufacturer | Bartels Inc | February 2 1996 | The Kit Contained Strips That May Sporadically And At Random Give High Optical Density Readings | 21 Kits Of Lot 1067 And 39 Kits Of Lot 1070 Were Distributed | Nationwide
1997-05-14 | Devices | III | z-541-7 | Cytomegalovirus Igg Enzyme Immunoassay In Vitro Diagnostic | Bartels | Gull Laboratories Salt Lake City Utah | June 10 1996 | The Kit Contained Cmv Cytomegalovirus Igm Specimen Diluent Was Mislabeled As Containing Ebv Igm Specimen Diluent | 25 Kits Were Distributed | Nationwide And International
1997-05-14 | Devices | III | z-542-7 | Bartels Prima Systemtm Rubella Igg Enzyme Immunoassay In Vitro Diagnostic | Bartels | Gull Laboratories Salt Lake City Utah | October 15 1996 | The Kit Positive Control Serum Was Mislabeled As Reference Serum | 38 Kits Were Distributed | Nationwide
1997-05-14 | Devices | III | z-543-7 | Bartels Prima Systemtm Hsv 2 Igg Eia Kits In Vitro Diagnostic | Bartels | Gull Laboratories Salt Lake City Utah | December 2 1996 | The Hsv 2 Igg Eia Kits Contained Specimen Diluent That Was Labeled As Hsv 1 Igg Specimen Diluent | 30 Kits Were Distributed | Nationwide And International
1997-05-14 | Devices | III | z-544-7 | Human Lung Fibroblast Cells Mrc 5 In Vitro Diagnostic | Manufacturer | Bartels Inc | December 3 1996 | The Cell Culture Data Sheets Supplied To The Customers Did Not Include The Correct Lot Number For Mrc 5 Shell Vials | 203 Vials Were Distributed | Nationwide
1997-05-14 | Devices | III | z-545-7 | Human Prima Systemtm Cytomegalovirus Igm Eia Kit In Vitro Diagnostic | Bartels | Gull Laboratories Salt Lake City Utah | October 2 1996 | The Kits May Exhibit A Decrease In The Optical Density Value Of The Positive Control Which May Invalidate Test Runs | 62 Kits Were Distributed | Nationwide And International
1997-05-14 | Devices | III | z-546/547-7 | Bartels Viral Respiratory Kit And Anti Rsv Antibody In Vitro Diagnostic Products A Viral Respiratory Kit Catalog B 1029 86 B Anti Rsv Antibody Catalog 1029 87 G | Manufacturer | Bartels Inc | March 14 1995 | The Rsv Ifa Stains May Have A Greater Level Of Extracellular Background Fluorescent Staining Which Can Result In Increased Difficulty In Interpretation | 263 Units Were Distributed | Nationwide And International
1997-05-14 | Devices | III | z-548-7 | Human Foreskin Hf Shell Vials In Vitro Diagnostic | Manufacturer | Bartels Inc | February 24 1997 | The Shell Vials Were Contaminated With Bacteria | 96 Units Were Distributed | Nationwide
1997-05-14 | Devices | III | z-549-7 | Human Foreskin Hf Culture Tubes In Vitro Diagnostic | Manufacturer | Bartels Inc | February 24 1997 | The Culture Tubes Were Contaminated With Fungus Or Bacteria | 415 Units Were Distributed | Nationwide