## 1998-1-21
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-1-21 | Drugs | I | d-062-8 | Glycyrrhizic Acid Extract Injection 8 Mg 30 Ml Vials Rx | Manufacturer | Apothe Cure Inc | November 25 1996 | Microbial Contamination Mold In Product Aspergillus Versicolor | 257 Vials Were Distributed | Nationwide And Canada
1998-1-21 | Drugs | III | d-059-8 | Polymyxin B Sulfate Usp For Prescription Compounding 100 Million Units Per Bottle In Bottles Of 10 | Paddock Laboratories | Repacked For Coulter Foods | December 11 1997 | Mislabeling Product Potency Labeled As 9282 Polymyxin B Units Mg But Actually Contains 7891 Units Mg | 25 Bottles Were Distributed | Alabama California Florida Maryland Michigan Minnesota New York Texas
1998-1-21 | Biologics | II | b-442-8 | Red Blood Cells | Manufacturer | American Red Cross Portland Oregon | October 30 1997 | Blood Product Was Collected From A Donor Who Traveled To A Malarial Endemic Area | 1 Unit Was Distributed | Washington State
1998-1-21 | Biologics | II | b-447-8 | Red Blood Cells | Manufacturer | Vector Healthsystems Inc | April 10 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Rhode Island
1998-1-21 | Biologics | III | b-443/444-8 | A Red Blood Cells B Platelets | Manufacturer | Virginia Blood Services Richmond Virginia | October 27 1997 | Blood Products Were Collected From A Donor Whose Hemoglobin Hematocrit Was Not Determined | 1 Unit Of Each Component Was Distributed | Virginia
1998-1-21 | Devices | II | z-238-8 | Tomoscan Av 1 Ct Scanner Used In Ct Radiography | Manufacturer Fda Approved The Firm's Corrective Action Plan On January 9 | Phillips Medical Systems Shelton Connecticut | January 9 1998 | The Units Are Defective Under 21 Cfr 1003 | 21 Units Were Distributed | Nationwide
1998-1-21 | Devices | II | z-246-8 | Model No | Manufacturer Fda Approved The Firm's Corrective Action Plan January 9 | J Morita Corporation | January 9 1998 | The Units Are Defective Under 21 Cfr 1010 | 22 Units Were Distributed | Nationwide
1998-1-21 | Devices | II | z-276/277-8 | General Radiographic Film A Kodak Insight Thoracic Imaging Film 35 X 43 Cm Cat | Eastman Kodak Company | Eastman Kodak Company Windsor Colorado | November 26 1997 | The Product Was Finished Incorrectly Resulting In A Orientation Error During Exposure | 5 923 Packs Were Distributed | Nationwide
1998-1-21 | Devices | III | z-280-8 | Cdc Anaerobe Laked Sheep Blood Agar With Kanamycin And Vancomycin For In Vitro Diagnostic Use | Becton Dickinson Microbiology Systems | Becton Dickinson Microbiology Systems Cockeysville Maryland | August 19 1996 | Product Is Contaminated With Cryptococcus Albicus | 106 440 Units Were Distributed | Nationwide
1998-1-21 | Devices | III | z-281-8 | Cdc Anaerobe 5 Sheep Blood Agar With Phenylethyl Alcohol For In Vitro Diagnostic Use | Becton Dickinson Microbiology Systems | Becton Dickinson Microbiology Systems Cockeysville Maryland | September 23 1997 | Product Is Contaminated With Enterococcus Faecium | 8 000 Units Were Distributed Firm Estimated That 2 276 Units Remained On Market At Time Of Recall Initiation However The Product Is Now Expired | Nationwide And Canada
1998-1-21 | Devices | III | z-282-8 | Trypticase Soy Agar With 5 Sheep Blood Tsa Ii For In Vitro Diagnostic Use | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland | September 23 1997 | Product Is Contaminated | 11 590 Units Were Distributed Firm Estimated That 48 768 Units Remained On Market At Time Of Recall Initiation However The Product Is Now Expired | Nationwide