## 1998-4-08
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-4-08 | Biologics | II | b-514-8 | Red Blood Cells | Manufacturer | National Naval Medical Center Bethesda Maryland | February 5 1997 | Blood Products Were Not Tested For Hiv 1 Ag | 9 Units Were Distributed | New Jersey
1998-4-08 | Biologics | II | b-618/619-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | Central Texas Regional Blood And Tissue Center Austin Texas | September 23 1997 | Blood Products Were Collected From A Donor With A History Of Exposure To Hepatitis | 1 Unit Of Each Component Was Distributed | Texas And Florida
1998-4-08 | Biologics | II | b-645/647-8 | A Red Blood Cells B Platelets C Platelets Pheresis | Manufacturer | American Red Cross Great Lakes Region Fort Wayne Indiana | August 19 1997 | Blood Products Were Mislabeled As Cmv Antibody Negative Were Distributed | 9 Units B 4 Units C 3 Units Were Distributed | Indiana And Ohio
1998-4-08 | Biologics | II | b-657/661-8 | A Red Blood Cells B Cryoprecipitated Ahf C Plasma D Platelets For Further Manufacture E Recovered Plasma | Manufacturer | American Red Cross Blood Services Baltimore Maryland | October 21 1997 | Blood Product Were Collected From A Donor Who Reported Previously Testing Positive For Hepatitis | A 2 Units B 1 Unit C 1 Unit D 1 Unit E 1 Unit Was Distributed | Maryland District Of Columbia Pennsylvania Switzerland
1998-4-08 | Biologics | II | b-693-8 | Source Leukocytes For Manufacturing Use Only | Manufacturer | American Red Cross Blood Services Syracuse New York | May 30 1997 | Blood Product Was Collected From A Donor Taking The Drug Methotrexate | 1 Unit Was Distributed | New Jersey
1998-4-08 | Biologics | II | b-830/834-8 | A Red Blood Cells B Fresh Frozen Plasma C Source Leukocytes D Recovered Plasma E Platelets For Further Manufacture | Manufacturer | Central Indiana Regional Blood Center Inc | September 8 1997 | Blood Products Were Collected From Donors Taking The Drug Proscar | A 2 Units B E 1 Unit Of Each Component Was Distributed | Indiana New Jersey Switzerland
1998-4-08 | Biologics | II | b- -8 | Recovered Plasma | Manufacturer | American Red Cross Southeastern Regional Detroit Michigan | January 14 1998 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | California
1998-4-08 | Biologics | II | b-854-8 | Red Blood Cells | Manufacturer | American Red Cross Southeastern Region Detroit Michigan | October 10 1997 | Blood Product Was Collected From A Donor Who Traveled To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Michigan
1998-4-08 | Biologics | II | b-856/857-8 | A Red Blood Cells B Platelets | Manufacturer | Michigan Community Blood Centers Midland Michigan | March 7 1997 | Blood Products Were Collected From A Donor With A History Of Hashimoto's Disease | 1 Unit Of Each Component Was Distributed | Michigan
1998-4-08 | Biologics | II | b-861/862-8 | A Recovered Plasma B Platelets For Further Manufacture | Manufacturer | American Red Cross Lansing Michigan | September 8 1997 | Blood Products Were Collected From A Donor Whose Spouse Tested Positive For Hepatitis C | 1 Unit Was Distributed | California
1998-4-08 | Biologics | II | b-865-8 | Red Blood Cells | Manufacturer | Ashford Blood Bank Inc | September 2 1997 | Blood Product Tested Initially Reactive For The Antibody To The Hepatitis B Core Antigen Hbc With Neither Duplicate Nor Confirmatory Test Performed | 1 Unit Was Distributed | Puerto Rico
1998-4-08 | Biologics | III | b-515-8 | Fresh Frozen Plasma | Manufacturer | National Naval Medical Center Bethesda Maryland | February 5 1997 | Blood Products Were Not Tested For Hiv 1 Ag | 1 Unit Was Distributed | New Jersey
1998-4-08 | Biologics | III | b-560-8 | Red Blood Cells | Manufacturer | United Blood Services Mcallen Texas | September 17 1997 | Blood Product May Have Remained At Room Temperature For An Unacceptable Length Of Time | 1 Unit Was Distributed | Texas
1998-4-08 | Biologics | III | b-855-8 | Red Blood Cells | Manufacturer | American Red Cross Fort Wayne Region Fort Wayne Indiana | December 19 1997 | Blood Product Was Exposed To Unacceptable Temperatures | 1 Unit Was Distributed | Ohio
1998-4-08 | Devices | II | z-474/475-8 | A Vapr Side Effect Electrode Sterile Disposable Catalog No | Mitek Products | Gyrus Medical Ltd | March 23 1998 | Electrode May Crack And Fragment Resulting In Medical Intervention | A 5677 Units B 729 Units Were Distributed | Nationwide Austria France Italy Spain Japan United Kingdom Scotland
1998-4-08 | Devices | II | z-480/481-8 | Suture Retrievers Packaged Individually In Sterile Tyvek Pouches A Component Of The Bts Mini Laparotomy Mmk Set Model Um 250 And The Bts Urethropexy Suture Placement Set Model Um 300 A Sterile Disposable Device For Single Patient Use Only Used To Capture And Retrieve The Suture Tails During A Urethropexy Or An Mmk Surgical Procedure Included As A Component Of Urethropexy Sets And Of Mini Laparotomy Mmk Kits And Is Not Sold Separately | Medworks Corporation | Louisville Laboratories Inc | March 6 1998 | Lack Of Assurance Of Sterility Of The Devices Due To Possible Puncture Of The Packaging By Sharp Tip Of Suture Retriever | 56 Surgical Sets Were Distributed | Pennsylvania New Jersey Virginia Illinois Nevada Oklahoma Washington State
1998-4-08 | Devices | III | z-423/473-8 | Stone Extractor Baskets Used For Endoscopic Removal Of Stones And Foreign Bodies | Manufacturer | Wilson Cook Medical Inc | November 5 1997 | The Sheath May Separate From The Handle Rendering The Device Inoperable | 1 363 Units Were Distributed | Nationwide
1998-4-08 | Devices | III | z-482-8 | Roche Calibrator Serum A Class Ii Device Is An In Vitro Diagnostic Calibrator Intended For Use On Cobas Chemistry Instruments With Roche Clinical Chemistry Reagents | Roche Diagnostic Systems | Chiron Diagnostics Irvine California | October 19 1996 | The Device Does Not Meet Its Labeling Claim For Six Days Of Stability After Reconstitution | 1 987 Kits Lot 0005 And 493 Kits Lot 005 A Were Distributed Firm Estimates None Remains On The Market | Nationwide Israel Australia Switzerland
1998-4-08 | Devices | III | z-483/485-8 | Roche Control Serum And Calibrator A Control Serum N A Lyophilized Preparation Of Human Serum Used To Monitor The Accuracy And Precision Of Clinical Chemistry Assay Procedures B Control Serum P A Lyophilized Preparation Of Human Serum Used To Monitor The Accuracy And Precision Of Clinical Chemistry Assay Procedures C Calibrator Human A Human Serum Based Calibrator With Lot Specific Established Values For The Major Constituents Of Diagnostic Interest Commonly Measured In Clinical Laboratories | Roche Diagnostic Systems | Boehringer Mannheim Mannheim Germany | March 31 1997 | These Control Sera And Calibrators Were Calibrated Against An Incorrect Standard And Yielded Results That Were 10 15 Higher Than Expected | Amount Shipped Control Serum N Lot N 3041 36 Kits Lot N 3041 A 2 25 Kits Lot N 3041 B 62 Kits Control Serum P Lot N 3141 25 Kits Lot N 3141 A 67 Kits Roche Calibrator Lot T 1237 100 Kits Lot T 0941 24 Kits | Nationwide And International