## 1998-5-26
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-5-26 | Drugs | II | d-134-8 | Post Type Cylinder Valves For Medical Gas Cylinders | Rotarex | Ceodeux Inc | March 25 1998 | High Velocity Valve Stem Ejection | Approximately 125 000 Units Were Manufactured And Of That Approximately 43 750 Remained On Market At Time Of Recall Initiation | Massachusetts Georgia California Pennsylvania Maryland North Carolina Kansas Canada
1998-5-26 | Drugs | II | d-144-8 | Sterile Vancomycin Hydrochloride Usp Lyophilized 10 G 100 Ml Vial Pharmacy Bulk Package Not For Direct Infusion Rx Lyophilized Powder For Preparing Intravenous Infusions For The Treatment Of Serious Or Severe Infections Caused By Susceptible Strains Of Methicillin Resistant Staphylococci | Fujisawa Usa | Fujisawa Usa Inc | April 30 1998 | Incorrect Volumes Vials Are Labeled With Graduation Marks That Do Not Indicate An Accurate Volume | 3 455 Vials Were Distributed Firm Estimated That 25 Percent Remained On Market At Time Of Recall Initiation | Nationwide
1998-5-26 | Drugs | II | d-146-8 | Propanolol Hcl Capsules Extended Release 80 Mg In Units Of 30 Indicated In The Management Of Hypertension | Allscripts | Inwood Laboratories Inc | April 6 1998 | Dissolution Failure | 103 Bottles Were Distributed Firm Estimated That Little If Any Product Remained On Market At Time Of Recall Initiation | New Hampshire Iowa Florida New Mexico Illinois
1998-5-26 | Drugs | III | d-145-8 | Ranitidine Tablets Usp Ranitidine Hydrochloride 150 Mg In 500 Tablet Bottles Rx For The Short Term Treatment Of Active Duodenal Ulcer | Novopharm Usa | Novopharm Ltd Scarborough Ontario Canada | May 5 1998 | Incorrect Bottle Desiccant | 1 638 Bottles Were Distributed Firm Estimated That 80 Percent Of The Product Remained On Market At Time Of Recall Initiation | Maine Florida Louisiana Pennsylvania Wisconsin Missouri Alabama South Dakota Georgia Ohio Tennessee Connecticut Minnesota
1998-5-26 | Biologics | II | b-549-8 | Red Blood Cells | Blood Systems | Blood Systems Inc | July 31 1997 | Blood Product Was Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Was Distributed | Illinois
1998-5-26 | Biologics | II | b-795/797-8 | A Red Blood Cells B Platelets C Recovered Plasma Frozen | Manufacturer | American Red Cross Blood Services Savannah Georgia | October 10 1997 | Blood Products Were Collected From A Donor With A History Of Cancer | 1 Unit Of Each Component Was Distributed | Illinois South Carolina California
1998-5-26 | Biologics | II | b-846-8 | Source Plasma | Manufacturer | Concho Biologics Inc | August 25 1997 | Blood Product Was Collected From A Donor Who Previously Tested Reactive For Syphilis Within One Year Of Donation | 1 Unit Was Distributed | North Carolina
1998-5-26 | Biologics | II | b-991-8 code unit gw29790 manufacturer metropolitan washington blood banks, bethesda, maryland | Red Blood Cells | Manufacturer | Metropolitan Washington Blood Banks Bethesda Maryland | May 9 1997 | Blood Product Tested Repeatedly Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc | 1 Unit Was Distributed | California
1998-5-26 | Biologics | II | b-992-8 | Red Blood Cells | Manufacturer | Metropolitan Washington Blood Banks Bethesda Maryland | March 1 1997 | Blood Product Tested Non Reactive For The Antibody To The Hepatitis B Core Antigen Anti Hbc But Was Collected From A Donor Who Was Previously Repeatedly Reactive For Anti Hbc On Two Separate Donations | 1 Unit Was Distributed | California
1998-5-26 | Biologics | II | b-1009-8 | Red Blood Cells | Manufacturer | Camp Memorial Blood Center Fort Knox Kentucky | August 7 1997 | Blood Product Was Collected From A Donor Who Received Either A Tattoo Body Piercing Acupuncture Or Accidental Needle Stick Within Twelve Months Of Donation | 1 Unit Was Distributed | Georgia And Missouri
1998-5-26 | Biologics | II | b-1078/1080-9 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Great Lakes Region Lansing Michigan | February 24 1998 | Blood Products Were Collected From A Donor Whose Spouse Had Active Hepatitis C | A 2 Units B 1 Unit C 2 Units Were Distributed | Michigan And California
1998-5-26 | Biologics | II | b-1081/1083-8 | A Red Blood Cells B Platelets C Recovered Plasma Frozen | Manufacturer | Community Blood Center Dayton Ohio | August 29 1997 | Blood Products Were Collected From A Donor With A History Of Jaundice | 1 Unit Of Each Component Was Distributed | Indiana Ohio California
1998-5-26 | Biologics | II | b-1085-8 | Red Blood Cells | Manufacturer | Metropolitan Washington Blood Banks Inc | August 12 1997 | Blood Product Tested Positive For Syphilis | 1 Unit Was Distributed | Maryland
1998-5-26 | Biologics | II | b-1086-8 | Platelets Pheresis | Metropolitan Washington Blood Banks | Virginia Blood Services Richmond Virginia | December 8 1995 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | North Carolina
1998-5-26 | Biologics | II | b-1095/1096-8 | A Platelets Pooled B Fresh Frozen Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | March 12 1998 | Blood Products Corresponded To A Unit Of Clotted Red Blood Cells | 1 Unit Of Each Component Was Distributed | Texas
1998-5-26 | Biologics | II | b-1097/1098-8 | A Platelets B Fresh Frozen Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | March 14 1998 | Blood Products Corresponded To A Unit Of Clotted Red Blood Cells | 1 Unit Of Each Component Was Distributed | Texas
1998-5-26 | Biologics | II | b-1099/1100-8 | A Platelets Pooled B Fresh Frozen Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | March 12 1998 | Blood Products Corresponded To A Unit Of Clotted Red Blood Cells | 1 Unit Of Each Component Was Distributed | Texas
1998-5-26 | Biologics | II | b-1101-8 | Platelets Pooled | Manufacturer | Carter Blood Center Fort Worth Texas | March 11 1998 | Blood Product Corresponded To A Unit Of Clotted Red Blood Cells | 1 Unit Was Distributed | Texas
1998-5-26 | Biologics | II | b-1103-8 | Platelet Pheresis | Manufacturer | American Red Cross Portland Oregon | April 3 1998 | Blood Product Was Collected From A Donor Who Received A Tattoo Within 12 Months Of Donation | 1 Unit Was Distributed | Oregon
1998-5-26 | Biologics | II | b-1105-8 | Red Blood Cells | Manufacturer | American Red Cross Portland Oregon | March 18 1997 | Blood Products Were Collected From A Donor With A History Of Cancer | 2 Units Were Distributed | Oregon And California
1998-5-26 | Biologics | II | b-1106/1107-8 | A Red Blood Cells B Recovered Plasma | Blood Systems | Blood Systems Inc | October 6 1997 | Blood Products Were Collected From A Donor With A History Of Hepatitis | 1 Unit Of Each Component Was Distributed | Illinois And Switzerland
1998-5-26 | Biologics | II | b-1108-8 | Source Plasma | Centeon Bio Services | Centeon Bio Services Inc | November 11 1996 | Blood Products Were Collected From An Unsuitable Donor | 4 Units Were Distributed | Germany
1998-5-26 | Biologics | II | b-1109-8 | Source Plasma | Centeon Bio Services | Centeon Bio Services Inc | November 20 1996 | Blood Products Were Collected From Unsuitable Donors | 4 Units Were Distributed | Germany
1998-5-26 | Biologics | II | b-1111-8 | Recovered Plasma | Manufacturer | Metropolitan Washington Blood Banks Inc | December 27 1994 | Blood Product Tested Repeatedly Reactive For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv | 1 Unit Was Distributed | California
1998-5-26 | Biologics | II | b-1112-8 | Source Plasma | Sera Tec Biologicals Limited Partnership | Sera Tec Biologicals Limited Partnership Del Rio Texas | December 3 1997 | Blood Product Had An Elevated Alt | 1 Unit Was Distributed | Indiana
1998-5-26 | Biologics | II | b-1113-8 | Platelets | Manufacturer | American Red Cross Blood Services Baltimore Maryland | February 20 1998 | Blood Product Tested Positive For Anti Rho D Antibodies | 1 Unit Was Distributed | Maryland
1998-5-26 | Biologics | II | b-1114/1115-8 | A Red Blood Cells B Platelets | Manufacturer | Virginia Blood Services Richmond Virginia | April 10 1998 | Blood Products Collected From Donors Who Traveled To Areas Considered Endemic For Malaria | A 8 Units B 6 Units Were Distributed | Maryland And Virginia
1998-5-26 | Biologics | II | b-1116-8 | Platelets Pheresis | Manufacturer | Inland Northwest Blood Center Spokane Washington | December 19 1997 | Blood Product Was Labeled With An Extended Expiration Date | 1 Unit Was Distributed | Washington State
1998-5-26 | Biologics | II | b-1117/1118-8 | A Red Blood Cells B Platelets | Manufacturer | Metropolitan Washington Blood Bank Bethesda Maryland | April 27 1998 | Blood Products Were Collected From A Donor Who Reported Travel To An Area Designated As Endemic For Malaria | 1 Unit Of Each Component Was Distributed | Virginia
1998-5-26 | Biologics | II | b-1119-8 | Red Blood Cells | Manufacturer | American Red Cross Portland Oregon | March 10 1998 | Blood Product Was Collected From A Donor Taking The Drug Proscar | 1 Unit Was Distributed | California
1998-5-26 | Biologics | II | b-1120/1122-8 | A Red Blood Cells B Platelets C Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | February 17 1997 | Blood Products Were Collected From A Donor Taking The Drug Lupron | 1 Unit Of Each Component Was Distributed | Ohio And California
1998-5-26 | Biologics | II | b-1123-8 | Fresh Frozen Plasma | Manufacturer | American Red Cross Blood Services St Paul Minnesota | September 30 1997 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | Minnesota
1998-5-26 | Biologics | II | b-1126-8 | Recovered Plasma | Manufacturer | American Red Cross Blood Services St | November 6 1997 | Blood Product Was Collected From A Donor With A History Of Cancer | 1 Unit Was Distributed | California
1998-5-26 | Biologics | II | b-1127-8 | Recovered Plasma | Manufacturer | American Red Cross Blood Services North Central Blood Services St | February 18 1998 | Blood Products Were Collected From A Donor With A History Of Cancer | 2 Units Were Distributed | California
1998-5-26 | Biologics | II | b-1138-8 | Red Blood Cells | Manufacturer | American Red Cross Blood Services Baltimore Maryland | November 11 1997 | Blood Product Corresponded To A Unit Of Plasma That Was Hemolyzed | 1 Unit Was Distributed | District Of Columbia
1998-5-26 | Biologics | II | b-1140/1141-8 | A Red Blood Cells B Recovered Plasma | Blood Systems | Blood Systems Inc | December 4 1997 | Blood Products Were Collected From A Donor Who May Have Received An Injection Of Hepatitis B Immune Globulin Within 12 Months Of Donation | 1 Unit Of Each Component Was Distributed | Illinois And Switzerland
1998-5-26 | Biologics | II | b-1142/1143-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Louisville Kentucky | March 18 1998 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Hiv 1 But Were Collected From Donors Who Previously Tested Repeatedly Reactive For The Antibody And Was Subject To Additional Testing | 2 Units Of Each Component Were Distributed | Indiana Ohio California
1998-5-26 | Biologics | II | b-1144-8 | Platelets | Manufacturer | American Red Cross Blood Services Columbia South Carolina | September 4 1996 | Blood Product Was Prepared From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | South Carolina
1998-5-26 | Biologics | II | b-1146/1147-8 | A Red Blood Cells B Recovered Plasma | Manufacturer | American Red Cross Blood Services Cleveland Ohio | September 23 1997 | Blood Products Were Incorrectly Tested For The Hepatitis B Surface Antigen Hbsag | 1 Unit Was Distributed | Ohio And California
1998-5-26 | Biologics | II | b-1148-8 | Recovered Plasma | Manufacturer | Metropolitan Washington Blood Bank Bethesda Maryland | April 14 1998 | Blood Product Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Types 1 And 2 Anti Hiv 1 2 | 1 Unit Was Distributed | Switzerland
1998-5-26 | Biologics | II | b-1150-8 | Source Plasma | Community Bio Resources | Community Bio Resources Inc | September 18 1997 | Blood Products Which Were Not Tested For Syphilis | 3 Units Were Distributed | Michigan
1998-5-26 | Biologics | III | b-1023-8 | Red Blood Cells | Manufacturer | Camp Memorial Blood Center Fort Knox Kentucky | September 12 1997 | Blood Product Was Collected From A Donor Who Exceeded The Donation Acceptance Criteria For Body Temperature | 1 Unit Was Distributed | Texas And California
1998-5-26 | Biologics | III | b-1084-8 | Autologous Red Blood Cells | Manufacturer | Michigan Community Blood Centers Grand Rapids Michigan | August 12 1997 | Blood Product Tested Positive For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv Was Distributed Without A Biohazard Label Or Physician Approval | 1 Unit Was Distributed | Michigan
1998-5-26 | Biologics | III | b-1087/1088-8 | A Platelets B Platelets Pheresis | Blood Systems | United Blood Services Scottsdale Arizona | July 24 1997 | Blood Products Were Stored At An Unacceptable Temperature | A 8 Units B 6 Units Were Distributed | Arizona
1998-5-26 | Biologics | III | b-1102-8 | Fresh Frozen Plasma | Manufacturer | Carter Blood Center Fort Worth Texas | March 31 1998 | Blood Product Was Collected From A Unit Of Whole Blood With An Extended Collection Time | 1 Unit Was Distributed | Texas
1998-5-26 | Devices | II | z-570-8 | Isolette Model C 2 Hs C 2000 Incubator Used For Critically Ill Newborn Premature Babies | Manufacturer | Hill Rom Air Shields Hatboro Pennsylvania | May 18 1998 | The Controller And Humidity Module Are Subject To Temperature Fluctuations Humidity Departures From Set Points And Air Flow Probe Failures | Approximately 2000 Units Were Distributed | Nationwide And International
1998-5-26 | Devices | II | z-578/579-8 | Corflo Cubby Lpdg Low Profile Gastrostomy Device An Rx Sterile Single Patient Use Device Consisting Of An Inner Balloon That Rests Against The Patient's Stomach Wall And An Outer Portion That Rests On The Patient's Skin Which Provides Access To The Patient's Stomach For Enteral Feedings And Medications A Catalog No | Corpak Medsystems | Manufacturing Research Inc | May 1 1998 | There May Be Separation Or Partial Separation Of The Tube From The Dome Of The Device | 104 Units Of 31 1820 And 25 Units Of 31 2020 Were Distributed Between November 1997 Through April 1998 Firm Estimated That 20 Remained On The Market At Time Of Recall Initiation | Pennsylvania Florida California Connecticut Missouri Texas Maryland South Carolina New York Oklahoma Michigan District Of Columbia North Carolina Tennessee And Kentucky
1998-5-26 | Devices | III | z-573/574-8 | Kendall Sher I Bronch Left Sided Endobronchial Tube A Product Code 5 16039 39 Fr B Product Code 5 16037 37 Fr Indicated For Use In Thoracic Surgery Bronchospirometry For The Administration Of Endobronchial Anesthesia And Other Uses Commonly Associated With Endobronchial Tubes | Kendall Healthcare Products Company | Kendall Sheridan Argyle New York | March 23 1998 | Unit Pouch Is Mislabeled With Incorrect French Size | A 306 Units B 312 Units Were Distributed | Nationwide
1998-5-26 | Devices | III | z-575/577-8 | Suture Retrievers A Bts Mini Laparotomy Mmk Set Model No | Medworks Corporation | Louisville Laboratories Inc | April 16 1998 | That The Plastic Handle Of The Suture Retriever May Crack At The Point Where The Stainless Steel Needle Attaches To The Plastic Handle | A 52 Devices B 43 Devices C 97 Devices Were Distributed | California Colorado Florida Georgia Illinois Kentucky Massachusetts Maryland Missouri New Jersey Nevada New York Oklahoma Pennsylvania Texas Virginia Washington State