## 1998-6-17
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1998-6-17 | Biologics | II | b-950/951-8 | A Platelets B Recovered Plasma | Manufacturer | National Naval Medical Center Bethesda Maryland | July 7 1997 | Blood Products Tested Negative For The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv By A First Generation Test And Repeatedly Reactive By Retrospective Second Generation Testing | A 1 Unit B 4 Units Were Distributed | Maryland District Of Columbia Pennsylvania Massachusetts
1998-6-17 | Biologics | II | b-1073/1076-8 | A Red Blood Cells B Cryoprecipitated Ahf C Fresh Frozen Plasma D Recovered Plasma | Manufacturer | American Red Cross Blood Services Little Rock Arkansas | August 20 1997 | Blood Products Were Collected From A Donor Having Been Diagnosed With Sarcoidosis | A 9 Units B 1 Unit C 2 Units D 6 Units | Arkansas Pennsylvania California Switzerland
1998-6-17 | Biologics | II | b-1187/1192-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Platelets For Further Manufacture F Recovered Plasma | Manufacturer | Central Kentucky Blood Center Lexington Kentucky | March 16 1998 | Blood Products Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti Hiv 1 Western Blot Indeterminate | A 8 Units B 3 Units C 1 Unit D 2 Units E 1 Unit F 7 Units Were Distributed | Kentucky Maryland California
1998-6-17 | Biologics | II | b-1197/1201-8 | A Red Blood Cells B Platelets C Fresh Frozen Plasma D Cryoprecipitated Ahf E Recovered Plasma | Manufacturer | Carter Bloodcare Dallas Texas | January 12 1998 | Blood Products Tested Negative For Viral Markers But Were Collected From Donors Who Previously Tested Repeatedly Reactive For The Antibody To The Human Immunodeficiency Virus Type 1 Anti Hiv 1 The Hepatitis B Surface Antigen Hbsag Or The Antibody To The Hepatitis C Virus Encoded Antigen Anti Hcv | A 9 Units B 3 Units C 2 Units D 3 Units E 5 Units Were Distributed | Texas California Switzerland
1998-6-17 | Biologics | II | b-1207/1208-8 | A Red Blood Cells B Plasma | Manufacturer | American Red Cross Blood Services St | July 23 1997 | Blood Products Were Collected From A Donor Taking The Drug Methotrexate | 1 Unit Of Each Component Was Distributed | Missouri
1998-6-17 | Biologics | III | b-1024-8 | Recovered Plasma For Manufacturing Non Injectable Products | Manufacturer | American Red Cross Blood Services St | September 18 1997 | Failure To Quarantine A Blood Product That Tested Negative For The Hepatitis B Surface Antigen Hbsag Which Was Collected From A Donor Who Subsequently Tested Repeat Reactive For Hbsag | 1 Unit Was Distributed | California
1998-6-17 | Devices | II | z-565-8 | Cp 700 X Ray Generator A Low Voltage 120 Volt Diagnostic X Ray Generator | Manufacturer Fda Approved The Firm's Corrective Action Plan May 18 | Gendex Del Medical Imaging Corporation Franklin Park Illinois | May 18 1998 | Units Are Defective Under 21 Cfr 1003 | 99 Units Were Distributed | Nationwide And Canada
1998-6-17 | Devices | II | z-566-8 | Uroview Model 2600 X Ray Imaging System General Purpose Radiography And Fluoroscopy | Manufacturer Fda Approved The Firm's Corrective Action Plan Firm Initiated Field Correction Ongoing Distribution Nationwide Quantity 16 Units Were Distributed Reason The Diagnostic X Ray Devices Were Found Defective Under 21 Cfr 100 | Oec Medical Systems Salt Lake City Utah | N A | The Diagnostic X Ray Devices Were Found Defective Under 21 Cfr 1003 | 16 Units Were Distributed | Nationwide
1998-6-17 | Devices | II | z-569-8 | Mcgaw Stratus Ambulatory Infusion System Model 550 With Software Version 2 | Manufacturer | Alphamed Inc | April 17 1997 | A Software Malfunction Causes The Infusion Pump To Over Infuse In The Circadian Mode | 25 Pumps Were Distributed | Kentucky Georgia Texas New Mexico
1998-6-17 | Devices | II |  | Clinical Information System Cis With Fetal Monitor Remote Display A Clinical Information System Cis With Fetal Remote Display System Fmrd Models Das 422 And Das 1 Ms Data Acquisition System B Cis With Eight Port Das Model Das 8 Mc | Manufacturer | Clinicomp International Inc | April 6 1998 | The Data Acquisition System In Conjunction With The Clinical Information System Exhibits Open Ground Test Values In Excess Of Stated Safety Limits | A 179 Units 529 Units Were Distributed | Arizona California Colorado District Of Columbia Florida Georgia Hawaii Kansas Maryland Minnesota New York Ohio Texas Virginia Washington State Germany Belgium
1998-6-17 | Devices | II | z-600-8 | Borrelia Burgdorferi Igg Igm Elisa Test Kit For In Vitro Diagnostic Use | Manufacturer | Clark Laboratories Inc | November 3 1997 | The Low Positive Control Value Is Above The Labeled Range And May Lead To Potential Delay In Diagnosis And Treatment | 684 Units Were Distributed | Nationwide And International
1998-6-17 | Devices | III | z-546-8 | Acs 180 Ckmb Ii Used For Quantitative Determination Of Ck Mb In Serum Using The Chiron Diagnostics Acs 180 Automated Chemiluminescence Systems | Manufacturer | Chiron Diagnostics Corporation East Walpole Massachusetts | December 19 1997 | An Incorrect Revision Of The Package Insert Was Packaged With The Product | 109 Kits Were Distributed | Alabama California Florida Georgia Iowa Illinois Massachusetts Maryland Michigan Missouri New Jersey New York Ohio Pennsylvania Tennessee Texas West Virginia Vermont
1998-6-17 | Devices | III | z-547/548-8 | Acs 180 Ckmb Ii Used For Quantitative Determination Of Ck Mb Creatine Kinase In Serum To Aid In The Diagnosis Of Myocardial Injury Using The Chiron Diagnostics Acs 180 Automated Chemiluminescence Systems | Manufacturer | Chiron Diagnostics Corporation East Walpole Massachusetts | March 19 1997 | Device Labeling Contains Incorrect Heparinized Plasma Test Claims | 1 236 Kits Of Part 104955 And 2 458 Kits Of Part 104954 Were Distributed | Nationwide And International
1998-6-17 | Devices | III | z-597/598-8 | Mla Electra Automated Coagulation Testing Instruments A Model E 900 C Part No | Manufacturer | Medical Laboratory Automation Inc | April 23 1998 | The Video Boards Are Not Compatible With The Central Processing Unit | A 31 Units B 38 Units Were Distributed | New York New Jersey Maryland Virginia West Virginia Tennessee Florida Illinois Michigan Texas Oklahoma Arizona California
1998-6-17 | Devices | III | z-594-8 | Lifeport Lps 5513 Consists Of A Titanium Venous Access Port With An Attachable 8 | Horizon Medical Products | Strato Infusaid Inc | April 29 1998 | There Is An Error In The Product Description On The Shipping And Outer Tray Label | 362 Units Were Distributed | Alabama Arkansas California Florida Georgia Illinois Kentucky Michigan Minnesota Missouri New York South Carolina Tennessee Texas Virginia Washington State Spain Germany
1998-6-17 | Devices | III | z-604-8 | Sterile Mayfield Disposable Skull Pins Catalog 40 A 1072 Used In Conjunction With Mayfield Brand Skull Clamps When A Rigid Skeletal Fixation Is Needed To Hold The Skull In Place During Brain Surgery | Manufacturer | Ohio Medical Instruments Company Inc | July 25 1997 | A Design Change To The Skull Pins Resulted In The Dimensions Of The Pin Base Not Being The Correct Width To Fit Into All Skull Clamps | 491 Cartons 17 676 Pins Were Distributed | Nationwide And International
1998-6-17 | Devices | III |  | Baxter Fenwal Plasmacell C Disposable Sets Consisting Of The Separation Device A Reservoir And A Tubing Set Which Provides Transport For The Blood And Solutions Within A Closed Blood Pathway When Used With The Fenwal Autopheresis C Plasmapheresis System For Collection Of Plasma By Membrane Filtration Manufactured By An Affiliate Of Baxter Healthcare Corporation Fenwal Division Deerfield Il 60015 Usa Made In Dominican Republic The Following Sets Are Affected By This Safety Alert 4 R 2250 Plasmacell C Separation Disposable Set With In Line Anticoagulant Drip Chamber 60 Units Per Case 4 R 2251 Plasmacell C Separation Disposable Set With Attached 1000 Ml Plasma Collection Bag 4 R 2252 Plasmacell C Separation Disposable Set 60 Units Per Case 4 R 2253 Plasmacell C Separation Disposable Set Japanese Label 4 R 2256 Plasmacell C Separation Disposable Set For Use With Spikesmart System 60 Units Per Case 4 R 2278 Plasmacell C Separation Disposable Set French Label 4 R 2283 4 R 2284 Labeling Is Not Available At This Time |  | Baxter S | N A | The Plasma Line Can Detach From The Separation Device When Performing Plasmapheresis With The Autopheresis C Instrument End Of Enforcement Report For June 17 1998 | Approximately 12 000 000 Sets Are Distributed Each Year | Nationwide And International