## Report-1995-04-05
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1995-04-05 | Drugs | II | d-094-5 | Preparation H Hemorrhoidal Ointment In 1 Ounce Tubes | Manufacturer | Whitehall Laboratories Madison New Jersey | May 16 1994 | Presence Of Mold | 3 596 Dozen 1 Ounce Tubes Were Distributed Firm Estimates None Remains On The Market | Nationwide
1995-04-05 | Drugs | II | d-105-5 | Searle Calan Tablets Verapamil Hydrochloride 40 Mg In 100 Tablet Bottles An Immediate Action Rx Oral Calcium Slow Channel Blocker For The Treatment Of Angina Arrhythmias And Essential Hypertension | G D Searle Company | G D Searle Company | March 22 1995 | Product Does Not Meet Dissolution Specifications | 147 698 Bottles Were Distributed Firm Estimated That 20 Of The Product Remained On Market At Time Of Recall Initiation | Nationwide
1995-04-05 | Drugs | III | d-095/097-5 | Claforan Cefotaxime Sodium Sterile Powder For Injection Im Iv Rx Broad Spectrum Cephalosporin Antibiotic A 500 Mg Vials B 1 | Hoechst Roussel Pharmaceuticals | Hoechst Aktiengesellschaft Federal Republic Of Germany Or Roussel Uclaf Plant 4 Romainville France | February 20 1995 | Subpotency Stability Problems | Firm Estimated That 740 000 Vials Remained On The Market At Time Of Recall Initiation | Nationwide
1995-04-05 | Drugs | III | d-098-5 | Hydrocortisone Spray 0 | Manufacturer | Clay Park Laboratories Inc | March 16 1995 | Product Does Not Meet Ph Specifications | Approximately 2 841 45 Ml Units Were Distributed | Florida
1995-04-05 | Drugs | III | d-099-5 | Facial Soap Liquid Scrub In 8 Ounce Plastic Bottles Otc Used For The Control Of Acne | Manufacturer | Clay Park Laboratories Inc | March 10 1995 | Subpotenc | Approximately 2 199 Bottles Were Distributed | California And Tennessee
1995-04-05 | Drugs | III | d-100-5 | Benzoyl Peroxide 5 Gel 45 Grams 1 | Manufacturer | Clay Park Laboratories Inc | March 14 1995 | Product Separation | Approximately 37 998 Units Were Distributed | California Ohio Georgia New York Kentucky Florida Michigan Maine Maryland Alabama Pennsylvania West Indies
1995-04-05 | Drugs | III | d-101-5 | Medadyne Liquid In 0 | Manufacturer | Clay Park Laboratories Inc | March 16 1995 | Superpotenc | 29 456 Bottles Were Distributed | New York
1995-04-05 | Drugs | III | d-102/103-5 | A Qualitest Brand Promethazine With Codeine Cough Syrup In 4 Fluid Ounce Bottles Indicated For The Temporary Relief Of Coughs And Upper Respiratory Symptoms Associated With Allergy Or The Common Cold B Qualitest Brand Promethazine Vc With Codeine Cough Syrup In 4 Fluid Ounce Bottles Indicated For The Temporary Relief Of Coughs And Upper Respiratory Symptoms | Manufacturer | Barre National Inc | March 1 1995 | Label Does Not Bear Name And Address Of Manufacturer Or Distributor | 12 024 Bottles Of Lot Ra 5051 And 2 340 Bottles Of Lot Ra 5048 | Alabama
1995-04-05 | Drugs | III | d-104-5 | Selenium Sulfide Lotion Shampoo Usp 2 | Manufacturer | Clay Park Laboratories Inc | April 17 1995 | Use Of An Unapproved Raw Material Source | Approximately 1 151 Bottles Were Distributed | New York Texas Florida Iowa Ohio Mississippi Nebraska New Jersey Tennessee California
1995-04-05 | Devices | II | z-519-5 | Lifestyles Assorted Color Condoms With Spermicidal Lubricant | Manufacturer | Ansell Inc | December 2 1994 | The Subject Lots Had Been Recorded As Passing The Accelerated Aging Tests For Tensile Strength When In Fact They Had Failed This Testing | 189 000 Condoms Were Distributed | Florida
1995-04-05 | Devices | II | z-553-5 | Does Not Have The Shelf Life Which Is Claimed On Its Labeling | Manufacturer | Althin Medical Inc | June 19 1994 | The Cpvc May Swell And Impede The Flow Of Liquid Through The System | 2 865 Units Are Subject To Field Correction | Nationwide And International
1995-04-05 | Devices | II | z-556-5 | Drake Willock Systems 1000 Single Patient Delivery System Fir Single Patient Hemodialysis | Manufacturer | Althin Medical Inc | June 19 1994 | The Pump Head Is Cutting Or Abrading The Blood Tubing Causing Blood Leaks | 2 428 Units Are Subject To Field Correction | Nationwide And International
1995-04-05 | Devices | II | z-566/568-5 | Laser Sensing Devices A Autosense Vehicle Sensors B Miles Ats 101 Aerial Target System C Ocean Wave Laser System Owls | Manufacturer Fda Approved The Firm's Corrective Action Plan February 24 | Schwartz Electro Optics Inc | February 24 1995 | Units Exceeded The Class I Accessible Emission Limits | A 9 Units B 2 Units C 25 Units | Nationwide
1995-04-05 | Devices | II | z-570/571-5 | Storz 4 | Manufacturer | Storz Ophthalmics Inc | January 3 1995 | Devices May Be Labeled With The Incorrect Diopter | 47 Lenses Were Distributed | Arizona Florida New York Colorado Wisconsin Kansas Maryland South Dakota California Texas Ohio Pennsylvania Missouri Arizona Massachusetts Tennessee Iowa Utah Puerto Rico Canada Taiwan
1995-04-05 | Devices | II | z-572-5 | Oxford Medilog Sleep And Respiration Interface Sri Which Monitors Respiration | Oxford Instruments Medical Systems | Oxford Medilog Systems Abingdon England | October 7 1993 | If The Electrodes Are Plugged Into The Sri Incorrectly Excessive Current May Be Transmitted To The Patient Causing A Tingling Sensation | 41 Units Were Distributed | Florida Alabama Georgia Utah Missouri Massachusetts Pennsylvania Washington State Louisiana Virginia Puerto Rico Canada Mexico Brazil
1995-04-05 | Devices | II | z-573/591-5 | 1 Intermate Sv 50 Ml Hr | Manufacturer | I V Systems Division | December 6 1994 | The Adhesive Which Bonds The Flow Restricting Stainless Steel Cannula To The Acrylic Stress Member Fails And Allows Fluid To Bypass The Flow Restricting Cannula And Can Result In Solution Infusion Rates Higher Than Intended | 621 072 Units Were Distributed Fda Estimated That 150 000 Units Remained On Market At Time Of Recall Initiation | Nationwide And International
1995-04-05 | Devices | II | z-593-5 | Bear 1000 Ventilator Catalog 50 0850 00 Indicated For The Delivery Of Medical Gases To Pediatric And Adult Patients | Manufacturer | Bear Medical Systems Inc | November 4 1994 | The Ventilator Does Not Deliver The Lower Tidal Volumes In Increments Of 1 Ml As Described In The Labeling Due To Defective Software | 115 Units Were Distributed | California Delaware Florida Kansas Louisiana Maine Michigan North Carolina New Jersey New York Pennsylvania South Dakota Tennessee Utah Virginia And Internationally
1995-04-05 | Devices | III | z-554-5 | Drake Willock System 1000 Single Patient Delivery System A Single Patient Delivery Hemodialysis Delivery System | Althin Medical | Micropump Inc | August 29 1994 | Mercury Was Found In The Pump Head Product Drake Willock System 1000 Single Patient Delivery For Single Patient Hemodialysis Recall Z 555 5 Code 1001 To 2870 Non Inclusive Manufacturer Althin Medical Inc Portland Oregon Recalled By Manufacturer By Telephone Starting In June 1994 To Arrange For Retrofitting Firm Initiated Field Correction Ongoing Distribution Nationwide And International Quantity 1 857 Units Are Subject To Field Correction Reason The Air Trap Float Which Controls The Incoming Water Supply Absorbs Water And Becomes Deformed Product Clinical Chemistry Analyzer Summit Series 7000 Recall Z 569 5 Code Serial Numbers 5306 8319 5315 Manufacturer Integrated Clinical Systems Inc Indianapolis Indiana Recalled By Manufacturer By Sending An Update Bulletin And Field Repair Kits On January 14 1994 And By Fax January 23 1995 Firm Initiated Field Correction Complete Distribution Tennessee France England Quantity 3 Units Were Distributed Reason If A Serum Tube Is Not Fully Seated In The Primary Tube Sampler An Optional Unit Designed To Alert The Instrument Operator When A Tube Does Not Contain Enough Blood Serum To Run All Of The Chemistry Test Specified It Can Interfere With The Drive Bar Stops Causing The Glass Tube To Break Which May Cause Injury Product Opus Myoglobin Test Modules An In Vitro Diagnostic Device Used With The Opus And Opus Plus Immunoassay System In The Quantitative Measurement Of Myoglobin In Serum As An Aid In The Diagnosis Of Acute Myocardial Infarction Recall Z 592 5 10 Code Catalog 700 50 Lot Myb 8 Exp 11 24 94 Manufacturer Behring Diagnostics Inc Westwood Massachusetts Recalled By Manufacturer By Telephone Between April 28 1994 And May 3 1994 And By Letter May 4 1994 Firm Initiated Field Correction Complete Distribution Nationwide Canada Quantity 209 Boxes Containing 50 Modules Each Were Distributed Firm Estimates None Remains On The Market Reason Defective Opus Myoglobin Test Modules May Cause An Inability By The User To Perform Or Correctly Read Test Results Update Beckman Synchron Cx 7 Clinical Analyzer Computer Enhanced Cx 4 Ce Cx 5 Ce Recall Z 520 5 Which Appeared In The March 22 1995 Enforcement Report Should Read Recalled By Beckman Instruments Inc Brea California By Letter Dated July 14 1994 Firm Initiated Field Correction Ongoing Reason Defective Software May Cause Patient Ammonia Test Results To Be Inaccurate 11 End Of Enforcement Report For April 5 1995 Blank Pages May Follow | 127 Machines Were Subject To Field Correction | Nationwide And International