## 1994-03-23
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-03-23 | Drugs | II | d-196-4 | Solopak Heparin Lock Flush Solution Usp Preservative Free 10 Usp Units/ml Packaged In 1 3 And 5 Ml Syringes; For Maintenance Of Patency Of Intravenous Injection Devices Only Not To Be Used For Anticoagulant Therapy: (a) Catalog #10671: 1 Ml Fill In 1.5 Ml Hy-pod Syringe And 25g X 5/8" Needle Individually Wrapped 120 Per Carton; (b) Catalog #10673: 3 Ml Hy-pod Syringe And 25g X 5/8" Needle Individually Wrapped 120 Per Carton; (c) Catalog #10675: 5 Ml Hy-pod Syringe And 25g X 5/8" Needle Individually Wrapped 120 Per Carton; (d) Catalog #10681: 1 Ml Hy-pod Syringe (needles Not Included) Individually Wrapped 120 Per Carton; (e) Catalog #10683: 3 Ml Hy-pod Syringe (needles Not Included) Individually Wrapped 120 Per Carton; (f) Catalog #10685: 5 Ml Hy-pod Syringe (needles Not Included) Individually Wrapped 120 Per Carton; (g) Catalog #11771: 1 Ml Fill In 1.5 Ml Hy-pod Syringe Contained In The Lok-pak-n Heparin Flush Kit 200 Per Case; (h) Catalog #11773: 3 Ml Hy-pod Syringe Contained In The Lok-pak-n Heparin Flush Kit 200 Per Case; (i) Catalog #11775: 5 Ml Hy-pod Syringe Contained In The Lok-pak-n Heparin Flush Kit 200 Per Case. Recall #d-196-4. | Solopak Medical Products Inc. Elk Grove Village Illinois | Solopak Medical Products Inc. Formerly Known As Smith & Nephew Solopak Franklin Park Illinois. | February 22, 1994 | Potency not assured through expiration date | 997 800 Syringes Were Distributed; Firm Estimates 48 890 Syringes Remain On The Market. | Nationwide.
1994-03-23 | Drugs | II | d-200-4 | S2 Inhalant Racepinephrine Hcl Usp 2.25% Inhalation Solution 15 Ml Glass Bottles. Recall #d-200-4. | Manufacturer | Nephron Pharmaceuticals Corporation Orlando Florida. | January 28, 1994 | Subpotency. | 402 Bottles Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1994-03-23 | Drugs | II | d-203/204-4 | Pancrelipase Capsules In 100 And 250 Count Bottles Indicated For Patients With Exocrine Pancreatic Enzyme Deficiency Under The Trinity And Qualitest Labels. Recall #d-203/204-4. | Trinity Technologies Corporation Roseville Michigan | Pharmaceutical Delivery Systems Inc. Creve Coeur Missouri. -2- | August 4, 1993 | Subpotency of amylase ingredient | 1 470 100-tablet Bottles And 1 198 250-tablet Bottles Were Distributed. | Nationwide.
1994-03-23 | Drugs | II | d-205-4 | Oxygen Usp In Size D & E Compressed Gas Aluminum Cylinders. Recall #d-205-4. | Manufacturer | Medical Services Of America Inc. Doing Business As Medi- Home Care Roanoke Virginia. | March 7, 1994 | Current good manufacturing practice deficiencies | 9 Size E Cylinders And 3 Size D Cylinders Were Distributed. | Virginia.
1994-03-23 | Drugs | III | d-197-4 | Motrin Ib Caplets (ibuprofen) In Foil Packets Of Two In Dispenser Of 100 Packets And In Bulk Containers Of 2 500 Packets. Recall #d-197-4. | Manufacturer | The Upjohn Company Kalamozoo Michigan. | April 14, 1993 | Trace quantities of the lacquer used on exterior of foil package transferred to interior surface | 9 968 Units Were Distributed. | Nationwide.
1994-03-23 | Drugs | III | d-198-4 | Patient Brochure For Depo-provera Contraceptive Injection. Recall #d-198-4. | Manufacturer | The Upjohn Company Kalamazoo Michigan. | NOT-FOUND | Incomplete printing of the brochure | 238 600 Brochures Were Distributed. | Of The Incorrect Patient Brochure Was Discontinued 3/31/93 And New Brochures Began To Be Shipped 4/14/93. Firm-initiated Field Correction Complete. Distribution Nationwide.
1994-03-23 | Drugs | III | d-199-4 | Hydrocodone Bitartrate/acetaminophen (hcb/apap) 5/500 Mg Tablets Under The Following Labels: H.n Nortcon Co./luchem 100's And 500's; Goldline 100's And 500's; Major 500's. Recall #d-199-4. | Manufacturer | H.n. Norton Company Shreveport Louisiana. | February 2, 1994 | Product does not meet dissolution specifications through expiration date | Undetermined. | Nationwide.
1994-03-23 | Drugs | III | d-201-4 | S2 Inhalant Racepinephrine Hcl Usp 2.25% Inhalation Solution 15 Ml Glass Bottles . Recall #d-201-4. | Manufacturer | Nephron Pharmaceuticals Corporation Orlando Florida. | February 4, 1994 | Product does not meet usp specifications for color | 6 741 Bottles Of Lot 99219 And 8 604 Bottles Of Lot R109308 Were Distributed. | Nationwide.
1994-03-23 | Drugs | III | d-202-4 | Medrol Brand Of Methylprednisolone Usp 4 Mg Tablets In Blister Packs Of 100 A Corticosteroid. Recall #d-202-4. | Manufacturer | The Upjohn Company Kalamazoo Michigan. | June 16, 1993 | Carton incorrectly declares "methylprednisolone" as "methylprednisone" | 1 582 Tablets Were Distributed. | Nationwide.
1994-03-23 | Drugs | III | d-204-4 | Urinary Antiseptic Tablets Rx Indicated For The Relief Of Discomfort Of The Lower Urinary Tract In 100 And 1 000 Count Bottles Under Trinity Qualitest Rugby Moore And Goldline Labels. Recall #d-204-4. | Manufacturer | Trinity Technologies Corporation Roseville Michigan. | July 21, 1993 | Product does not meet potency specifications | 106 534 Units Wre Distributed. | Nationwide.
1994-03-23 | Biologics | II | b-097-4 | Red Blood Cells. Recall #b-097-4. | Manufacturer | American Red Cross Blood Services Dedham Massachusetts. | July 28, 1992 | Blood products, held at uncontrolled storage conditions were distributed | 11 Units. | Massachusetts.
1994-03-23 | Biologics | II | b-170-4 | Red Blood Cells. Recall #b-170-4. | Manufacturer. Firm-initiated Recall Complete. | Community Blood Center Of Greater Kansas City Kansas City Missouri. | NOT-FOUND | Blood product, that tested repeatedly reactive for the antibody to hepatitis b core antigen (anti-hbc), was distributed | 1 Unit. | Missouri.
1994-03-23 | Biologics | II | b-172-4 | Red Blood Cells. Recall #b-172-4. | Manufacturer | Bloodcare Dallas Texas. | September 7, 1993 | Red blood cells, collected from a donor currently taking the drug proscar, were distributed for transfusion | 1 Unit. | Texas.
1994-03-23 | Biologics | II | b-173-4 | Red Blood Cells. Recall #b-173-4. | Manufacturer | W.e. And Lela I. Stewart Regional Blood Center Tyler Texas. | February 25, 1993 | Blood product, collected from a donor who reported taking the medication tegison, was distributed | 1 Unit. | Texas.
1994-03-23 | Biologics | III | b-174-4 | Fresh Frozen Plasma. Recall #b-174-4. | Manufacturer | Texoma Regional Blood Center Sherman Texas. | January 6, 1994 | Blood product labeled with an incorrect expiration date, was distributed | 1 Unit. | Texas.
1994-03-23 | Devices | II | z-161/168-4 | Naturalyte Acid Concentrate For Bicarbonate Dialysis For Use In Dialysis Equipment During Dialysis Treatment: (a) Catalog No. 13-4004-1 Series 4000 (b) Catalog No. 13-4010-8 Series 4000 (c) Catalog No. 13-4002-5 Series 4000 (d) Catalog No. 13-4018-1 Series 4000 (e) Catalog No. 13-4022-3 Series 4000 (f) Catalog No. 13-6608-7 Series 6000 (g) Catalog No. 13-9027-7 Series 9000 (h) Catalog No. 13-9029-3 Series 9000. Recall #z-161/168-4. | National Medical Care (nmc) Medical Product Division Rockleigh New Jersey | National Medical Care Medical Product Division Livingston California. | June 17, 1993 | The products do not meet the nmc pyrogen specification for hemodialysate of 5 | 434 55-gallon Drums Were Distributed; | Nationwide. -6-
1994-03-23 | Devices | II | z-345-4 | O.r. Saracap Respiratory Monitor And Capnograph Model 200009 For Use During Surgery And General Anesthesia To Monitor Airway Levels Of Carbon Dioxide Oxygen And Nitrous Oxide. Recall #z-345-4. | Manufacturer | Ppg Industries Inc. Lenexa Kansas. | January 10, 1994 | The device contains invalidated software | 2 433 Units Remain In Distribution. | Nationwide And Canada.
1994-03-23 | Devices | II | z-402-4 | Promatek Electrostim Ultra 3f Therapy Ultrasound Systems Ultrasonic Generators And Applicators. Recall #z-402-4. | Promatek Medical Systems Inc. Joliet Illinois. Fda Approved The Firm's Corrective Action Plan May 10 1993. Firm-initiated Field Correction Ongoing. | Diter-elektroniikka Oy Turku Finland. | May 10, 1993 | The units were found in non-compliance with the performance standard for ultrasonic therapy products, in that: the error in the indication of power output exceeds the +/- 20 percent error allowed by the performance standard for the following tests: - continuous wave power measurements - pulsed power measurements - +/- 10 percent line voltage power measurements - short term life test power measurements; discrepancies are found in the operation control labeling; incorrect values are listed for rtpa in the user information; the measured effective radiating area (era) exceeds the listed era for the 2 mhz large applicator in the user information; the measured beam non-uniformity ratio (bnr) exceeds the labeled maximum bnr for the 0 | 106 Units Were Distributed; Firm Estimates 68 Units Remain On The Market. | Nationwide And Canada.
1994-03-23 | Devices | II | z-404/409-4 | Eight French Single Lumen Groshong High Performance Catheters | Manufacturer | Bard Access Systems Inc. Salt Lake City Utah. | January 13, 1994 | The thrombosed polyurethane liner of the distal silicone catheter segment was extruding through the groshong valve opening out of the lumen of the silicone catheter into the lumen of the patient's central venous system | Approximately 3 550 Units. | Nationwide.
1994-03-23 | Devices | II | z-439/440-4 | Deroyal Surgical Laparotomy Sponges Pre-washed X-ray Detectable: (a) 18" X 18" Product #9-1818; (b) 12" X 12" Lap Sponges Product #1-1212. Recall #z-439/440-4. | Deroyal Industries Inc. Powell Tennessee | Qualtex Inc. Division Of Deroyal Industries Rose Hill Virginia (packager/sterilizer). | February 1, 1994 | The products were found to be non-sterile | (a) 47 Cases; (b) 43 Cases. | (a) Alabama Maryland Texas North Carolina Tennessee; (b) California Maryland New Jersey South Carolina Texas Pennsylvania Tennessee.
1994-03-23 | Devices | II | z-441/442-4 | Diagnostic Magnetic Resonance Imaging Equipment Intended For General Diagnostic Use To Produce Images Used In Diagnosing Disease: (a) Model Smt-50x; (b) Model Smt-100x. Recall #z-441/442-4. | Shimadzu Medical Systems Torrance California | Shimadzu Corporation Koyoto Japan. | June 16, 1993 | Software versions 2. | (a) 8 Systems; (b) 4 Systems. | Alaska Arkansas Florida Louisiana New Jersey New York Pennsylvania.
1994-03-23 | Devices | II | z-460-4 | Sunlamp Tanning Product Sunquest 5000 Sunward I And Tan Am 4000. Recall #z-460-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan February 18 1994. Firm-initiated Field Correction Ongoing. | The Daavlin Distributing Company Bryan Ohio. | February 18, 1994 | Digital timers could be reset to exceed maximum recommended time (mret) | 544 Units. | Nationwide.
1994-03-23 | Devices | III | z-205-4 | Blood Chemistry Vacutainer Collection Tubes Reorder #6440 An Evacuated Blood Collection Tube. Recall #z-205-4. | Becton Dickinson And Company Becton Dickinson Division Franklin Lakes New Jersey | Becton Dickinson Vacutainer Systems Sumpter South Carolina. | August 26, 1993 | The vacutainer branch tubes were defective causing red cells to adhere to the glass surface of the tubes | 203 400 Units Were Distributed; Firm Estimates Less Than 10% Of The Amount Shipped Remains On The Market. | Nationwide And Canada.
1994-03-23 | Devices | III | z-378/379-4 | (a) Coulter Bilirubin Total (b) Catalog #2907076; (b) Coulter Bilirubin Direct (a+c) Dacos Reagent System Catalog #2907075 Intended For The In-vitro Quantitative Determination Of Total And Direct Bilirubin With The Dacos Dacos Xl Chemistry Analyzers. Recall #z-378/379-4. | Coulter Corporation Miami Florida | Trace America Inc. Australia (reagents). | May 3, 1993 | The firm released a new bilirubin methodology with a new line of daco chemistry reagents, that are not interchangeable | Firm Estimates None Remains On The Market. | Louisiana Pennsylvania Texas California Georgia Colorado Oklahoma Oregon Florida Illinois Minnesota Washington State North Carolina Michigan Ohio Massachusetts Kansas.
1994-03-23 | Devices | III | z-380-4 | Coulter Optichem Chemistry Control Level Ii For In-vitro Diagnostic Use. Recall #z-380-4. | Coulter Corporation Miami Florida | Ciba Corning Diagnostics Corporation Irvine California. | October 7, 1993 | The tables of assigned values had typographical errors | 239 Kits Of Lot 160006k3 And 10 Kits Of Lot 160006k4 Were Distributed. | Nationwide Canada Turkey United Kingdom Germany Puerto Rico France.
1994-03-23 | Devices | III | z-388-4 | Coulter Chemistry Control Level Ii 10 X 15 Ml Part #7546995 Used As A Quality Control Material For The Coulter Dacos Analyzer Dacos Xl And Optichem Chemistry Systems. Recall #z-388-4. | Coulter Corporation Miami Florida | Trace America Inc. Australia. | June 25, 1993 | There was a change in the dacal calibrator assigned values | 336 Kits Of Lot 160006k 165 Kits Of Lot 160006k1 And 150 Kits Of Lot 160006k2 Were Distributed. | Nationwide Bermuda Europe Canada United Kingdom Spain Germany.
1994-03-23 | Devices | III | z-389/392-4 | Coulter Ise Module A Component Of Coulter Opti-chem 120 And 180 Systems Used To Perform Clinical Chemistry Analyses: (a) Coulter Optichem 120 & 180 Systems Software Catalog No. 6604263; (b) Coulter Optichem 120 & 180 Systems Software Catalog No. 6604264; (c) Coulter Optichem 120 & 180 Systems Software Catalog No. 6604271; (d) Coulter Optichem 120 & 180 Systems Software Catalog No. 6604273. Recall #z-389/392-4. | Coulter Corporation Miami Florida | Kone Instruments Helsinki Finland. | May 1, 1992 | There was an error in the ise module software that allowed test results to be reported outside the validated range which may not be accurate | Approximately 185 Units Ramain On The Market. | Nationwide.
1994-03-23 | Devices | III | z-393/395-4 | 4c Plus Normal Cell Control For In-vitro Diagnostic Use: (a) 4c Plus Normal Cell Control Part No. 7546923; (b) 4c Plus Triple Cell Control 9 X 3.3 Ml Part No. 7546771; (c) 4c Plus Triple Cell Control 6 X 3 3 Ml Part No. 7546968. Recall #z-393/395-4. | Coulter Corporation Miami Florida | Coulter Corporation Diagnostics Group Hialeah Florida. | November 8, 1991 | Customers reported high hgb recovery when using these lots of control, on coulter t series, s880, and jt instruments | Firm Estimates None Remains On The Market. | Nationwide And International.
1994-03-23 | Devices | III | z-403-4 | Centermark Dual Lumen Peripherally Inserted Central Venous Catheter. Recall #z-403-4. | Manufacturer | Menlo Care Inc. Menlo Park California. | October 19, 1993 | There was a potential for crossover leakage between the two lumens during blood withdrawal | Firm Estimates None Remains On The Market. | Nationwide.
1994-03-23 | Devices | III | z-410-4 | Irrijet Irrigation System Product #55-0504 Used For External Wound Irrigation. Recall #z-410-4. | Manufacturer | Ackrad Laboratories Cranford New Jersey. | February 26, 1993 | The disposable tips may be plugged resulting in lack of fluid flow | 560 Units Were Distributed. | Nationwide.