## 1994-04-06
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-04-06 | Drugs | II | d-221-4 | Food Industry Sanitizing Soap (gojo) Distributed Under Ten (10) Private Labels And Product Names In Addition To The Firm's Gojo Brand; And Is Packaged In Five (5) Different Sizes As Follows: 1. Gojo Brand E-2 Food Industry Sanitizing Soap In 800 Ml Cartridges 1000 Ml Cartridges 2000 Ml Cartridges 5000 Ml Cartridges And In 4 Ounce Bottles; 2. Easterday Janitorial Supply Brand E-2 Germicidal Soap Plus In 1000 Ml Cartridges 6 Units Per Case; 3. Hillyard Chemical Brand E-2 Plus Food Industry Sanitizing Soap In 4 Ounce Bottles 12 Units Per Case; 1000 Ml Cartridges 6 Units Per Case; 2000 Ml Cartridges 4 Units Per Case; 4. Peninsular Paper Brand E-2 1000 Food Industry Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case; 5. North American Paper Brand Spectrum E-2 Food Industry Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case; 6. Penn Jersey Brand Sanitary Supply Sani-soap Food Industry Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case; 7. Massco Brand Food Prep Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case; 8. Sourceone Brand E-2 Food Industry Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case; 9. International Distribution System (ids) Brand E-2 Food Industry Sanitizing Soap In 1000 Ml Cartridges 6 Units Per Case 5000 Ml Cartridges 6 Units Per Case; 10. Selig Chemical Industries Brand Sootho Food Processing Sanitizing Lotion Soap E-2 In 800 Ml Cartridge 12 Units Per Case; 11. Zep Manufacturing Brand Handstand Tm E-2 Hand Soap In 800 Ml Cartridges 12 Units Per Case. Recall #d-221-4. | Manufacturer | Gojo Industries Inc. Cuyahoga Falls Ohio. | 1994-03-15 | Presence of pseudomonas cepacia and serratia marcescens | 4 100 Cases Were Distributed. | Nationwide
1994-04-06 | Drugs | II | d-222/233-4 | Various Rx Injectable Drug Products 25 Vials Per Tray: (a) Aminophylline Injection Usp 25 Mg/ml 100 Ml Vials Pharmacy Bulk Pack; For Iv Use Only After Dilution For The Relief Of Acute Bronchial Asthma; (b) Clindamycin Phosphate Injection Usp 150 Mg/ml A Semisynthetic Antibiotic For Im Or Iv Use For The Treatment Of Serious Infections Caused By Susceptible Anaerobic Bacteria; 2 Ml Vials 4 Ml Vials 6 Ml Vials; (c) Glycopyrrolate Injection Usp 0.2 Mg/ml An Anticholinergic For The Use As A Preoperative Antimuscarinic To Reduce Salivary Tracheobronchial And Pharyngeal Secretions 1 Ml Vials 2 Ml Vials 5 Ml Vials 20 Ml Vials; (d) Heparin Sodium Injection Usp For Anticoagulant Therapy In Prophylaxis And Treatment Of Venous Thrombosis And The Prevention Of Postoperative Deep Venous Thrombosis And Pulmonary Embolism: 1000 Usp Units/ml 10 Ml Vial 30 Ml Vials (private Label) - Rx/dx Hemochron Heparin Sodium Injection Usp 1 000 Usp Units/ml 10 Ml Multiple Dose Vial Manufactured For International Technidyne Corp. Edison Nj; 10 000 Usp Units/ml 5 Ml Vials; (e) Heparin Lock Flush Solution Usp 10 Units/ml For The Maintenance Of Patency Of An Indwelling Venipuncture Device Designed For Intermittent Injection Of Infusion Therapy Or Blood Sampling 10 Ml Vial 30 Ml Vials; (f) Mvc 9 + 3 Multivitamin Concentrate A Daily Multivitamin Dosage For Adults And Children Aged 11 And Above Receiving Parenteral Nutrition (for Infusion After Dilution) 10 Ml Covial 50 Ml Vials; (g) Potassium Chloride Injection Concentrate Usp 2 Meq/ml Iv Infusion After Dilution For The Treatment Potassium Deficiency States When Oral Replacement Is Not Feasible; 100 Ml Vial 200 Ml Vials; -2- (h) Sterile Cefazolin Sodium Usp A Semisynthetic Cephalosporin Antibiotic For Parenteral Administration For The Treatment Of Respiratory Tract Infections Genital Tract Infections And Other Serious Infections Due To Susceptible Organisms: 500 Mg 10 Ml Vial 100 Ml Vial; 1 G 10 Ml Vial 100 Ml Vial; 10 G 100 Ml Vial; (i) Vincristine Sulfate Injection Usp 1 Mg/ml Used For The Treatment Of Acute Leukemia; 1 Ml Vial; 2 Ml Vial 5 Ml Vial. Recall #d-222/233-4. | Fujisawa Usa Deerfield Illinois | Lyphomed/fujisawa Usa Inc. Melrose Park Illinois (products A B C F G I). Lyphomed/fujisawa Usa Inc. Grand Island New York (products D E H). | March 7, 1994 | Abbreviated new drug application/abbreviated antibiotic ddrug application discrepancies | 5 400 Vials Of Aminophylline 50 600 Vials Of Clindamycin 3 833 220 Vials Of Glycopyrrolate 3 575 075 Vials Of 1 000 Unit Heparin 1 011 775 Vials Of 10 000 Unit Heparin 452 300 Vials Of Heparin Lock Flush 818 325 Vials Of Mvc 9+3 520 700 Vials Of Potassium 197 200 Vials Of 500 Mg Cefazolin 743 990 Vials Of 1 G Cefazolin 27 450 Vials Of 10 G Cefazolin And 56 544 Vials Of Vincristine Were Distributed With The Firm Estimating That 15-20% Of The Product Remains On The Market. | Aminophylline - Nationwide; Clindamycin - Nationwide Malta Qatar; Glycopyrrolate - Nationwide; Heparin - Nationwide Israel Chile Mexico Palau And The Bahamas; Mvc 9+3 - Nationwide And International; Potassium Chloride - Nationwide And Israel; Cefazolin - Nationwide And New Zealand; Vincristine - Nationwide And Belize.
1994-04-06 | Drugs | III | d-220-4 | Bisacodyl Tablets 5 Mg Nonprescription Laxative. Recall #d-220-4. | Manufacturer | Vintage Pharmaceuticals Inc. Charlotte North Carolina. | February 6, 1994 | Use of non-food grade ink on tablets | 485 697 Tablets Of Lot 54073b And 323 798 Tablets Of Lot 53073b Were Distributed. | Minnesota New Jersey.
1994-04-06 | Biologics | II | b-165/166-4 | (a) Red Blood Cells; (b) Platelets. Recall #b-165/166-4. | Manufacturer | American Red Cross Blood Services Dedham Massachusetts. | July 10, 1991 | Blood products incorrectly tested for syphilis were distributed | (a) 108 Units; (b) 102 Units. | Massachusetts Maine.
1994-04-06 | Biologics | II | b-188-4 | Red Blood Cells. Recall #b-188-4. | Manufacturer | United Blood Services Blood Systems Inc. San Angelo Texas. | March 31, 1993 | Red blood cells, collected from a donor who had visited an area endemic for malaria and had taken prophylactic anti- malarial medication two years prior to donation, were distributed | 1 Unit. | Texas.
1994-04-06 | Biologics | III | b-167/168-4 | (a) Red Blood Cells; (b) Platelets. Recall #b-167/168-4. | Manufacturer | American Red Cross Blood Services Dedham Massachusetts. | July 10, 1991 | Blood products incorrectly tested for syphilis were distributed | (a) 33 Units; (b) 36 Units. | Massachusetts Maine.
1994-04-06 | Biologics | III | b-185-4 | Source Plasma. Recall #b-185-4. | Manufacturer | San Juan Plasma Inc. Farmington New Mexico. | August 17, 1993 | Source plasma, exposed to elevated storage temperatures and not properly relabeled as source plasma, salvaged, was distributed | 395 Units. | California Massachusetts.
1994-04-06 | Biologics | III | b-186-4 | Platelets. Recall #b-186-4. | Manufacturer | Northern Illinois Blood Bank Rockford Illinois. | September 27, 1993 | Blood product, which tested initially reactive for hepatitis b surface antigen (hbsag) by eia, was distributed | 1 Unit. | Illinois.
1994-04-06 | Biologics | III | b-187-4 | Red Blood Cells. Recall #b-187-4. | Manufacturer | Community Blood Center Of Mercer County Trenton New Jersey. | June 1, 1993 | Blood product, which was labeled with the incorrect expiration date, was distributed | 1 Unit. | New Jersey.
1994-04-06 | Biologics | III | b-189/193-4 | (a) Whole Blood; (b) Platelets Pheresis; (c) Red Blood Cells; (d) Platelets; (e) Recovered Plasma. Recall #b-189/193-4. | Manufacturer | Lifesource Glenview Illinois. -6- | January 17, 1994 | Blood products which tested reactive to serologic test for syphilis were distributed | 1 Unit Of Each Component. | Illinois New York.
1994-04-06 | Devices | II | z-787/789-3 | I.v. Administration Sets: (a) "mini Set" Order #28-60-125 Designed To Connect To The Extension Set Used With The Siemens Infusion System Contained In A Cardboard Box 20 Per Box; (b) "uni Set" Order #28-60-265 Used With The Siemens Infusion System. The Product Has Two Y-sites With A Check Valve It's Priming Volume Is Approximately 16 Ml Packaged In A Plastic Pouch Contained In A Cardboard Box 70 Per Box; (c) "custom Set" Order #25-25-01 Same As "uni Set" With The Exception That This Product Contains A Filter Which Renders The Custom Name. In Addition The Priming Volume Is Approximately 26 Ml. Recall #z-787/789-3. | Manufacturer | Siemens Infusion Systems Sylmar California. | April 20, 1993 | The mini-set was manufactured with a 12" macrobore upper tubing section instead of a microbore upper tubing section as labeled which also increases the priming volume by approximately 1 ml | (a) 1 800 Units Of Lot Q1470 6 120 Units Of Lot Q1501; (b) 840 Units Of Lot Q1720; (c) 2 170 Units Of Lot Q1721 6 090 Units Of Lot Q1729 18 1690 Units Of Lot Q1733 14 210 Units Of Lot Q1737. | (a) California Illinois Texas Virginia Florida North Carolina New Jersey Virginia Illinois; (b) Illinois; (c) Illinois Kentucky Missouri Mississippi North Carolina New Jersey Texas Virginia West Virginia California Hawaii Minnesota Montana Oklahoma Tennessee Wisconsin Indiana.
1994-04-06 | Devices | II | z-297-4 | Hafcon Brand Head Activated Fluoroscopic Controller Mechanism For Regulating Fluoroscopic Infared Light Transmitters. Recall #z-297-4. | Manufacturer December 7 1993. Firm-initiated Recall Ongoing. -7- | Electrotechnics Corporation Shreveport Louisiana. | December 7, 1993 | The firm does not have any manufacturing documents showing that the product was made to specification | 35 Units. | Louisina Indiana Ohio Texas Virginia.
1994-04-06 | Devices | II | z-301-4 | Ivac Needleless Iv Sets Used For The Administration Of Iv Solutions. Recall #z-301-4. | Manufacturer | Ivac Corporation San Diego California. | November 18, 1994 | Leaking caused by defective manufacturing material | 13 900 Units Were Distributed. | California Kansas Ohio South Carolina Utah Canada England France New Zealand.
1994-04-06 | Devices | II | z-302-4 | Cobe Centry System 3 Blood Tubing Set Catalog #003110-500. Recall #z-302-4. | Cobe Renal Care Inc. Lakewood Colorado | Cgh Medical Inc. Tijuana Mexico. | November 9, 1993 | The solvent used to bond the tubing with the luer was contaminated with alcohol during manufacturing due to a manufacturing operator error which could result in a disconnection of the tubing at the luer | 21 390 Sets Were Distributed. | Nationwide Bermuda Santiago Chile Taiwan.
1994-04-06 | Devices | II | z-303-4 | Ohmeda Rascal Ii Anesthetic Gas Monitor A Dedicated Respiratory Gas Monitoring System That Identifies Anesthetic Agents And Measures Inspired And Expired Oxygen As Well As Nitrogen. Recall #z-303-4. | Ohmeda Medical Systems Division Madison Wisconsin | Ohmeda Medical Systems Division Salt Lake City Utah. | January 17, 1994 | The anesthetic gas monitoring equipment could misidentify the anesthetic gas after long periods of continuous use, and if the misidentification involves halothane, the displayed a concentrate could be twice the actual concentration, due to a defect with software version 1 | 1 222 Units Were Distributed. | Nationwide Canada.
1994-04-06 | Devices | II | z-305-4 | Baxter Auto Syringe Model As40a Infusion Pump Product | Baxter Healthcare Corporation I.v. Systems Division Round Lake Illinois | Baxter Healthcare Corporation Pte Ltd. Singapore. | February 14, 1994 | The infusion pump's optional drug library contains drug delivery protocols which may be in conflict with the drug manufacturers' package insert protocols for the drugs | 1 993 Units Were Distributed. | Nationwide.
1994-04-06 | Devices | II | z-306-4 | Stryker Auxiliary Video Organizer Catalog #240-085-000. Recall #z-306-4. | Manufacturer | Stryker Endoscopy San Jose California. | March 25, 1993 | The bottom frame of the cart was bent | 9 Carts. | Nationwide.
1994-04-06 | Devices | II | z-372-4 | Gonochek Ii Used For In-vitro Diagnostic For The Rapid Identification Of Pathogenic Neisseria Species. Recall #z-372-4. | Ey Laboratories Inc. San Mateo California December 17 1993. Firm-initiated Recall Ongoing. | Ey Laboratories (hk) Ltd. Tsuen Wan New Purritories Hong Kong. | December 17, 1993 | The test will result in a false negative result when used for isolates of neisseria species grown on certain media | 4 845 Tests. | Nationwide.
1994-04-06 | Devices | II | z-381/387-4 | Epics Brand Cytometers And Dye Laser: (a) Epics C Series Flow Cytometer; Catalog Nos. 6602370 6602808 6603235 6602741 6603376 6602809 6602812 6602813 6603365 6603375 6603534/6603538 6603440 6603530/6603533 6603670; -9- (b) Epics 500 Series Flow Cytometer; Catalog Nos. 6602837 66022838 6603207 6603102/6603104 6603489/6603493; (c) Epics 700 Series Flow Cytometer; Catalog Nos. 6602666 6602669 6602674 6602121 6602317 6602557 6603166/6603168 6603430 6603669 6603054 6603666 6603169 6603171 6603431 6603187 6603246 6603247 6603248 6603432 6602645 6602661 6603172 6603173 6603433 6603655; (d) Epics Dye Laser; Catalog No. 6603234; (e) Epics Iv Flow Cytometer; Catalog Nos. 6601394 6602295; (f) Epics V Flow Cytometer; Catalog Nos. 6601395 6601396 6602541; (g) Epics Elite Flow Cytometer; Catalog Nos. 6604042/6604045. Recall #z-381/387-4. | Coulter Corporation Miami Florida | Coulter Corporation Epics Group Miami Lakes Florida. | January 21, 1992 | There is a potential for electrical shock which may result into burns to the operator | Undetermined. | Nationwide.
1994-04-06 | Devices | II | z-461-4 | Lc Jet D Disposable Nebulizer Used To Administer/inhale A Prescribed Dosage Of Medication. Recall #z-461-4. | Pari Respiratory Equipment Inc. Richmond Virginia | Paul Ritzau Pari-werk Gmbh Starnberg Germany. | January 26, 1994 | A portion of the dose of the drug is ejected as small droplets through the filler port at the top of the device rather than being nebulized out the side of the device as intended | 5 302 Units Were Distributed. | Nationwide.
1994-04-06 | Devices | II | z-465-4 | Model Mgu-10a Mammography System Used For Mammographic Studies. Recall #z-465-4. | Toshiba America Medical Systems Inc. Tustin California. Fda Approved The Firm's Corrective Action Plan March 29 1994. Firm-initiated Field Correction Ongoing. | Toshiba Corporation Tokyo Japan. | March 29, 1994 | Device failed to comply with the federal performance standard for diagnostic x-ray system and their major components for user information as required | 11 Units. -10- | Nationwide.
1994-04-06 | Devices | II | z-529/531-4 | Stiegmann-goff Endoscopic Ligator Kits For Endoscopic Ligation Of Varices And Hemorrhoids: (a) Stiegmann-goff Endoscopic Ligator Catalog #200220 (5 Bands); (b) Stiegmann-goff Endoscopic Ligator Catalog #200221 (10 Bands); (c) Stiegmann-goff Endoscopic Ligator Catalog #200219 1 Per Box. Recall #z-529/531-4. | Bard Interventional Products Tewksbury Massachusetts | Superior Health Care Group Inc. Cumberland Rhode Island. | December 3, 1993 | No 510(k) has been filed for the esophageal use of the ligator and no 510(k) was filed for the overtube used as an accessory to the endoscopic procedure | 37 710 Ligators And 3 414 Overtubes Were Distributed. | Nationwide And International.
1994-04-06 | Devices | II | z-532/534-4 | Allergan Medical Optics (amo) Prestige Pack Disposable Tubing Sets: (a) Model Opo-30s Phaco I/a Tubing Set Small Bore Provides Items Necessary To Perform One Irrigation/aspiration Procedure Or One Phacoemulsification Procedure With Amo Cataract Equipment; (b) Model Opo-30c Phaco I/a Tubing Set Provides Items Necessary To Perform One Irrigation/aspiration Procedure Or One Phacoemulsification Procedure With Amo Cataract Equipment; (c) Model Opo-40 Phaco I/a Tubing Set Provides Items Necessary To Perform One Irrigation/aspiration Procedure Or One Phacoemulsification Procedure With Amo Prestige Advanced Cataract Extraction System. Recall #z-532/534-4. | Allergan Medical Optics Division Of Allerlgan Inc. Irvine California | Allergan Medical Optics Subsidiary Of Allergan Inc. Lenoir City North Carolina. | November 9, 1993 | Cracks have been found on outer trays used to package sterile tubing sets | (a) 175 790 Sets; (b) 12 036 Sets; (c) 390 Sets Were Distributed; Firm Estimates The Following Amounts Remain On The Market: (a) 7 324 Sets; (b) 1 504; (c) 97. -11- | Nationwide And International.
1994-04-06 | Devices | III | z-443-4 | Sma Reference Reagent Intended For In-vitro Diagnostic Use In The Calibration Of Sma Analyzers. Recall #z-443-4. | Manufacturer | Amresco Inc. Solon Ohio. | September 3, 1993 | The device was found to have been assigned an incorrect lot number | 100 Vials. | California North Dakota Canada.
1994-04-06 | Devices | III | z-444/449-4 | Namic Angiographic Guidewires Intended For Use In The Percutaneous Introduction Of Catheters: (a) Catalog #96000105; (b) Catalog #96000106; (c) Catalog #96000204; (d) Catalog #96000207; (e) Catalog #96000208; (f) Catalog #96000209. Recall #z-444/449-4. | Namic (north American Instrument Company) Glens Falls New York | Lake Region Manufacturing Company Inc. Chaska Minnesota. | January 11, 1993 | Labeling does not correctly identify the shape of the tip | 5 575 Units Were Distributed. | Nationwide And International.