## 1994-04-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-04-20 | Drugs | II | d-238/245-4 | All Strengths And Package Sizes Including 5 Ml Physician Samples Of The Following Products: Eli Lilly Brand Ceclor (cefaclor Usp) For Oral Suspension; M-5130 187mg/5ml 50ml; M-5130 187mg/5ml 100ml M-5132 375mg/5ml 50ml; M-5132 375mg/5ml 100ml M-5057 125mg/5ml 75ml; M-5057 125mg/5ml 150ml M-5058 250mg/5ml 75ml; M-5058 250mg/5ml 150ml Eli Lilly Brand Lorabid (loracarbef) For Oral Suspension: M-5135 100mg/5ml 50ml; M-5135 100mg/5ml 100ml M-5136 200mg/5ml 50ml; M-5136 200mg/5ml 100ml Dista Brand Keflex (cephalexin Usp) For Suspension: M-201 125mg/5ml 100ml; M-201 125mg/5ml 200ml M-202 250mg/5ml 5ml; M-202 250mg/5ml 100ml M-202 250mg/5ml 200ml. Recall #d-238/245-4. | Eli Lilly And Company Indianapolis Indiana | Eli Lilly Industries Inc. Carolina Puerto Rico. | March 31, 1994 | Several bottles contained a small plastic cap | 1.2 Million Bottles Plus An Equivalent Number Of Physician Samples. | Nationwide.
1994-04-20 | Drugs | II | d-246-4 | Normodyne Brand Of Labetalol Hydrochloride Usp Tablets 200 Mg In 1000 Tablet Bottles Indicated In The Management Of Hypertension. Recall #d-246-4. | Manufacturer | Schering Plough Products Inc. Las Piedras Operations Las Piedras Puerto Rico. | March 16, 1994 | Subpotency. | 5 663 Bottles Were Distributed; Firm Estimates 2 420 Bottles Remain On The Market. | Texas Missouri Oregon Wisconsin Illinois Alabama Kentucky Michigan.
1994-04-20 | Drugs | II | d-247-4 | Procainamide Hydrochloride Extended Release Usp 250 Mg Rx In Bottles Of 100 And Unit Dose Packages (10 X 10) Indicated For The Treatment Of Ventricular Arrhythmias Under The Danbury And Schein Labels. Recall #d-247-4. | Danbury Pharmacal Inc. Carmel New York | Danbury Pharmacal Inc. Danbury Connecticut. | March 31, 1994 | Product does not meet dissolution specifications | Approximately 35 000 100-tablet Bottles And 10 000 Unit Dose Packs Of 100 Tablets Were Distributed. | Nationwide.
1994-04-20 | Drugs | II | d-249-4 | Theo-dur Sprinkle Theophylline (anhydrous) Sustained Action Oral Capsules 50 Mg In 100 Tablet Bottles For Relief And Or Prevention Of Symptoms From Asthma And Reversible Bronchospasm Associated With Chronic Bronchitis And Emphysema (bronchodilator). Recall #d-249-4. | Manufacturer | Schering Plough Products Inc. Las Piedras Operations Las Piedras Puerto Rico. | March 22, 1994 | Marginally subpotent. | 42 708 Units Were Distributed; Firm Estimates 27 904 Units Remain On The Market. | Nationwide.
1994-04-20 | Drugs | II | d-251-4 | Bacitracin Ophthalmic Ointment 500 Units/gram Rx Ophthalmic Antibiotic Used For The Treatment Of Bacterial Infections Of The Eye Packaged In 3.5 Gram Tubes. Recall #d-251-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (relabeler) | Pharmafair Inc. Related To Bausch & Lomb) Hauppauge New York (responsible Firm). | March 22, 1994 | Potency not assured through expiration date | 133 Tubes Were Distributed; Firm Estimates 15 Percent Of The Product Remains On The Market. | New Mexico Florida Illinois California Virginia Maryland Indiana.
1994-04-20 | Drugs | II | d-252-4 | Primatene Tablets 60 Tablet Size Only Packaged In Thermoform Blister/boxes Bronchodilator For Relief And Control Of Attacks Of Bronchial Asthma. Recall #d-252-4. -3- | Whitehall Laboratories Madison New Jersey (responsible Firm) | Whitehall-robins Labs Guyama Puerto Rico. | December 28, 1993 | Product label, by error, lacks pregnancy statement | Approximately 44 560 Dozen 60-tablet Blister Packs Were Distributed; Firm Estimates 20 000 Dozen Remains On The Market. | Nationwide.
1994-04-20 | Drugs | II | d-253-4 | Loestrin Fe 1.5/30 Tablets Ethinyl Estradiol 30 Mcg And Norethindrone 1.5 Mg Rx Oral Contraceptive Packaged In Boxes 5 Cards Of 28 Tablets Each. Recall #d-253-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (repacker) | Parke-davis Division Of Warner Lambert Fajardo Puerto Rico (responsible Firm). | February 14, 1994 | Product may not meet content uniformity specifications | 8 Boxes Of 5 Cards Of 28 Tablets Were Distributed; Firm Estimates None Remains On The Market. | Virginia Ohio.
1994-04-20 | Drugs | III | d-248-4 | Vitamin A Palmitate 15 Mg (50 000 Usp Units) Capsules Packaged In Bottles Of 100 And 1000 Soft-gel Capsules Rx Effective For The Treatment Of Vitamin A Deficiency Under The Following Labels: Schein Url And Rugby. Recall #d-248-4. | Manufacturer | Pharmacaps Inc. Elizabeth New Jersey. | January 21, 1994 | Subpotency. | 5 904 Bottles Of 100 Capsules And 168 Bottles Of 1000 Were Distributed; Firm Estimates None Remains On The Market. | New York Pennsylvania.
1994-04-20 | Drugs | III | d-250-4 | Iodohippurate Sodium I-131 Injection Multi Dose A Sterile Non-pyrogenic Intravenous Solution For Diagnostic Use In Determining Renal Function Renal Blood Flow Urinary Tract Obstruction And As A Renal Imaging Agent. Recall #d-250-4. | Cis-us Inc. Bedford Massachusetts | Sorin Biomedica Saluggia Italy. | March 4, 1994 | Label bears incorrect calibration date of 3/22/93 instead of 3/22/94 | 39 Vials Were Distributed. | Nationwide.
1994-04-20 | Biologics | III | b-195-4 | Source Plasma. Recall #b-195-4. | M.p.s. Inc. Opelousas Louisiana | M.p.s. Inc. Doing Business As Leesville Plasma Center Leesville Louisiana. | December 28, 1993 | Blood product, untested for viral markers, was distributed | 1 Unit. | California Kentucky Germany.
1994-04-20 | Biologics | III | b-196/199-4 | (a) Whole Blood; (b) Red Blood Cells; (c) Platelets; (d) Platelets Pheresis. Recall #b-196/199-4. | Manufacturer | The Community Blood Center Of Greater Kansas City Kansas City Missouri. | April 10, 1993 | Blood products, incorrectly tested for the antibody to human immunodeficiency virus type 1/2 (anti-hiv-1/2), were distributed | (a) 2 Units; (b) 47 Units; (c) 68 Units; (d) 3 Units. | Kansas Missouri.
1994-04-20 | Devices | II | z-049-4 | Battery Packs With Poor Sonic Weld Seals Which Seal The Battery Pack Assembly Case Of The Lp-300 (lifepak 300 Defibrillator). Recall #z-049-4. | Manufacturer | Physio Control Corporation Redmond Washington. | March 19, 1994 | The weld seals fail, resulting in damage to diodes on the battery pak's charging circuity causing improper charging of the battery | Approximately 11 088 Battery Packs Were Distributed. | Nationwide And International.
1994-04-20 | Devices | II | z-497/502-4 | Glucose 3 And Glucose V Test Strips Under The Following Labels: (a) Biocare M 50 Strip Bottles; (b) Biocare Vt 50 Strip Bottles; (c) Biotel 3 25 And 50 Strip Bottles (d) Biotel V 14 25 And 50 Strip Bottles -6- (e) Glucose 3 50 Strip Bottles (f) Glucose V 50 Strip Bottles. Recall #z-497/502-4. | NOT-FOUND | Caromed Inc. Chester South Carolina | 1993-10-08 | Certain batches of caromed glucose v and caromed glucose 3 blood glucose monitoring strips have been marketed with shelf-lives shorter than that indicated on the package | Undetermined. -7- | Nationwide And International.
1994-04-20 | Devices | II | z-503/505-4 | Cards Hcg-serum/urine Pregnancy Test Kits An In-vitro Diagnostic Device And Its Purpose Is To Detect Human Chorionic Gonadotropin (hcg) In Serum Or Urine To Aid In The Diagnosis Of Pregnancy: (a) Catalog #cr7503; (b) Catalog #cr7504; (c) Catalog Cr7506. Recall #z-503/505-4. | Manufacturer | Pacific Biotech Inc. San Diego California. | December 27, 1993 | There is a loss of sensitivity which may result in failure of the test to detect early pregnancy | (a) 1 344 Units; (b) 130 Units; (c) 1 498 Units. | Nationwide And International.
1994-04-20 | Devices | II | z-506/511-4 | Alp Respiratory Therapy Solution Transfer Sets Sterile Rx Devices Used To Fill And Feed Sterile Solutions To Adult And Pediatric Respiratory Therapy Humidifier And Nebulizer Reservoirs From Flexible Solution Containers 48 Sets Per Case; Manufactured For: Automatic Liquid Packaging Inc. Healthcare Products Division Woodstock Illinois: (a) Catalog #al5002: Alp Luer Tip Respiratory Transfer Set 97 Cm (38" Long) For Use With Humidifiers Which Incorporate Their Own Float Feed Liquid Level Control And Humidifiers Requiring Manual Filling; (b) Catalog #al5003: Alp Respiratory Transfer Set 97 Cm (38" Long) For Use With The Bird Micronebulizer (4144) Which Does Not Contain A Float Feed Liquid Level Control Device; (c) Catalog #al5003-a: Alp Respiratory Transfer Set 97 Cm (38" Long) This Set Is Similar To The Al5003 But Has A Larger Luer Adapter Tip; (d) Catalog #al5004: Alp Respiratory Transfer Set 97 Cm (38" Long) For Use With Humidifiers And Nebulizers Which Incorporate Their Own Float Feed Liquid Level Control (e) Catalog #al5008: Alp Respiratory Transfer Set 97 Cm (38" Long) (same Configuration As The Al5003-a Set); (f) Catalog #al5009: Alp Ventilator Transfer Set With 22 Mm Elbow And Spring To Close Clamp 99 Cm (39" Long) For Use With Heated Humidifiers And Nebulizers Which Do Not Contain Float Feed Liquid Level Control Devices. Recall #z-506/511-4. -8- | Automatic Liquid Packaging Inc. Woodstock Illinois | The Mextrix Company Dubuque Iowa. | February 9, 1994 | Products fail to perform as intended in that the clamp/delivery is in the "shut-off" position | 5 686 Cases Were Distributed; Firm Estimates 542 Cases Remain On The Market. | Nationwide The Netherlands Italy Canada.
1994-04-20 | Devices | II | z-520/528-4 | Aerosol Cloud Enhancer Component Accessories And Kits Single-patient Use Prescription Devices For Use With Metered Dose Inhalers Or Other Breathing Devices: (a) Ace Spacer Kits Catalog #11-1020; (b) Ace Adaptor Kits Catalog #11-1030; (c) Ace Hospital Evaluation Sampler Kit Catalog 11-1099; (d) Ace (pharmacy/homecare Package) Catalog #11-2020; (e) Ace/coach Training System: Pediatric Model Catalog #11- 0002. This Kit Contains An Ace 11-1020 And A 2000cc Coach Jr. (22-20002); (f) Ace/coach Training System: Adult Model Catalog #11- 0004. This Kit Contains An Ace 11-1020 And A 4000cc Coach 22-400; (g) Nif-tee Kit Inspiratory Force Monitoring Kit Catalog #55-4900; (h) Nif-tee Non-breathing T-piece Catalog #33-3500; (i) Nif-tee With Reducer And Extension Tube Catalog #33-3500. Recall #z-520/528-4. | Dhd Diemolding Healthcare Division Canastota New York | Dhd Diemolding Healthcare Division Wampsville New York. | February 14, 1994 | The one way valve sticks to the valve housing and requires a pressure to open the valve that is higher than desired | Catalog No. Quantity Shipped 11-0002 23 Units 11-0004 21 Units 11-1020 64 950 Units 11-1030 2 125 Units 11-1099 64 Units 11-2020 1 096 Units 33-3500 21 144 Units 33-3505 528 Units 55-4900 3 Units. | Nationwide Australia Canada England Korea Lebanon Netherlands Singapore. -9-
1994-04-20 | Devices | II | z-570-4 | In Which The Valve Is Used Possibly Resulting In Less Than Adequate Performance. _______________ Product Patient Transport Stretcher Model 910. Recall #z-570-4. | Hausted Inc. Medina Ohio | Basic American Metal Products Fond Dulac Wisconsin (contract Manufacturer). | September 11, 1992 | The stretcher frame may break while carrying an injured patient and the patient could suffer more injury, causing a serious condition to become critical | 279 Units Were Distributed. | Nationwide.
1994-04-20 | Devices | II | z-574-4 | Vision Sciences Endosheath System (disposable) For Use With The Vsi 2000 Sigmoidoscope 13.8 Mm Distal Head Sterile Provides A Protective Covering For The Endoscope And Includes Channels For Air Water And Suction/biopsy. Recall #z-574-4. | Manufacturer | Vision Sciences Inc. Natick Massachusetts. | November 4, 1993 | There is a potential for leaks at the distal head cap of the sheath | 120 Units Were Distributed. | Alabama California Florida Georgia Indiana Massachusetts New York.
1994-04-20 | Devices | II | z-575/576-4 | Cascade I Series Humidifiers Designed To Add Heat And Moisture To Inspired Gases Delivered To Patients During Ventilation: (a) Model 1; (b) Model 1a. Recall #z-575/576-4. | Manufacturer | Puritan-bennett Corporation Ventilator Systems Division Carlsbad California. | October 18, 1993 | Devices may pose a fire hazard under certain conditions and modes of operation; if the units are not properly maintained, used, and monitored (for example, thermoswitch not replaced per owners manual, no water in jar, no thermal well, and no temperature alarm) | 149 083 Units Were Distributed. | Nationwide Canada.
1994-04-20 | Devices | II | z-581/585-4 | Ophthalmic Microsurgical Accessory Vitrectomy Packs: (a) Deluxe Posterior Vitrectomy Packs Sterile/single Patient Use Packaged 6 Packs/box Catalog #dp4800. The Pack Provides Instruments And Accessories Necessary To Perform A Pars Plana Vitrectomy; (b) Basic Posterior Vitrectomy Packs Sterile/single Patient Use Packaged 6 Packs/box Catalog #dp4801. The Pack Provides A Vitrectomy Cutter Tubing And Cassette To Perform A Pars Plana Vitrectomy; (c) Anterior Vitrectomy Packs Sterile/single Patient Use Packaged 2 Packs/box Catalog #dp4400. The Pack Provides Vitrectomy Cutter And Tubing To Assist With Vitreous Prolapses Into The Anterior Chamber (anterior Vitrectomy). (d) Anterior Vitrectomy Packs With Variable Port Cutter Sterile/single Patient Use Packaged 2 Packs/box Catalog #dp4400vp. The Pack Provides A Vitrectomy Cutter And Tubing For The Anterior Chamber When Vitreous Prolapses Into The Anterior Chamber (anterior Vitrectomy); (e) Microvit Systems Vitrectomy Probe Pack Sterile/single Patient Use Packaged 2 Packs/box Catalog #mvs-3201. The Pack Is Used To Assist With Vitreous Prolapses Into The Anterior Chamber (anterior Vitrectomy). Recall #z-581/585-4. | Manufacturer | Storz Instrument Company St. Louis Missouri. | December 30, 1993 | The actuation (air) and aspiration lines connected to the vitrectomy probe may be reversed | (a) 3 280 Packs; (b) 189 Boxes; (c) 211 Boxes; (d) 82 Boxes; (e) 44 Boxes Were Distributed. -11- | Nationwide And International.
1994-04-20 | Devices | II | z-589-4 | Chemcard Cholesterol Test A Screening Device For Identification Of Elevated Blood Cholesterol Levels. Recall #z-589-4. | Manufacturer | Chem-elec Inc. North Webster Indiana. | December 9, 1992 | The firm has not demonstrated that their present product using a pull out color chart is substantially equivalent to the original color wheel chart | Approximately 127 Boxes Of 24 Test Cards Were Distributed. | Nationwide.
1994-04-20 | Devices | II | z-590-4 | Cobe Cms Hardshell Oxygenator Sold As Stand-alone Units. Recall #z-590-4. | Manufacturer | Cobe Cardiovascular Inc. Arvada Colorado. | September 30, 1993 | A potential reversal of arterial and venous sample line connections may exist, which could cause an embolism to be created | 20 2-unit Cases Were Distributed. | Michigan Indiana Illinois.
1994-04-20 | Devices | II | z-611-4 | Sirecust 404 Patient Monitors With Software Version Vj1-bth. The Monitor Measures Signals For Ekg Dual Ekg + Resp Sp02 Nibh/np Ventilator Pco2 Or C+c02. Recall #z-611-4. | Manufacturer | Siemens Medical Systems Inc. Danvers Massachusetts. | December 09, 1292 | When the device is used with software version vj1-bth, the monitor does not alarm for asytole when an artifact alarm is in effect for channel due to the presence of a cartridge in the second cartridge slot of the monitor | 1 240 Copies Of Software Version Vj1-bth Were Distributed. | California Tennessee Minnesota Illinois Wisconsin North Carolina Georgia Iowa New York Ohio And International.
1994-04-20 | Devices | II | z-612-4 | Siredoc 60 Recorders With Software Version Vfo-gxx Or Vf1- Gxx A Two-channel Recorder That Prints Timed Or Continuous Strip Recordings That Contain Waveforms Alarm Messages Patient Data Numerical Parameter Values And The Date And Time. Recall #z-612-4. | Manufacturer | Siemens Medical Systems Inc. Danvers Massachusetts. | January 12, 1994 | When the recorder is used with either software version vfo- gxx or vf1-gxx, the recorder output contains waveforms not belonging to the patient currently being monitored due to memory buffer interferes with real-time recording | 1 731 Units Were Distributed. | Nationwide And International.
1994-04-20 | Devices | III | z-546-4 | Asserchrom Anti-phospholipid Antibodies (apa) Kits An Enzyme Immunoassay Of Anti-phospholipid Antibodies For In- Vitro Diagnostic Use. Recall #z-546-4. | American Bioproducts Company Parsippany New Jersey | Diagnostica Stago Franconville France. | September 15, 1993 | The device was found to have the negative control and the cut-off control mislabeled | 29 Kits Were Distributed. | New Mexico Massachusetts Texas Tennessee Pennsylvania Maryland.
1994-04-20 | Devices | III | z-560-4 | Dsa Coordinate Indicator Anterior Plate Part #a0860-03 Included In The 11/15/90 1/24/91 And 4/24/91 Shipments. Recall #z-560-4. | Elekta Instruments Inc. Atlanta Georgia | Elekta Instruments Ab Stockholm Sweden. | November 12, 1991 | Fiducial marking on some of the plates are improperly placed | Firm Estimates None Remains On The Market. | California Connecticut New York Pennsylvania Texas Virginia Wisconsin Michigan.
1994-04-20 | Devices | III | z-578/580-4 | Abbott Imx Ck-mb Calibrators Controls Mode 1 Calibrator: (a) Abbott Imx Ck-mb Calibrators For Calibration Of Imx Analyzer When Used For The Determination Of Human Ck-mb In 4 Ml Bottles List #2207-01; (b) Abbott Imx Ck-mb Controls For Verification Of The Calibration Of The Imx Analyzer When Used For The Determination Of Human Ck-mb In 8 Ml Bottles List #2207- 10; (c) Abbott Imx Ck-mb Mode 1 Calibrator For In-vitro Diagnostic Use With Imx Ck-mb In 4 Ml Bottles List #2207- 40. Recall #z-578/580-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. | April 5, 1993 | The device was found to have lost potency over time, which may result in controls reading outside specifications and thus giving invalid assay results | 1 624 Calibrator Packs 5 348 Control Packs And 3 534 Mode 1 Calibrators Were Distributed. | Nationwide And International.
1994-04-20 | Devices | III | z-591-4 | Axiom Knee Tibial Punch/alignment Guide Handle Sizes 70-90 Used To Prepare The Tibia For Implant Of The Axiom Knee Prosthesis. Recall #z-591-4. | Manufacturer | Orthomet Inc. Minneapolis Minnesota. | December 22, 1993 | A "dovetail" area was machined onto the wrong side of the instrument which resulted in the slope being oriented in the wrong direction | 3 Units. | Kentucky Maine Louisiana.
1994-04-20 | Devices | III | z-620-4 | Abbott Imx Meia #2 Diluent Buffer An In-vitro Diagnostic Reagent For Use With The Imx Test Kits In 1000 Ml Bottles List #8374. Recall #z-620-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. | April 17, 1992 | The buffer was found to inappropriately contain phosphate which could cause decreased rates with imx assays | 860 Boxes (4 Bottles Per Box) Were Distributed. | Nationwide Mexico Taiwan Korea France Italy.