## 1994-05-11
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-05-11 | Drugs | II | d-264/265-4 | Rugby Brand: (a) Tri-statin Ii Cream (nystatin And Triamcinolone Acetonide Cream Usp) In 15 Gram Tubes Rx For Dermatologic Use; (b) Triamcinolone Acetonide Cream Usp 0.025% In 15 Gram Tubes Rx For Dermatological Use. Recall #d-264/265-4. | Manufacturer | Nmc Laboratories Inc. Glendale New York. | April 10, 1994 | A portion of the lot of tri-statin ii cream (nystatin & triamcinolone acetonide) tubes were miscartoned as triamcinolone acetonide cream | 8 870 Tubes Were Distributed. | 1 Wholesale Account In New York.
1994-05-11 | Drugs | II | d-267/273-4 | Rx Oral Suspension Antibiotics Used For The Treatment Of Respiratory Infections Relabeled By Allscrips: (a) Ceclor Cefaclor Oral Suspension -- 125 Mg/5 Ml In 75 Ml 150 Ml Bottles; 187 Mg/5 Ml In 50 Ml And 100 Ml Bottles; 250 Mg/5 Ml In 75 Ml Bottles And 150 Ml Bottles 375 Mg/5 Ml In 50 Ml Bottles And 100 Ml Bottles (b) Lorabid Loracarbef For Oral Suspension -- 100 Mg/5 Ml In 50 Ml Bottles And 100 Ml Bottles; 200 Mg/5 Ml In 50 Ml Bottles And 100 Ml Bottles; (c) Keflex Cephalexin Oral Suspension Manufactured By Dista Products Co. Carolina Puerto Rico -- 250 Mg/5 Ml In 100 Ml Bottles And 200 Ml Bottles. Recall #d-267/273-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (relabeler) | (a&b;) Eli Lilly Industries Inc. Carolina Puerto Rico (responsible Firm); (c) Dista Products Company Carolina Puerto. | April 1, 1994 | Bottles may contain a small plastic cap | (a) 26 898 Bottles; (b) 1 190 Bottles; (c) 59 Bottles Were Distributed; Firm Estimates That 25 Percent Of The Product Remains On The Market. | Nationwide.
1994-05-11 | Drugs | III | d-266-4 | Sterile Lubraseptic Jelly In 10 G Sterile Tubes Non- Prescription Product Used For Lubrication Of Catheters Cystoscopes Instruments And Gloves Has Anesthetic And Antibacterial Qualities Under Baker Norton And United Guardian Labels. Recall #d-266-4. | Manufacturer | United Guardian Hauppauge New York. | April 12, 1994 | Subpotency. | 43 996 Cartons (24 Per Carton) Were Distributed. | Nationwide.
1994-05-11 | Biologics | II | b-253/259-4 | (a) Red Blood Cells; (b) Platelets; (c) Platelets Pheresis; (d) Cryoprecipitated Ahf; (e) Red Blood Cells For Further Manufacture; (f) Fresh Frozen Plasma; (g) Recovered Plasma. Recall #b-253/259-4. | Manufacturer | Central Blood Bank Pittsburgh Pennsylvania. | May 4, 1993 | Blood products, which tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 15 Units; (b) 11 Units; (c) 1 Unit; (d) 4 Units; (e) 1 Unit; (f) 6 Units; (g) 25 Units. | Pennsylvania New York Illinois North Carolina California.
1994-05-11 | Biologics | II | b-260-4 | Red Blood Cells. Recall B-260-4. | Manufacturer | American Red Cross Blood Services Charlotte North Carolina. | September 14, 1993 | Blood product, maintained at improper temperatures during shipment, was distributed | 1 Unit. | North Carolina.
1994-05-11 | Biologics | II | b-267-4 | (a) Platelets Pheresis. Recall #b-267-4. | Manufacturer | Northern Illinois Blood Bank Inc. Rockford Illinois. | October 29, 1993 | Blood product, which tested initially reactive for hepatitis b surface antigen (hbsag) followed by a single repeat test, was distributed | 1 Unit. -3- | Illinois.
1994-05-11 | Biologics | III | b-250/251-4 | (a) Platelet Concentrate; (b) Platelets Pheresis. Recall #b-250/251-4. | Manufacturer | Northern Illinois Blood Bank Rockford Illinois. | August 16, 1993 | Platelets, stored under unacceptable temperatures, were distributed | (a) 310 Units; (b) 41 Units. | Illinois.
1994-05-11 | Biologics | III | b-261-4 | Recovered Plasma. Recall #b-261-4. | Manufacturer | American Red Cross Blood Services Charlotte North Carolina. | September 27, 1993 | Blood product collected from a donor with a history of cancer, was distributed | 2 Units. | California.
1994-05-11 | Biologics | III | b-262/264-4 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma. Recall #b-262/264-4. | Manufacturer | American Red Cross Blood Services Tulsa Oklahoma. | June 30, 1993 | Blood products manufactured using an unacceptable collection and processing technique, were distributed | 2 Units Of Each Component. | Oklahoma California.
1994-05-11 | Biologics | III | b-265/266-4 | (a) Whole Blood Cpda-1; (b) Red Blood Cells. Recall #b-265/266-4. | Manufacturer | Northern Illinois Blood Bank Inc. Rockford Illinois. | October 29, 1993 | Blood products, which tested initially reactive for hepatitis b surface antigen (hbsag) followed by a single repeat test, were distributed | (a) 1 Unit; (b) 3 Units. | Illinois Wisconsin.
1994-05-11 | Devices | II | z-676-4 | Evershears Bipolar Coagulating Scissors Model 3801 Used During Laparoscopic Surgical Procedures For Mechanical Cutting And Bipolar Coagulation Using Electrosurgical Energy. Recall #z-676-4. | Manufacturer | Everest Medical Corporation Minneapolis Minnesota. | February 28, 1994 | The ceramic blade of the scissor separates from the metal support blade during use | 175 Units From Lots Xj934301 And Ac004326 And 3 Units From Lot Xj934601 Were Distributed. | Nationwide Canada United Kingdom.
1994-05-11 | Devices | II | z-703/704-4 | (a) Pca-10 3 Ring With Rotator 10 Cc Disposable Angiography Control Syringe Sterilized With Ethylene Oxide Gas Non- Pyrogenic Catalog #c305-0035; (b) Coeur Pca-10 3 Ring With Rotator 10 Cc Disposable Angiograpy Control Syringe Bulk Non-sterile Catalog #c305-1035 Used For Injections Into A Patient's Vascular System. Recall #z-703/704-4. | Manufacturer | Coeur Laboratories Inc. Raleigh North Carolina. | December 6, 1993 | Product defect which could allow air bubbles to leak into the syringe and be injected into the patient | (a) 1 600 Units; (b) 10 900 Units Were Distributed. -6- | California New Jersey Florida Kentucky Texas Virginia England Germany Australia Canada.
1994-05-11 | Devices | II | z-709/710-4 | Tmj Abrasion Burs For Small Joint Arthroscopy Sold Under The Stryker Endoscopy Label: (a) Model 266-641-000 2 Mm; (b) Model 266-647-000 3 Mm. Recall #z-709/710-4. | Stryker Endoscopy San Jose California | Stryker Puerto Rico Inc. Arroyo Puerto Rico. | March 25, 1993 | The burs did not have suction slots cut into them | (a) 54 Units; (b) 30 Boxes. | Nationwide Hong Kong West Germany Mexico.
1994-05-11 | Devices | II | z-720-4 | Medtronic Elite Ii Model 7084 Activity Responsive Dual Chamber Pacemakers. Recall #z-720-4. | Medtronic Inc. Minneapolis Minnesota | Med Rel Inc. Humacao Puerto Rico. | March 10, 1994 | The devices were distributed into interstate commerce without an approved premarket approval supplement | 70 Units Were Distributed; Firm Estimates None Remains On The Market. | Alaska California Colorado Florida Georgia Hawaii Iowa Maryland Minnesota New Hampshire New York North Carolina Oklahoma Pennsylvania South Carolina Tennessee Texas.
1994-05-11 | Devices | II | z-721/725-4 | Pal Pro-assist Professional Assistance Lift And Full Body Transfer Lift Motorized Patient Transport Devices: (a) Model Pa100; (b) Model Pa200; (c) Pa300; (d) Model Pl150; (e) Model Pl250. Recall #z-721/725-4. | Manufacturer | Sunrise Machine & Tool Inc. Detroit Lakes Minnesota. | December 21, 1993 | The legs of the patients lifts could come out of their channels when used in the narrow position, allowing the main mast to fall forward, dropping the patient to the floor | 124 Units. | Colorado Georgia Iowa Kentucky Massachusetts Michigan Minnesota Montana North Dakota South Dakota Oregon Pennsylvania Tennessee Texas Wisconsin. -7-
1994-05-11 | Devices | II | z-748-4 | Night Vision Image Intensifiers Model T3c-2 Used For Viewing Objects And Persons In Subdued Lighting. Recall #z-748-4. | Sentinel Electronics Bristol Pennsylvania (importer). Fda Approved The Firm's Corrective Action Plan April 18 1994. Firm-initiated Field Correction Ongoing. | Novosibirsk Instrument Making Plant In Novosibirsk Russian Federation. | April 18, 1994 | Product contains a radiation defect, in that the products emit x-radiation that is unnecessary to the accomplishment of the purpose of the product, and create a risk of injury to users | 16 Units. | Nationwide.
1994-05-11 | Devices | II | z-753-4 | Arrow Two-lumen Central Venous Catherization Kit Containing The Spring Wire Guide Which Was The Subject Of The Packaging Error. The Spring Wire Guide Is Used To Guide The Catheter Into The Correct Position. Recall #z-753-4. | Arrow International Inc. Reading Pennsylvania | Arrow International Inc. Randleman North Carolina. | October 11, 1993 | The catheter is not usable with a 0 | 30 Cases (5 Kits Per Case) Were Distributed; Firm Estimates None Remains On The Market. | Georgia New Jersey California New York.
1994-05-11 | Devices | II | z-755/758-4 | Haid Universal Bone Plate (ubp) System Used For A Variety Of Operative Procedures: (a) Part #650005-002 Catalog No. S/l 50-4551 (small Set); (b) Part #650005-003 Catalog No. S/l 50-4552 (standard Set); (c) Part #650005-004 Catalog No. S/l 50-4553 (large Set); (d) Part #650005-005 Catalog No. S/l 50-4554 (evaluation Set). Recall #z-755/758-4. | Manufacturer | American Medical Electronics Inc. (ame) Richardson Texas. -8- | February 9, 1993 | The new intended use for the devices in the cervical spine (fixation/stabilization) does not have a required premarket approval | 548 Ubp Systems And An Undetermined Quantity Of Bone Plates And Screws Ordered As Refills. | Nationwide And International.
1994-05-11 | Devices | III | z-632-4 | Sterile Gelfilm Absorbable Gelatin Film Usp And Sterile Ophthalmic Gelfilm Usp For Use In Neurosurgery And Thoracic And Ocular Surgery. Recall #z-632-4. | Manufacturer | The Upjohn Company Kalamazoo Michigan. | April 15, 1993 | Products failed to meet the usp digestibility specification within the labeled expiration period | 891 Units Were Distributed. | Nationwide And International.
1994-05-11 | Devices | III | z-685-4 | Sterile 7 X 30 Mm Cannu-flex Silk Interference Screw Catalog #014202 In Double Tyvek Blister Package. Recall #z-685-4. | Manufacturer | Acufex Microsurgical Inc. Mansfield Massachusetts. | January 5, 1994 | Product was labeled 7 x 30 mm cannuflex silksrew, but actually contained non-cannulated 7 x 30 mm interference screw | 106 Units Were Distributed. | Nationwide.
1994-05-11 | Devices | III | z-730/731-4 | Abbott Imx Ck-mb Controls For Verification Of The Calibration Of The Imx Analyzer Used For The Determination Of Human Ck-mb In 3 - 8 Ml Bottles; (b) Abbott Imx Ck-mb Mode 1 Calibrator For In-vitro Diagnostic Use With Imx Ck- Mb In 3 - 4 Ml Bottles With (human) Heart Ck-mb In Human Serum With Protein Stabilizers 30 Mg/ml. Recall #z-730/731-4. | Manufacturer | Abbott Laboratories Diagnostics Division Abbott Park Illinois. -9- | August 31, 1993 | Devices were found to have loss potency due to thermal stress causing chemical degradation, which may result in controls reading outside of specifications causing invalid assay results | 774 Control Packs And 604 Mode 1 Calibrators Were Distributed. | Nationwide Canada France Japan Korea Singapore.