## 1994-05-25
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-05-25 | Drugs | II | d-277-4 | Primatec Compound Tincture Benzoin Usp In 1 Fluid Ounce Plastic Bottles Nonprescription Pharmaceutical. Recall #d-277-4. | Repacker | Primatec Pharmaceuticals Inc. West Kingston Rhode Island (repacker). | March 31, 1994 | A portion of the lot contained coal tar topical solution | 1 Case Of 50 Units Were Distributed. | New Hampshire.
1994-05-25 | Drugs | II | d-278/279-4 | (a) Magnesium Citrate Oral Solution Lemon Flavored; (b) Magnesium Citrate Oral Solution Low Sodium Lemon Flavored. Recall #d-278/279-4. | Manufacturer | Cumberland-swan Inc. Smyrna Tennessee. | April 13, 1994 | Some bottles contained glass particles | Firm Estimated That 65 500 Dozen Of The Regular Formula And 24 800 Dozen Of The Low Sodium Remained In Commerce At Time Of Recall Initiation. | Nationwide Canada.
1994-05-25 | Drugs | II | d-283-4 | Levothyroxine Sodium Tablets 0.5 Mg In Bottles Of 30 Rx Oral Snythetic Thyroid Hormone. Recall #d-283-4. | Allscrips Pharmaceuticals Inc. Vernon Hills Illinois (repacker) | Chelsea Laboratories Caribe Inc. Bayamon Puerto Rico (responsible Firm). | April 27, 1994 | Potency not assured through expiration date | 28 Bottles Were Distributed. | Illinois Florida.
1994-05-25 | Drugs | III | d-282-4 | Chlorpromazine Hcl Oral Concentrate Usp 100 Mg Per 3.4 Ml Rx Oral Tranquilizer/antiemetic. Recall #d-282-4. | Xactdose Inc. South Beloit Illinois (repacker) | Roxane Laboratories Columbus Ohio. | May 9, 1994 | Product does not meet ph specifications | 444 Cases Were Distributed; Firm Estimates 25 Percent Remains On The Market. | Nationwide.
1994-05-25 | Drugs | III | d-280/281-4 | Triamcinolone Acetonide Lotion Usp In 2 Fluid Ounce Bottles Rx Topical Corticosteroid For The Relief Of The Inflammatory And Pruritic Manifestations Of Corticosteroid- Responsive Dermatoses: (a) 0.025% Sold Under The Following Labels: Pennex Manufactured By Pennex Pharmaceuticals Inc. Morton Grove Il; Pbi Manufactured By Pharmaceutical Basics Inc. Morton Grove Il; Qualitest Manufactured For Qualitest Products Inc. Huntsville Al; Rugby Manufactured For Rugby Laboratories Inc. Rockville Centre Ny; Schein Distributed By Schein Pharmaceutical Inc. Port Washington Ny; (b) 0.1% Sold Under The Following Labels: Pennex Manufactured By Pennex Pharmaceuticals Inc. Morton Grove Il; Pbi Manufactured By Pharmaceutical Basics Inc. Morton Grove Il. Recall #d-280/281-4. | Manufacturer | Pennex Pharmaceuticals Inc. Morton Grove Illinois. | May 16, 1994 | Subpotency. | (a) 54 636 Bottles; (b) 21 769 Bottles Were Distributed; Firm Estimates 30 Percent Of Product Remains On The Market. | Nationwide.
1994-05-25 | Drugs | III | d-284-4 | Betamethasone Valerate Usp 0.1% Ointment In 15 And 45 Gram Tubes Rx Topical Corticosteroid With Anti-inflammatory Anti-pruritic And Vasoconstrictive Actions Under The Following Labels: Nmc Goldline Major Quality Major Pharmaceuticals Schein H.l. Moore. Recall #d-284-4. | Manufacturer | Nmc Laboratories Inc. Glendale New York. | May 17, 1994 | Subpotency. | 13 092 45-gram Tubes And 8 542 15-gram Tubes Were Distributed. | Nationwide.
1994-05-25 | Biologics | II | b-282-4 | Red Blood Cells. Recall #b-282-4. | Manufacturer | The American National Red Cross Tulsa Oklahoma. | October 27, 1993 | Blood product, that tested indeterminate for the antibody to human t-lymphotropic virus type i (anti-htlv-i) by western blot, was distributed | 1 Unit. | Texas.
1994-05-25 | Biologics | II | b-283-4 | Red Blood Cells. Recall #b-283-4. | Manufacturer | The American National Red Cross Philadelphia Pennsylvania. | January 14, 1994 | Blood products, corresponding to units of platelets which were implicated in a case of post-transfusion septicemia with coagulase negative staphylococcus sp | 6 Units. | Pennsylvania New Jersey.
1994-05-25 | Devices | II | z-766/783-4 | Bard 4/5f 65cm And 90cm High Flow Flush Intravascular Catheters For Use As Intravascular Diagnostic Catheters Used To Record Hemodynamic Pressures: (a) 006481 4f 65cm Pigtail Pediatric Flush (b) 006482 4f 65cm Straight Pediatric Flush (c) 006483 5f 65cm Pigtail Pediatric Flush (d) 006484 5f 65cm Straight Pediatric Flush (e) 006664 4f 65cm 8sh Pigtail Flush Catheter (f) 006665 4f 90cm 8sh Pigtail Flush Catheter (g) 006666 4f 65cm 8sh Straight Flush Catheter (h) 006667 4f 90cm 8sh Straight Flush Catheter (i) 006668 5f 65cm Pigtail Flush Catheter (j) 006669 5f 90cm 8sh Pigtail Flush Catheter (k) 006670 5f 65cm 8sh Straight Flush Catheter (l) 006671 5f 90cm 8sh Straight Flush Catheter (n) 200050 Flush Catheter 5f 65cm Pigtail (o) 200051 Flush Catheter 5f 90cm Pigtail (p) 200052 Flush Catheter 5f 65cm Straight (q) 200053 Flush Catheter 5f 65cm Straight (r) 099168 Special Flush Catheter (s) 099068 4/5f Pediatric Flush Catheter. Recall #z-766/783-4. | Usci Division C.r. Bard Inc. Billerica Massachusetts | Bard Urological Division Glens Falls New York. | March 10, 1994 | The firm failed to file a 510(k) premarket notification for their percutaneous polyamide flush catheters | 102 765 Units Were Distributed. | Nationwide And International.
1994-05-25 | Devices | II | z-784/788-4 | Intraocular Lens: (a) Model 120uv; (b) Model 121uv (c) Model 68suv; (d) Model P329uv; (e) Model 351uv. Recall #z-784/788-4. | Manufacturer | Storz Ophthalmics Inc. Clearwater Florida. | December 21, 1993 | Products may be labeled with the incorrect power and model, which would result in a refractive error if implanted | Firm Estimates None Remains On The Market. | California Germany Mexico Australia.
1994-05-25 | Devices | II | z-789-4 | Intraocular Lens Model 650 Cuv. Recall #z-789-4. | Manufacturer | Storz Ophthalmics Inc. Clearwater Florida. | February 10, 1994 | The devices may be labeled with the incorrect dioptic power, which would result in a refractive error if implanted | 12 Lenses | Georgia Florida New York Pennsylvania Minnesota.
1994-05-25 | Devices | II | z-799/801-4 | Dinamap Portable Vital Signs Monitors Used To Measure Patient Blood Pressure And Body Temperatures: (a) Model 8100; (b) Model 8110; (c) Model 8120. Recall #z-799/801-4. | Critikon Inc. Tampa Florida | S.c.i. Manufacturing Inc. Huntsville Alabama. | December 14, 1993 | The monitors' bezels and frames were built with the wrong threaded inserts, which are too small in diameter for the holes they were to fit into | 466 Units. | Nationwide.
1994-05-25 | Devices | II | z-802-4 | Reddick-saye Suture Needle Grice Needle Modification Model Rs-gsnm For Suturing Under Laparoscopic Control. Recall #z-802-4. | Manufacturer | Ideas For Medicine Clearwater Florida. | September 3, 1993 | The device fails to function as intended due to lack of adequate design and quality controls | 390 Units Were Distributed. | Colorado New Jersey Tennessee Ohio Iowa Florida Virginia Michigan Washington State South Carolina Minnesota Arizona Singapore Hong Kong Spain.
1994-05-25 | Devices | II | z-803/804-4 | Pediatric Straight Tip Arterial Cannula: (a) Pediatric Straight Tip Arterial Cannula 1/4" Connector 8 French Model #75008; (b) Pediatric Straight Tip Arterial Cannula 1/4" Connector 10 French Model #75010. Recall #z-803/804-4. | Manufacturer | Dlp Inc. Grand Rapids Michigan. | December 21, 1992 | Occlusion at the tip-body interface for the 8 french pediatric straight tip arterial cannula occurs and tip imperfections exist with the pediatric straight tip arterial cannula 10 french | Approximately 24 000 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide And International.
1994-05-25 | Devices | II | z-805/818-4 | Product Pouches. All Products In 11" Or 12" Package For Use In Conjunction With Cardiopulmonary Bypass Surgery: (a) Lancaster Cooling Jackets Product No. 13500; (b) Femoral Cannula Kit Product No. 166041; (c) Femoral Cannula Placement Kits Product Nos. 96014 96017 96021 96117 96121; (d) Femoral Cannula Insertion Kit Product No. E1961; (e) Guidewire Bag Product No. E1964; (f) Cardioplegia Management Set Product No. 13003; (g) Femoral Cannula Placement Kit Product No. 96017; (h) Left Atrial Pressure Monitor Catheter Product No. 50005; (i) Femoral Cannula Placement Kits Product No. 166042; (j) Dlp Cardio-kit Product No. 9901509; (k) Dlp Cardio-kit Product No. 9901038; (l) Dr. Chitwood's Heart Pack Product No. E1192; (m) Antegrade/retrograde Y Product No. 13050; (n) Perfusate Delivery Set Product No. 13055. Recall #z-805/818-4. | Manufacturer | Dlp Inc. Grand Rapids Michigan. | March 8, 1994 | The product pouches were not sealed across the entire width of the pouch, thus causing the products not to be sterile | 3 527 Units Were Distributed. | Nationwide And International.
1994-05-25 | Devices | II | z-830-4 | Bird Avian Transport Ventilator Product #15365 Indicated For Short Term Ventilation Of Patients During Transport. Recall #z-830-4. | Manufacturer | Bird Products Corporation Palm Springs California. | January 7, 1994 | The ventilator may unexpectedly switch from volume cycled to time cycled ventilation when the user pushes the inspiratory time button, and the indicated pressure of the gas and the volume of gas delivered may be inaccurate | 133 Units Were Distributed. | Nationwide And International.
1994-05-25 | Devices | II | z-831-4 | Bird "partner Iii" Respiratory Volume Monitor Catalog #15285 Indicated For Volume Measurement And Display During Mechanical Ventilation Of Neonates Infants And Pediatrics. Recall #z-831-4. | Manufacturer | Bird Products Corporation Palm Springs California. | January 27, 1994 | The displayed volume readings exceed the specified accuracy tolerance due to defective pressure sensor tubing and calibration | 401 Units. | Nationwide And International.
1994-05-25 | Devices | III | z-765-4 | Usci Cardiovascular Catheter Sones B Hi-flow 8f 80 Cm (2.67mm) Used To Record Intracardiac Pressures To Sample Blood And To Introduce Substance Into The Heart And Vessels. Recall #z-765-4. | Usci Division C.r. Bard Inc. Billerica Massachusetts | Bard Urological Division Glen Falls New York. | March 17, 1994 | Package labeling indicated that the device is a curve style b when in fact it is a curve style c | 120 Pieces Were Distributed. | Iowa Michigan Ohio Arizona.
1994-05-25 | Devices | III | z-797/798-4 | Kaat Ii Plus Intra-aortic Balloon (iab) Pump Used To Provide Cardiac Support To Patients Whose Myocardial Oxygen Supply And Demand Are Imbalanced. Recall #z-797/798-4. | Manufacturer | Kontron Instruments Inc. Everett Massachusetts. | January 21, 1994 | A defect exists in the software code that controls the pump which prevents the pump from receiving a trigger signal from the control unit when a patient has an ecg amplitude signal below 0 | 89 Units Distributed; 25 Units Retrofitted. | Nationwide And International.
1994-05-25 | Devices | III | z-819/829-4 | Medex Pressure Monitoring Kits Used For Internal Blood Pressure Monitoring And Sampling: (a) Catalog #mx9501; (b) Catalog #mx9502; (c) Catalog #mx9504; (d) Catalog #mx9504-cst; (e) Catalog #mx9505; (f) Catalog #9505-cst; (g) Catalog #mx9506; (h) Catalog #sx000513; (i) Catalog #sx000514; (j) Catalog #sx031653; (k) Catalog #sx021514. Recall #z-819/829-4. | Medex Inc. Hiliard Ohio | Medex Inc. Dublin Ohio (component). | November 4, 1993 | Aspiration of air occurs through the push button flush out component during blood sampling, and leakage of fluid occurs out of the push button flush component during activation | 1 250 Kits Were Distributed. | Nationwide Canada England Germany New Zealand Japan.