## 1994-06-22
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-06-22 | Drugs | II | d-300/303-4 | Various Drug Products: (a) Acetic Acid (2%) & Aluminum Acetate Otic Solution 60 Ml Under The Following Labels: Bausch & Lomb H.l. Moore Mayor Rugby; (b) Neomycin & Polymyxin B Sulfates And Hydrocortisone Otic Solution 10 Ml Under The Following Labels: Bausch & Lomb Akorn Best Butler Clinical Equipharm Goldline Harber J.j. Balan Major Ocusoft Parmed Pedinol Qualitest Rugby Teral Url; (c) Neomycin Polymyxin B Sulfates And Gramicidin Ophthalmic Solution 2 Ml And 10 Ml Under The Following Labels: Bausch & Lomb Akorn Best Butler Equipharm Genetic Goldline Harber H.l. Moore J.j. Balan Major Medical Ophthalmics Ocusoft Parmed Phoenix Qualitest Rugby Schein Spectrum Url Vedco; (d) Erythromycin Ethylsuccinate Oral Suspension 200 Mg/5 Ml 100 Ml Under The Following Labels: Bausch & Lomb Major Qualitest Rugby Schein Url. Recall #d-300/303-4. | Pharmafair Inc. C/o Blp (bausch & Lomb Pharmaceuticals) Tampa Florida | Pharmafair Inc. Hauppauge New York. | April 22, 1994 | Products were marketed with inadequate documentation to support abbreviated new drug applications | 5 335 745 Total Units Were Distributed; Firm Estimated That 50% Of This Number Remained On Market At Time Of Recall. | Nationwide.
1994-06-22 | Drugs | II | d-304-4 | Liqui-prep Bowel Evacuant Kit With Magnesium Citrate Oral Solution Usp In 10 Fluid Ounce Containers Nonprescription For Use In Preparation Of The Patient For Surgery Or For Preparation Of The Colon For X-ray And Endoscopic Examination. Recall #d-304-4. | E-z-em Inc. Westbury New York (repacker) | Cumberland-swan Inc. Smyrna Tennessee (magnesium Citrate Oral Solution); E-z-em Inc. Westbury New York (kit). | April 20, 1994 | Some bottles of the magnesium citrate solution kit component contained glass particles | 500 Cases (24 Bottles Per Case) Were Distributed. | Nationwide.
1994-06-22 | Biologics | II | b-312-4 | Dog Fennel Allergenic Extract (eupatorium Capillifolium) In 10 Ml 30 Ml And 50 Ml Vials. Recall #b-312-4. | Manufacturer | Antigen Laboratories Inc. Liberty Missouri. | January 7, 1994 | Allergenic extracts which were labeled with incorrect species name were distributed | 2 10-ml Vials 1 30-ml Vial And 2 50-ml Vials. | Georgia South Carolina Florida Washington State.
1994-06-22 | Biologics | II | b-318-4 | Source Plasma. Recall #b-318-4. | North American Biologicals Inc. Miami Florida | North American Biologicals Inc. Doing Business As Grand River Donor Center Detroit Michigan. | September 28, 1992 | Blood products, which tested negative for the antibodies to human, immunodeficiency virus types 1 and 2 (anti-hiv-1/2), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1/2, were distributed | 2 Units. | Puerto Rico.
1994-06-22 | Biologics | II | b-319/320-4 | (a) Red Blood Cells For Further Manufacturer; (b) Recovered Plasma. Recall #b-319/320-4. | Manufacturer | ; (b) Recovered Plasma. Recall #b-319/320-4. Code Unit #03r69097. Manufacturer The American National Red Cross Atlanta Georgia. | November 5, 1993 | Blood products, that tested negative for hepatitis b surface antigen (hbsag), but were collected from a donor who previously tested repeatedly reactive for hbsag, were distributed | 1 Unit Of Each Component. | Illinois Switzerland.
1994-06-22 | Biologics | II | b-321/324-4 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Platelets For Further Manufacture. Recall #b-321/324-4. | Manufacturer | The American National Red Cross Atlanta Georgia. | December 22, 1993 | Blood products collected from a donor who reported a history of hepatitis were distributed | (a) 2 Units; (b) 1 Unit; (c) 1 Unit; (d) 1 Unit. | Georgia Florida.
1994-06-22 | Biologics | II | b-325-4 | Recovered Plasma. Recall #b-325-4. | Manufacturer | Beth Israel Hospital Boston Massachusetts. | April 14, 1994 | Blood product, which tested negative for the antibody to hepatitis c virus encoded antigen (anti-hcv), but was collected from a donor who previously tested repeatedly reactive for anti-hcv, was distributed | 1 Unit. | Massachusetts.
1994-06-22 | Biologics | II | b-326-4 | Fresh Frozen Plasma. Recall #b-326-4. | Manufacturer | The American National Red Cross Philadelphia Pennsylvania. | January 14, 1993 | Blood product, containing anti-d (rho) antibodies, but labeled as negative for unexpected antibodies, was distributed | 1 Unit. | Pennsylvania.
1994-06-22 | Biologics | II | b-330/332-4 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma. Recall #b-330/332-4. | Manufacturer | The American National Red Cross Atlanta Georgia. | August 6, 1993 | Blood products, that tested negative for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 4 Units; (b) 4 Units; (c) 1 Unit. | Georgia.
1994-06-22 | Biologics | II | b-333-4 | Source Plasma. Recall #b-333-4. | Manufacturer | North American Biologicals Inc. Kansas City Missouri. | January 7, 1993 | Source plasma, that tested repeatedly reactive for the antibody to hepatitis c virus encoded antigen (anti-hcv), was distributed | 1 Unit. | Texas.
1994-06-22 | Biologics | II | b-334-4 | Red Blood Cells. Recall #b-334-4. | Manufacturer | The American National Red Cross St. Louis Missouri. | December 2, 1992 | Blood product, that tested negative for the antibody to hepatitis b core antigen (anti-hbc), but was collected from a donor who previously tested repeatedly reactive for anti- hbc on more than one occasion, was distributed | 1 Unit. | Missouri.
1994-06-22 | Biologics | II | b-335-4 | Source Plasma. Recall #b-335-4. | Premier Bioresources Inc. Fort Worth Texas | Premier Bio Resources Inc. Gulfport Mississippi. | March 4, 1994 | Source plasma, that either tested negative for the antibodies to human immunodeficiency virus types 1 and 2 (anti-hiv-1/2), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1/2; or tested negative for hepatitis b surface antigen (hbsag) and the antibody to hepatitis c virus encoded antigen (anti- hcv), but were collected from a donor who previously reported a history of hepatitis, were distributed | 28 Units. | Michigan.
1994-06-22 | Biologics | III | b-315-4 | Cryoprecipitated Ahf (human). Recall #b-315-4. | Manufacturer | American Red Cross Philadelphia Pennsylvania. | May 13, 1993 | Units of cryoprecipitated ahf (human), exposed to unacceptable temperature and allowed to thaw, were distributed | 9 Units. | Pennsylvania New Jersey.
1994-06-22 | Biologics | III | b-327/328-4 | (a) Red Blood Cells; (b) Platelets. Recall #b-327/328-4. | Manufacturer | The American National Red Cross Atlanta Georgia. -7- | July 2, 1993 | Blood products, untested for hepatitis b surface antigen (hbsag), were distributed | 1 Unit Of Each Component. | Georgia.
1994-06-22 | Biologics | III | b-329-4 | Red Blood Cells. Recall #b-329-4. | Manufacturer | The American National Red Cross Atlanta Georgia. | December 4, 1993 | Blood product, labeled with the incorrect expiration date, was distributed | 1 Unit. | Georgia.
1994-06-22 | Biologics | III | b-336-4 | Recovered Plasma. Recall #b-336-4. | Manufacturer | American Red Cross Atlanta Georgia. | January 14, 1993 | Recovered plasma, corresponding to a unit of red blood cells contaminated with alpha streptococcus, was distributed | 1 Unit. | California.
1994-06-22 | Biologics | III | b-337-4 | Cryoprecipitated Ahf. Recall #b-337-4. | Manufacturer Telephone December 2 1992 Followed | The American National Red Cross St. Louis Missouri. | December 2, 1992 | Blood product, which was exposed to unacceptable storage temperatures and allowed to thaw, was distributed | 3 Units. | Missouri.
1994-06-22 | Biologics | III | b-340-4 | Recovered Plasma. Recall #b-340-4. | Manufacturer | The American National Red Cross Atlanta Georgia. | March 3, 1994 | Blood product collected from a donor who reported a history of cancer was distributed | 1 Unit. | California.
1994-06-22 | Devices | II | z-930-4 | Glucose Test Strips For Use With Glucometer 3 For In-vitro (external) Diagnostic Use Under The Following Labels: Family Pharmacy Health Mart Full Value Good Neighbor Pharmacy Valu Rite Relief Plus Quick Check 3 Perry Healthcare And Longs. Recall #z-930-4. | Manufacturer | Diagnostic Solutions Inc. Irvine California. | April 4, 1994 | The product does not meet its labeling claims | 37 458 Bottles Were Distributed From 7/7/93 To 1/14/94. | Nationwide.
1994-06-22 | Devices | II | z-962-4 | Radiofocus Introducer B Kit Intended To Be Inserted Percutaneously Into A Vein Or Artery To Facilitate The Insertion Of Angiographic Electrode Balloon Or Similar Catheters. Recall #z-962-4. | Terumo Medical Corporation Elkton Maryland | Terumo Corporation Toyko Japan. | March 11, 1994 | The hemostasis valve within the introducer device may leak, depending upon the orientation (positioning) of the valve | 16 600 Kits Were Distributed. | Massachusetts Canada.
1994-06-22 | Devices | II | z-966-4 | Model 3000le Ophthalmic Laser System For Use In Ophthalmic Surgery - Posterior Capsulotomies. Recall #z-966-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan May 20 1994. Firm-initiated Recall Ongoing. | Alcon Surgical Inc. Irvine California. | May 20, 1994 | Joystick aiming control was poorly seated causing internal electrical wires to become prematurely worn and broken | 56 Units. | Nationwide.
1994-06-22 | Devices | III | z-940-4 | Simmons Plating System Locking Nut Catalog #sp-1003 Non- Sterile Intended For Sterilization By Hospital Used In Lumbar Spinal Fusions. Recall #z-940-4. | Manufacturer | Smith & Nephew Richards Inc. Memphis Tennessee. | March 2, 1994 | The nuts were manufactured from a type of 300 stainless steel other than type 316lvm (astm f138) | 20 534 Locking Nuts Were Distributed From October 1990 Until January 1994. | Nationwide And International.
1994-06-22 | Devices | III | z-943-4 | Automated Chemiluminiscene System (acs):cuvette Part #672002 Used With The Acs:180. A Cuvette Is A Tall Plastic Container Which Carries A Patient Sample And To Which Test Reagents Are Dispensed Where A Test Reaction Takes Place. Recall #z-943-4. | Ciba Corning Diagnostics Corporation Norwood Massachusetts | Carrera Corporation Export Pennsylvania. | March 28, 1994 | The asc:180 system had a track jam caused by a deformity in the neck of the cuvette | Undetermined. | Nationwide And International.
1994-06-22 | Devices | III | z-944/945-4 | Automated Chemiluminiscene System (acs) Multicalibrator A Lot Ca27 And Ca31 The Low And High Calibrators Contained In The Acs Calibrator A Are For Calibrating The Acs Immunoassays: (a) Part #672170000; (b) Part #672180000. Recall #z-944/945-4. | Manufacturer | Ciba Corning Diagnostics Corporation East Walpole Massachusetts. | February 10, 1994 | The theoretical concentrations of master curve standards were incorrectly assigned by quality control | (a) 741 Kits; (b) 249 Kits Were Distributed. | Nationwide And International.
1994-06-22 | Devices | III | z-946-4 | Automated Chemiluminiscene System (acs):180 Spt (system Performance Tests) Reagent Part #672196 Spt Used To Evaluate The Performance Of The Acs:180 Subassemblies At Installation After Repair Procedures And As A Troubleshooting Aid. Recall #z-946-4. | Manufacturer | Ciba Corning Diagnostics Corporation East Walpole Massachusetts. | April 14, 1993 | The lot of reagent 2773 was contaminated with lactobacillus coryniformis | 480 Units Of Lot 2773 270 Units Of Lot 2993 And 42 Units Of Lot 0604. | Nationwide And International.
1994-06-22 | Devices | III | z-947/948-4 | Automated Chemiluminiscene System (acs) T4 Master Curve Card Used With Acs T4/50 Test And 300 Test Kits Intended For The Quantitative Determination Of Thyroxine (t4) In Serum Using The Acs:180 System: (a) Catalog #672200; (b) Catalog #672201. Recall #z-947/948-4. | Manufacturer | Ciba Corning Diagnostics Corporation East Walpole Massachusetts. | February 5, 1993 | The standard value printed on the master curve card was incorrect | (a) 350 Kits; (b) 39 Kits. | New York Michigan Pennsylvania Massachusetts Ohio California Rhode Island Oklahoma Japan.
1994-06-22 | Devices | III | z-949-4 | Cell Culture Tube And Drams Catalog #71-217 D Used For Isolation Of Virus In Clinical Specimens. Recall #z-949-4. | Manufacturer | Whittaker Bioproducts Inc. Walkersville Maryland. | October 18, 1991 | Device was contaminated with ibr bovine herpes virus | 670 Units Of Lot 1c2804 And 3 755 Units Of 1c2818 Were Distributed. | Nationwide.
1994-06-22 | Devices | III | z-952-4 | Emem Cell Culture Medium In 100 Ml Bottles Used For The Growth And Maintenance Of Cells In Culture. Recall #z-952-4. | Manufacturer | Whittaker Bioproducts Inc. Walkersville Maryland. | October 9, 1992 | The device had a ph of 7. | 1 226 Units Were Distributed. | Nationwide Germany Spain France Japan.
1994-06-22 | Devices | III | z-953-4 | Rubecap-m Test Kit An Enzyme-linked Antibody Capture Assay For Rubella Virus Igm Antibody In Human Serum. Recall #z-953-4. | Whittaker Bioproducts Inc. Walkersville Maryland | Mercia Diagnostics Supplies The Kit Format And Whittaker Bioproducts Labels And Packages The Kits. | October 31, 1991 | Device had a ph of 7. | 70 Kits Were Distributed. | Nationwide Austria Germany France England Italy.
1994-06-22 | Devices | III | z-967-4 | Quinevac Iia Smoke Evacuator Model #se-11111-e Used In Hospital Operating Rooms Where There Is A Large Volume Of Smoke Plume Generated During Laser Surgery Or Electrosurgery Products. Recall #z-967-4. | Recto Molded Products Inc. (doing Business As Quinn Healthcare Products) Cincinnati Ohio | Linemaster Switch Corporation Woodstock Connecticut. | March 29, 1993 | The footswitch may stick in the open or closed position | 20 Units. | Nationwide.
1994-06-22 | Devices | III | z-970/971-4 | Triage Brand Drugs Of Abuse In-vitro Diagnostic Test Kits A Urine Test For Screening Seven Classes Of Drugs: (a) Catalog #95000 (25 Determinations); (b) 95004 (10 Determinations). Recall #z-970/971-4. | Manufacturer | Biosite Diagnostics Inc. San Diego California. -12- | April 22, 1994 | The test results may indicate false positive for the thc (marijuana) portion of the panel | (a) 11 462 Kits; (b) 387 Kits Were Distributed Between December 1993 And April 1994. | Nationwide Canada Japan Singapore China Malaysia.