## 1994-10-19
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1994-10-19 | Drugs | II | d-006-5 | Solopak Heparin Lock Flush Solution Usp Preservative Free 10 Usp Units/ml Packaged In 1 Ml Single Dose Vials For Maintenance Of Patency Of Intravenous Injection Devices Only. Recall #d-006-5. | Manufacturer | Solopak Pharmaceuticals Inc. Elk Grove Village Illinois. | September 21, 1994 | Potency not assured through expiration date | 424 825 Vials Were Distributed; Firm Estimated That 106 206 Vials Remained On Market At Time Of Recall. | Nationwide.
1994-10-19 | Drugs | II | d-007-5 | Minocycline Hcl Capsules Usp 50 Mg In 100 Capsule Bottles An Antibiotic. Recall #d-007-5. | Manufacturer | Warner-lambert Company Warner Chilcott Laboratories Division Lititz Pennsylvania. | September 19, 1994 | Microbial contamination of the capsule shells | Approximately 16 Bottles Were Distributed. | Nationwide.
1994-10-19 | Drugs | II | d-009-5 | Dexamethasone Sodium In 5 Ml Bottles A Topical Ocular Solution Under The Following Labels: Akron Aligen Butler Equipharm Goldline Ide Infinity Major Moore Ocusoft Phoenix Pro-vet Rugby Qualitest Schein Url Vedco And Webster. Recall #d-009-5. | Bausch & Lomb Pharmaceutical Division Tampa Florida | Pharmfair Inc. Hauppauge New York. | July 28, 1994 | Product does not meet preservative efficacy test | 528 423 Units Were Distributed; Firm Estimated That 270 905 Units Remained On Market At Time Of Recall. | Nationwide. -3-
1994-10-19 | Drugs | II | d-011-5 | Hyoscyamine Sulfate Usp Timed-release Capsules 0.375 Mg In 100 Capsule Bottles Rx Drug Indicated For Various Uses Including Control Of Gastric Secretion Visceral Spasm And Hypermotility. Recall #d-011-5. | Econolab Inc. Westland Michigan | Eros Pharma Pvt. Ltd. Bangalore India. | October 7, 1994 | Product fails dissolution specification | 1 487 Bottles Of Lot 27001 5 298 Bottles Of Lot 27002 And 3 439 Bottles Of Lot Hs403 Were Distributed. | Nationwide.
1994-10-19 | Drugs | III | d-008-5 | Medical Center Brand Of Boric Acid Solution In 48 Fluid Ounce Bottles. Recall #d-008-5. | Manufacturer | Diamond Products Seffner Florida. | September 8, 1994 | Product failed microbial limit test | 25 Cases Of 48 Bottles Each Were Distributed. | Oklahoma Oregon California.
1994-10-19 | Drugs | III | d-010-5 | Amiloride Hcl And Hydrochlorothiazide 5 Mg/50 Mg Tablets Used For Hypertension. Recall #d-010-5. | Vangard Labs Inc. Glasgow Kentucky | Biocraft Laboratories Inc. Elmwood Park New Jersey. | August 30, 1994 | Current good manufacturing practice deficiencies | 440 Packages Of 100 Unit Dose Boxes Were Distributed. | Nationwide.
1994-10-19 | Biologics | II | b-466-4 | Source Plasma. Recall #b-466-4. | Hemacare Inc. (formerly Md Laboratories) Sherman Oaks California | Hemabiologics Inc. Torrance California; Hemabiologics Inc. West Hollywood California. -4- | May 7, 1993 | Blood products which were untested for the antibody to the human immunodeficiency virus type 2 (anti-hiv-2), or tested negative, but collected from a donor who previously tested repeatedly reactive for anti-hiv-1/2, were distributed | 7 Units. | Florida California.
1994-10-19 | Biologics | II | b-467-4 | Immune Globulin Intravenous (human) "venoglobulin-i" Indicated For The Maintenance Treatment Of Patients With Primary Immunodeficiency Syndromes. Recall #b-467-4. | Manufacturer | Alpha Therapeutics Corporation Los Angeles California. | January 13, 1994 | Immune globulin intravenous (igiv) (human), which exhibited turbidity upon reconstitution, was distributed | 19 494 Units Were Distributed; Firm Estimates None Remains On The Market. | Nationwide.
1994-10-19 | Devices | II | z-1097-4 | Unprotected Electrode Lead Wires And Ecg Cables Used With Kontron Apnea Models As Follows: Minimon 7134000 7134200 7134300 7136000 7136200 7136300 Supermon 7271000 Kolormon 7271100. (kontron Instruments Discontinued Sales Of Apnea Monitors March 1992.) Recall #z-1097-4. | Arrow Kontron Instruments Everett Massachusetts | Kontron Instruments Inc. Everett Massachusetts (currently Known As Arrow Kontron Instruments). | September 14, 1994 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the product is not labeled to warn against the hazards of unprotected electrode lead wires being connected to electrical power sources | 355 Units. | Nationwide.
1994-10-19 | Devices | II | z-1103/1104-4 | Electrode Lead Wires And Patient Cables Multiple Models: (a) All Models Of Unprotected Electrode Lead Wires As Follows: (a) Medi-trace Neonatal Ecg Electrode Reorder #4903 With Pre-attached Standard Pin Lead Wire A Single Use Disposable Electrode In Sets Of Three With A Preattached Lead 24" Long. Note: This Product Was Withdrawn From The Marketplace 12/31/93. (b) All Models Of Unprotected Patient Cables. There Are 290 Unprotected Patient Cables And Lead Wires With Various Designs Styles Sizes And Wire Colors. Recall #z-1103/1104-4. | Graphic Controls Corporation Buffalo New York | Graphic Controls Corporation Methuen Massachusetts (medi- Trace 4903 Neonatal Ecg Electrode). (b) Tronomed Inc. San Juan Capsitrano California (all Other Patient Cables And Lead Wires). | November 1, 1993 | Device labeling fails to provide adequate directions for use and the devices pose an unwarranted risk of injury to patients, because the products are not labeled to contraindicate use with apnea monitors | Cables And Lead Wires: 101 319 Cables And Lead Wires Were Distributed In 1992; 102 457 Cables And Lead Wires Were Distributed In 1993; 4903 Medi-trace Neonatal Monitoring Electrodes: 603 300 Electrodes Produced In 1992; 393 000 Electrodes Produced In 1993. | Nationwide.
1994-10-19 | Devices | II | z-006-5 | Model 2014 Flo-lab Peripheral Doppler Ultrasound Vascular Testing System Equipped With Vascular Information Program (vip) Software Version 4.2. Recall #z-006-5. | Manufacturer | Parks Medical Electronics Inc. Aloha Oregon. | December 7, 1993 | Batch printing of multiple patients' full spectrum waveforms will result in erroneous output (same waveform for each patient) | 21 Units Were Distributed. | Illinois New York Vermont Ohio Missouri Texas Indiana Wisconsin Pennsylvania Michigan California Canada.