## 1993-09-29
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-09-29 | Drugs | II | d-340/341-3 | Nitroglycerin Extended Release Capsules (a) 6.5 Mg; (b) 2.5 Mg Both Packaged In 60 And 100-capsule Bottles For The Prevention Of Angina Pectoris Due To Coronary Artery Disease. Recall #d-340/341-3. | Ethex Corporation St. Louis Missouri | Kv Pharmaceutical Company St. Louis Missouri. | September 17, 1993 | Lack of adequate assurance of potency through expiration date | (a) 417 Cases (12 60-capsule Bottles Per Case) And 781 Cases (12 100-capsule Bottles Per Case); (b) 3 801 Cases (12 60- Capsule Bottles Per Case) And 159 Cases (12 100-capsule Bottles Per Case Were Distributed. | Nationwide.
1993-09-29 | Drugs | II | d-342-3 | Papaverine Hcl Time Release Capsules 150 Mg Rx In 100 And 1000 Capsule Bottles Under Schein And Danbury Labels. Recall #d-342-3. -4- | Manufacturer | Danbury Pharmacal Inc. Danbury Connecticut. | September 9, 1993 | Product does not meet dissolution specifications | Lot #41517d Estimated 200 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 25 1000-capsule Bottles Under The Danbury Pharmacal Inc. Label; Lot #41368d Estimated 10 100-capsule Bottles Under The Schein Pharmaceutical Inc. Label; Estimated 20 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 2 1000-capsule Bottles Under The Schein Pharmaceutical Inc. Label; Lot #41675d Estimated 1000 100-capsule Bottles Under The Danbury Pharmacal Inc. Label; Estimated 35 1000-capsule Bottles Under The Danbury Pharmacal Inc. Label; Lot #42021d Estimated 4000 100-capsule Bottles Under The Danbury Pharmacal Inc. Label. | Nationwide.
1993-09-29 | Drugs | II | d-343-3 | Procainamide Hcl Extended Release Tablets 750 Mg In Bottles Of 100 And 500 Rx Under Schein And Danbury Labels. Recall #d-343-3. | Manufacturer | Danbury Pharmacal Inc. Danbury Connecticut. | September 9, 1993 | Product does not meet dissolution specifications | 700 100-tablet Bottles And 200 500-tablet Bottles Were Distributed. | Nationwide.
1993-09-29 | Drugs | II | d-344-3 | Transfilled Compressed Oxygen In E D 80 Cubic Feet M And N Cylinders. Recall #d-344-3. | Repacker | Sbl Home Medical Equipment Ronkonkoma New York (repacker). | September 16, 1993 | Current good manufacturing practice deficiencies | 218 Cylinders Were Distributed. | New York.
1993-09-29 | Drugs | III | d-339-3 | Natus Patch Pain Relief Patches For Fast Temporary Relief Of Pain Containing Methyl Salicylate 11 % Menthol 2% And Camphor 3.5% In Boxes Of 30. Recall #d-339-3. | Natus Corporation Edina Minnesota | Lectec Corporation Minnetonka Minnesota. | September 15, 1993 | Potency not assured through expiration date | 271 350 Units Were Distributed. | Nationwide.
1993-09-29 | Biologics | II | b-236/238-3 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma. Recall #b-236/238-3. | Manufacturer | Blood Bank Of Alaska Inc. Anchorage Alaska. | December 3, 1992 | Blood products which were either: 1) collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation; or 2) untested for all required and recommended viral markers, were distributed | 1 Unit Of Each Component. | Alaska Florida.
1993-09-29 | Biologics | II | b-324-3 | Recovered Plasma. Recall #b-324-3. | Manufacturer | The Blood Center For Southeast La New Orleans Louisiana. | February 1, 1993 | Blood product which tested repeatedly reactive for the antibody to the hepatitis c virus encoded antigen (anti- hcv), was distributed | 1 Unit. | California.
1993-09-29 | Biologics | II | b-422-3 | Red Blood Cells. Recall #b-422-3. | Manufacturer | American Red Cross Blood Services Rochester New York. | July 28, 1992 | Blood products collected from ineligible donors due to travel in areas endemic for malaria were distributed | 2 Units. | New York.
1993-09-29 | Biologics | II | b-438-3 | Platelets. Recall #b-438-3. | Manufacturer | American Red Cross Blood Services Miami Florida. | August 7, 1992 | Blood product, collected from an ineligible donor due to the application of a tattoo less than 12 months prior to donation, was distributed | 1 Unit. | Florida.
1993-09-29 | Biologics | II | b-439-3 | Source Plasma. Recall #b-439-3. | Manufacturer | Dci Plasma Center Of Duluth Inc. Duluth Minnesota. | March 30, 1993 | Blood products, which tested repeatedly reactive for the antibody to hepatitis c virus encoded antigen (anti-hcv), were distributed | 2 Units. | Kentucky.
1993-09-29 | Biologics | II | b-440-3 | Platelets. Recall #b-440-3. | Manufacturer | Blood Center Of Southeast Texas Inc. (bcst) Beaumont Texas. | May 14, 1993 | Blood products labeled with incorrect expiration dates were distributed | 3 Units. | Texas.
1993-09-29 | Biologics | III | b-437-3 | Fresh Frozen Plasma. Recall #b-437-3. | Manufacturer Telephone February 17 18 And March 29 1993. Firm-initiated Recall Complete. | Sylvan N. Goldman Center Doing Business As Oklahoma Blood Institute (obi) Oklahoma City Oklahoma. | February 17, 1993 | Unlicensed blood products were distributed interstate | 13 Units. | Michigan Louisiana Massachusetts California.
1993-09-29 | Biologics | III | b-441-3 | Red Blood Cells. Recall #b-441-3. | Manufacturer | Blood Center Of Southeast Texas Inc. (bcst) Beaumont Texas. | December 23, 1992 | Blood products labeled with incorrect expiration dates were distributed | 3 Units. | Texas.
1993-09-29 | Biologics | III | b-448/452-3 | (a) Red Blood Cells; (b) Red Blood Cells Washed; (c) Platelets; (d) Fresh Frozen Plasma; (e) Recovered Plasma. Recall #b-448/452-3. | Manufacturer | Aurora Area Blood Bank Aurora Illinois. | July 26, 1993 | Blood products incorrectly tested for syphilis were distributed | (a) 18 Units; (b) 1 Unit; (c) 9 Units; (d) 2 Units; (e) 13 Units. | Illinois Indiana California New York New Jersey.
1993-09-29 | Devices | II | z-644/645-3 | Mevatron 6 And 12 Clinical Linear Accelerators With X-ray Fields Designed For Radiotherapy Treatments: Recall #z-644/645-3. | Manufacturer | Siemens Medical Laboratories Inc. Concord California. | April 19, 1992 | The devices were distributed without an appropriate maintenance schedule for the lead counter weight | 54 Units Were Distributed. | Nationwide And International. -8-
1993-09-29 | Devices | II | z-680/682-3 | Photon Era Software Versions 3.8 3.8md 4.01 And Photon Era-qa Software Versions 1.01: (a) Model 20100001 Photon Era-qa Automated Immunoassay Analyzer; (b) Model 9r1001 Photon Era Automated Immunoassay Analyzer; (c) Model 99800 Photon Era Automated Immunoassay Analyzer. Recall #z-680/682-3. | Manufacturer February 28 1993. Firm-initiated Recall Ongoing. | Hybritech Inc. San Diego California. | February 28, 1993 | There are two software problems which in some cases could lead to incorrect calculation of patient results on photon era assays | 769 Software Packages Were Distributed. | Nationwide And International.
1993-09-29 | Devices | II | z-765-3 | Usci Semi-floating Bipolar Transvenous Electrode 4f Used To Transmit A Pacing Electrical Stimulus From The Pulse Generator To The Heart And/or Transmit An Electrical Signal From The Heart To A Recording Device. Recall #z-765-3. | Usci Division Of C.r. Bard Inc. Billerica Massachusetts | Usci Division C.r. Bard Inc. Glen Falls New York. | January 27, 1993 | Product labeled as sterile was not sterilized | 70 Units Were Distributed. | California North Carolina New York
1993-09-29 | Devices | II | z-785-3 | Sbt-100 Rectal Suction Biopsy Tool Used To Obtain A Rectal Biopsy Specimen To Establish The Presence Of Ganglion Cells In Infants And Children. Recall #z-785-3. | Medical Measurements Inc. Hackensack New Jersey | Trewavis Surgical Ltd. Victoria Australia. | December 1, 1992 | Product did not contain adequate directions for use | 115 Units Were Distributed. | Nationwide And International.
1993-09-29 | Devices | III | z-495-3 | Performance Fixation Pins Rx Nonsterile Pins Used To Hold The Tibial Cutting Block In Place During Surgery. Recall #z-495-3. | Kirschner Medical Corporation Fair Lawn New Jersey | Kirschner Medical Corporation Timonium Maryland. | November 10, 1992 | Some product labeled as performance fixation pins actually contained total condylar pin fixation pins | 12 Units Were Distributed. | Nationwide And International.
1993-09-29 | Devices | III | z-679-3 | Kmp Modular Fenestrated Moore-type Femoral Stem Component For Use In Hip Implantation. Recall #z-679-3. | Kirschner Medical Corporation Fair Lawn New Jersey | Kirschner Medical Corporation Timonium Maryland. | January 8, 1993 | Labeling mix-up. | 5 Units Were Distributed. | Maryland Tennessee Alabama Florida Texas Mississippi.
1993-09-29 | Devices | III | z-709/720-3 | Was Packaged And Labeled As A Fenestrated Femoral Stem Product. _______________ Product Catheter Repair Kits. These Kits Contain Certain Lots Of Dow Corning Silastic Brand 7-2947 Medical Adhesive Silicone Type A - Sterile Which Are Currently Being Recalled By Dow Corning. Recall Z-709/720-3. | Dow Corning. Recall Z-709/720-3. Code Catalog No. Repair Kit For 0601600 1.5mm Lumen Broviac Catheter 0601610 0.7mm Lumen Broviac Catheter 0601620 1.0mm Lumen Broviac Catheter 0601630 1.6mm Lumen Hickman Catheter 0601680 White Adapter Leg Of Hickman And Leonard Dual Lumen And Hickman Triple Lumen Catheters 0601690 Red Adapter Leg Of Hickman And Leonard Dual Lumen And Hickman Triple Lumen Catheters 0601700 External Catheter Segment Of Hickman 12 Fr. Catheters. 0601720 Medical Grade Adhesive Kit For Catheter Repair 0601740 External Catheter Segment Of Leonard 10 Fr. Catheter 0601750 External Catheter Segment Of Leonard 10 Fr. Catheter -10- 0601760 External Catheter Segment Of Hickman 7 Fr. Catheter 7741800 Groshong 8.0 Fr. Catheter. Manufacturer Bard Access Systems Inc. Salt Lake City Utah. Recalled |  | April 70, 0601 | Kits contain adhesive that did not meet the sterility assurance level | 2 613 Kits Were Distributed. | Nationwide And International.