## 1993-10-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-10-20 | Drugs | I | d-007-4 | Adrucil 100 Ml Vials An Anti-neoplastic Anti-metabolic Infusion Drug. Recall #d-007-4. | Adria Laboratories Columbus Ohio | Adria-sp Inc. Albuquerque New Mexico. | September 17, 1993 | Non-sterility. | 4 150 Vials. | Nationwide And Canada.
1993-10-20 | Drugs | II | d-004-4 | Bancap Hc Capsules In 100 And 500 Capsule Bottles Rx For The Relief Of Moderate To Moderately Severe Pain. Recall #d-004-4. | Forest Pharmaceuticals Inc. St. Louis Missouri | Forest Pharmaceuticals Inc. Cincinnati Ohio. | September 24, 1993 | Unreliable data in the abbreviated new drug application | 38 984 Bottles. | Nationwide.
1993-10-20 | Drugs | II | d-005-4 | Bajamar's Quinine Hydrochloride 1 Gr Capsules Packaged In Bottles Of 50 And 100 Otc For Use As An Antimalarial And For Fever From Colds. Recall #d-005-4. | Manufacturer | General Therapeutic Corporation St. Louis Missouri. | September 14, 1993 | Subpotent. | 4 327 50-capsule Bottles And 2 489 100-capsule Bottles. | Missouri.
1993-10-20 | Drugs | II | d-006-4 | Albuterol Sulfate Inhalation Solution 0.5% Rx Oral Inhalation Drug Used For The Relief Of Bronchospasm In 0.25 Ml Plastic Unit Dose Tubes. Recall #d-006-4. | Repacker | Xactdose Inc. South Beloit Illinois (repacker). | September 29, 1993 | The lot failed uniformity of dosage testing | 159 Cases (120 Tubes Per Case). | California Texas Illinois Ohio Pennsylvania Florida.
1993-10-20 | Drugs | III | d-008-4 | Fungi-nail A Topical Antifungal Otc Drug In 1 Fluid Ounce Bottles. Recall #d-008-4. -2- | Manufacturer | Dpt Laboratories Inc. San Antonio Texas. | September 2, 1993 | Subpotency. | Firm Estimates Small Quantities To Remain On Market. | Nationwide.
1993-10-20 | Biologics | II | b-454/457-3 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Recovered Plasma. Recall #b-454/457-3. | Manufacturer | Community Regional Blood Center Inc. St. Petersburg Florida. | July 17, 1992 | Blood products, which tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 2 Units; (b) 1 Unit; (c) 1 Unit; (d) 1 Unit. | Florida.
1993-10-20 | Biologics | III | b-460-3 | Whole Blood. Recall #b-460-3. | Manufacturer | American Red Cross Portland Oregon. | December 21, 1992 | Blood products, labeled with the incorrect expiration date were distributed | 7 Units. | Oregon.
1993-10-20 | Biologics | III | b-008/009-4 | (a) Red Blood Cells; (b) Plasma Liquid. Recall #b-008/009-4. | Manufacturer | The American National Red Cross St. Louis Missouri. | January 7, 1992 | Blood products, labeled with incorrect expiration dates, were distributed | 2 Units Of Each Component. -3- | Missouri.
1993-10-20 | Biologics | III | b-010-4 | Platelets. Recall #b-010-4. | Manufacturer | The American National Red Cross St. Louis Missouri. | December 5, 1991 | Blood product, that tested initially reactive for the antibody to hepatitis c virus encoded antigen (anti-hcv), was distributed | 1 Unit. | Missouri.
1993-10-20 | Devices | II | a-8002-02 | Deknatel Pleur-evac Chest Drainage Units: (a) Deknatel Pleur-evac Adult/pediatric Double Collection Chest Drainage Units A-8002-02 Labeled In German; A-8002-03 Labeled In French; (b) Deknatel Pleur-evac Infant Chest Drainage Unit A-8020- 02 Labeled In German. Recall #z-652/653-3. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | July 16, 1993 | The silkscreened labeling on the front faces of the devices incorrectly label the devices' various chambers | 1 365 Units Of Model A-8002-2 3 209 Units Of Model A-8002- 3 And 505 Units Of Model A-8020-02. | Europe.
1993-10-20 | Devices | II | z-677-3 | Medical Linear Accelerators Used For Radiation Treatment Of Cancer And Other Malignancies. Recall #z-677-3. | Manufacturer June 16 1993. Firm-initiated Recall Ongoing. | Mitsubishi International Corporation Conshooken Pennsylvania. | June 16, 1993 | Various interlocks do not function as specified | 61 Units. | Nationwide.
1993-10-20 | Devices | II | z-706/708-3 | Cardiolife Defibrillators: (a) Tec-7100a; (b) Tec-7200a; (c) Tec 7300a Used For Acute Cardiac Arrest And For The Monitoring Of Ecg. Recall #z-706/708-3. -4- | Nihon Kohden America Inc. Irvine California | Nihon Kohden Corporation Tokyo Japan. | October 13, 1993 | As a result of electromagnetic interference or electrostatic discharges, the device displays an error message on its screen | Approximately (a) 861 Units; (b) 724 Units; (c) 132 Units. | Nationwide.
1993-10-20 | Devices | II | z-844-3 | Lifepak 300 Automatic Advisory Defibrillator Its Main Purpose Is To Allow Monitoring Of The Patient In A Cardiac Event Analyzing The Patient's Ecg Rhythm Rendering An Advisory On The Need For Countershock And Monitoring The Results. Recall #z-844-3. | Manufacturer | Physio-control Corporation Redmond Washington. | June 21, 1993 | The printed circuit board inside the lower control panel may have some surface contamination which could cause control panel failures | 1 978 Units. | Nationwide And International.
1993-10-20 | Devices | II | z-845-3 | Shock Advisory Adapter For The Lifepak 9 Defibrillator/monitor. Recall #z-845-3. | Letter June 21 1993. Firm-initiated Field Correction Ongoing. | Physio-control Corporation Redmond Washington. | June 21, 1993 | When using an early version of the shock advisory adapter with a lifepak 9a, 9b, or 9p defibrillator/monitor, the unit may fail to analyze the first time the analyze button is activated causing a delay in treatment | 67 Units. | Missouri Ohio Texas Washington State Delaware Georgia Indiana Maryland. -5-
1993-10-20 | Devices | II | z-851-3 | Toshiba Mrt-35a Advanced Performance System A Magnetic Resonance Imaging Device. Recall #z-851-3. | Manufacturer | Toshiba America Mri Inc. South San Francisco California | April 30, 1993 | The system software allows the operator to create an incorrectly orientated image | 244 Units. | Nationwide Germany China Korea Thiland Italy Argentina Switzerland.
1993-10-20 | Devices | II | z-021/022-4 | (a) Application Program (software) Smu 611 Version 5.1 Component Of The Vicom-sm Universal (green Monochrome) Monitor Of The Vicom-sm Patient Monitoring System; (b) Application Program (software) Smu 612 Version 3.1.1 Component Of The Vicom-sm Universal (color) Monitor Of The Vicom-sm Patient Monitoring System. These Systems Are Used For Cardiac Monitoring. Recall #z-021/022-4. | Ppg Industries Inc. Lenexa Kansas | Ppg Hellige Freiburg Germany. | April 23, 1993 | The audible alarm may not sound when patients are experiencing ventricular fibrillation | 88 Units. | Washington State Pennsylvania Mexico.
1993-10-20 | Devices | II | z-023/026-4 | Nezhat-dorsey Snap On "quick-disconnect" Elecro-surgical Probes: (a) Corbitt Spatula Electrode Catalog #1044sqd; (b) Hook/spatula (zucker) Electrode Catalog #1044hqd; (c) L-hook Electrode Catalog #1044lhqd; (d) J-hook Electrode Catalog #1044shqd. Recall Z-023/026-4. | Manufacturer | American Hydro-surgical Instruments Inc. Delray Beach Florida. | April 20, 1993 | The probes may leak fluid during irrigation, with a potential for electrical shock under certain conditions | 1 189 Units. | California Florida Georgia Canada Mexico England. -6-
1993-10-20 | Devices | II | z-036-4 | Cas Version 1.1 Software Application Program Component Of The Ppg Hellige Pressni Non-invasive Blood Pressure Module Of The Vicom-sm Patient Monitor System Prom Ic (chip) With Cas Software Is Ppg Part #101-0690-004 Pressni Module Is Ppg Product #23607701. Recall #z-036-4. | Ppg Industries Inc. Biomedical Systems Division Lenexa Kansas | Ppg Hellige Freiburg Germany (patient Monitor System); Cas Medical Systems Inc. Branford Connecticut (software Developer Of The Module). | October 10, 1991 | Anomalous behavior due to a numerical (arithmetic) overflow condition which occurred in version 1 | 21 Units. | Pennsylvania Michigan And International.
1993-10-20 | Devices | III | z-366-3 | Repliplate Cathra 0.125 Mcg/ml Penicillin (pen) Antibiotic Susceptibility Test Plates. Recall #z-366-3. | Manufacturer | Automed Inc. Arden Hills Minnesota. | June 28, 1993 | There is fungal contamination of the test plates thereby compromising performance of the device | 135 Plates. | Canada.
1993-10-20 | Devices | III | z-692/694-3 | In-vitro Kit To Detect Rubella Immunity: (a) Rubalex 25 Test Kit Catalog #68160; (b) Rubalex 100 Test Kit Catalog #68152; (c) Rubalex 500 Test Kit Catalog 68195. Recall #z-692/694-3. | Murex Diagnostics Inc. Norcross Georgia (us Distributor) | Orion Diagnostica Espoo Finland. | August 14, 1992 | The latex reagent contained in the kits may give a prozone reaction with a very high-titered sample | 806 Kits -7- | Nationwide.
1993-10-20 | Devices | III | z-728-3 | Pressure Monitoring/injection Line With Male And Female Luer Lock Connectors. Recall #z-728-3. | Manufacturer | Cobe Cardiovascular Inc. Arvada Colorado | July 9, 1993 | The labeling for this device indicates that it contains male/female lines, when it actuallly contains male/male lines | 25 Cases (25 Units Per Case). | Pennsylvania Arizona Colorado.
1993-10-20 | Devices | III | z-820-3 | Axiom Thoracic Silicone Drainage Catheter. Recall #z-820-3. | Manufacturer | Axiom Medical Inc. Paramount California. | April 29, 1993 | The outer package is labeled 32 fr while the catheter itself is labeled 28 fr | 1 650 Units. | Connecticut Georgia Missouri New Jersey Texas Wisconsin.
1993-10-20 | Devices | III | z-850-3 | Ortho Elisa Test System Qc Pac. Recall #z-850-3. | Manufacturer | Ortho Diagnostic Systems Inc. Raritan New Jersey. | December 2, 1992 | A manufacturing defect caused the device to fail routine quality control test | 234 Units. | Nationwide.
1993-10-20 | Devices | III | z-001-4 | Cerion Om-25 Oxygen Analyzer Hand Held Used By Home Health Care Providers To Check Concentrator Oxygen Output Levels. Recall #z-001-4. | Manufacturer | Ceramatec Inc. Salt Lake City Utah. | November 23, 1992 | The gas bleed holes are too small, resulting in improper calibration and up to 8% error in delivery of oxygen to the patient | 726 Analyzers. | Nationwide.
1993-10-20 | Devices | III | z-002/003-4 | Electroencephalographs Models Nrs-24 And Nrs-4. Recall #z-002/003-4. | Manufacturer | Lexicor Medical Technology Inc. Boulder Colorado. | July 21, 1993 | Products were not manufactured in accordance with device good manufacturing practices requirements, and there are false and misleading claims for use in evaluation of cerebral death, and diagnosis of tumors, multiple sclerosis, and epilepsy | 239 Units. -9- | Nationwide Canada Italy Norway Mexico Israel.
1993-10-20 | Devices | III | product various in vitro diagnostic reagents: (a) aspartate aminotransferase (ast) reagent; (b) sodium reagent slides; (c) chloride reagent slides; (d) triglyceride reagent slides; (e) salicylate reagent slides; (f) sodium reagent slides; (g) sodium reagent slides. recall #z-004\010-4. | Various In Vitro Diagnostic Reagents: (a) Aspartate Aminotransferase (ast) Reagent; (b) Sodium Reagent Slides; (c) Chloride Reagent Slides; (d) Triglyceride Reagent Slides; (e) Salicylate Reagent Slides; (f) Sodium Reagent Slides; (g) Sodium Reagent Slides. Recall #z-004\010-4. | Eastman Kodak Company Clinical Products Division Rochester New York | Eastman Kodak Company Kodak Park Division Rochester New York. | July 19, 1992 | Products are misbranded in that: (a) the product had an accuracy shift of about + 6 u/l outside the +/- 3 u/l release limits | (a) 253 302 Cartridges; (b) 1 440 Cartridges; (c) 3 628 Boxes; (d) 4 716 Cartridges; (e) 2 634 Cartridges; (f) 33 420 Cartridges; (g) 2 754 Cartridges. | (a) Nationwide; (b) Minnesota; (c) Nationwide And France; (d) Nationwide; (e) Nationwide And International; (f) Nationwide France Saudi Arabia; (g) Nationwide.
1993-10-20 | Devices | III | z-011-4 | S Are Adulterated In That Customers Using These Lots Cannot Calibrate The Assay. (f) Products Are Misbranded In That The Slides For Several Lots Exceeded The Maximum Release Specifications For Precision Of .68% Cv. -10- (g) Products Are Misbranded In That Storage Instructions On The Cartons Are Incorrect. _______________ Product Storz House Knife Right Product N2801 7 Mm Blade Angled Right Used During Nasal Surgery. Recall #z-011-4. | Storz Instrument Company St. Louis Missouri | Storz Instrument Manufacturing Manchester Missouri. | June 14, 1993 | Knives were mislabeled. | 8 Knives. | Texas California West Virginia Georgia Oklahoma Canada.
1993-10-20 | Devices | III | z-012-4 | Number N2801 On The Shaft. _______________ Product Storz Royce Ear Knife (downcutting) Used During Ear Surgery Product #n0536. Recall #z-012-4. | Storz Instrument Company St. Louis Missouri | Hatmut Oertel Tuttlingen Germany. | July 26, 1993 | Knives were mislabeled as upcutting rather than downcutting | 14 Knives. | Georgia Michigan New York.
1993-10-20 | Devices | III | z-032/034-3 | Enzyme Immunoassays Used For The Detection Of Drugs In Human Urine: (a) Opiate Test Kit Model 85005; (b) Thc Test Kit Model 85015; (c) Methamphetamine Test Kit Model 85020. Recall #z-032/034-3. | Manufacturer | Hycor Biomedical Inc. Garden Grove California. | July 12, 1993 | The conjugate vials contain fibrous brownish microbial contamination that may impair performance | (a) 129 Kits; (b) 28 Kits; (c) 338 Kits. | California Colorado Florida Georgia Kentucky Montana North Carolina New Mexico Nevada New York Oregon Tennessee Virginia Wisconsin Wyoming France Norway Australia Taiwan Spain Italy.
1993-10-20 | Devices | III | z-039/040-4 | (a) Dacron "cottony Ii" 1/8 Umbilical Tape (white); (b) Dacron "cottony Ii" Suture Size 0 (green). Recall #z-039/040-4. -11- | Manufacturer | Deknatel Inc. Fall River Massachusetts. | August 23, 1993 | Shelf boxes labeled as containing dacron "cottony ii" 1/8 umbilical tape (white), catalog no | (a) 28 Boxes (12 Pieces Each); (b) 6 Boxes (12 Pieces Each). | Rhode Island California Tennessee Virginia.