## 1993-01-20
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-01-20 | Drugs | III | d-100-3 | Fentanyl Citrate And Droperidol Injections In 2 Ml Vials Rx Drugs Indicated To Produce Tranquilization And Analgesia For Surgical And Diagnostic Procedures. Recall #d-100-3. | Manufacturer | Astra Pharmaceutical Products Inc. Westborough Massachusetts. | December 28, 1992 | Supplier of bulk fentanyl citrate ingredient used a manufacturing method not currently approved | 3 800 Units Of Lot 210092 200 Units Of Lot 211050 And 4 300 Units Of Lot 211114 Were Distributed. | Nationwide.
1993-01-20 | Drugs | III | d-101-3 | Mallinckrodt T1-201 Thallous Chloride In 10 Ml Vials 1 Mci/ml 8 Mci A Radioactive Parenteral. Recall #d-101-3. | Manufacturer | Mallinckrodt Medical Inc. Maryland Heights Missouri. | December 22, 1992 | Two units (vial, can and insert) declare incorrect lot number on can and insert | 2 Units Were Distributed. | Pennsylvania Florida.
1993-01-20 | Biologics | II | b-115-3 | Recovered Plasma. Recall #b-115-3. | Manufacturer | Personal Blood Storage Of America Inc. Columbia South Carolina. | September 22, 1992 | Recovered plasma, which tested repeatedly reactive for the antibody to hepatitis b core antigen (anti-hbc), was distributed for further manufacture into non-injectable products without labeling to reflect the anti-hbc reactive results | 1 Unit. | Florida.
1993-01-20 | Biologics | III | b-116/117-3 | (a) Platelets; (b) Recovered Plasma. Recall #b-116/117-3. | Manufacturer | Belle Bonfils Memorial Blood Center Denver Colorado. | August 14, 1991 | Blood products, corresponding to a unit of red blood cells which was found to be contaminated with pseudomonas flourescens and pseudomonas picketti, were distributed | 1 Unit Of Each Component. | Colorado California.
1993-01-20 | Devices | I | z-062-3 | Responder Series 1500 Defibrillator. Recall #z-062-3. | Marquette Electronics Inc. Milwaukee Wisconsin | Marquette Electronics Inc. Bangor N. Ireland. | October 16, 1992 | Potential for the device to fail to record patient ecg tracings, without advising the user that the patient is not connected | 196 Units. | Nationwide.
1993-01-20 | Devices | I | z-118-3 | Hystero-flo Pump Reorder #200346 A Disposable Pneumatic Device Designed To Provide Continuous Controlled Powered Irrigation During Surgery And Is Intended For Uterine Distention And Irrigation During Hysteroscopic Procedures. Recall #z-118-3. | Bard Reproductive Systems C.r. Bard Inc. Haverhill Massachusetts | Davol Inc. Subsidiary Of C.r. Bard Inc. Lawrence Kansas. | October 26, 1992 | Failure of the pump's latex diaphragm could result in gas introduction into the uterine cavity, causing an air embolism and possible life-threatening complications | 27 108 Units Were Distributed. | Nationwide And International.
1993-01-20 | Devices | II | z-119/120-3 | Tec 1410 Anatomical Programming Generator: (a) Tec 1410 Anatomical Programming Generator X-ray Control Model T 1410-1; (b) Tec 1410 Anatomical Programming Generator High Voltage Generator Model T 1410-3. Recall #z-119/120-3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan November 16 1992. Firm-initiated Field Correction Ongoing. | Tecnomed Usa Bay Shore New York. | November 16, 1992 | Noncompliance with the performance standards for x-ray products in that product lacked complete reports of quality assurance test procedures, test data, accuracy specifications, and had improperly placed certification labels | There Is A Single Unit Located In The Technomed Usa Facility Warehouse. | No Units Sold In The United States.
1993-01-20 | Devices | II | z-110/113-3 | Introducer Kits Used In Conjunction With Candela Urinary And Biliary Scopes To Provide An Open Channel Into The Surgical Site Within The Body Cavity Allowing The Introduction Of A Surgical Endoscope: Miniflex Introducer Kits Designed To Be Used In The Urinary Tract: (a) Catalog #7120-004770 Contains 1 Miniflex Introducer Kit; (b) Catalog #7120-00-6120 Contains 4 Miniflex Introducer Kits; Reddick/saye (rs) Introducer Kits Designed To Be Used In A Surgical Incision Through A Trocar: (c) Catalog #7120-00-4760 Contains 1 Rs Introducer Kit; (d) Catalog #7120-00-6110 Contains 4 Rs Introducer Kits. Recall #z-110/113-3. | Candela Laser Corporation Wayland Massachusetts | Cordis Corporation Miami Lakes Florida. | July 24, 1992 | Sterility of the product may be compromised | 1 095 Units Were Distributed. | Nationwide And International.
1993-01-20 | Devices | II | z-160/161-3 | Reusable Techswitch Pencils Electrosurgical Pencils: (a) Model 9166; (b) Model 9167. Recall #z-160/161-3. | Manufacturer | Aspen Labs Inc. Englewood Colorado. | November 5, 1992 | Control buttons were manufactured from an inappropriate material | 13 900 Pieces Were Distributed. | California Colorado Tennessee Wisconsin Pennsylvania Illinois Washington State New York Alabama Oregon Michigan Texas Maryland Canada.
1993-01-20 | Devices | II | z-186-3 | Bicarbolyte Bicarbonate Hemodialysis Concentrate Acidified Portion (36.83x) 2dx Used With Dual Proportioning Artificial Kidney Machines. Recall #z-186-3. | Bicarbolyte Alexandria Virginia | Bicarbolyte Wisconsin Oak Creek Wisconsin. | July 8, 1992 | Product contains 3. | Approximately 4 1-gallon Drums Were Distributed. | Wisconsin.
1993-01-20 | Devices | II | z-191/193-3 | (a) Mid Cross Brace; (b) End Cross Brace; (c) Support Rod Components Used With The Selby 1 Spine Fixation Kit. The Selby 1 System Is Intended For Use In Stabilizing And Supporting The Spine During Sacral/iliac/lamina Attachment Procedures. Recall #z-191/193-3. | Manufacturer | Advance Spine Fixation Systems Inc. Cypress California. | October 14, 1992 | The device components were shipped prior to receiving 510(k) | 989 Units Were Distributed. | Texas Minnesota Oregon California Georgia Colorado.
1993-01-20 | Devices | II | z-198-3 | Crib Monitor Breathing Frequency Device. Recall #z-198-3. | Manufacturer | Perinatronics Inc. Palm Beach Gardens Florida. | September 17, 1992 | Product was distributed without 510(k) approval | 245 Units Were Distributed; Firm Estimates 103 Units Remain On The Market. | Nationwide.
1993-01-20 | Devices | II | z-199/201-3 | Ortholoc Modular Total Condylar Femoral Prosthesis: (a) Catalog #1880-0010 Medium/left (modular Iv) Porous Coated; (b) Catalog #1880-0012 Medium/right (modular Iv) Porous Coated; (c) Catalog #1885-0010 Medium/left (modular Iv-c) Non-porous. Recall #z-199/201-3. | Manufacturer | Dow Corning Wright Inc. Arlington Tennessee. | November 2, 1992 | The outer carton labeling may not correspond with the outer and inner sterile tyvek blister package labels | 44 Units Were Distributed. | Arizona California Colorado Connecticut Florida Iowa Kansas Kentucky Louisiana Michigan Missouri Nebraska New Jersey Ohio Oregon Pennsylvania Utah Virginia Washington State West Virginia.
1993-01-20 | Devices | II | z-208/213-3 | Sterile Medical Devices: (a) Pca/syringe Pump V Set Catalog #v3 Gii; (b) Pediatric V Set Catalog #v4 Gisl; (c) Two Way V Set Catalog #v2 Vy; (d) Icu V Set Catalog #v4 Gill; (e) General/labor Ward V Set Catalog #v3 Gis; (f) Amnicots Catalog #0-100. Recall #z-208/213-3. | Pacific Rim Medical Inc. Nashville Tennessee | Go Medical Industry Pty. Ltd. Subiaco 6008 Western Australia. | December 16, 1992 | Sterilization procedures has not been validated | (a-e) 19 104; (f) 94 000 Units Were Distributed. | (a-e) Arizona California Missouri North Carolina Ohio Pennsylvania Tennessee Wisconsin; (f) Nationwide And Canada.
1993-01-20 | Devices | II | z-214-3 | Angeflator Balloon Inflation Device Coronary Angioplasty Balloon Inflation Pump Model Afl-20. Recall #z-214-3. | Manufacturer | B. Braun Medical Inc. Burron Cardiovascular Division Minneapolis Minnesota. | December 7, 1992 | An incorrect bezel (glass covers) may interfere with the pointer movement, which can cause the displayed pressure to be significantly below the actual pressure | 275 Units Were Distributed. | Florida Georgia Kansas Michigan Minnesota New Jersey New York Oklahoma Pennsylvania Texas And International.
1993-01-20 | Devices | II | z-215-3 | Blood Glucose Test Strips An In-vitro Diagnostic Used With A Supreme Meter To Determine Blood Glucose Levels In Diabetics. Recall #z-215-3. | British American Medical Inc. Laguna Hills California | Hypoguard (exports) Inc. Suffolk England Uk. | December 17, 1992 | The strips may contain a manufacturing defect which causes the strips to read blood glucose levels inaccurately | 15 640 Units Were Distributed; Firm Estimates That Less Than 200 Bottles Remain On The Market. | Maine New Jersey Washington D.c. Georgia Florida Michigan Wisconsin Minnesota California.
1993-01-20 | Devices | II | z-216-3 | Command2 Console Bracket Part #2296-3-10. The Product Is A Bracket Which Attaches To An I.v. Pole For Placement Of A Command Microlectric Console. Recall #z-216-3. | Manufacturer | Stryker Corporation Instruments Division Kalamazoo Michigan. | November 25, 1992 | Inadequate fixation can cause the i | 37 Units Were Distributed. | Nationwide.
1993-01-20 | Devices | II | z-218-3 | Acs Hi-torque Floppy Ii Exchange Wire Microglide Coating Catalog #22369mj Intended To Facilitate The Placement Of Balloon Dilatation Catheters During Percutaneous Transluminal Coronary Angioplasty (ptca) And/or Percutaneous Transluminal Angioplasty (pta). Recall #z-218-3. | Manufacturer | Advanced Cardiovascular Systems Inc. Temecula California. | October 9, 1992 | The labeling indicates that the guidewire has a 30 cm radiopaque tip when the product actually has a 2 cm radiopaque tip | 121 Units Were Distributed. | Ohio Tennessee New York Indiana Minnesota Michigan Florida Canada Italy.
1993-01-20 | Devices | III | z-145-3 | Reciprocating Blade 23.0 Mm Cut Edge Part # 1675-107 A Cutting Accessory For Orthopedic Bone Saw. Recall #z-145-3. | Manufacturer | Stryker Corporation Instruments Division Kalamazoo Michigan. | September 28, 1992 | Each individual blade package may not have a part identification label on it | 4 Boxes (3 Units Per Box) Were Distributed. | New York Pennsylvania South Carolina Virginia.
1993-01-20 | Devices | III | z-166-3 | Bbl Opticult. Product Consists Of 10 Disposable Plastic Containers With Microbiological Culture Media Intended To Be Used For Subculturing Of Blood Culture Bottles. Recall #z-166-3. | Manufacturer | Becton Dickinson Microbiology Systems Cockeysville Maryland. | December 2, 1991 | Portions of some lots exhibited leakage of blood/broth mixture when inverted or opened during the subculturing process | 37 342 Units Were Distributed. | Nationwide.
1993-01-20 | Devices | III | z-169-3 | Invos 3100 Cerebral Oximeter Used As A Monitor Which When Connected To A Sensor Device Non-invasively Measures The Approximate Regional Oxygen Saturation (rso2) Of The Hemoglobin In The Microvasculature Of An Adult's Brain. Recall #z-169-3. | Manufacturer | Somanetics Corporation Troy Michigan. | January 20, 1992 | Good manufacturing practice deficiencies and lack of device history records | 7 Units Were Distributed; Firm Estimates None Remains On The Market. | New York New Jersey Massachusetts Uk Japan.
1993-01-20 | Devices | III | z-181/182-3 | Deklene Ii 7-0 Polypropylene Cardiovascular Nonabsorbable Surgical Suture With T-6 Needle Usp (blue Monofilament: (a) Catalog #d-7004m4; (b) Catalog #d-7063m4. Recall #z-181/182-3. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | September 11, 1992 | The devices were labeled as containing 7-0 suture and t-6 needle, but may contain 5-0 suture and t-1 needle instead | 3 Boxes Of 12 Paks Of Lot 02576p 5 Boxes Of 12 Paks Of Lot 02479a 52 Boxes Of 12 Paks Of Lot 02478 Were Distributed. | Nationwide.
1993-01-20 | Devices | III | z-183/184-3 | (a) Storz Disposable Trephine Blade 8.0 Mm Product #e3096; (b) Castroviejo Corneal Transplant Trephine Kit With 2/8.0 Mm Blades Product #e3094 Used To Cut Donor Corneal Tissue Therefore No Patient Contact Is Made. Recall #z-183/184-3. | Manufacturer | Storz Instrument Company St. Louis Missouri. | November 11, 1992 | 7.25 mm blades may be packaged as 8.0 mm blades | 67 Individually Packaged Blades And 29 Blades Which Were Put Into Kits Were Distributed. | Nationwide And International.
1993-01-20 | Devices | III | z-194/195-3 | (a) Dacroswab Type 1 General All Purpose Sterile Disposable Specimen Collection Swabs On An Aluminum Shaft Used For The Collection Of Non-microbial Specimens And Viral Specimens From The Ear Nose And Urethral Canal Such As Herpes Simplex Virus Packaged 100 Swabs 10 Boxes Per Case 1 Per Envelope; (b) Calgiswab Type 4 Sterile Alginate Swabs On Ultrafine Flexible Aluminum Shafts For Use As Sampling Specimens For Infectious Diseases Of The Ear Nose And Throat And Sexually Transmitted Diseases Packaged 100 Swabs (10 Boxes Per Case 1 Swab Per Envelope. Recall #z-194/195-3. | Manufacturer (a) | Spectrum Laboratories Inc. Houston Texas. | October 14, 1992 | The products do not conform to the firm's quality control standards | (a) 157 200 Swabs Were Distributed; Fda Estimates 20 Percent Of The Product Remains On The Market; (b) 60 Cases (1 000 Swabs Per Case) Were Distributed; Fda Estimates That 20 Percent Of The Product Remains On The Market. | (a) Nationwide Canada China Finland; (b) Nationwide Puerto Rico Bermuda Canada.