## 1993-03-31
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-03-31 | Drugs | II | d-183-3 | Sulfasalazine Tablets 500 Mg A Rx Anti-bacterial In 500 Tablet Bottles. Recall #d-183-3. | Manufacturer | Lederle Laboratories Pearl River New York. | January 27, 1993 | Product does not meet dissolution specification through expiration date | 1 160 Bottles Were Distributed. | Nationwide.
1993-03-31 | Drugs | II | d-182-3 | Nystatin Tablets Usp 500 000 Units In Bottles Of 100 For The Treatment Of Intestinal Candidiasis. Recall #d-182-3. | Manufacturer | Pharmaceutical Basics Inc. Denver Colorado California. | March 3, 1993 | Potency not assured through expiration date | 1 105 Bottles Were Distributed. | Washington State Louisiana Minnesota Alabama New Mexico California Florida Ohio Oregon.
1993-03-31 | Drugs | II | d-184-3 | Povidone-iodine 5% Surgical Scrub Packaged In Bottles Of 16 Oz. And 1 Gallon Sizes Used As A Topical Antiseptic Under The Following Labels: Thames Rugby Ide Bioline Goldline Schein Qualitest. Recall #d-184-3. | Manufacturer | Thames Pharmacal Co. Inc. Ronkonkoma New York. | February 3, 1993 | Potency not assured through expiration date | Approximately 8 000 16-ounce Bottles And 1 500 1- Gallon Bottles Were Distributed. | Nationwide.
1993-03-31 | Drugs | II | d-185/186-3 | (a) Zenate Prenatal Multivitamin/mineral Supplement Tablets In Bottles Of 100; (b) Creon Pancreatin Usp Capsules In Bottles Of 100. Recall #d-185/186-3. | Manufacturer | Solvay Pharmaceuticals Marietta Georgia. | January 8, 1993 | Some units of zenate tablets are mislabeled as creon capsules | 6 245 Bottles Labeled As Zenate Were Distributed; Firm Estimates That 10% Of The Product Remains On The Market. | Nationwide
1993-03-31 | Drugs | II | d-188-3 | Buspar (buspirone Hcl) 10 Mg Tablets An Antianxiety Agent In 100 Tablet Bottles. Recall #d-188-3. | Bristol-myers Squibb Company Pharmaceutical Group Technical Operations New Brunswick New Jersey | Bristol-myers Squibb Mayaguez Puerto Rico. | December 10, 1992 | Some tablets are superpotent | Approximately 29 490 Bottles Were Distributed; Firm Estimates 15 550 Bottles Remain On The Market. | Nationwide.
1993-03-31 | Drugs | II | d-189-3 | Diprivan (propofol) Injection 10 Mg/ml In Single- Patient Infusion Vials Used For Intravenous Anesthesia. Recall #d-189-3. | Zeneca Pharmaceutical Group Wilmington Delaware | Kabi Pharmecia Stockholm Sweden. | February 25, 1993 | Some vials have a potential for cracks which may result in a lack of assurance of sterility | 14 000 Units Were Distributed; Firm Estimates 7 300 Units Remain On The Market. | Nationwide.
1993-03-31 | Drugs | III | d-180-3 | Phenazopyridine Hydrochloride 100 Mg Sugar Coated Tablets In Bottles Of 100 Indicated For The Symptomatic Relief Of Pain Burning Urgency Frequency And The Discomforts Arising From Irritation Of The Lower Urinary Tract Mucosa. Recall #d-180-3. | Manufacturer | Manufacturing Chemists Inc. Indianapolis Indiana. | October 26, 1992 | Product does not meet dissolution specifications | Approximately 800 000 Tablets Were Distributed. -4- -------------------------------------------------------------------------------- | New Jersey Florida New York Michigan California.
1993-03-31 | Drugs | III | d-181-3 | Nalfon Tablets Tablet #1900 Fenoprofen Calcium Tablets Usp 600 Mg In Bottles Of 100 And 500 A Rx Drug Used For Relief Of Rheumatoid Arthritis And Osteoarthritis. Recall #d-181-3. | Manufacturer | Eli Lilly & Company Indianapolis Indiana. | December 16, 1992 | Product does not meet dissolution specifications through expiration date | 904 192 Bottles Of 100 Tablets And 164 000 Bottles Of 500 Tablets Were Distributed In The United States Including Puerto Rico. 1 268 Bottles Of 100 Were Distributed In The Netherlands. Firm Estimates 10 000 Bottles Of 100 Tablets And 700 Bottles Of 500 Remain On The Market. | Nationwide The Netherlands Puerto Rico.
1993-03-31 | Drugs | III | d-187-3 | Extra Strength Cold/allergy/flu Medicine Plus Fever And Pain Reliever Tablets In Bottles Of 20 An Otc Medication. Recall #d-187-3. | Manufacturer | The Reese Chemical Company Cleveland Ohio | March 5, 1993 | Label declares fd&c; red #3, whereas the manufacturer's formula states that the product contains red #40 aluminum lake and red #27 aluminum lake | 27 491 Bottles Were Distributed; Firm Estimates 6 000 Bottles Remain On The Market. | Nationwide.
1993-03-31 | Biologics | II | b-105/114-3 | (a) Red Blood Cells; (b) Red Blood Cells Expired; (c) Red Blood Cells Leukocytes Removed; (d) Red Blood Cells Washed; (e) Platelets; (f) Platelets Expired; (g) Cryoprecipitated Ahf; (h) Fresh Frozen Plasma; (i) Source Leukocytes; (j) Recovered Plasma. Recall #b-105/114-3. | Manufacturer | J. K. And Susie L. Wadley Research Institute And Blood Bank Dallas Texas. | May 29, 1992 | Blood products which tested non-reactive for the antibody to the human immunodeficiency virus type 1 (anti-hiv-1), but were collected from donors who previously tested repeatedly reactive for anti-hiv-1, were distributed | (a) 231 Units; (b) 1 Unit; (c) 3 Units; (d) 1 Unit; (e) 105 Units; (f) 8 Units; (g) 31 Units; (h) 43 Units; (i) 5 Units; (j) 203 Units. | Texas Louisiana Ohio Pennsylvania Illinois Florida California New Jersey.
1993-03-31 | Biologics | II | b-180-3 | Red Blood Cells Deglycerolized. Recall #b-180-3. | Consignee Notified Firm | Personal Blood Storage Of America Inc. Columbia South Carolina. | November 24, 1992 | Blood product labeled with the incorrect expiration date and time was distributed | 1 Unit. | South Carolina.
1993-03-31 | Biologics | II | b-223-3 | Red Blood Cells. Recall #b-223-3. | Manufacturer | Blood Bank Of The Alameda-contra Costa Medical Association Oakland California. | April 2, 1992 | Blood product, which tested repeatedly reactive for the antibody to hepatitis b core antigen (anti-hbc), was distributed | 1 Unit. | California.
1993-03-31 | Biologics | III | b-183-3 | Platelets. Recall #b-183-3. | Manufacturer | American Red Cross Blood Services Baltimore Maryland. | July 1, 1992 | Blood product containing anti-e antibodies, but labeled as negative for unexpected antibodies, was distributed | 1 Unit. | Maryland.
1993-03-31 | Biologics | III | b-196/197-3 | (a) Red Blood Cells; (b) Platelets. Recall #b-196/197-3. | Manufacturer | American Red Cross Services Baltimore Maryland. | April 8, 1992 | Blood products which tested negative for the antibody to human immunodeficiency virus type 1 (anti-hiv-1), but were collected from a donor who previously tested repeatedly reactive for anti-hiv-1, were distributed | 1 Unit Of Each Component. | Maryland.
1993-03-31 | Devices | I P | z-314/316-3 | (a) Model 2000w Heart/respiration Monitors; (b) Model 2000w Option H Heart/respiration Monitors; (c) Model 700 Recording Device (with Monitor And Pulse Oximeter). Recall #z-314/316-3. | Manufacturer | Edentec A Nellcor Company Eden Prairie Minnesota. | January 18, 1993 | The devices fail to alarm (both visually and audibly) during an apnea event due to defective capacitor(s) | 378 Monitors And 5 Recording Devices Were Distributed. | Nationwide And Germany.
1993-03-31 | Devices | II | z-377/378-3 | Quantum 250 Lightsource For Endoscopic Surgery: (a) Product #220-136-000 (120 Volt Model); (b) Product #220-136-220 (220 Volt Model). Recall #z-377/378-3. | Manufacturer | Stryker Endoscopy San Jose California. | July 3, 1992 | The unit may turn off prematurely due to defective switch, and the light adjustment feature may fail, keeping the light output at a constant level | 126 Units Were Distributed. | Nationwide And International.
1993-03-31 | Devices | II | z-369/370-3 | Adult And Child Bageasy Disposable Manual Resuscitators Single Use Units. Recall #z-369/370-3. | Manufacturer | Respironics Inc. Murrysville Pennsylvania. | November 5, 1992 | Devices may exhibit higher than normal exhalation resistance characteristics | 2 257 Units Were Distributed. | Nationwide And Puerto Rico.
1993-03-31 | Devices | II | z-371-3 | Facs Vantage Cell Sorter. Recall #z-371-3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan February 19 1993. Firm-initiated Field Correction Ongoing. | Becton-dickinson Immunocytometry Systems San Jose California. | February 19, 1993 | Noncompliance with the performance standards for laser products in that in one position of the camera subsystem there was a gap in the protective housing allowing unnecessary human access to laser radiation | 28 Units Were Distributed. | Nationwide And International.
1993-03-31 | Devices | II | z-373-3 | Cardiotronics Adult Multi-pad Disposable External Pacing/external Defibrillation/ecg Monitoring Electrodes. Recall #z-373-3. | Manufacturer | Cariotronics Inc. Carlsbad California. | August 25, 1992 | A recent modification to the electrode has caused unsuitable electrical characteristics, which may result in the lose of the ecg signal | Approximately 150 Boxes (10 Units Per Box) Were Distributed; Firm Estimates 45 Boxes Remain On The Market. | Nationwide New Zealand Canada.
1993-03-31 | Devices | II | z-380-3 | Bovie Specialist Electrosurgery Units. Recall #z-380-3. | Manufacturer | Mdt Diagnostic Company N. Charleston South Carolina. | June 19, 1992 | The device may contain an assembled wiring harness which will not allow the circuit to sentry red lamp to go off when the dispersive electrode is properly connected to the unit | 24 Units Were Distributed. | California Florida Illinois Iowa Massachusetts Maryland North Carolina Nevada New York Tennessee Texas Virginia.
1993-03-31 | Devices | II | z-397-3 | Remstar Choice Nasal Cpap System Used By Sufferers Of Obstructive Sleep Apnea To Deliver Constant Air Pressure To The Patient Through A Mask That Fits Over The Nose. Recall #z-397-3. | Manufacturer | Respironics Inc. Murrysville Pennsylvania. | February 15, 1993 | The units were indirectly exposed to dust generated during construction | Undetermined. | California Alabama North Dakota Oklahoma Connecticut Texas Utah Michigan Georgia Iowa Missouri Ohio Minnesota Colorado Idaho Canada.