## 1993-07-21
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-07-21 | Drugs | III | d-295-3 | Lopid (gemfibrozil) Tablets 600 Mg In Bottles Of 500 Rx Preparation. Recall #d-295-3. | Parke Davis Division Of Warner Lambert Company Morris Plains New Jersey | Warner Lambert Inc. Vega Baja Puerto Rico. | June 11, 1993 | Some bottle labels lack the lot number and expiration date | 2 489 Units Were Distributed. | Nationwide.
1993-07-21 | Devices | II | z-585/588-3 | Laser Marking Systems: Script Script 100 Signature Signature 100 Industrial Laser Marking Systems Used To Engrave Parts Made Of Various Materials. Recall #z-585/588-3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan June 1 1993. Firm-initiated Field Correction Ongoing. | Control Laser Systems Orlando Florida. | June 1, 1993 | Defective solenoids. | 37 Units. | Nationwide And International.
1993-07-21 | Devices | II | z-632-3 | Softscan Model 200 Laser Product Used For The Relief Of Pain. Recall #z-632- 3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan June 21 1993. Firm-initiated Field Correction Ongoing. | Mountain West Medical Industries Inc. Broomfield Colorado. | June 21, 1993 | Manufacturer failed to provide each purchaser a procedure and schedule for calibration of the measurement system and the user information did not contain the required caution statement | 11 Units. | Colorado Massachusetts New York New Jersey Georgia Ohio Michigan Wyoming California.
1993-07-21 | Devices | II | z-633-3 | Nidek Nd:ya Ophthalmic Laser System A Medical Laser Product For Use In Ophthalmology. Recall #z-633-3. | Manufacturer. Fda Approved The Firm's Corrective Action Plan June 12 1993. Firm-initiated Field Correction Ongoing. | Nidek Inc. Fremont California. | June 12, 1993 | Manufacturer failed to provide each purchaser a calibration procedure for the laser products measurement system | 12 Units. | Nationwide.
1993-07-21 | Devices | II | z-634/635-3. | Models Pas 2500 And Pas 500 Series Wafer Springs Industrial Laser Products Used In The Manufacture Of Integrated Circuits. Recall #z- 634/635-3. | Manufacturer. Fda Approves The Firm's Corrective Action Plan June 10 1993. Firm-initiated Field Correction Ongoing. | Asm Lithography Inc. Tempe Arizona. | June 10, 1993 | Noninterlocked protective housing labels were not visible prior to opening protective housing | 150 Units. | Nationwide And International.
1993-07-21 | Devices | II | z- 636-3 | Intraocular Lenses (iols). Recall ##z- 636-3. | Manufacturer | Ioptex Research Inc. Irwindale California. | November 3, 1992 | 81 lenses are potentially mislabeled | 111 Units Were Distributed. | Arizona California Colorado Connecticut Delaware Florida Georgia Kentucky Louisiana Massachusetts Maryland New Jersey Nevada New York Oklahoma Pennsylvania Rhode Island Tennessee Texas Australia.
1993-07-21 | Devices | II | z-641-3 | Bio-medicus Bio Cal 370 Series Heater/cooler A Thermal Transfer Module Designed To Control Patient Blood Temperatures During Cardiopulmonary Bypass Procedures. Recall #z-641-3. | Manufacturer | Medtronic Bio-medicus Inc. Eden Prairie Minnesota. | March 31, 1993 | The device is rendered inoperative due to a time dependent failure mechanism in the unit's liquid level sensor part number 66151 | 430 Units Were Distributed. | Nationwide And International.
1993-07-21 | Devices | III | z-616-3 | Deknatel Custom Procedure Pak Polydek Suture Size 2-0. Recall #z-616-3. | Manufacturer | Deknatel Inc. Fall River Massachusetts. | January 29, 1993 | The inner primary labeling incorrectly identified the needle inside | 7 Boxes (12 Units Per Box) Were Distributed. | Virginia.