## 1993-10-27
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
1993-10-27 | Drugs | II | d-009-4 | Trental (pentoxiffylline) 400 Mg Tablets In Bottles Of 100 Rx Indicated For The Treatment Of Patients With Intermittent Claudication. Recall #d-009-4. | Manufacturer | Hoechst Roussel Pharmaceuticals Inc. Somerville New Jersey. | June 22, 1993 | Product does not meet sustained release specifications | Firm Estimates 15 000 Bottles Remain On The Market. | Nationwide. -2-
1993-10-27 | Drugs | II | d-010-4 | Declomycin Hcl Capsules 150 Mg In Bottles Of 100 Rx Antibiotic. Recall #d-010-4. | Manufacturer | Lederle Labs Pearl River New York. | September 30, 1993 | Product does not meet dissolution specifications through expiration date | 10 396 Bottles Were Distributed. | California Illinois Pennsylvania Texas Puerto Rico.
1993-10-27 | Drugs | II | d-011-4 | Transfilled Compressed Medical Oxygen In D E And M Size Cylinders. Recall #d-011-4. | Manufacturer | Accurate Fire And Safety Equipment East Rockway New York. | October 4, 1993 | Current good manufacturing practice deficiencies | 46 Cylinders Were Distributed. | New York.
1993-10-27 | Drugs | II | d-012-4 | Rugby Nasal Decongestant Pseudoephedrine Hcl 30 Mg Tablets In Bottles Of 100 Otc Product Used To Provide Temporary Relief Of Nasal Congestion Due To The Common Cold Sinusitis Hay Fever Or Other Respiratory Allergies. Recall #d-012-4. | Manufacturer | Lnk International Inc. Hauppauge New York. | September 27, 1993 | Label error - directions should read not to exceed 4 tablets in 24 hours for children instead of 8 tablets in 24 hours | 25 480 Units Were Distributed. | New York.
1993-10-27 | Biologics | II | b-001-4 | Platelets. Recall #b-001-4. | Manufacturer | Virginia Blood Services Richmond Virginia. | January 20, 1993 | Blood product was collected from a donor who reported a history of cancer; or contained anti-k antibodies but labeled as negative for unexpected antibodies | 2 Units. | Pennsylvania. -3-
1993-10-27 | Biologics | II | b-004/006-4 | (a) Red Blood Cells; (b) Platelets; (c) Recovered Plasma. Recall #b-004/006-4. | Manufacturer | American Red Cross Blood Services Miami Florida. | December 8, 1992 | Blood products which tested non-reactive for the antibody to human immunodeficiency virus type 1/2 (anti-hiv-1/2,), but were collected from a donor who previously tested repeatedly reactive to anti-hiv 1/2; tested non-reactive for the antibody to hepatitis b core antigen (antihbc) but was collected from a donor who previously tested repeatedly reactive for anti-hbc on two separate donations | 2 Units Of Each Component. | Florida.
1993-10-27 | Biologics | II | b-015-4 | Pcs Plasma Collection System Model 6001-cp. Recall #b-015-4. | Haemonetics Corporation Braintree Massachusetts | Haemonetics Corporation Holbrook Massachusetts; Kollsman Manufacturing Company Amherst New Hampshire. | July 22, 1992 | Plasma collection device contains defect which may cause a computer lock-up of the instrument | Approximately 2 980 Units. | Nationwide.
1993-10-27 | Biologics | III | b-002/003-4 | (a) Whole Blood; (b) Recovered Plasma. Recall #b-002/003-4. | Manufacturer (a) | Virginia Blood Services Richmond Virginia. | February 7, 1993 | Blood products: incorrectly labeled as frozen plasma (fp-15) instead of recovered plasma; or labeled with the incorrect expiration date | (a) 2 Units; (b) 1 Unit. -4- | Virginia California.
1993-10-27 | Biologics | III | b-007-4 | Cryoprecipitated Ahf. Recall #b-007-4. | Manufacturer | American Red Cross Blood Service Miami Florida. | August 12, 1992 | Bags of cryoprecipitated ahf were exposed to toluidine | 52 Units. | Florida.
1993-10-27 | Devices | I | z-805/809-3 | Trocar And Surgical Drain Accessory For The Autovac Autotransfusion Device Serves As A Draining System During Orthopedic Surgery: (a) Product #2062 1/8" Pvc Drain And Trocar; (b) Product #2064 1/4" Pvc Drain And Trocar; (c) Product #2073 1/8" Silicone Drain And Trocar; (d) Product #2074 3/16" Silicone Drain And Trocar; (e) Product #2075 1/4" Silicone Drain And Trocar. Recall Z-805/809-3. | Boehringer Laborataories Inc. Norristown Pennsylvania | Degania Silicone Ltd. Buckhayarden Israel. | May 26, 1993 | Devices labeled as sterile, are not sterile | (a) 3 785 Units; (b) 267 Units; (c) 54 Units; (d) 32 Units; (e) 129 Units. | Nationwide Canada Japan.
1993-10-27 | Devices | II | z-625-3 | Port-a-cath Fluoro-free Portal With Polyurethane Catheter And 6 French Introducer Set Product #21-4621. Recall #z-625-3. | Manufacturer | Pharmacia Deltec Inc. St. Paul Minnesota. | April 20, 1993 | The sensor wire component may be difficult to withdraw or become damaged during removal from the catheter | 50 Units. | California Florida Kansas Maryland Missouri North Carolina Pennsylvania Washington State.
1993-10-27 | Devices | II | z-015/017-4 | Installation And Service Manual For Cp 60 Cp 80 And Cp100 X-ray Controls High Voltage Generators. Recall #z-015/017-4. | Manufacturer. Fda Approved The Firm's Corrective Action Plan June 18 1993. Firm-initiated Field Correction Ongoing. | Liebel-flarsheim Company Cincinnati Ohio | June 18, 1993 | Proper assembly and user information was not provided with the system to ensure compliance with entrance exposure rate requirement | Approximately 258 Units. | Nationwide.
1993-10-27 | Devices | II | z-020-4 | Robicsek Vascular Probe Bulb Size 1.0 Mm-1.5mm Product #7151015 Used To Test For Blockage In Blood Vessels. Recall #z-020-4. | Bio-vascular Inc. St. Paul Minnesota | Navarre Laboratories Ltd. Hamel Minnesota. | August 16, 1993 | Units were mislabeled. | 75 Units. All Units Have Been Accounted For. | New Jersey Alabama.
1993-10-27 | Devices | II | z-041-4 | Servo Ventilator #300 Model/catalog #60 74 391 E380e Used For Advanced Ventilatory Treatment. Recall #z-041-4. | Siemens Medical Systems Iselin New Jersey | Siemens Elema Ab Life Support Division Solna Sweden. | November 2, 1992 | There is a potential for the tidal volume to be 20% greater than the indicated volume when used at high altitudes | 130 Units. | Natinwide.
1993-10-27 | Devices | II | z-044-4 | Micro-temp A Heat Therapy System Which Consistently Delivers A Therapeutic Level Of Moist Heat For Localized Applications. Recall #z-044-4. | Manufacturer | Seabrook Medical Systems Inc Cincinnati Ohio. | April 27, 1993 | Devices were assembled with an incorrect resistor | 7 Units. | Indonesia Belgium Spain Switzerland.
1993-10-27 | Devices | III | z-827/841-3 | Diala-kit Sterile Kits Single Use Dialysis On/off Packs Containing Venous Bloodlines And Finished Otc Components: (a) 46-5050; (b) 46-5040; (c) 46-5230; (d) 46-5010; (e) 46- 5110; (f) 46-5072; (g) 46-5100; (h) 46-5231; (i) 46-5250; (j) 46-5080; (k) 46-5071; (l) 46-5200; (m) 46-5090; (n) 46- 5210; (o) 46-5220. Recall #z-827/841-3. | National Medical Care Medical Products Division Rockleigh New Jersey | National Medical Care Medical Products Division Mcallen Texas; National Medical Care Medical Products Division Reynosa Mexico. | April 22, 1993 | The firm's shipping cartons incorrectly identified the products as peritoneal dialysis on/off kits | 66 635 Units. | Nationwide.
1993-10-27 | Devices | III | z-042-4 | Model 246 Pneumoplethysmograph Used To Measure Blood Pressure On The Penis Or Digits Using A Proximal Occluding Cuff Connected To An Aneroid Manometer And A Distal Sensing Cuff. Recall #z-042-4. | Manufacturer | Parks Medical Electronics Inc. Aloha Oregon. | April 19, 1991 | There is a design flaw which prevents operation at cuff pressures above 80 mm hg | 50-60 Units. | Nationwide Saudi Arabia Greece.
1993-10-27 | Devices | III | z-045-4 | Argyle Medicut 16 Gauge Intravenous Cannula. Recall #z-045-4. | Sherwood Medical Company St. Louis Missouri | Sherwood Medical Industries Of Ireland Ltd. Tullamore Ireland. | June 16, 1993 | A portion of the lot were found to be incorrectly labeled as 20 gauge | 17 300 Units. | Nationwide.
1993-10-27 | Devices | III | z-048-4 | Hall Surgical Medium Bur Guard Used In Oral Surgery To Prevent Wobble Of Dental Burr. Recall #z-048-4. | Manufacturer | Hall Surgical Division Of Zimmer Carpinteria California. | August 16, 1993 | Device is etched with a incorrect product number, 1375-11 instead of 1375-12 | 125 Units. | Nationwide Finland Mexico Japan.