## 2002-7-31
RECALL_CLASSIFICATION_DATE | PRODUCT_TYPE | CLASSIFICATION | RECALL_NUMBER | PRODUCT | RECALLING_FIRM | MANUFACTURER | RECALL_INITIALIZATION_DATE | REASON | VOLUME | DISTRIBUTION
2002-7-31 | Drugs | III | d-353-2 | Acyclovir Tablets Usp 400 Mg Rx Only 100-count Bottles Manufactured By: Ivax Pharmaceuticals Miami Fl 33137 Ndc 0172-4267-60. Recall # D-353-2. | Ivax Pharmaceuticals Inc. Miami Fl | Ivax Pharmaceuticals Caribe Inc. Cidra Puerto Rico. | May 21, 2002 | Tablet crumbling. | 11 483 bottles | Nationwide
2002-7-31 | Drugs | III | d-354-2 | A) luvox (fluvoxamine Maleate) Tablets (scored) 25 Mg 100 Count Bottles And Unit Dose Packages Of 100 Rx Only Recall # D-354-2; B) Luvox (fluvoxamine Maleate) Tablets (scored) 50 Mg 100 Count Bottles And Unit Dose Packages Of 100 Rx Only. Recall # D-355-2; C) Luvox (fluvoxamine Maleate) Tablets (scored) 100 Mg 100 Count Bottles And Unit Dose Packages Of 100 Rx Only. Recall # D-356-2. | Solvay Pharmaceuticals Inc. Marietta Ga | Solvay Pharmaceuticals Inc. Baudette Mn. | May 29, 2002 | Inaccuracies in data submitted to the new drug application by solvay (stability). | 1 503 114 units | Nationwide
2002-7-31 | Biologics | II | b-1657-2 | Source Plasma Recall # B-1657-2. | Nabi Chattanooga Tn | Nabi Chattanooga Tn | December 7, 2000 | Blood product, collected in a manner that compromises the sterility of the unit, was distributed. | 1 unit | NC
2002-7-31 | Biologics | II | b-1658-2 | Source Plasma Recall # B-1658-2 | Nabi Johnson City Tn | Nabi Johnson City Tn | May 13, 2000 | Blood product, collected in a manner that compromises the sterility of the unit, was distributed. | 1 unit | CA
2002-7-31 | Biologics | II | b-1659-2 | Source Plasma Recall # B-1659-2 | Nabi Johnson City Tn | Nabi Johnson City Tn | July 5, 2000 | Blood product, collected from a donor who had not completed the cjd/nvcjd increased risk questions, was distributed. | 1 unit | CA
2002-7-31 | Biologics | II | b-1696-2 | A) Platelets Pheresis Leukocytes Reduced Recall # B-1696-2; B) Platelets Pheresis Leukocytes Reduced Irradiated Recall # B-1697-2 | Blood Bank Of San Bernadino And Riverside Counties San Bernadino Ca | Blood Bank Of San Bernadino And Riverside Counties San Bernadino Ca | February 5, 2002 | Platelets with a decreased platelet count were distributed. | a 1 130 units b 136 units | CA
2002-7-31 | Biologics | II | b-1736-2 | Source Plasma Recall # B-1736-2 | Community Bio-resources Inc. Hoover Al | Community Bio-resources Inc. St. Cloud Mn. | January 20, 1998 | Blood product, that was not quarantined after testing elevated for the alanine aminotransferase (alt) assay, was distributed. | 1 unit | Austria
2002-7-31 | Biologics | III | b-1735-2 | Source Plasma Recall # B-1735-2. | Seracare Inc. Topeka Ks | Seracare Inc. Topeka Ks | July 27, 2001 | Blood products, that tested negative for the antibody to hepatitis c virus (anti-hcv), were collected from a donor that subsequently tested repeatedly reactive to anti-hcv, were not properly quarantined, and were distributed. | 2 units | CA
2002-7-31 | Devices | II | z-1123-2 | Cryovalve Allograft - Heart Valve. Recall # Z-1123-2. | Cryolife Inc. Kennesaw Ga | Cryolife Inc. Kennesaw Ga | April 5, 2002 | Aortic valve donor was associated with alleged case of endocarditis. | one valve | CA
2002-7-31 | Devices | II | z-1136-2 | Ltv Series Ventilators Recall # Z-1136-2. | Pulmonetic Systems Inc. Colton Ca | Pulmonetic Systems Inc. Colton Ca | November 30, 2001 | Emi shield short circuits units, potential for fire. | 64 | PA OH FL NC GA PA WA CA and TO Canada Japan and Taiwan
2002-7-31 | Devices | II | z-1145-2 | Ct Tri Pak Sterile Disposable Syringe Kits Recall # Z-1145-2. | Medrad Inc. Indianola Pa | Medrad Inc. Indianola Pa | May 7, 2002 | May exceed endotoxin specification limits | 41650 kits | Nationwide and Sultanate OF Oman Korea Taiwan and BR
2002-7-31 | Devices | II | z-1147-2 | Intera 10t And 1.5t Mr Systems Magnetic Resonance Systems Are Indicated For Use As Diagnostic Devices That Display The Internal Structure And/or Function Of The Head Body Or Extremeties. The Coils Are Used To Obtain Optimal Imaging. Recall # Z-1147-2/z-1148-2. | Philips Medical Systems North America Inc. Bothell Wa | Philips Medical Systems Nederland B.v. Netherlands. | October 26, 2001 | Higher than expected current in the insulation of the coil cable. | 3 | FL and WA
2002-7-31 | Devices | II | z-1151-2 | Staar Surgical Uv Absorbing Posterior Chamber Intraocular Lens Model - Aq5010v Recall # Z-1151-2. | Staar Surgical Co. Monrovia Ca | Staar Surgical Co. Monrovia Ca | May 15, 2002 | Mislabeled as to diopter. | 156 | Nationwide and Puerto Rico and the Dominican Republic
2002-7-31 | Devices | II | z-1152-2 | Ela/angeion Lyra Model 2020 2021 And 2022 Implantable Cardioverter Defibrillators Recall # Z-1152-2/z-1154-2. | Angeion Corporation St. Paul Mn | Ela-angeion Plymouth Mn By Letter Dated June 27 2002. | June 27, 2002 | The devices could stop providing therapy due to premature battery depletion. |  | the Last Implant Occurred ON August 18 2000 Recalling Firm Manufacturer Recalling Firm Angeion Corporation ST Paul MN BY Letter Dated June 27 2002 Manufacturer ela Angeion Plymouth MN BY Letter Dated June 27 2002 Firm Initiated Recall IS Ongoing Reason the Devices Could Stop Providing Therapy due TO Premature Battery Depletion Volume OF
2002-7-31 | Devices | II | product in commerce 494 distribution nationwide and internationally. _______________________ | In Commerce 494 Distribution Nationwide And Internationally. _______________________ |  |  | NOT-FOUND | NOT-FOUND |  | Nationwide and Internationally
2002-7-31 | Devices | II | z-1155-2 | Dyonics Direct View And Video Arthroscopes 40 Mm As Follows: A) Part Number: 3622r Video Arthroscope 4mm X 30 Degree Repair. Recall # Z-1155-2; B) Part Number: 3622s Video Arthroscope 4mm X 30 Degree Service. Recall # Z-1156-2; C) Part Number: 3626r Arthroscope 4mm X 30 Degree Repair. Recall # Z-1157-2. D) Part Number: 3626s Arthroscope 4mm X 30 Degree Service. Replacement. Recall # Z-1158-2. E) Part Number: 4125s Arthroscope 4mm X 30 Degree Service Replacement. Recall # Z-1159-2. | Smith & Nephew Inc. Andover Ma | Smith & Nephew Inc. Andover Ma | April 29, 2002 | Arthroscopes may be missing weld and contamination may penetrate resulting in inadequate sterilization. | 33 | Nationwide and Australia Mexico and the United Kingdom
2002-7-31 | Devices | II | z-1160-2 | Stryker Brand Tps U2 Drill For Use With The Stryker Total Performance System Recall # Z-1160-2. | Stryker Corporation Stryker Instruments Division Kalamazoo Mi | Stryker Corporation Stryker Instruments Division Kalamazoo Mi | April 29, 2002 | Possible shock hazard. | 84 drills | Nationwide and Internationally
2002-7-31 | Devices | II | z-1161-2 | Surgeons Vest Recall # Z-1161-2. | Precept Medical Products Inc. Arden Nc | Precept Medical Products Inc. Arden Nc | April 3, 2002 | Incomplete seal on packaging. | 187 cases 30 per case or 5 610 units | Nationwide
2002-7-31 | Devices | II | z-1162-2 | Sonoline Antares Diagnostic Ultrasound System The Sonoline Antares Is A High-resolution Digital Broadband Diagnostic Ultrasound Imaging System. It Supports The Following Diagnostic Applications: Abdominal Ob/gyn Small Parts Musculoskeletal Vascular And Urology. Recall # Z-1162-2. | Semens Medical Systems Inc. Issaquah Wa | Semens Medical Systems Inc. Issaquah Wa | January 20, 2002 | Software anomalies that affect measurement and calculation data. | 260 units | Nationwide
2002-7-31 | Devices | II | z-1163-2 | Kimberly-clark Multifunction Electrodes R2 Pads Self-adhesive Pre-gelled Low Impedance Electrodes Manufactured By Ballard Medical Products. Recall # Z-1163-2. | Ballard Medical Products Draper Ut | Ballard Medical Products Draper Ut | March 25, 2002 | Unit label incorrectly identifies the pads as radiolucent. | 88 518 units | Nationwide and Internationally
2002-7-31 | Devices | II | z-1165-2 | Ispan Sulfur Hexafluoride (sf6) And Perfluoropane (c3f8) Liquified Gas Under Pressure For Intraocular Use Cylinder Series Ld2 Ld1 And Ld. Recall # Z--1164-2/z-1165-2. | Scott Medical Products Plumsteadville Pa | Scott Medical Products Plumsteadville Pa | April 3, 2001 | Post-operative warning against use of nitrous oxide gas before intraocular gas has dissipated from the eye. | 2900 cylinders 2nd notification 4205 cylinders | Nationwide
2002-7-31 | Devices | II | product baxter ipump pain management system infusion pump, product | Baxter Ipump Pain Management System Infusion Pump Product | Baxter Healthcare Corp. Round Lake Il | Baxter Healthcare Pte. Ltd. Singapore Sg. | April 10, 2002 | Software anomaly allows access to change prescription or program bolus without security. | 9 927 pumps | Nationwide
2002-7-31 | Devices | II | z-1167-2 | Boston Scientific/medi-tech Dual Lumen Vaxcel Picc (peripherally Inserted Central Catheter) As Follows: Catalog Number product Description A) 45-413 vaxcel 5f Dual Lumen Picc Recall # Z-1167-2; B) 45-426 Vaxcel 6f Dual Lumen Picc. Recall # Z-1168-2. C) 45-445 Picc Vaxcel 5f Dl/clampable/60cm Wire/ob. Recall Z-1169-2; D) 45-446 Picc Vaxcel 6f Dl/clampable/60cm Wire/ob. Recall # Z-1170-2. | Boston Scientific Corp./medi-tech Watertown Ma | Medsource Technologies Llc Navajoa Sonora. | April 22, 2002 | Catheter extension tube detached from hub upon being flexed. | 5 214 | Nationwide
2002-7-31 | Devices | II | z-1173-2 | Vaxcel Single Lumen Peripherally Inserted Central Catheter (picc) As Follows: Catalogue Number Description A) 45-430 4f Sl/clamp/130 Cm Picc Recall # Z-1173-2; B) 45-432 5f Sl/clamp/130 Cm Picc. Recall # Z-1174-2. | Boston Scientific Corp.medi-tech Natick Ma | Medsource Technologies Llc Navajoa Sonora. | March 25, 2002 | Guidewire is incorrectly coiled in protective hoop with luer fitting at wrong end. | 1112 units | Nationwide and Canada
2002-7-31 | Devices | II | z-1175-2 | A) Model Im2 Licox Bolt System Double Lumen Recall # Z-1175-2; B) Model Im3 Licox Bolt System Triple Lumen. Recall # Z-1176-2; C) Model Im2.s Complete Licox Probe Kit Double Lumen. Recall # Z-1177-2; D) Model Im3.s Complete Licox Probe Kit Triple Lumen. Recall # Z-1178-2; E) Model Im3.st Complete Licox Probe Kit With Temperature Probe Triple Lumen. Recall # Z-1179-2. | Integra Neuro Care Llc San Diego Ca | Integra Neuro Care Llc San Diego Ca | April 30, 2002 | Catheter/ bolt incompatibilty may result in erroneous intracranial pressure measurements. | 388 bolts | Nationwide
2002-7-31 | Devices | II | z-1180-2 | Camino Intracranial Pressure Monitoring Catheter With Licox Imc Bolt Fitting Model 110-4l. Recall # Z-1180-2. | Integra Neurocare Llc San Diego Ca | Integra Neurocare Llc San Diego Ca | April 26, 2002 | Catheter collapse may result in erroneously high pressure readings. | 44 estimated in | Distribution Nationwide
2002-7-31 | Devices | II | z-1181-2 | Ge Signa 5t 1.0t And 1.5t Mr/i Extremity Coils. Recall # Z-1181-2. | General Electric Medical Systems Waukesha Wi | General Electric Medical Systems Waukesha Wi | March 8, 2002 | Extremity coil pads could catch on fire and burn patient. | 2573 devices | Nationwide and Internationally
2002-7-31 | Devices | II | z-1182-2 | Ti Cann Troch Fixation Nail (trochanteric Fixation Nail) The Responsible Firm On The Label Is Synthes Usa Monument Co. Recall # Z-1182-2/z-1183-2. | Synthes (usa) Paoli Pa | Synthes (usa) Monument Co. | May 16, 2002 | Manufactured outside design specification. | 16 units | AZ CO FL MO MS OR PA and TX
2002-7-31 | Devices | III | z-1146-2 | Choice A.b. (aberation Blocking) Daily Wear Soft (hydrophilic) Contact Lens. The Product Is Packaged In Trial And Multipacks. Recall # Z-1146-2. | Ciba Vision Corp. Duluth Ga | Specialty Ultravision St. Hubert Quebec Canada. | May 24, 2002 | The polymer was undercured, lens may appear cloudy. | 781 units | Nationwide
2002-7-31 | Devices | III | z-1149-2 | A)cardiac/ Peritoneal Catheter Standard Barium Impregnated 90cm Catalog No 43103. Recall # Z-1149-2; B) Peritoneal Catheter Open End With Wall Slits Standard Barium Impregnated 90 Cm Catalog No. 43522. Recall # Z-1150-2. | Medtronic Neurosurgery Goleta Ca | Medtronic Neurosurgery Goleta Ca | May 14, 2002 | Product mix-up/ substitution/ mislabeling. | 219 | Nationwide and Canada Australia and Korea
2002-7-31 | Devices | III | z-1171-2 | Bone Stack Calcium Sulfate Recall # Z-1171-2. | Howmedica Osteonics Corp. Allendale Nj | Stryker Howmedica Osteonics Limerick Ireland. | January 10, 2001 |  | 193 units | Nationwide
2002-7-31 | Devices | III | z-1172-2 | Hemashield Gold Woven Double Velour 4-branch Vascular Graft In 28 And 30mm Sizes Catalog Number 175928 And 175930. Recall # Z-1172-2. | Boston Scientific Corp./medi-tech Wayne Nj | Boston Scientific Corp./medi-tech Wayne Nj | March 25, 2002 | 28 and 30mm sizes were mislabeled. | 17 28 mm size 17 30 mm size | Nationwide end OF Enforcement Report for July 31 2002 fda News Page fda Home Page Office OF Public Affairs Hypertext Uploaded BY jch 2000 jul 31