## Report-1996-02-14
recall_classification_date | product_type | classification | recall_number | product | recalling_firm | manufacturer | recall_initiation_date | reason | volume | distribution
1996-02-14 | Biologics | II | b-184/185-6 | Red Blood Cells; (b) Frozen Plasma | Manufacturer | American Red Cross, Dedham, Massachusetts | February 28, 1991 | Blood Products, Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv-1, Western Blot Indeterminate, Were Distributed | 1 unit of each component | Massachusetts, California
1996-02-14 | Biologics | II | b-189-6 | Red Blood Cells | Manufacturer | Saint Joseph Hospital Blood Bank, Denver, Colorado | March 15, 1995 | Blood Product, Which Tested Negative For The Antibody To The Human T-lymphotropic Virus I (anti-htlv-1), But Was Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-htlv-1, Western Blot/ripa Indeterminate, Was Distributed | 1 unit | Colorado
1996-02-14 | Biologics | II | b-190-6 | Platelets | Manufacturer | Michigan Community Blood Center, Grand Rapids, Michigan | April 13, 1995 | Blood Product Not Processed According To Gmp's (unvalidated Centrifuge), Was Distributed | 1 unit | Michigan
1996-02-14 | Biologics | II | b-193/197-6 | (a) Red Blood Cells; (b) Platelets; (c) Fresh Frozen Plasma; (d) Cryoprecipitated Ahf; (e) Recovered Plasma | Manufacturer | American Red Cross Blood Services, Louisville, Kentucky | February 23, 1995 | Blood Products, Which Tested Negative For The Antibody To The Human Immunodeficiency Virus Type 1 (anti-hiv-1), But Were Collected From A Donor Who Previously Tested Repeatedly Reactive For Anti-hiv-1 And Was Improperly Reentered, Were Distributed | (a) 13 units; (b) 7 units; (c) 2 units; (d) 1 unit; (e) 10 units | Kentucky, Indiana, California, Switzerland
1996-02-14 | Biologics | II | b-208-6 | Red Blood Cells | Manufacturer | American Red Cross Blood Services, Syracuse, New York | June 1, 1995 | Blood Product, Which Tested Repeatedly Reactive For Antibody To The Hepatitis B Core Antigen (anti-hbc), Was Distributed | 1 unit | New York
1996-02-14 | Biologics | II | b-215-6 | Platelets Pheresis | Manufacturer | Blood Systems, Inc | February 3, 1995 | Blood Product, Which Was Labeled With An Extended Expiration Date, Was Distributed | 1 unit | North Dakota
1996-02-14 | Biologics | II | b-222-6 | Platelets; Platelets, Pooled | Manufacturer | Bloodcare, Dallas, Texas | September 12, 1995 | Blood Products, Labeled With An Extended Expiration Date, Were Distributed | 28 platelets units and 1 pooled platelets unit | Texas
1996-02-14 | Biologics | III | b-191-6 | Fresh Frozen Plasma | Manufacturer | Topeka Blood Bank, Inc | February 16, 1995 | Blood Product, Labeled With An Incorrect Abo/rh Group Label And Unit Number, Was Distributed | 1 unit | New Jersey
1996-02-14 | Biologics | III | b-198-6 | Red Blood Cells | Manufacturer | Michigan Community Blood Center, Grand Rapids, Michigan | September 8, 1994 | Unlicensed Blood Product Was Distributed Interstate | 1 unit | Pennsylvania
1996-02-14 | Biologics | III | b-199/200-6 | (a) Whole Blood; (b) Red Blood Cells | Manufacturer | Michigan Community Blood Center, Grand Rapids, Michigan | June 9, 1993 | Blood Products, Which Were Labeled With An Extended Expiration Date, Were Distributed | 4 units of each component | Michigan
1996-02-14 | Biologics | III | b-203-6 | Fresh Frozen Plasma | Manufacturer | Coffee Memorial Blood Center, Inc | September 23, 1994 | Fresh Frozen Plasma, Which Was Not Frozen Within Eight Hours Of Phlebotomy, Was Distributed | 1 unit | Texas
1996-02-14 | Biologics | III | b-216-6 | Red Blood Cells, Irradiated | Manufacturer | Blood Systems, Inc | March 11, 1994 | Blood Product, Which Was Labeled With An Extended Expiration Date, Was Distributed | 1 unit | North Dakota
1996-02-14 | Biologics | III | b-217-6 | Autologous Red Blood Cells | Manufacturer | Blood Systems, Inc | August 25, 1994 | Autologous Blood Product, Which Tested Positive For Syphilis, Was Distributed Without A "biohazard" Label | 1 unit | North Dakota
1996-02-14 | Biologics | III | b-218-6 | Platelets, Pheresis | Manufacturer. Firm-initiated Recall Ongoing. distribution California. quantity 6 Units. reason Blood Product Untested For Syphilis | Houchin Community Blood Bank, Bakersfield, California | N/A | Blood Product Untested For Syphilis, Was Distributed | 6 units | California
1996-02-14 | Biologics | III | b-219/221-6 | (a) Whole Blood; (b) Red Blood Cells; (c) Platelets, Pheresis | Manufacturer | Lifeblood/mid-south Regional Blood Center, Memphis, Tennessee | October 19, 1994 | Unlicensed Blood Products Were Shipped Interstate | (a) 3 units; (b) 36 units; (c) 38 units | Mississippi, Arkansas, Missouri, Colorado
1996-02-14 | Devices | II | z-201-6 | Gibeck Brand 3 Liter Latex Breathing Bags, Part #8311-130 | Gibeck | Precision Latex, Inc | August 14, 1995 | The Adhesive-backed Vinyl Label Applied Over The Neck Of The Bag To Restrain The Neck Of The Bag From Stretching May Not Be Adequately Securing The Bag To The Bushing | 114,493 bags were distributed | Nationwide, Spain, Canada
1996-02-14 | Devices | II | z-342/343-6 | Kinematic Ii Instrument Intramedullary Alignment Rod, Used In Femoral Preparation To Determine The Correct Angle Of The Femoral Cut Prior To The Insertion Of The Kinemax Knee: (a) Catalog #6784-8-110 (left Knee); ( (b) Catalog #6784-8-120 (right Knee) | Manufacturer | Howmedica, Inc | July 12, 1995 | The Alignment Rod For The Right Knee Is Labeled As "left", And Vice Versa | (a) 22 units; (b) 12 units were distributed; firm estimated that (a) 7 units; (b) 3 units remained on market at time of recall initiation | International
1996-02-14 | Devices | II | z-359-6 | Acrysof Intraocular Lenses, Model Ma60bm, Recall #z-359-6 | Alcon Laboratories | Alcon Laboratories, Inc | October 25, 1995 | Granular Haze Was Observed In Some Lenses From This Lot After The Lenses Had Been Implanted | recall resulted in the retrieval of 55 unimplanted lenses distributed between approximately august 8 and october 25, 1995 | Alabama, California, Connecticut, Delaware, Iowa, Indiana Kentucky, Michigan, North Carolina, North Dakota, New Jersey, New York, Pennsylvania, South Carolina, Texas, Utah, Washington, International
1996-02-14 | Devices | II | z-382/384-6 | Diagnostic Ultrasound Imaging Systems, Used For Diagnostic Examinations Of Patients: (a) Model No | Acoustic Imaging Technologies Corporation | Texas Instruments, Inc | August 24, 1995 | The Programmable Array Logic (pal) Circuitry Is Defective, Causing Overheating Of The Transducer, Which Might Cause Patient Burns | 342 units were distributed | Nationwide And International
1996-02-14 | Devices | II | z-387/388-6 | Diagnostic Ultrasound Imaging Systems: (a) Model No | Manufacturer | Acoustic Imaging Technologies Corporation, Phoenix, Arizona | September 28, 1995 | Devices Contain A Flammable Air Filter Which May Ignite If A Capacitor Overheats And Melts On The Printed Circuit Board Located Above The Air Filter Which Might Result In Patient Or Operator Burns Or Smoke Inhalation Injury | 444 units were distributed | Nationwide And International
1996-02-14 | Devices | II | z-394/401-6 | Beam Limiting Devices: (a) Model Blf-75a; (b) Model Bla-150a; (c) Model Bla-550a; (d) Model Bla-151a; (e) Model Tf-ua-2l; (f) Model Tf-10ml-2; (g) Model Tf-35s; (h) Model No | Manufacturer. Fda Approved The Firm's Corrective Action Plan February 5 | Toshiba America Medical Systems, Inc | February 5, 1996 | The Diagnostic X-ray Devices Were Found To Be In Noncompliance With The Federal Performance Standard For Diagnostic X-ray Systems And Their Major Components, In That The Glass Utilized In The Rear Surface Mirror Becomes Tinted And Deteriorated Due To The Cumulative Effects Of Radiation Exposure | 305 units | Nationwide
1996-02-14 | Devices | II | z-403-6 | Trojan Ultra Texture Latex Condoms "lubricated" For Mutual Pleasure With Special Receptacle End, In 12 Unit Cartons | Carter-wallace | Carter-wallace, Inc | August 23, 1995 | The Condoms Failed The Astm Water Leak Test | 630 cases (12 boxes per case, 12 units per box) were distributed; firm estimates none remains on the market | Alabama, Connecticut, Florida, Georgia, Illinois, Maine, Michigan, New Hampshire, New Jersey, New York, North Carolina, Ohio, Pennsylvania, Rhode Island, Tennessee, Virginia
1996-02-14 | Devices | II | z-404/405-6 | (a) Surgical Irrigators, Models Si1000 And Si2000; (b) Pressure Infusers, Models Ad50, Ad1000, Ad1500, Ad2000, Blood Infusion Devices | Manufacturer | Alton Dean Medical, Inc | January 3, 1995 | Two Of The Pressure Relieving Safe-guards (diaphragm And Pressure Relieving Valve) Were Not Included In The Devices | 892 devices were distributed | Nationwide And International
1996-02-14 | Devices | II | z-406/407-6 | Ortho Brain Thromboplastin, Used For Deficiencies Of Clotting Factor Activity: (a) Product Code #732470; (b) Product Code #732400 | Manufacturer | Ortho Diagnostic Systems, Inc | December 16, 1993 | The Wrong International Sensitivity Index (isi) Was Assigned To The Above Lots | 454 kits were distributed | Nationwide And International
1996-02-14 | Devices | II | z-431-6 | Optical Trigger Probe, Used For Quality Control Measurements In A Laboratory/inspection Room Environment | Manufacturer. Fda Approved The Firm's Corrective Action Plan January 15 | Surface Measurement, Inc | January 15, 1996 | The Laser Product Failed To Comply With 21 Cfr 1040 | 1 unit | Minnesota
1996-02-14 | Devices | II | z-432-6 | Class Iiib Laser Profiler, Used To Test Miles Transmitters And Target Vests | Manufacturer. Fda Approved The Firm's Corrective Action Plan November 9 | Roc Associates, Inc | November 9, 1995 | The Laser Product Failed To Comply With The Federal Laser Product Performance Standard Protective Housing Requirements, 21 Cfr 1040 | 4 units | Nationwide
1996-02-14 | Devices | III | z-370-6 | Gemini Blood/solution Non-vented Iv Administration Sets, Used With The Gemini Pc- 2tx Volumetric Infusion Pump | Imed Corporation | Arplamed, S | October 25, 1995 | The Non-vented Iv Sets Are Mislabeled As Vented Iv Sets | 224 cases (10 sets per case) were distributed | Arizona, California, Colorado, Idaho, Kansas, Louisiana, Nevada, New York, Oregon, Pennsylvania, Tennessee, Texas, Virginia, Washington State, Wisconsin, Wyoming, Mexico
1996-02-14 | Devices | III | z-402-6 | Zoll Ac Power Charger Used With Zoll Defibrillators/pacemakers, Model Numbers Pd1400, D1400, D2000 And 1600 | Manufacturer | Zoll Medical Corporation, Burlington, Massachusetts | December 21, 1995 | The External Case Of The Ac Power Charger May Exhibit Localized Melting, Typical Of Excessive Heat Which Has Been Attributed To A Short Circuit Between The Power Etch Of The Circuit Board And The Conductive Coated Internal Case Surface | 2,535 units were distributed | Nationwide And International